## Info
Header Information
TDSP | Operator of the Major Transmission Element.
Major Transmission Element (MTE) | Transmission Element which was, or scheduled to be, on outage and has been associated with one or more high congestion(s).
Equip. Type | Equipment Type of the MTE.
kV | Voltage Level of the MTE. High-side voltage for transformers
Congestion Year/Month | Year and Month the associated congestion occurred.
Contingency | Contingency associated with the MTE.
Overload | Overload associated with the MTE.
Source | Source of the information: RT = Based on historical Real-Time congestion, ST = Based on Outage Coordination Studies. ADD = Addition Requests (both Private and Public)
Outage Type | Outage Type is categorized to be either Planned (PL) and Forced (FR, FE, UE, M1, M2, M3)
Cancel | Outage(s) for the specific MTE was Cancelled, Rejected, or Withdrawn.
Removal Requestor | Stakeholder who is requesting to remove the MTE from the list (Organization)
Addition Requestor | Stakeholder who is requesting to add the MTE from the list (Organization)
Reason for Addition | Justification for adding the MTE to the list. Details of the specific scenarios that the MTE may cause high congestion, including but not limited to: 1. ERCOT Load Level: Peak, Off-Peak (or 35GW, 70GW, etc). 2. Any specific regional load condition: High Houston Load, etc. 3. Wind Generation Level: High, Mid, Low, or N/A. 4. Solar Geneartion Level: High, Mid, Low, or N/A. 5. Any specific abnormal transmission equipment status: i.e. 345 kV line from A to B out-of-service, etc. 6. For Private Submissions, any specific generator output level: i.e. Resource A at 300 MW or above, etc. 7. (Optional) PSSE or PowerWorld case if available.
Reason for Removal | Justification for removing the MTE from the list. Usually entails a Transmission Upgrade Project.
OCITF Consensus | Consensus after OCITF meetings.
Decision | Final (TAC) Decision of the Addition/Removal Request for Non-Consensus items.
Discussion Items | Any other information that stakeholder(s) want to discuss during the OCITF meetings.

## MTE(2025)
TDSP | Major Transmission Element (MTE) | Equip. Type | kV | Congestion Year/Month | Contingency | Overload | Source | Outage Type | Cancel | Removal Requestor | Reason for Removal | OCITF Consensus | Decision | Discussion Items | From Acronym | To Acronym | ERCOT Equip Name | ERCOT Contingency ID
AEP | Abilene Elmcreek - Abilene Northwest | LN | 138 | 25/2 | Sweetwater East Switch -…- Perigee 345kV | Abilene Northwest Series Device 1 | RT | Planned | ELMCRK | ABNTHWST | ABNTHW_ELMCRK1 |  |  |  | ELMCRK | ABNTHWST | ABNTHW_ELMCRK1 | SABEABN8
AEP | Abilene Mulberry Creek - Abilene Northwest | LN | 138 | 25/3 | Foxtail To Oklaunion Lin 1 345kV | Abilene Elmcreek - Abilene Industrial Park 138kV | RT | Planned | MULBERRY | ABNTHWST | ABNTHW_MULBER1 |  |  |  | MULBERRY | ABNTHWST | ABNTHW_MULBER1 | SABNABM8
AEP | Abilene Mulberry Creek - Bluff Creek | LN | 345 | 25/3, 25/4 | Sweetwater East Switch To Long Creek Lin _a 345kV, DCKT Riley - Bowman Switch 345kV | Abilene Mulberry Creek - Long Creek 345kV, Fisher Road Switch - Riley 345kV | RT | Planned | [6 empty] | BLUF_CRK | MULBERRY | BLUF_C_MULBER1 | SABMBLU5
CNPE | Addicks - TH Wharton | LN | 345 | 22/4 | Roans Prairie - Singleton 345 kV & Singleton - Tomball 345 kV | TH Wharton - Zenith 345 kV | RT | Planned | [6 empty] | THW | ADK | ADKTHW71A | SADKTHW5
CNPE | Addicks - White Oak | LN | 345 | 23/1 | DCKT Obrien-WAP (OB-WAP98 & OB-WAP99) 345 kV | Jeanetta - Westwood 138 kV | RT | Planned | [6 empty] | WO | ADK | ADKWO_71 | SWOADK5
CNPE | Airpro - Boggy | LN | 138 | 23/1 | Jefferson - College 138 kV | Conial - Philip 138 kV | RT | Planned | [6 empty] | AZ | BOG | AZ_BOG85A | SAZBOG8
AEP | Ajo - Cebolla | LN | 345 | 25/4 | Lon Hill To Nelson Sharpe Lin 1 345kV | Celanese Bishop - Nelson Sharpe 138kV | RT | Forced | [6 empty] | CEBOLLA | AJO | AJO_CEBOLL1 | SAJ2CEB5
TNMP | Alvin TNP - Mainland TNP | LN | 138 | 21/11 | Meadow - Ph Robinson 345 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | MAINLAND | ALVIN | 138_ALV_MNL | SALVMAI8
TNMP | Alvin Tnp - North Alvin Tnp | LN | 138 | 23/5 | Meadow - PH Robinson 345 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | ALVIN | TNNALVIN | 138_ALV_NAL | SALVTNN8
AEP, CNPE | Angstrom - South Texas Project | LN | 345 | 25/2 | DCKT South Texas Project - Elmcreek 345kV | Blessing Auto 1382 345/138kV | RT | Planned | [6 empty] | STP | ANGSTROM | ANGSTR_STP1 | MANGNAI5
ONCOR | Anna Switch - Cedar Elm Switch | LN | 345 | 22/3 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | CDESW | ANASW | 38025_A | SCDEANA5
ONCOR | Anna Switch - Krum West Switch | LN | 345 | 22/3, 21/12 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | KRWSW | ANASW | 38010_A | SANAKR15
LCRA | Antler - Highway 46 | LN | 138 | 23/7 | DCKT Bergheim - Kendall 345 kV & Kendall - Welfare 138 kV | Cranes Mill - Sattler 138 kV, Hunter - Purgatoy Road 138 kV | RT | Forced | [6 empty] | ANTLER | HIGH46 | 610T610 | SANTRIV8
AEP | Armstrong Aep - Yturria Sub | LN | 138 | 25/2, 23/7 | Lon Hill To Nelson Sharpe Lin 1 345kV, Ajo - Nelson Sharpe 345 kV | Celane Bishop - Nelson Sharpe 138kV, Falfurias - Premont 69 kV | RT | Planned, Forced | [6 empty] | LOYOLA | ARMSTRON | ARMSTR_LOYOLA1 | SARMRA38
AEP | Arroz - … - Lane City | LN | 138 | 23/10 | Esperanza - STP Switch 138 kV | Blessing - Lavlov 138 kV | RT | Planned | [6 empty] | ARROZ | LAN)CTY | ARROZ_LANCTY1 | SLANARR8
LCRA, ONCOR | Austrop - Sandow Switch (450) | LN | 345 | 22/4 | Hutto Switch - Zorn 345 kV & Hutto Switch - Gilleland Creek 345 kV, AEN Gilleland Creek - Techridge 138 kV | Round Rock - Round Rock Northeast 138 kV (1661_A), Gilleland Creek - Mcneil 138 kV | RT | Planned | [6 empty] | SNDSW | AUSTRO | 450 | SSNDAUS5
LCRA, ONCOR | Austrop -…- Sandow Switch (440) | LN | 345 | 22/4 | Hutto Switch - Zorn 345 kV & Hutto Switch - Gilleland Creek 345 kV, AEN Gilleland Creek - Techridge 138 kV | Round Rock - Round Rock Northeast 138 kV (1661_A), Gilleland Creek - Mcneil 138 kV | RT | Planned | [6 empty] | SNDSW | AUSTRO | 440 | SSNDAU15
LCRA, STEC | Bakersfield - Cedar Canyon (BAKRFLD_CEDCA2) | LN | 345 | 24/10, 24/9 | Meteor Switch to Wolf Switching Station Lin_A, Meteor Switch to Moss Switch Lin_B | Odessa Ehv Switch - Yarbrough Sub 138kV, Penwell Pod - Wolf Switching Station 138kV | RT | Planned | [6 empty] | CEDACA | BAKESW | BAKRFLD_CEDCA2 | SBAKCED5
LCRA, STEC | Bakersfield - Cedar Canyon (BAKRFLD_CEDCAN) | LN | 345 | 22/4 | Midessa South Sw - Odessa EHV Switch 345 kV & Morgan Creek Ses -…- Quail Switch 345 kV, DCKT Consavvy Switch - Longshore Switch & Morgan Creek Ses, Moss Switch - Odessa EHV Switch 345 kV & Odessa EHV Switch - Wolf Switching Station 345 Kv | Midessa South SW AXFMR1 345/138 kV, Dewey Lake Tap - Polecat Creek Switch 138 kV, Falcon Seaboard - Morgan Creek Ses 345 kV, Odessa - Odessa North 138 kV | RT | Planned | [6 empty] | CEDACA | BAKESW | BAKRFLD_CEDCAN | SBAKSCH5
ONCOR | Barber Lake Switch - Ranger Camp Switch (14035_B) | LN | 138 | 24/5 | Wett_long_draw To Vealmoor 345kV | Ranger Camp Switch - Moser Canyon POD 138 kV | RT | Planned | BRBSW | MGSES | 14035_A | SBRBMG38 |  |  | BRBSW | MGSES | 14035_A | SBRBMG38
AEP | Barney Davis -...- Nelson Sharpe | LN | 138 | 25/3 | Lon Hill To Nelson Sharpe Lin 1 345kV | Celanese Bishop - Nelson Sharpe 138kV | RT | Planned | [6 empty] | B_DAVIS | ALAZAN | ALAZAN_B_DAVI1 | SALAN_28
CNPE | Bayou Cogen - Big Bay | LN | 138 | 24/11 | Twr (138) Arm-ft35 & Ft-phr35 | Drouet - Garden Villas 138kV | RT | Forced | [6 empty] | BYU | BBP | BBPBYU79 | SBBPBYU8
BRAZOS | Bell County -…- Gabriel & Bartlett | LN | 69 | 25/2, 25/1 | DCKT Georgetown East -…- Bell County 345kV, DCKT Salado Switch - Knob Creek Switch 345 And Temple Switch - Bell County | Bell Country Auto XFMR 138/69 kV | RT | Planned | [6 empty] | BELCNTY | BARTLTSW | BEL_BART | SBARGAB9
ONCOR | Bell County -…- Temple Switch | LN | 138 | 25/4 | DCKT Chief Brady -…- Spanish Oak 138kv, Round Rock To Hutto Switch Lin 138kV | Round Rock - Round Rock Westinghouse 138kV | RT | Planned | [6 empty] | BELCNTY | TMPSW | 1715_A | SBELTMP8
ONCOR | Bell County East Switch - Sandow Switch | LN | 345 | 24/6, 24/8, 24/7, 24/6, 24/8, 24/7 | DCKT Salado Switch - Hutto Switch 345 Dblckt | Sandow Switch - Bell County East Switch Lin 421 345kV | RT | Planned | [6 empty] | SNDSW | BCESW | 421 | SBCESN35
CNPE | Bellaire - Kirby | LN | 138 | 21/10 | Eastside - Polk 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | BI | KB | BI_KB_37A | SKBBI8
CNPE | Bellaire - Smithers | LN | 345 | 24/10, 24/9 | Twr (345) Jn-wap64 & Jn-wap72 | Bellaire - Wa Parish 345kV | RT | Forced | [6 empty] | BI | SMITHERS | BI_SMR98 | SBISMI5
ONCOR | Belton - … - Killeen Switch (641) | LN | 138 | 24/4 | DCKT Killeen Switch - Salado Switch 345 kV | Killeen Switch - Harker Heights South 138 kV | RT | Planned | [6 empty] | KLELM | KLNTF | 641_B | SHKHKLN8
ONCOR | Benbrook -...- Wedgewood Switch (6120_J) | LN | 138 | 25/4 | DCKT Mitchell Bend Switch - Rocky Creek & Timberview Switch - Benbrook Switch 345 kV | Hemphil - Mistletoe Heights 138kV | RT | Planned | [6 empty] | BNBRK | BRIRV | 6120_J | SBNBBNB8
ONCOR | Benbrook -…- Wedgewood Switch (6115_J) | LN | 138 | 25/4 | DCKT Mitchell Bend Switch - Rocky Creek & Timberview Switch - Benbrook Switch 345 kV | Hemphil - Mistletoe Heights 138kV | RT | Planned | [6 empty] | BNBRK | BRIRV | 6115_J | SBNBBN28
ONCOR | Benbrook Switch - Parker Switch (6005_A) | LN | 345 | 21/10 | Comanche Peak Ses - Mitchell Bend Switch 345 kV & Comanche Peak Ses - Wolf Hollow 345 Switch 345 kV, DBCKT Comanche Peak Ses - Parker Switch 345 kV | Benbrook Switch - Parker Switch 345 kV (6042_A) | RT | Planned | [6 empty] | BNBSW | PKRSW | 6005_A | SBNBPKR5
ONCOR | Benbrook Switch - Parker Switch (6042) | LN | 345 | 25/3 | DCKT Comanche Peak SES - Wolf Hollow Switch & Mitchell Bend Switch 345kV, DCKT Mitchell Bend Switch - Carmichael Bend Switch & Rocky Creek 345kV | Benbrook Switch - Parker Switch 345kV (6005) | RT | Planned | [6 empty] | PKRSW | BNBSW | 6042 | SBNBPK25
ONCOR | Benbrook Swith - … - Timberview Switch | LN | 345 | 20/10, 19/11, 17/3, 17/2 | DCKT Wedgewood Sw - Benbrook Switch 138 kV, DCKT Timberview Switch - Comanche Peak SES & Carmichael Bend Switch 345 KV | Hemphill - Mistletoe Heights 138 kV | RT | Planned, Forced | N | [5 empty] | BNBSW | SYCRK | 6000_A | SSYCEV25
LCRA | Bergheim - Hays Energy | LN | 345 | 23/3, 23/2, 22/8, 22/7, 21/10, | Cagnon - Kendall 345 kV & Cico - Menger Creek 138 kV, Cagnon - Kendall 345 kV & Cico - Comfort 138 kV, DCKT Cagnon-Kendall 345 kV&Txresch-Tally_Rd 138 kV | Medina Lake - Pipe Creek 138 kV, Bergeim - Kendall 345 kV, Bergheim Auto AT1 345/138kV, Helotes - Ranchtwn 138 kV, Medila Lake - Pipec Creek 138 kV | RT | Forced | [6 empty] | BERGHE | HAYSEN | 398T3891 | SHAYBER5
LCRA | Bergheim - Kendall | LN | 345 | 25/4, 20/12 | DCKT Cagnon-Kendall 345 kV & Cico-Comfort 138 kV, Zorn - Haysen 345KV, Cagnon-kendal 345 &cico-mengcr 138 | Mason Creek - Bandera 138 kV, Bergheim Auto, Txresrch - Tally_rd 138kV | RT | Planned, Forced | N | [5 empty] | BERGHE | KENDAL | 656T6561 | SKENBER5
STEC | Bevo Auto BEVO 138/69 kV | XF | 138 | 15/6 | Bevo Sub to Asherton 138 kV | Hamilton Road - Maverick 138 kV | RT | Planned | [6 empty] | BEVO |  | BEVO | XBEV89
ONCOR | Bird Dog Switch - Jacksboro Switching (37010) | LN | 345 | 23/5 | Hicks Switch - Exchange Switch 345 kV (106) | Hicks Switch - Exchange Switch 345 kV (107) | RT | Planned | [6 empty] | JCKSW | KRWSW | 37010 | SJCKBDG5
ONCOR | Bluff Creek Switch -…- Dermott Switch | LN | 138 | 25/4 | DCKT Dermott Switch - Scurry County South Switch 345 kV | Deep Creek Sub - Sacroc 138kV | RT | Planned | [6 empty] | KNAPP | SCRCV | 6437_F | SKNADM48
CNPE | Boggy - Pair | LN | 138 | 22/10 | DCKT Exxon - Baytown & SR Bertron - Texas 138 kV, DCKT SR Bertron - Quanab & Dowlap 138 kV | Jefferson - Sc Channel 138 kV | RT | Forced, Planned | [6 empty] | BCV | PSA | BCVPSA | SBCVPSA8
CPS | Braunig - Calaveras | LN | 345 | 21/1 | DCKT Skyline-Calaveras 345 kV | Cagnon - Calaveras 345 kV | RT | Planned | N | [5 empty] | CALAVERS | BRAUNIG | N5_U31 | SBRACAL5
ONCOR | Brown Switch - Buckhorn Switch | LN | 345 | 22/12, 22/9, 21/6, 20/12 | Comanche Sw (Oncor)-Comanche Peak 345 kV, DCKT Bighil-Kendall 345kV | Comanche Tap - Comanche Switch (oncor) 138 kV, Yellow Jacket - Treadwell 138 kV | RT | Planned, Forced | N | [5 empty] | BUCSW | BWNSW | 35095 | SBWNBUC5
AEP | Bruni - Crestonio | LN | 138 | 15/6, 15/5 | Laquinta to Lobo 138 kV | Bruni Auto 69_1 138/69 kV | ST | Planned | Y, N | [5 empty] | BRUNI4 | CRESTONI | BRUNI4_CRESTO1 | SCREBRU8
TMPA | Btu_Jack_Creek - Gibbons Creek | LN | 345 | 17/4, 16/1 | DCKT Jewett to Singleton 345 kV | Gibbons Creek - Twin Oak Sw 345 kV, BTU_Jack_Creek Auto XF1 345/138 kV | RT, ST | Planned | Y | [5 empty] | GIBCRK | JK_CK | GC_JK | SJK_GIB5
ONCOR | Buckhorn Switch - Killeen Switch (35092) | LN | 345 | 22/12 | Comanche Sw (Oncor)-Comanche Peak 345 kV | Comanche Tap - Comanche Switch (oncor) 138 kV | RT | Planned | [6 empty] | KLNSW | BUCSW | 35092 | SBUCKLN5
CNPE | Bunker - H O Clarke | LN | 138 | 21/9 | Meadow - Oasis 345 kV | Blodgett - Garrott 138 kV | RT | Planned | [6 empty] | BUN | HOC | BUNHOC08 | SBUNHO28
ONCOR | Burwick Switching Station - Graham SES | LN | 345 | 21/10 | DBCKT Graham Ses - Parker Switch 345 kV | Barton Chapel Wind Farm - Graham Switch 138 kV, Barton Chapel Wind Farm - Juniper 138 kV | RT | Planned | [6 empty] | BURSW | GRSES | 36030_A | SGRSJC25
CPS, STEC | Calaveras - Pawnee Switching Station | LN | 345 | 25/2, 24/3 | DCKT Elmcreek - San Miguel Gen 345 Kv | Coy City Tap - Pleasanton 138kV, Blessing - Lolita 138 kV | RT | Forced, Planned | [6 empty] | PAWNEE | CALAVERS | PAWNEE_SPRUCE | SPAWCAL5
CPS | Calaveras - Skyline (N5_P4_1) | LN | 345 | 22/5, 22/4, 22/3, 17/12, 17/5 | DCKT Cagnon to Braunig & Calaveras to Cagnon 345 kV, DCKT Hill Country to Marion 345 kV, HILL COUNTRY to CAGNON 345 kV | Skyline - Calaveras 345 kV, Pawnee Switching Station - Calaveras 345 kV, Skyline - Elmcreek 345 kV, Coleto Creek - Rosata Tap 138 kV, Cagnon - Calaveras 345 kV, Pawnee Swithing Station Auto XF1 345/138 kV, Cagnon Auto XFMR4L-H 345/138 kV | RT | Planned, Forced | [6 empty] | CALAVERS | SKYLINE | N5_P4_1 | SSKYCA25
CPS | Calaveras - Skyline (N5_P4_2) | LN | 345 | 22/5, 22/4, 22/3, 17/12 | DCKT Cagnon to Braunig & Calaveras to Cagnon 345 kV, DCKT Hill Country to Marion 345 kV, HILL COUNTRY to CAGNON 345 kV, CAGNON to BRAUNIG 345 kV | Pawnee Switching Station - Calaveras 345 kV, Pawnee Switching Station Auto XF1 345/138 kV, Skyline - Elmcreek 345 kV, Coleto Creek - Rosata Tap 138 kV, Cagnon - Calaveras 345 kV, Cagnon Auto XFMR4L-H 345/138 kV | RT | Planned | [6 empty] | CALAVERS | SKYLINE | N5_P4_2 | SSKYCAL5
AEP | Campwood - … - Rock Springs | LN | 69 | 24/1, 21/9 | Bandera Auto AT3 138/69 kV , DBCKT Big Hill - Kendall 345 kV | Bandera Auto AT2 138/69 kV, Friess Ranch - Rocksprings 69 kV | RT | Forced, Planned | [6 empty] | NEWBARKS | CAMPWOOD | CAMPWO_NEWBAR1 | SCAMROC9
ONCOR | Carmichael Bend Switch - Mitchell Bend Switch | LN | 345 | 23/3 | Benbrook Switch - Parker Switch (6042) 345 kV | Benbrook Switch - Parker Switch (6005) 345 kV | RT | Planned | [6 empty] | MBDSW | CMBSW | 6017 | SMBDCMB5
AEP | Carrizo Springs - Crystal City | LN | 69 | 20/10 | Asherton-Bevo 138 kV | Bevo - Brundage Sub 69 kV | RT | Planned | Y, N | [5 empty] | CARRIZO | CRYSTAL | CARRIZ_CRYSTA11 | SCARCRY9
ONCOR, TNMP | Carrollton Northwest - Lakepointe Tnp | LN | 138 | 23/4, 22/12 | DCKT Carrollton Northwest to Lewisville Switch 345 kV | South Tnp - Ti TNP 138 kV | RT | Planned | [6 empty] | CRLNW | LKPNT | 591_A | SLKPCRL8
BRAZOS, ONCOR | Carrollton Northwest - Lewisville Switch (105_A) | LN | 345 | 2018 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | ADD | [7 empty] | CRLNW | LWSSW | 105_A | SLWSCRL5
BRAZOS, ONCOR | Carrollton Northwest - Lewisville Switch (83) | LN | 345 | 17/3 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | CRLNW | LWSSW | 83 | SKRWCR25
AEP | Carver - Live Oak Aep | LN | 138 | 23/2 | DCKT Twin Buttes-DivideSwitchyard 345 kV | Hargrove - Twin Buttes 138 kV | RT | Forced | [6 empty] | LVOK | CARVER | CARVER_LVOK1 | SCARLVO8
ONCOR | Cash Switch -…- Sulphur Springs Switch | LN | 345 | 25/4 | DCKT Farmersville Switch - Cyclone Switch & Farmersville Switch - Saltillo Switch 345kV | Sulfur Springs Switch - Liberty Pod 138kV | RT | Planned | [6 empty] | SSPSW | CSHSW | 214_A | MSSPSDY5
AEP | Cassava - … - San Angelo Mathis Field | LN | 69 | 24/12, 23/12, 23/10 | Carver - Friend Ranch 138 kV, Bakersfield - Cedar Canyon 345 kV, Twin Buttes - Hargrove 138kV | Atlantic Sonora - Sonora 69 kV, San Angelo Concho - San Angelo Lake Nasworthy 69 kV, Lake Nasworthy - San Angelo Mathis Field 69kV | RT | Forced | [6 empty] | CASSAVA | MERR | CASSAV_MERR1 | SPHBBGL9
LCRA | Castle Mountain - Crane Lcra | LN | 138 | 22/7, 22/5 | DCKT LCRA Crane - King Mountain West Tap & AND Castillo 138 kV, LCRA Crane - Castiollo 138 kV | Rio Pecos - LCRA crane Lcra 138 kV | RT | Planned | [6 empty] | LCRANE | CASTMO | 716T716 | SLC2CAS8
CNPE | Cedar Bayou Plant - … - Quanum | LN | 138 | 24/3 | DCKT Boggy - Derick & South Channel 138 kV | Baytown - Miller 138 kV | RT | Planned | [6 empty] | CBY | WKR | CBYWKR85 | SQNMCB28
CNPE | Cedar Bayou Plant - Center | LN | 345 | 25/2, 22/3, 24/12 | Jordan - King & Jordan - North Belt 345 kV, North Belt - Th Wharton 345 kV, DCKT North Belt - Jorr & Jorr - King, Wa Parish To Obrien OB_WAP99 345kV | Jefferson - South Channel 138 kV, Highlands - Power Systems Arco Cogen 138kV, Wa Parish - Obrien 345kV | RT | Planned | [6 empty] | CTR | CBY | CBYCTR97A | SCBYCTR5
ONCOR | Cedar Crest Switch - ... - Mountain Creek Ses (3150) | LN | 138 | 23/9 | DCKT Cedar Hill Switch - Mountain Creek Ses 345 kV | Cedar Crest Switch - Oak Cliff South 138 kV | RT | Forced | [6 empty] | PLKTM | HMTRD | 3150_D | SPLKMCS8
ONCOR | Cedar Elm Switch - Krum West Switch | LN | 345 | 22/4 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | KRWSW | CDESW | 38020 | SANAKR25
ONCOR | Cedar Hill Switch - … - Timberview Switch (6020) | LN | 345 | 23/8 | DCKT Liggett Switch - Venus Switch 345 kV | Cedar Hill Switch - Webb Sub 345 kV | RT | Planned | [6 empty] | CRTLD | TVWSW | 6020_B | STVWCRT5
ONCOR | Cedar Hill Switch - Courtland | LN | 345 | 19/10, 18/9, 18/5 | DCKT Venus Switch to Timberview Switch & Everman Switch 345 KV | Cedar Hill Switch - Fish Crek Switch (3180) 138 kV | RT | Planned, Forced | [6 empty] | CRTLD | CDHSW | 6020_A | STVWCRT5
AEP | Celanese Bishop - Kleberg AEP | LN | 138 | 25/1, 24/1, 23/11 | DCKT Lon Hill - Bunsen & Wil Tract 138 kV, Lon Hill - Nelson Sharpe 345 Kv, Lon Hill - Robstown Tap 69kV | Calallen Sub - Lon Hill 69 kV, Nelson Sharpe Auto XF1 345/138 kV | RT | Planned | [6 empty] | CELANEBI | KLEBERG | CELANE_KLEBER1 | SCELKLE8
CNPE | Center - PH Robinson | LN | 345 | 23/12, 23/11 | DCKT Cedar Bayou Plant - Jordan & Chambers - Jordan 345 kV | Cedar Bayou Plant Auto AT3 345/138 kV | RT | Forced | [6 empty] | CTR | PHR | CTRPHR97 | SPHRCTR5
ONCOR | Centerville Road Switch - … - Judd Court & Kirkland Park | LN | 138 | 19/9, 19/3 | DCKT Centerville Road Switch to Parkdale Switch 138 kV | Prairie Creek - Scyene Road 138 kV | RT | Planned | [6 empty] | CNRSW | GRLRD | 3250_A, 3250_I | SLKHCNR8
ONCOR | Centerville Road Switch - Forney Switch | LN | 345 | 2017 | DCKT Forney Switch - Royse Switch 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | CNRSW | FORSW | 110 | SCNRFOR5
ONCOR | Centerville Road Switch - Lake Hubbard Ses (3681) | LN | 138 | 23/11 | DCKT Lake Hubbard Ses - … - Prairie Creek Switch 138 kV | Centerville Road Switch - Lake Hubbard Ses 138 kV (3671) | RT | Forced | [6 empty] | CNRSW | LHSES | 3681 | SLHSCNR8
CNPE | Chanel - Deepwater | LN | 138 | 21/11 | Eastside - Gable Stree 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | DPW | CHL | CHLDPW70A | SCHLDPW8
LCRA | Chief Brady - Georgetown | LN | 138 | 25/2 | Georgetown South -…- Georgetown East 138kV, Hutto Switch -…- Georgetown Switch 138kV, Bell County - Temple Switch 138kV, DCKT Temple Switch - Knob Creek Switch 345 kV & Temple Switch - Bell County 138kV | Bell County - Salado Switch 138kV, Salado South - Salado Switch 138kV, Georgetown South - Midnight Sub 138kV | RT | Planned | [6 empty] | CHIEBR | GEORGE | 221T355 | SCHIGEO8
LCRA | Chief Brady - Round Rock | LN | 138 | 24/6 | Bell County - Temple Switch 138kV, DCKT Temple Switch - Knob Creek Switch 345 kV & Temple Switch - Bell County 138kV, DCKT Round Rock -...- Georgetown South 138kV, DCKT Salado Switch To Knob Creek Switch 345kV And Temple Switch To Bell County 138kV | Georgetown South - Round Rock Westinghouse 138kV, Bell County - Salado Switch 138kV | RT | Forced | [6 empty] | RNDRK | CHIEBR | 213T378 | SCHIRND8
ONCOR | China Grove Switch - Snyder | LN | 138 | 24/9, 19/5 | DCKT Dermott Switch - Bluff Creek Switch & Ennis Creek Switch 138 kV, | Ranger Camp Switch - Sun Switch 138 kV, Snyder Auto FMR1 138/69 kV | RT | Planned | [6 empty] | CGRSW | SNYDR | 6235 | SSNYCGR8
STEC | Choate_station - Four Corners Sub | LN | 138 | 24/12 | Manual Stp To Hlj & Anstrom345 Kv Double | Blessing Auto 1382 345/138kV | RT | Planned | [6 empty] | FORCRNS | CHOATE | CHOATE_FORCRNS | SFORPAW8
AEP, ONCOR | Clear Crossing - ... - Willow Creek Switch | LN | 345 | 21/11 | DBCKT Edith Clarke - Riley 345 kV, Abilene Mulberry Creek - Sweetwater East Switch 345 kV & Long Creek - Sweetwater East Switch 345 kV | Abilene Mulberry Creek - Long Creek 345 kV, Abilene Mulberry Creek - Bluff Creek 345 kV | RT | Planned | [6 empty] | CLEARCRO | TOMSW | 35150 | SCLEWC25
AEP, ONCOR | Clear Crossing - … - Dermott Switch (CLEARC_KIRCHH1) | LN | 345 | 18/12, 18/11, 18/9, 18/8, 18/7, 18/6, 18/5, 18/4 | DCKT Dermott Sw to Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | KIRCHHOF | CLEARC_KIRCHH1 | SKIRDMT5
AEP, ONCOR | Clear Crossing - … - Dermott Switch (CLEARC_KIRCHH2) | LN | 345 | 18/5, 18/4 | DCKT Dermott Switch to Scurry County South Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | KIRCHHOF | CLEARC_KIRCHH2 | SKIRDM35
AEP | Clear Crossing - … - Edith Clarke (CLEARC_GAUSS2) | LN | 345 | 17/9, 17/8, 17/7 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | CLEARCRO | GAUSS | CLEARC_GAUSS2 | SGAUED35
AEP | Clear Crossing - West Shackelford (CLEARC_WSHACK1) | LN | 345 | 21/9, 19/3, 19/2, 19/1 | DCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | WSHACK | CLEARC_WSHACK1 | SCLEWS15
AEP | Clear Crossing - West Shackelford (CLEARC_WSHACK2) | LN | 345 | 19/3, 19/2, 19/1 | DCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | WSHACK | CLEARC_WSHACK2 | SCLEWS25
ONCOR | Comanche Peak Ses - Comanche Switch | LN | 345 | 22/4, 21/4, 18/11 | DCKT Killeen Switch - Buckhorn Switch & Russell Gap Switch 345 kV | Comanche Tap - Comanche Switch 138 kV | RT | Planned, Forced | [6 empty] | CMNSW | CPSES | 662 | SCMNCPS5
ONCOR | Comanche Peak Ses - Mitchell Bend Switch | LN | 345 | 20/3 | DCKT Comanche Peak SES - Timberview Switch & Johnson Switch 345 kV | Comanche Peak SES - Wolf Hollow 345 Switch 345 kV, Mitchell Bend Switch - Wolf Hollow 345 Switch 345 kV | RT | Planned | [6 empty] | CPSES | MBDSW | 6033 | SDCSCPS5
ONCOR | Consavvy Switch - Morgan Creek Ses | LN | 345 | 25/3, 24/11, 24/6 | Wett_long_draw To Volta Lin 1, DCKT Bakersfield - Cedar Canyon 345kV, | Longshore Switch - Consavvy Switch 345kV | RT | Planned | [6 empty] | MGSES | CONSW | 6053 | SCONMGS5
LPL | Coop Substatoin - Slaton Sub | LN | 138 | 23/10, 23/9 | Double Mountain Switch - Fiddlewood Switch 345 kV | Dunbar Sub - Holly Sub 138 kV | RT | Planned | [6 empty] | LPLCO | LPLSL | LPLCO_LPLSL | SL11LPL0
STEC | Cotulla Sub - … - Freer Sub | LN | 69 | 22/1 | Fowlerton - Lobo 345 kV | Bruni Sub Auto 138/69 kV | RT | Planned | [6 empty] | COTULAS | HOLANDS | COT_HOLA | SFREBRU9
LCRA | Crane Lcra - King Mountain West Tap | LN | 138 | 22/5 | Crane LCRA - Castillo 138 kV | Rio Pecos - LCRA Crane 138 kV | RT | Planned | [6 empty] | LCRANE | KINGMO | 664T664 | SLCRKIN8
CNPE | Crown -Jefferson | LN | 138 | 23/3 | PAIR to BOGGY 138 kV | Conial - Philip 138 kV | RT | Planned | [6 empty] | JFS | CRN | CRNJFS94 | SCRNJFS8
LCRA | Cypress Creek - Raymond F Barker | LN | 138 | 25/4 | Cagnon - Kendall 345kV & Cico - Comfort 138kV | Raymond F Barker - Comfort 138kV | RT | Planned | [6 empty] | RAYBAR | CYPRCR | 662T662 | SCYPCOM8
AEP | Dermott Switch - … - Figaro | LN | 345 | 21/10 | DBCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | DMTSW | FIGARO | DMTSW_FIGARO1 | SFIGDMT5
ONCOR, WETT | Dermott Switch - Mhos (T-301) | LN | 345 | 22/10, 22/9, 22/5 | Double Mountain Switch - Fiddlewood Switch 345 kV, Blackwater Draw Switch - Double Mountain Switch 345 kV | Holly Substation - Dunbar Substation 115 kV, MacKenzie Substation - Northeastern Substation 115 kV | RT | Forced | [6 empty] | MHOS | DMTSW | T-301 | SDMTW_15
ONCOR, WETT | Dermott Switch - Mhos (T-302) | LN | 345 | 22/10, 22/9, 22/5 | Double Mountain Switch - Fiddlewood Switch 345 kV, Blackwater Draw Switch - Double Mountain Switch 345 kV | Holly Substation - Dunbar Substation 115 kV, MacKenzie Substation - Northeastern Substation 115 kV | RT | Forced | [6 empty] | MHOS | DMTSW | T-302 | SDMTW_25
ONCOR | Dermott Switch - Scurry County South Switch (34540) | LN | 345 | 20/11 | DCKT Clear Crossing-…-Figaro & Clear Crossing-…-Dermott Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | N | [5 empty] | DMTSW | SCOSW | 34540_A | SDMTSC15
ONCOR | Dermott Switch - Scurry County South Switch (34550) | LN | 345 | 20/11 | DCKT Clear Crossing-…-Figaro & Clear Crossing-…-Dermott Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | N | [5 empty] | DMTSW | SCOSW | 34550_A | SDMTSC25
BRAZOS, ONCOR | Desoto Switch -…- Sterrett | LN | 138 | 22/12 | JOHNSON SWITCH (ONCOR) to CONCORD 345 kV, ENNIS WEST SWITCH - ENNIS TRACTEBEL 138 kV, DCKT Kemp Ranch Switch - Sardis & Soap Creek Switch -Cedar Hill Tu 138 kV | Midlothian Txi -…- Midlothian South 138 kV, Wilmer Auto FMR1 138/69 Kv | RT | Planned | [6 empty] | DESSW | GLNHT | 945_A | SGLNDES8
TNMP | Dickinson Tnp - Freeway Park Tnp | LN | 138 | 23/5 | Hastings Tnp - North Alvin Tnp 138 kV | Dickinson Tnp - Freeway Park Tnp 138 kV | RT | Planned | [6 empty] | DICKNSON | FRWYPARK | G138_14 | SDICFR28
TNMP | Dickinson Tnp - League City Tnp | LN | 138 | 24/10, 20/10 | North Alvin TNP-Hastings Tnp 138 kV | League City Tnp - Hidden Lakes Tnp 138 kV | RT | Planned | N | [5 empty] | DICKNSON | LEAGCITY | G138_091 | SLEADIC8
GEUS, TMPA | Diesel - Greenville Steam | LN | 69 | 15/7 | Shelby Auto BT1 138/69 kV | Greenville Steam Auto XT1 138/69 kV | ST | Planned | [6 empty] | DIESEL | GN_S_I | DIE_GNS | SDIEGN_9
AEP | Dolan Tap - Whiting | LN | 138 | 21/10 | Odlaw Switch -…- Uvalde AEP 138 kV | Hamilton Road - Maverick 138 kV | RT | Planned | [6 empty] | DOLAN | WHITING | DOLAN_WHITIN1 | SCT2CAR8
ONCOR | Double Mountain Switch - Fiddlewood Switch | LN | 345 | 24/5 | Dunbar Substation - Wadsworth Susbsation 115kV | Dunbar Substation - Holly Substation 115kV | RT | Planned | [6 empty] | FIDSW | DBMSW | ONCFW_ONCDM | SDBMFID5
CNPE | Dow Chemical - Oasis (DOWOAS18) | LN | 345 | 25/4, 24/9, 24/5, 24/6, 25/4, 24/9, 24/5, 24/6, 22/4, 21/4, 22/9 | DCKT Jones Creek-South Texas Project & Refuge 345 kV, Wa Parish - Waley & Wa Parish - Wolf 345kV | South Texas Project - WA Parish 345 kV, Bay City Sub - Sargent Sub 69 kV, Oasis - Dow Chemical 345kV | RT | Planned, Forced | N | [5 empty] | OAS | DOW | DOWOAS18A | SOASDO25
STEC | Driscoll Sub - … - Loyola Sub | LN | 69 | 20/4 | Ajo-Nelson Sharpe 138 kV | Falfurrias - Premont 69 kV | RT | Planned | N | [5 empty] | DRSCOLS | RICRDOS | DRS_RICR | SRICLOY9
LPL | Dunbar Sub - Holly Sub | LN | 115 | 24/2 | Double Mountain Switch - Fiddlewood Switch 345 kV | Dunbar Sub - Wadsworth Sub 115 kV | RT | Planned | [6 empty] | LPLDB | LPLHY | LPLHY_LPLDB | SL13LPL0
AEP | Edith Clarke - Riley (Edithc_Riley1) | LN | 345 | 18/3, 18/2, 18/1, 17/12, 17/11, 17/10 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | EDITHCLA | RILEY | EDITHC_RILEY1 | SRILED15
AEP | Edith Clarke - Riley (Edithc_Riley2) | LN | 345 | 18/3, 18/2, 18/1, 17/12, 17/11, 17/10 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | EDITHCLA | RILEY | EDITHC_RILEY2 | SRILED25
AEP, WETT | Edith Clarke - Wett_Cottonwood (COTTON_EDITHC3) | LN | 345 | 17/6, 17/5, 17/4, 17/3, 17/2, 17/1, 16/12, 16/11 | Basecase | Panhandle GTC | RT, ST | Planned, Forced | [6 empty] | EDITHCLA | W_CW_345 | COTTON_EDITHC3 | SW_CED55
AEP, WETT | Edith Clarke - Wett_Cottonwood (COTTON_EDITHC4) | LN | 345 | 17/6, 17/5, 17/4, 17/3, 17/2, 17/1, 16/12, 16/11 | Basecase | Panhandle GTC | RT, ST | Planned, Forced | [6 empty] | EDITHCLA | W_CW_345 | COTTON_EDITHC4 | SW_CED45
AEP, LCRA | El Campo - Ricebird | LN | 138 | 23/3 | DCKT Vanderbilt Switching Station - Energy Transfer Partners 138kV & EL Toro Switching Station - Edna Substation 69kV | Danevang Switching Station Auto 138_69 138/69 kV | RT | Planned | [6 empty] | RICEBI | EL_CAMPO | 589T589 | SRICEL_8
ONCOR | Elkton - Martin Lake Ses | LN | 345 | 2017 | Martin Lake - Styker and - Enterprise DCKT | Martin Lake - Shamburger | ADD | [7 empty] | ELKTN | MLSES | 180 | SELKMLS5
ONCOR | Elkton - Tri Corner | LN | 345 | 18/12, 18/11, 2017, 17/11 | DCKT Trinidad Ses- Mt Enterprise & Stryker Creek Ses, DCKT Martin Lake Ses - Stryker Creek Ses & Mt Enterprise 345 kV | Elkton 345/138 kV Auto MR3, Lufkin Switch - Nacogdoches South Tap 138 kV | ADD, RT | Planned | [6 empty] | ELKTN | TRCNR | 170 | SELKFOR5
CNPE, CPS | Elmcreek - South Texas Project | LN | 345 | 22/4 | Elmcreek - South Texas Project 345 kV & South Texas Project - WA Parish 345 kV | Hillje - South Texas Project 345 kV | RT | Planned | [6 empty] | STP | ELMCREEK | STPELM271 | SELMSTP5
GAR | Elmgrove - Wylie Switch | LN | 138 | 16/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | ELMGROVE | WYLIESW | WYL_ELMG | SWYLELM8
LCRA | Engle -…- Schulenburg | LN | 138 | 22/5 | Joslin - Formasa 138 kV | Lolita - Victoria 138 kV | RT | Planned | [6 empty] | ENGLE | FLATON | 145T112 | SENGFLA8
ONCOR | ENNIS WEST SWITCH -...- SHANKLE SWITCH (941) | LN | 138 | 19/6 | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | Ennis West Switch- Wahaxhachie - Sterrett | ADD | Planned | [6 empty] | ENWSW | SHKSW | 941 | SENWSHK8
ONCOR | Ennis West Switch -…- Sterrett (940) | LN | 138 | 18/11 | ENNIS WEST SWITCH -...- SHANKLE SWITCH 138 kV (941) | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | ADD | Planned | [6 empty] | ENWSW | ENSSO | 941_C | SENSENW8
ONCOR | Ennis West Switch -Ennis South (941_C) | LN | 138 | 19/4 | WXHCH-WXOCF_69kV & ENWSW-STERT_138kV | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | ADD | Planned | [6 empty] | ENWSW | ENSSO | 941_C | SENSENW8
ONCOR | Eskota Switch - … - Ranger Camp Switch (6285) | LN | 345 | 23/11 | McElmurray - … - Moore 138 kV | Capella - Merkel 69 kV, Eskota Switch - Trent 69 kV | RT | Planned | [6 empty] | LSPOI | MGSES | 6285_B | SSWDMGS8
AEP | Esperanza - Stp Switch | LN | 138 | 24/1 | Arroz - El Campo 138 kV | Blessing - Pavlov 138 kV | RT | Planned | [6 empty] | ESPERANZ | STPSW | ESPERA_STPSW1 | SSTPESP8
ONCOR | Everman Switch - Oakhill Tap 1 | LN | 138 | 22/2, 21/12 | Davis -…-Everman Switch 138 kV, DBCKT Deen Switch -…- Hicks Switch 138 kV | Hemphill - Mistletoe Heights 138 kV | RT | Planned, Forced | [6 empty] | EVRSW | OAKT1 | 6310_A | SOAKEVR8
ONCOR | Exchange Switch - Roanoke Switch (109) | LN | 345 | 24/10, 24/11 | DCKT Krum West Switch - West Denton & Lewisville Switch 345 kV, Krum West Switch - Bird Dog Switch 345kV | Roanoke Switch - Exchange Switch 345 kV (108) | RT | Planned | [6 empty] | RNKSW | EXCSW | 109 | SRNKEXC5
ONCOR | Falcon Seaboard - Ranger Camp Switch | LN | 345 | 25/2, 25/1 | Consavvy Switch To Morgan Creek Ses 345kV, DCKT Morgan Creek SES - Consavvy Switch & Longshore Switch 345kV | Morgan Creek Ses 345/138 kV Auto MR1H, Morgan Creek Ses - Ranger Camp Switch 345kV, Longshore Switch - Consavvy Switch 345kV | RT | Planned | [6 empty] | FLCNS | MGSES | 6046_A | MRGRFLC5, MRGRMGS5
ONCOR | Falcon Seaboard - Rockhound Switch | LN | 345 | 20/10 | DCKT Odessa EHV Sw-Moss Sw & Wolf Switching Station 345 kV | Odessa North - Odessa 138 kV | RT | Planned | N | [5 empty] | FLCNS | MDLNE | 6044 | SFLCMDL5
ONCOR, WETT | Farmland - Wett_long_draw | LN | 345 | 24/8 | Blackwater Draw Switch - Double Mountain Switch 345kV | MacKenzie Substation - Northeast Substation 115 kV | RT | Planned | [6 empty] | FARMLAND | W_LD_345 | FARMLAND_LONGD | SW_LFAR5
LCRA | Fayette Plant 3 - Lytton Springs | LN | 345 | 23/2 | DCKT Fayette Plant 1 and 2 - Lostpine & Winches 345kV | Fayetteville Auto AT2H 345/138 kV | RT | Planned | [6 empty] | FPPYD2 | LYTTON_S | 355T255 | SFPPLYT5
ONCOR | Forney Switch - Royse Switch (200) | LN | 345 | 2017 | Forney Sw - Centerville Road Sw 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | FORSW | RYSSW | 200 | SFORRYS5
ONCOR | Forney Switch - Royse Switch (210) | LN | 345 | 2017 | Forney Sw - Centerville Road Sw 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | FORSW | RYSSW | 210 | SFORRY25
AEP | Fort Mason - Yellow Jacket | LN | 138 | 22/11 | DCKT Bighill -Kendall 345kV | Yello Jacket - Hext LCRA 138 kV | RT | Forced | [6 empty] | YELWJCKT | FORTMA | FORTMA_YELWJC1 | SFORYEL8
STEC | Fowlerton - San Miguel Gen (FOWRTN_SMIGL) | LN | 345 | 25/3, 24/2, 21/2 | DCKT North Edinburg - Pomelo 345 kV, DCKT Dilley Switch - San Miguel Switch & Dilley Switch - Cotulla Sub 138 kV, DCKT Fowlerton To Avanzada & Lobo To Fowlerton 345kV | Freer - Lobo 69 kV, Dilley Switch Aep - Cotulla Sub 69 Kv, Laredo Vft North - Las Cruces 138kV, North Laredo Switch - Mines Road 138kV | RT | Planned, Forced | [6 empty] | FOWLRTON | SANMIGL | FOWRTN_SMIGL | SSANFOW5
TNMP | Freeway Park Tnp - Mainland Tnp | LN | 138 | 22/4, 22/3, 21/2 | Meadow - Ph Robinson 345 kV, PH Robinson-Gaf Tnp 138 kV | Magnolia Tnp - Seminole Tnp 138 kV, Freeway Park Tnp - Dickinson Tnp 138 kV | RT | Planned | N | [5 empty] | MAINLAND | FRWYPARK | 138_FWP_MNL1 | SFRWMAI8
LCRA | Friend Ranch - Fort Lancaster | LN | 138 | 24/9 | DCKT Bakersfield - Cedar Canyon 345kv | Crossover - Palouse 138kV | RT | Planned | [6 empty] | FRIEND_R | FTLN | 438T438 | SFRIFTL8
TNMP | Friendswood TNP - Seminole Tnp | LN | 138 | 23/10 | Meadow - PH Robinson 345 kV | Alvin Tnp - North Alvin Tnp 138 kV | RT | Planned | [6 empty] | FRDSWOOD | SEMINOLE | G138_10C | SFRDSEM8
ONCOR | Garland - Rowlett Tap | LN | 138 | 24/8 | Walnut - Naaman 138kV | College - Jupiter 138kV | RT | Planned | [6 empty] | RWLTP | GRLND | 1630_H | SFSTRYS8
CNPE | Garrott - Kirby | LN | 138 | 21/11 | Eastside - Gable Stree 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | GT | KB | GT_KB_37A | SGTKB8
CNPE, CROSS, GAR, TMPA | Gibbons Creek - Limestone Plant (GIB_LIME181) | LN | 345 | 23/5, 21/3 | DCKT Twin Oak Switch - Gibbons Creek & Jack Creek 345 kV, DCKT Jewett-Singleton 345 kV | Jewett - Singleton 345 kV, Gibbons Creek - Twin Oak Switch 345 kV | RT | Planned | N | [5 empty] | GIBCRK | LEG | GIB_LIME181 | SLE2GIB5
CNPE, CROSS, GAR, TMPA | Gibbons Creek - Limestone Plant (GIB_LIME501) | LN | 345 | 25/3, 23/5, 21/3 | DCKT Twin Oak Switch - Gibbons Creek & Jack Creek 345 kV, DCKT Jewett-Singleton 345 kV | Jewett - Singleton 345 kV, Gibbons Creek - Twin Oak Switch 345 kV | RT | Planned | N | [5 empty] | GIBCRK | LEG | GIB_LIME501 | SLEGGIB5
TMPA | Gibbons Creek - Twin Oak Switch | LN | 345 | 20/11, 20/5 | DCKT GibbonsCreek-Limestone 345 kV, DCKT Jewett-Singleton 345 kV | Jewett - Singleton 345 kV | RT | Planned | N | [5 empty] | GIBCRK | TOKSW | 256_A1 | SGIBTOK5
ONCOR | Golden Switch - Sun Switch | LN | 138 | 20/3 | DCKT Dermott Switch to Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Forced | [6 empty] | GLDSW | SUNSW | 6438 | SGLDSUN8
ONCOR | Graham SES - Rice Switch | LN | 138 | 22/4 | Windthorst Switch -…- Wichita Falls South Switch 138 kV | Cottonwood Road Switch - Olney Pod 69 kV | RT | Planned | [6 empty] | GRSES | RICSW | 6560_A | SRICGRS8
ONCOR | Graham SES - Tonkawa Switch | LN | 345 | 21/11 | Abilene Mulberry Creek - Sweetwater East Switch 345 kV & Long Creek - Sweetwater East Switch 345 kV | Abilene Mulberry Creek - Bluff Creek 345 kV | RT | Planned | [6 empty] | GRSES | TKWSW | 6035_A | STKWGRS5
CROSS | Gray - Railhead | LN | 345 | 16/5, 16/3 | Basecase, DCKT Alibates to Tule Canyon 345 kV | Panhandle GTC, Low Voltage in Panhandle area | RT, ST | Planned | Y | [5 empty] | RAILHEAD | CTT_GRAY | RAILHD_GRAY | SRAICTT5
AEP, CROSS | Gray - Tesla (GRAY_TESLA_1) | LN | 345 | 17/1 | Basecase | Panhandle GTC | RT | Forced | [6 empty] | CTT_GRAY | TESLA | GRAY_TESLA_1 | SCTTTES5
CROSS | Gray South Bus (CB GY_BKR_G130, etc.) | BUS | 345 | 16/5 | DCKT Alibates to Tule Canyon 345 kV | Low Voltage in Panhandle area | ST | Planned | Y | [5 empty] | GTT_GRAY |  | 1002 | N/A
ONCOR | Gresham Road Switch - … - Nacogdoches Se | LN | 138 | 19/1, 18/12, 18/10, 18/8, 18/7, 17/12 | DCKT Martin Lake Ses to Stryker Creek Ses & Trinidad Ses to Mt Enterprise 345 kV | Lufkin Switch - Nacogdoches South Tap 138 kV | RT | Planned | [6 empty] | CSHNG | GRDSW | 1450_F | SNCDCMI8
LCRA | Hamilton Road - Pinto Creek | LN | 138 | 23/4, 23/3 | DCKT Bighill-Kendall 345kV | Hamilton Road - Maverick 138 kV, Escondido - Ganso 138 kV | RT | Planned | [6 empty] | PINTCR | HAMILTON | 464T464 | SBRAHAM8
ONCOR | Harker Heights -...- Nolanville | LN | 138 | 25/2, 25/3, 25/2, 25/3 | DCKT Salado Switch - Killeen Switch 345kV | Belton - Belton Southwest 138kV | RT | Planned | [6 empty] | NLNVL | HKHTS | 640_N | SNLNHKH8
ONCOR | Hawk Hollow Switch - … - Rivercrest Ses (1561) | LN | 138 | 23/8 | DCKT Hawk Hollow Switch - Paris Switch 138 kV | Tenaska (TXU) - Toco Switch 138 kV | RT | Planned | [6 empty] | DRPEA | HWKSW | 1561_C | SHWKDPR8
ONCOR | Hawk Hollow Switch - … - Tenaska (TXU) (1560) | LN | 138 | 23/8 | DCKT Hawk Hollow Switch - Paris Switch 138 kV | Deport REA - Rivercrest Ses 138 kV | RT | Planned | [6 empty] | PREST | RENTP | 1560_A | SHWLBL8
LCRA | Hays Energy Center - Zorn (388T3881) | LN | 345 | 2021 | DCKT Cagnon - Kendal 345kV & Cico - Comfor 138kV | Hays Energy Center - Zorn 345 kV (6T227) | ADD | [7 empty] | HAYSEN | ZORN | 388T3881 | SHAYZO25
LCRA | Hays Energy Center - Zorn (6T227) | LN | 345 | 2021 | DCKT Cagnon - Kendal 345kV & Cico - Comfor 138kV | Hays Energy Center - Zorn 345 kV (388T3881) | ADD | [7 empty] | HAYSEN | ZORN | 6T227 | SHAYZOR5
AEP | Hicks Switch - Roanoke Switch | LN | 345 | 24/9 | DCKT Krum West Switch - West Denton & Krum West Switch - Lewisville Switch 345kV | Alliance - Roanoke Switch 345kV | RT | Planned | [6 empty] | RNKSW | HCKSW | 107 | SHCKEXC5
AEP | Hidalgo Energy Center - North Edinburg | LN | 138 | 25/4 | Mccoll Road - North Edinburg & North Edinburg - North Mcallen 138kV | North Edinburg - Hidalgo Energy Center 138kV | RT | Forced | [6 empty] | NEDIN | HEC | HEC_NEDIN1 | SDUKNED8
TNMP, ONCOR | Highlands Tnp - Lewisville Switch | LN | 138 | 21/12, 20/12, 20/1, 20/3, 20/2 | Carrollton Northwest-Lakepoint Tnp 138 kV, DCKT Carrollton Northwest to Lewisville Switch 345 kV | South Tnp - Carrollton Northwest, Argyle - Highlands Tap 138 kV, TI Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW | LWSVH | 593 | SLWSLWS8
LCRA, CPS | Hill Country - Marion | LN | 345 | 23/2, 19/2 | DCKT Elmcreek - Skyline 345 kV | Hill Country - Marion 345 kV | RT | Planned | [6 empty] | MARION | HILLCTRY | HILL_MAR_1 | SMARHI25
ONCOR | Hillsboro - Whitney | LN | 138 | 24/10 | Bale Switch - Stranger Switch 345kV, Jewett - Stranger Switch 345kV | Haney Bepc - Navarro 138kV | RT | Forced | [6 empty] | HLSBR | WHTNY | 1200 | SHLSWH28
LCRA | Hollmig - Kendall | LN | 138 | 24/10 | Kendall To Comfort Lin 1 | Kerrville Stadium - Kendal 138kV | RT | Forced | [6 empty] | FREDER | HOLLMI | 73T120 | SCOMKEN8
AEP | Holly - Westside Aep | LN | 138 | 22/05, 18/11 | Airline Aep - … - Westside Aep 138 kV | Arcadia - Southside 138 kV | RT | Planned, Forced | [6 empty] | HOLLY4 | WESTSIDE | HOLLY4_WESTSI1 | SHOLWES8
LPL | Holly Sub - Southeast Sub | LN | 115 | 23/11 | Double Mountain Switch - Fiddlewood Switch 345 kV | Slaton Sub - Southeast Sub 115 kV | RT | Planned | [6 empty] | LPLHY | LPLSE | LPLSE_LPLHY | SL17LPL0
CNPE | Holmes - Plaza | LN | 138 | 21/10 | Eastside - Polk 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | PZ | HM | HM_PZ_06A | SHMG1V8
CPS | Howard - Somerset | LN | 138 | 24/5, 23/9, 18/1, 17/12 | DCKT Cagnon - Rafter & Rafter - Txresrch 138 kV, DCKT Castrvll to Razorbac & Txresrch 138kV | Hondo Creek Switching Station - Moore Switching Station 138 kV, Medina Lake - Pipe Creek 138kV | RT | Planned | [6 empty] | HOWARD | E3 | E3_S1 | SE3S18
ONCOR, TMPA | Jack_Creek - Twin Oak Switch | LN | 345 | 20/11 | DCKT GibbonsCreek-Limestone 345 kV | Jewett - Singleton 345 kV (260_A) | RT | Planned | N | [5 empty] | JK_CK | TOKSW | JK_TOKSW1 | SJK_TOK5
BRAZOS | Jaybird - Rw Miller | LN | 138 | 16/11 | Mineral Wells to Mineral Wells West 138 kV | Bunker - RW Miller 138 kV | ST | Planned | [6 empty] | MIL | JAYBIRD | JYBRD_MIL | SSTVMIL8
BRAZOS | Jaybird - Stephenville Bepc | LN | 138 | 16/11 | Mineral Wells to Mineral Wells West 138 kV | Bunker - RW Miller 138 kV | ST | Planned | [6 empty] | JAYBIRD | STV | JYBRD_STV | SJAYSTV8
CNPE | Jeanetta - WA Parish | LN | 345 | 21/12 | Meadow - Ph Robinson 345 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | WAP | JN | JN_WAP72A | SJNWA1P5
CNPE | Jeanetta - Westchase | LN | 138 | 23/2 | DCKT Bellaire -H O Clarke 138 kV | Jeanetta - Westwood 138 kV | RT | Planned | [6 empty] | JN | WZ | JN_WZ_05 | SWZJN8
CNPE | Jeanetta - White Oak | LN | 345 | 24/7 | Wa Parish To Obrien Lin OB_WAP99 | Wa Parish - Obrien Lin OB_WAP98 | RT | Forced | [6 empty] | WO | JN | JN_WO_72 | SWOJN5
ONCOR | Jewett - Singleton (260_A) | LN | 345 | 2018 | DCKT Gibbons Creek to Singleton 345 kV | Jewett - Singleton 345 kV (240) | ADD | [7 empty] | JEWET | SNG | 260_A | SSNGJE25
AEP | Jim Treece - Riley | LN | 345 | 16/11 | Basecase | Panhandle GTC | ST | Planned | [6 empty] | JIMTREEC | RILEY | JIMTRE_RILEY2 | SJIMRI25
AEP | Jim Treece - Tesla | LN | 345 | 17/2, 16/11 | Basecase | Panhandle GTC | ST | Planned | Y, N | [5 empty] | JIMTREEC | TESLA | JIMTRE_TESLA2 | SJIMTE25
DME, TMPA | Jimchristal - West Denton | LN | 138 | 23/10 | Fort Worth Sub - Teasley Sub 138 kV | Rd Wells Interchange - West Denton 138 kV | RT | Planned | [6 empty] | JCHRSTL | W_DENT | AIR_W_DE | SJMCW_D8
ONCOR | Johnson Switch - Venus Switch | LN | 345 | 19/11, 19/10 | DCKT Venus Switch to Timberview Switch & Everman Switch 345 KV, Concord Auto CRD1 345/138 kV | Cedar Hill Switch - Fish Creek Switch 138 kV (3180), Concord Auto CRD2 345/138 kV | RT | Planned | [6 empty] | JONSW | VENSW | 141 | SJONVEN5
CNPE | Jones Creek - Refuge | LN | 345 | 24/12 | Twr (345) Blu-bly72 & Hlj-wlf64 | South Texas Project - Jones Creek 345kV | RT | Planned | [6 empty] | JCK | REF | JCKREF27 | SREFJCK5
CNPE | Jones Creek - South Texas Project | LN | 345 | 22/6, 22/4 | Elmcreek - South Texas Project 345 kV & South Texas Project - WA Parish 345 kV, DCKT BLUE-Bailey & Hillje - Wolf 345 kV | Hillje - South Texas Project 345 kV, Jones Creek - Refuge 345 kV | RT | Planned, Forced | [6 empty] | JCK | STP | JCKSTP18A | SJCKSTP5
TNMP | Jones Street Tnp - Lakepointe Tnp | LN | 138 | 20/3, 20/2, 20/1,19/3, 17/12, 17/11 | DCKT Carrollton Northwest to Lewisville Switch 345 kV | Ti Tnp - West Tnp 138 kV, Carrollton Northwest - Lakepointe Tnp 138kV, Argyle - Hihglands Tnp 138 kV | RT | Planned | [6 empty] | LWVJS | LKPNT | 590_B | SLWVLKP8
BRAZOS, TNMP | Jones Street Tnp - Lewisville Switch | LN | 138 | 20/3 | DCKT Carrollton Northwest to Lewisville Switch 345 kV | TI Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW | LWVJS | 590_A | SLWVLWS8
CNPE | Jordan - King | LN | 345 | 22/11, 21/11 | Jordan - King 345 kV & Jordan - North Belt 345 kV, DCKT Crown - Tanker 138 kV & Davson - ... - Greens Bayou 138 kV | Lychem - Power Systems Arco Cogen 138 kV | RT | Planned | [6 empty] | KG | JOR | JORKG_97 | SKGJOR5
AEP | Joslin - Sand Crab | LN | 138 | 21/11 | Formosa G3 | Formosa - Lolita 138 kV | RT | Planned | [6 empty] | JOSLIN | SANDCRAB | JOSLIN_SANDCR1 | SJOSSAN8
LCRA | Kendall - Kerrville Stadium | LN | 138 | 24/5 | Comfort To Cypress Creek 138kV | Raymond F Barker - Comfort 138kV | RT | Planned | [6 empty] | KERRST | KENDAL | 115T123 | SKERKEN8
LCRA | Kendall CTEC - Maenius Road | LN | 138 | 22/4 | Comfort - Kendall 138 kV | Hollmig - Kendall 138 kV | RT | Planned | [6 empty] | KENDCT | MAENRO | 22T342 | SMAEKEN8
ONCOR | Killeen Switch - Salado Switch (271) | LN | 345 | 18/12 | Killeen Switch TRX KLNSW_3_2 345/138 | Killen Switch TRX MR1H 345/138 kV | RT | Planned | [6 empty] | KLNSW | SALSW | 271 | SKLNSA25
ONCOR | Killeen Switch - Salado Switch (272) | LN | 345 | 18/12 | Killeen Switch TRX KLNSW_3_2 345/138 | Killen Switch TRX MR1H 345/138 kV | RT | Planned | [6 empty] | KLNSW | SALSW | 272 | SKLNSAL5
ONCOR | Killeen Switch Auto AXFMR1 345/138 kV | XF | 345 | 22/5, 22/4, 22/3, 22/2, 22/1 | DBCKT Salado Switch - Killeen Switch 345 kV | Killeen Switch Auto AXFMR2 345/138 kV | ADD | Planned | [6 empty] | KLNSW |  | AXFMR1 | XKLN58
ONCOR | Killeen Switch Auto AXFMR2 345/138 kV | XF | 345 | 2022 | DBCKT Salado Switch - Killeen Switch 345 kV | Killeen Switch Auto AXFMR1 345/138 kV | ADD | Planned | [6 empty] | KLNSW |  | AXFMR2 | XKLN358
ONCOR | Knob Creek Switch - Salado Switch | LN | 345 | 19/9 | DCKT Temple Elm Creek to Belton 138 kV | Temple Southeast - Temple Switch 138 kV | RT | Planned | [6 empty] | SALSW | KNBSW | 36040 | SKNBSAL5
ONCOR | Krum West Switch - Lewisville Switch | LN | 345 | 25/3 | DCKT Anna Switch - Cedar Elm Switch & Anna Switch -Krum West Switch 345kV | Argyle - Corinth 138kV | RT | Planned | [6 empty] | LWSSW | KRWSW | 35010 | SKRWLW25
AEP, ONCOR | Krum West Switch - Riley | LN | 345 | 24/11 | DCKT Bowman Switch - Riley & Byrd Road Switch 345 kV, Jacksboro Switching - Cobb Switching Station 345kV | Fisher Road Switch - Riley 345kV, Bowman Switch - Garvey Road Switch 345kV | RT | Planned | [6 empty] | RILEY | KRWSW | 37020 | SKRWRI15
AEP | La Palma - Villa Cavazos | LN | 138 | 23/5, 23/3, 22/6 | STILLMAN - LOMA ALTA SUBSTATION 138 kV, WATERPORT SUBSTATION - LOMA ALTA SUBSTATION 138 kV | Titan_ Substation - Scarbi Carbide 138 kV, Paloa Alto Substation - Titan_ Substation 138 kV | RT | Planned, Forced | [6 empty] | LA_PALMA | VCAVAZOS | LA_PAL_VCAVAZ1 | SVCALA_8
AEP | La Palma -...- Military Highway Aep | LN | 138 | 24/6, 24/10 | Stillman To Loma Alta Substation 138kV | Titan Substation - South Carbide 138kV | RT | Planned | [6 empty] | VCAVAZOS | MILITARY | MILITA_VCAVAZ1 | SVCAMIL8
AEP | Laquinta - Lobo | LN | 138 | 15/5 | Crestonio to Falfurrias 138 kV | Bruni Auto 69_1 138/69 kV | ST | Planned | Y | [5 empty] | LOBO | LAQUINTA | LAQUIN_LOBO1 | SLAQLOB8
AEP | Laredo Vft North - Milo | LN | 138 | 24/6 | University Aep To Del Mar 138kV | Catarina - Piloncillo 138kV | RT | Planned | [6 empty] | LASCRUCE | MILO | LASCRU_MILO1 | SLARLAS8
AEP | Laredo VFT North -…- North Laredo Switch | LN | 138 | 24/6, 24/2, 23/4, 22/5, 22/4 | Fowlertron Auto 7TR 345/138 kV, Molina -…- Wormser Road 138 kV, Fowlerton - Lobo 345 kV, DCKT Lobo -…- Fowlerton 345kV | Del Mar - Laredo Plant 138 kV, Bruni Sub Auto1 138/69 kV, Wormser Road - Gateway West Tap 138 kV, Lardvnt Vft North - Las Cruces 138 Kv, Catarina - Piloncillo 138kV | RT | Planned, Forced | [6 empty] | MILO | MINES_RD | MILO_MINES_1 | SMINNLA8
ONCOR | Lewisville Switch - Roanoke Switch | LN | 345 | 25/3, 19/4, 19/3 | DCKT Carrollton Northwest - Lewisville Switch 345 kV, Argyle - … - Lewisville Switch 138 kV, DCKT Hicks Switch -…- Roanoke Switch 138kV, DCKT Cedar Hill Switch - Timberview Switch & Venus Switch 345 kV | Argyle - Highlands Tap 138 kV, Roanoke Switch Auto MR1L 345/138kV, Liggett Switch - Norwood Switch 345kV | RT | Planned, Forced | [6 empty] | LWSSW | RNKSW | 105_B | SLWSRNK5
BRAZOS | Lewisville Switch Auto FMR2 345/138 kV | XF | 345 | 17/4 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW |  | FMR2 | XLWS158
BPUB, ONCOR, SHARL | Loma Alta Substation - Stillman | LN | 138 | 23/3 | Millitary Highway Aep - Villa Cavazos 138 kV, DCKT La Palma - Villa Cavazos 138 kV & Rangerville 69 kV | Titan_ Substation - Scarbi Carbide 138 kV | RT | Forced | [6 empty] | LOMA_ALT | STILLMAN | STLLMN_LOMA | SSTILOM8
BPUB | Loma Alta Substation - Waterport Substation | LN | 138 | 18/1, 16/5 | Loma Alta Sub Auto T1 138/69 kV, La Palma to East Harrison 69 kV | La Palma - Villa Cavazos 138 kV, Haine Drive - La Palma 138 kV | RT | Planned, Forced | [6 empty] | WATERPRT | LOMA_ALT | WP_LA | SWATLO28
AEP | Lon Hill - … - Mathis | LN | 69 | 24/1 | George West Switching Station Auto 138_69_1 138/69 kV | Orange Grove Switching Station Auto 138_69_1 138/69 kV | RT | Planned | [6 empty] | EDROY | SMITH | EDROY_SMITH1 | SSTELO29
STEC | Loop 463 Sub - Victoria | LN | 138 | 22/4 | Coleto Creek - Victoria 138 kV (COLETO_VICTOR1) | Coleto Creek - Victoria 138 kV (COLETO_VICTOR2) | RT | Planned | [6 empty] | L_463S | VICTORIA | LOOP_VICTORIA | SL_4VIC8
ONCOR | Martin Lake Ses - Mt Enterprise | LN | 345 | 2017 | Martin Lake - Elktion and Tyler Grande DCKT | Martin Lake - Shamburger | ADD | [7 empty] | MLSES | ENTPR | 360 | SENTMLS5
ONCOR | Martin Lake Ses - Styker Creek Ses | LN | 345 | 2017 | DCKT Martin Lake Ses to Elkton & Tyler Grande 345 kV | Martin Lake Ses - Shamburger Sw 345 kV | ADD | [7 empty] | MLSES | SCSES | 370 | SMLSSCS5
ONCOR | Martin Lake Ses - Tyler Grande | LN | 345 | 2017 | DCKT Martin Lake Ses to Styker Creek Ses & Mt Enterprise 345 kV | Martin Lake Ses - Shamburger Sw 345 kV | ADD | [7 empty] | MLSES | TYGND | 340 | STYGMLS5
GAR | Mccree - Shiloh | LN | 138 | 24/5 | Ben Davis - Brand 138kV | Miller - Newman 138kV | RT | Planned | [6 empty] | SHILOH | MCCREE | SHIL_MCC | SSHIMCC8
LPL | Mcdonald Substation - Northwest Substation | LN | 115 | 23/4, 23/2 | Blackwater Draw Switch - Double Mountain Switch 345 kV | MacKenzie Substation - Northeastern Substation 115 kV | RT | Planned | [6 empty] | LPLNW | LPLMD | LPLNW_LPLMD | SL18LPL0
LCRA | Mcneil - Wells Branch | LN | 138 | 23/11, 23/9, 22/6 | DCKT Techridge - Ashton Woods AEN & Howard Lane AEN, DCKT Hutto Switch - Round Rock & Georgetown South 138 kV | Hutto Switch - Round Rock Northeast 138 kV, Howard Lane - Wells Branch 138 kV | RT | Planned | [6 empty] | WELLBR | MCNEIL_ | 96T136 | SWELMCN8
CNPE | Meadow - Ph Robinson | LN | 345 | 22/11 | DCKT Gable Street -…- Greens Bayou 138 kV, NORTH ALVIN TNP - ALVIN TNP 138 kV , DCKT Davidson - ..-Greens Bayou BY21 & Crown - Tanker 138 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | MDO | PHR | MDOPHR99 | SMDOPHR5
STEC | Merett Sub - Palmhurst Sub | LN | 138 | 22/10 | DCKT North Edinburg -..- North Pharr & North McAllen 138 kV | Hec Energy Center - Azteca Sub 138 kV | RT | Planned | [6 empty] | MV_PALM4 | MERETT | MERETT_PLMHRST | SMERMV_8
CNPE | Miller -…- Rohmas | LN | 138 | 23/1 | Jefferson - College 138 kV | Conial - Philip 138 kV | RT | Forced | [6 empty] | BNS | MLR | BNSMLR88 | SRHMLR8
ONCOR | Mitchell Bend Switch - Rocky Creek | LN | 345 | 22/12, 19/11, 19/10 | DCKT Comanche Peak SES - Timberview Switch & Johnson Switch 345 kV, DCKT Timberview Switch - Comanche Peak SES & Carmichael Bend Switch 345 kV | Carmichael Bend Switch - Mitchell Bend Switch 345 kV, Benbrook SW - Sycamore Creek 345 kV | RT | Planned, Forced | [6 empty] | RKCRK | MBDSW | 152_A | SRKCMB35
ONCOR | Mitchell Bend Switch - Wolf Hollow 345 Switch | LN | 345 | 23/3, 22/3 | Comanche Peak Ses - Johnson Switch (Oncor) 345 kV & Comanche Peak Ses - Timberview Switch 345 kV | Comanche Peak Ses - Mitchell Bend Switch 345 kV | RT | Forced | [6 empty] | WOFHO | MBDSW | 6034_A | SRKCMB25
ONCOR | Montfort Switch -...- Shankle Switch | LN | 138 | 24/6 | Pebble Creek Switch -…- Shankle Switch 138kV | Ennis West Switch - Templeton 138kV | RT | Forced | [6 empty] | ENPTP | TLC | 920_D | SSHKCRI8
ONCOR | Monticello Ses - … -Paris Switch | LN | 345 | 2017 | Paris Switch to Valley South 345 kV & Pacific Switch to Valley SES 345 Kv | Paris Sw 345/138 kV Auto MR1 | ADD | [7 empty] | PRSSW | WDDSW | 390 | SMNSPRS5
ONCOR | Moss Switch - …- Odessa Ehv Switch | LN | 138 | 24/9 | DCKT Odessa EHV - Moss Switch & Wolf Switch 345kV | Odessa North - Odessa 138 kV | RT | Forced | [6 empty] | BTHOT | ODEHV | 6500_B | SBTHOD58
ONCOR | Moss Switch -…- Yucca Drive Switch | LN | 138 | 25/2, 25/1, 24/12 | DCKT Odessa EHV - Moss Switch & Wolf Switch 345kV, DCKT Moss Switch - Meteor Switch & Odessa EHV - Wolf Switch 345kV, DCKT Wolf Switch - Meteor Switch & Odessa EHV 345kV | Odessa Ehv Switch - Yarbrough Sub 138kV, Wolf Switching Station - Sandhills Tap 138kV | RT | Forced | [6 empty] | MOSSW | METSW | 34630 | SMOSYUC8
ONCOR | Mt Enterprise - Trinidad Ses | LN | 345 | 2017 | DCKT Tri Corner - Elkton & Tyler Grande 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | ENTPR | TRSES | 361 | SENTTR25
BRAZOS | Myra -…- Spring | LN | 138 | 25/2, 25/1 | DCKT Lewisville Switch -…- West Denton 345kV | Bennett Road Switch - Decatur 138kV, Allison - Krum Switch 138kV | RT | Planned | [6 empty] | MYRA | VALYVIEW | MYRA_VAL | SMYRSPR8
ONCOR | Nacogdoches Se - Redland Switch | LN | 138 | 18/12 | DCKT Mt Enterprise - Trinidad Ses & Martin Lake Ses - Stryker Creek Ses | Lufkin Switch - Nacogdoches South Tap 138 kV | RT | Planned | [6 empty] | NCDSE | REDSW | 1170 | SNCDRED8
AEP | Nelson Sharpe Auto 345_138_AUTO 345/138 kV | XF | 345 | 23/3 | Barney Davis - Alazan 138 kV | Celanebi Bishop - Kleberg Aep 138 kV | RT | Forced | [6 empty] | N_SHARPE | N_SHARPE | 345_138_AUTO | XN_S58
CNPE | New Gulf - South Lane City | LN | 138 | 22/5 | STP SWITCH -…- STP Facilites HLP & Esperanza & Blessing 138 kV | Blessing - Pavlov 138 kV | RT | Forced | [6 empty] | LC | NEW | LC_NEW60 | SNEWGLF8
LCRA, ONCOR | North McCamey - … - Odessa Ehv Switch | LN | 345 | 2018 | Basecase | McCamey GTC | ADD | [7 empty] | NORTMC | ODEHV | MCCAMEY_ODESSA | SNORODE5
STEC | Oaks Sub - Poteet Sub | LN | 69 | 18/1, 17/12 | DCKT Castrvll to Razorbac & Txresrch 138kV | Hondo Creek Switching Station - Moore Switching Station 138 Kv | RT | Planned | [6 empty] | POTEETS | OAKS9 | POT_OAKS | SPOTOAK9
ONCOR | Oates - … - Royse Switch 138 Kv (1391) | LN | 138 | 23/9 | Centerville - Oates 138 kV | Buckner Home - Mesquite Forney Road 138 kV | RT | Planned | [6 empty] | RYSSW | FATES | 1391_E | SDALRY28
CNPE | Obrien - Wa Parish (OB_WAP98) | LN | 345 | 23/9, 22/8 | DCKT Wa Parish-Jeanetta 345 kV | Wa Parish - Obrien 345 kV (OB_WAP99) | RT | Planned | [6 empty] | WAP | OB | OB_WAP98 | SOBWA2P5
CNPE | Obrien - Wa Parish (OB_WAP99) | LN | 345 | 22/8, 20/8 | DCKT Wa Parish-Jeanetta 345 kV | Wa Parish - Obrien 345 kV (OB_WAP98) | RT | Forced, Planned | [6 empty] | WAP | OB | OB_WAP99A | SOBWAP5
ONCOR, WETT | Odessa EHV Switch - Wett_Grelton | LN | 345 | 22/4, 22/3 | DCKT Consavvy Switch - Longshore Switch & Morgan Creek Ses, Scurry County South Switch - Wett_Long_draw 345 kV & Wett_Faraday - Wett_Long_Draw 345 kV, DCKT Scurry County South Switch - Tonkawa Switch 345 kV | Gail Sub - Willow Valley Switch 138 kV, Kocht Tap - Vealmoor 138 kV | RT | Planned | [6 empty] | W_GT_345 | ODEHV | T-306 | SW_GODE5
LCRA | Odlaw Switch - … - Uvalde Aep | LN | 138 | 22/12, 22/11, 19/2 | Bighill - Kendal 345 kV, Big Hill - Twin Buttes 345 kV | Hamilton Road - Maverick 138kV, Ganso - Maverick 138 kV | RT | Planned, Forced | [6 empty] | BLEWET | ASPHALT | 222T570 | SBRAUVA8
GAR | Olinger - Wylie Switch (WYL_OLI1) | LN | 138 | 16/4 | Greenville Steam to Shelby 138 kV | Shelby Auto BT1 138/69 kV | ST | Forced | [6 empty] | WYLIESW | OLINGR | WYL_OLI1 | SFIRWY18
GAR | Olinger - Wylie Switch (WYL_OLI2) | LN | 138 | 16/9, 15/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | WYLIESW | OLINGR | WYL_OLI2 | SOLIWY18
GAR | Olinger - Wylie Switch (WYL_OLI3) | LN | 138 | 16/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | WYLIESW | OLINGR | WYL_OLI3 | SOLIEL28
AEP | Olmito - Palo Alto Substation | LN | 138 | 25/3 | Stillman To Loma Alta Substation 138kV | Villa Cavazos - Military Highway Aep 138kV | RT | Forced | [6 empty] | OLMITO | PALOALTO | OLMITO_PALOAL1 | SPALMIL8
AEP | Owls - Santa Rita | LN | 138 | 25/1 | DCKT Big Hill - Schneenman Draw 345kV | Lake Nasworthy - San Angelo Mathis Field 69kV | RT | Forced | [6 empty] | SANTARIT | OWLS | OWLS_SANTAR1 | SSANOWL8
AEP | Paint Creek Bus #1 (CB 4135, etc.) | BUS | 138 | 17/1, 16/6, 16/5 | Scurry Sw to Sun Sw 138 kV, Salt Creek Bepc to Salt Creek Reactor 138 kV | Eskota Sw - Longworth 69 kV, Aspermont Auto 69T1 138/69 kV | ST | Planned | [6 empty] | PAINTCRE |  | 8BB1 | N/A
ONCOR | Paris Switch - Valley South | LN | 345 | 22/11 | Woodward Switch - Monitcello Ses 345 kV | Paris Switch AXFMR1H 345/138 kV | RT | Forced | [6 empty] | PRSSW | VLYSO | 403_A | SVLYPRS5
ONCOR | Paris Switch -…- Valley SES | LN | 345 | 22/11 | Woodward Switch - Monitcello Ses 345 kV | Paris Switch AXFMR1H 345/138 kV | RT | Forced | [6 empty] | PRSSW | VLSES | 391_A | SPRSVLS5
ONCOR | Paris Switch CB_8635 | CB | 345 | 2017 | Paris Switch to Pacific Switch & Valley South 345 kV | Paris Sw 345/138 kV Auto MR1 | ADD | [7 empty] | PRSSW |  | 8635 | N/A
STEC | Pawnee Switching Station - San Miguel Gen | LN | 138 | 25/4 | DCKT Skyline - Calaveras 345kv | Pawnee Switching Station - San Miguel Gen 345kV | RT | Forced | [6 empty] | PAWNEE | SANMIGL | PAWNE_SANMI_1A1 | SPAWSAN5
AEP | Primera - Rio Hondo | LN | 138 | 20/7 | La Palma-Rangerville (MVEC) 138 kV | Haine Drive - La Palma 138 kV | RT | Forced | [6 empty] | S_SNROSA | PRIMERA | PRIMER_S_SNRO11 | SS_SPRI8
ONCOR | Red Lakes Switch -…- Wolf Switching Station | LN | 138 | 24/8 | DCKT Odessa EHV - Moss Switch & Wolf Switch 345kV, DCKT Moss Switch - Meteor Switch & Odessa EHV - Wolf Switch 345kV, DCKT Wolf Switch - Meteor Switch & Odessa EHV 345kV | Yarbrough Sub - Odessa Ehv Switch 138kV | RT | Forced | [6 empty] | WLFSW | PWPOD | 6485_A | SWLFECT8
CNPE | Refuge - South Texas Project | LN | 345 | 24/3 | DCKT Bailey - Blue 345 kV & Hillje - Wolf 345 kV | Jones Creek - South Texas Project | RT | Planned | [6 empty] | REF | STPSW | REFSTP27 | SSTPREF5
AEP | Riley - Tesla | LN | 345 | 21/11 | DBCKT Edith Clarke - Riley 345 kV | Abilene Mulberry Creek - Long Creek 345 kV | RT | Planned | [6 empty] | RILEY | TESLA | RILEY_TESLA1 | STESRI15
AEP | Rio Hondo - South Santa Rosa | LN | 138 | 24/8 | Las Pulgas - Raymondville 2 138kV | Haine Drive - La Palma 138kV | RT | Forced | [6 empty] | S_SNROSA | RIOHONDO | RIOHON_S_SNRO1 | MPRIRIO8
ONCOR, TMPA | Roanoke Switch - West Denton | LN | 345 | 25/4 | Krum West Switch - Lewisville Switch 345kV, DCKT Lewisville Switch - Roanoke Switch & Lewisville Switch - Krum West Switch 345kV | Argyle - Highlands TNP 138kV, Denton Creek Switch - Decatur 138kV | RT | Planned | [6 empty] | RNKSW | W_DENT | 165 | SW_DRNK5
ONCOR | Russell Gap Switch - Killeen Switch (35091) | LN | 345 | 22/9 | Comanche Switch (Oncor) to Comanche Peak SES 345 kV, DCKT Bighil-Kendal 345 kV | Comanche Tap - Comanche Switch (Oncor) 138 kV, Yellow Jacket - Treadwell 138 kV | RT | Forced | [6 empty] | RGPSW | KLNSW | 35091 | SRGPKLN5
AEP, BRAZOS | Salt Creek SS - … - Spur | LN | 138 | 19/5 | DCKT Dermott Switch to Bluff Creek Switch & Golden Switch 138 kV | Morgan Creek SES - Sun Switch 138 kV | RT | Planned | [6 empty] | SLTCRKSS | SCKR | SCKR_SCK | SSPUSLT8
STEC | Sam Rayburn Switch - Vanderbilt Switch | LN | 138 | 15/10 | Loop 463 to Sam Rayburn 138 kV | Sam Rayurn Swithcing Station Auto 69_2 138/69 kV | ST | Planned | [6 empty] | RAYBURN | VANBLTSS | RAY_VANB | SVANRAY8
LSTR, ONCOR | Sam Switch - Venus Switch | LN | 345 | 25/1 | DCKT Navarro - Limestone Plant & Limestone Plant - Outlaw Sitch 345kV | Big Brown SES - Jewett 345kV (50) | RT | Planned | [6 empty] | SAMSW | VENSW | 35055 | STHSVE65
AEP | San Angelo College Hills - … - San Angelo Power Station | LN | 138 | 19/9 | San Angelo Paulann to San Angelo Red Creek 138 kV | San Angelo Concho - San Angelo Emerson Street 69 kV | RT | Planned | [6 empty] | SAPOWER | SOUTHLAN | SAPOWE_SOUTHL1 | SSASSA28
AEP | San Angelo Power Station - … - SA Highland Street | LN | 138 | 19/9 | San Angelo Coke Street to San Angelo Red Creek 138 kV | San Angelo Power Station - San Angelo South 69 kV | RT | Planned | [6 empty] | SAPOWER | SAST | SAPOWE_SAST1 | SSASRED8
AEP | San Angelo Red Creek - … - San Angelo North | LN | 138 | 24/4 | San Angelo College Hills - … - San Angelo Power Station 138 kV | San Angelo Power Station Auto T1 138/69 kV | RT | Forced | [6 empty] | PAULANN | REDCREEK | PAULAN_REDCRE1 | SPAUSAR8
AEP | San Angelo Red Creek Auto T2 345/138 kV | XF | 345 | 16/10 | San Angelo Red Creek Auto T1 345/138 kV | Nicole - Orient 138 kV | RT | Planned | [6 empty] | REDCREEK |  | T2H | XSA3R58
AEP | Santa Rita - Wolfcamp | LN | 138 | 24/11 | Twin Buttes To Hargrove Lin 1 | SAMATHIS 69 - TANK | RT | Forced | [6 empty] | SANTARIT | WOLFCAMP | SANTAR_WOLFCA1 | SWOLPAL8
ONCOR, WETT | Scurry County South Switch - Wett_Long_Draw (T-304) | LN | 345 | 24/4, 22/5, 22/4 | Blackwater Draw Switch - Double Mountain Switch 345 kV, DCKT Consavvy Switch - Longshore Switch & Morgan Creek Ses | MacKenzie Substation - Northeast Substation 115 kV, Falcon Seaboard - Ranger Camp Switch 345 kV | RT | Planned | [6 empty] | W_LD_345 | SCOSW | T-304 | SW_LSCO5
AEP, BRAZOS | Scurry Switch - … - Spur | LN | 138 | 16/10, 16/3 | Aspermont Aep to Spur 138 kV | Spur Auto 69_1 138/69 kV | ST | Planned | Y, N | [5 empty] | SCURRYSW | SCK | SLTCRK_SCRYSW | SSPUMW18
AEP | Silver - Sterling City & Spade Ranch | LN | 69 | 24/12 | DCKT Noelke - Cedar Canyon 345kV | Sterling City - Sterling County 69kV | RT | Forced | [6 empty] | ANGORA | STER | ANGORA_STER1 | SSPACED9
BPUB | Sixth Street Substation - South Plant Substation | LN | 138 | 18/4, 18/3 | DCKT San Miguel Gen to Elmcreek 345 kV, Kendall to Cagnon 345 kV; | Pawnee Switching Station - Calaveras 345 kV, CICO - Comfort 138 kV | RT | Planned | [6 empty] | SOUTH_PL | SIXTH_ST | 6ST_SP | SSIXSOU8
ONCOR | Snyder - … - Sun Switch (6240) | LN | 138 | 21/4 | DCKT Dermott Sw-…- Bluff Creek Sw & Ennis Creek Sw 138 kV | Ranger Camp Switch - Sun Switch 138 kV | RT | Planned | N | [5 empty] | SNYDR | DPCRK | 6240_A | SSACSUN8
AEP | South Carbide - Titan Sub 138 kV | LN | 138 | 24/3 | Loma Alta Sub - Stillman 138 kV | La Palma - Villa Cavazos 138 kV | RT | Planned | [6 empty] | TITAN_SU | SCARBIDE | SCARBI_TITAN_1 | STITSCA8
CNPE | South Texas Project - WA Parish | LN | 345 | 23/2, 22/3, 22/2, 21/12, 21/9 | Jones Creek - Refuge 345 kV & Jones Creek - South Texas Project 345 kV, Jones Creek - South Texas Project 345 kV & Refuge - South Texas Project 345 kV, Hillje - Wolf 345 kV | Hillje - South Texas Project 345 kV, Blessing - Pavlov 138 kV, Jones Creek - South Texas Project 345 kV | RT | Planned | [6 empty] | STP | WAP | STPWAP39 | STPWAP39
BPUB, STEC | Southmost Sub - Waterport Sub | LN | 138 | 18/1 | Lon Hill to Coleto Creek 345 kV, La Palma to East Harrison 69 kV, DCKT Jewett to Singleton 345 kV | Warburton Road Switching Station - Victoria 138 kV, Btu Jack Creek - Twin Oak Sw 345 kV | RT | Forced | [6 empty] | WATERPRT | SOUTHMOS | WP_SM | SSOUWAT8
ONCOR | Stryker Creek Ses - Trinidad Ses | LN | 345 | 2017 | DCKT Elkton to Tri Corner & Tyler Grande to Tri Corner 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | SCSES | TRSES | 480 | STRSSCS5
ONCOR | Temple Elm Creek - Temple North | LN | 138 | 24/10 | DCKT Salado Switch - Knob Creek Switch 345 kV & Fryers Creek - Bell County 138 kV, DCKT Salado Switch - Knob Creek Switch 345 kV & Salado Switch - Bell County 138 kV, DCKT Salado Switch - Knob Creek Switch 345 kV | Temple South - Scott and White POI 138 kV | RT | Planned | [6 empty] | TMECR | TMNTH | 625_C | MDPPCBN8
ONCOR | Temple Elm Creek - Temple Pecan Creek | LN | 138 | 25/4 | Temple Switch - Temple Pecan Creek 138 kV (1295) | Temple Switch - Temple Pecan Creek Lin 300_A 345kV | RT | Planned | [6 empty] | TMECR | TMPCR | 1425 | STMETM48
CNPE | Th Wharton - Zenith (THWZEN71) | LN | 345 | 22/12 | DCKT Singleton to Tomball 345 kV and Kuykendahl to Roans Prairie 345 kV and Kuykendahl to Rothwood 345 kV | Thw Wharton - Zenith (THWZEN98) 345 kV | RT | Planned | [6 empty] | THW | ZEN | THWZEN71 | SZENTHW5
TNMP | TI TNP - West TNP | LN | 138 | 21/10 | DBCKT Carrollton Northwest - Lewisville Switch 345 kV | Jones Street Tnp - Lewisville Switch 138 kV | RT | Planned | [6 empty] | LWVTI | LWSVW | 588_A | SLWSLW48
TNMP | Tnp One Plant - Twin Oak Switch | LN | 345 | 25/3, 25/4, 25/3, 25/4 | DCKT Hillje -…- Wolf 345kV, Fort Smith Switch - Venus Switch 345kV | Twin Oak Switch -…- TNP One Plant Lin 261_A 345kV, Sam Switch - Venus Switch 345kV | RT | Planned | [6 empty] | TOKSW | TNP_ONE | 262_A | STNPTOK5
ONCOR | Tri Corner - Tyler Grande | LN | 345 | 2017 | DCKT Trinidad Ses to Stryker Creek Ses & Mt Enterprise 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | TRCNR | TYGND | 341 | STYGTRC5
ONCOR | Tri Corner - Watermill Switch (215) | LN | 345 | 20/2, 19/10, 19/9 | DCKT Centerville Road Switch to Parkdale Switch 138 kV, DCKT Big Brown SES to Richland Chambers 345 kV | Prairie Creek - Scyene Road 138 kV, Kleberg Tap - Seagoville 138 kV | RT | Planned | [6 empty] | TRCNR | WTRML | 215 | STRCWTR5
ONCOR | Tri Corner - Watermill Switch (515) | LN | 345 | 24/12, 20/2, 19/10, 19/9 | DCKT Parkdale Switch - Centerville Road Switch 138 kV, DCKT Big Brown SES to Richland Chambers 345 kV, Tri Corner To Seagoville Switch Lin _b | Prairie Creek - Scyene Road 138 kV, Kleberg Tap - Seagoville 138 kV, Forney Switch - TriCorner 345 kV | RT | Planned | [6 empty] | TRCNR | WTRML | 515 | STRSWTR5, MDWRTR25
BRAZOS | Trumbull Auto TRF2 138kV/69kV | XF | 138 | 25/1 | Desoto Switch -…- Pebble Creek Switch 138kV | Trumbull Auto TRF1 138/69kV | RT | Planned | [6 empty] | TRU | TRU | TRF1 | XTRU89
ONCOR | Venus Switch - Fort Smith Switch | LN | 345 | 25/3, 25/1 | Sam Switch - Tiger Creek Switch 345kV, Tiger Creek Switch - Tradinghouse SES 345kV, DCKT Navarro - Limestone Plant & Outlaw Switch 345kV, DCKT Limestone Plant - Navarro & Outlaw Switch 345kV | Jewett - Big Brown SES 345kV, Tradinghouse - Four Brothers Switch 345kV | RT | Planned, Forced | [6 empty] | VENSW | FTSSW | 35050 | SVENFTS5
WETT | Volta - Wett_grelton | LN | 345 | 24/6, 24/5 | DCKT Consavvy Switch - Longshore Switch & Morgan Creek Ses, Wett Faraday -…- Scurry County South Switch 345kV, Odessa Ehv Switch To Wett_grelton 345kV | Alkali Lake - Jim Payne Poi 138kV, Koch Tap - Vealmoor 138kV | RT | Planned | [6 empty] | W_GT_345 | VLTA | T-312 | SW_GVLT5
WETT | Volta - Wett_long_draw | LN | 345 | 24/6, 24/5 | DCKT Consavvy Switch - Longshore Switch & Morgan Creek Ses, Wett Faraday -…- Scurry County South Switch 345kV, Odessa Ehv Switch To Wett_grelton 345kV | Alkali Lake - Jim Payne Poi 138kV, Koch Tap - Vealmoor 138kV | RT | Planned | [6 empty] | VLTA | W_LD_345 | T-305 | SW_LVLT5
STEC | Warburton Road Switching Station - Warburton Road Switching Station | CB | 69 | 24/7 | Victoria -…- Peregrine Substation 345kV, Grissom - Raptor 345kV | Warburton Road Switching Station - Victoria 138 kV | RT | Forced | [6 empty] | WARBURTN | WARBURTN | 464 | XWAR89