## Slide 1: August PLWG Update
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
September 11th 2025

## Slide 2
NPRR 1280, Establish Process for Permanent Bypass of Series Capacitors
  Review of ERCOT comments in response to the TIEC and AEP/LST Joint comments.
  ERCOT revised language to include economic analysis for this type of project.
  LST suggested modifying language to add “for informational purpose only”. ERCOT indicated that this is implied since it was in the comment section of the NPRR comments.
  PLWG achieved consensus and NPRR 1280 moved to ROS for a vote.
NPRR 1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
  ERCOT reported they have sent an RFI to TSPs and are still waiting for feedback.
  Expecting to address the issue in September PLWG. ERCOT plans to finalize and potentially present to Board by December.
  NPRR remains tabled at PLWG at the request of ERCOT.

## Slide 3
PGRR 122 - Reliability Performance Criteria for Loss of Load
  ERCOT is conducting additional analysis related to PGRR122.
  Discussions have occurred at the Large Load Working Group (LLWG).
  The decision on PGRR122 will be delayed until the analysis results are reviewed.
  PLWG agreed to table the agenda item for two to three months.
PGRR 124 - ESR Maintenance Exception to Modifications
  Tesla has had multiple conversations with ERCOT staff focusing on advanced grid services.
  Overlapping language in requirements that has led Tesla to decide to keep this tabled to see how related items are progressing.
  PLWG agreed to table the PGRR and move down the agenda.

## Slide 4
PGRR 126, - Related to NPRR1284, Guaranteed Reliability Load Process – waiting on NOGRR submission
  Clayton Greer had conversations with ERCOT and feel that this PGRR and NPRR may not be needed. May have the LLs into SCED as a CLR already. Received comments from Google that they like the provisional load interconnection with a limitation of 100 operational hours per year.
  Eric Goff mentioned has a client that thinks the CLR approach is not sufficient. Need tie into operational component.
  Discussion that SB 6 rulemaking may or may not incorporate this process. Differing opinions whether it will or not. How would an operational limit be incorporated into planning studies.
  ERCOT suggested beneficial to keep this tabled and want to contemplate how to incorporate this into planning studies.
  Clayton fine with tabling and may not need NOGRR due to CLR.
  PLWG tabled to allow Sponsor to work with ERCOT on incorporating into Planning Studies.

## Slide 5
NPRR 1284, Guaranteed Reliability Load Process
  ERCOT working to see potential changes to planning guide language.
  ERCOT asked to table the NPRR and Sponsor in agreement.
  Need more definitive approach to operations integration and address questions on implementation.
  PLWG tabled NPRR till next month.
NPRR 1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation
  ERCOT spoke to comments to address the Joint commentors. Adopted Oncor recommendation from Oncor about relaxing voltage limit threshold.
  ERCOT also mentioned that after internal review and reviewing Commission rules, ERCOT cannot endorse resiliency project identified in GRRA. Would need to be submitted as a economic or reliability project.
  PLWG agreed to move NPRR 1286 with ERCOT comments to ROS for a vote.
  9/8 Update- Received word that TIEC would like to discuss this NPRR at next PLWG meeting.

## Slide 6
PGRR 127, Addition of Proposed Generation to the Planning Models
  LCRA reviewed comments and advocated for a systematic procedure for adding generation. Would like to see a sub-categorization of the groups proposed in a, b and c. Suggested modeling by fuel type and consistent dispatch to avoid bias in transmission models.
  ERCOT identified two key areas of concern - whether adding the generators will mask any reliability issues; or if adding the generators introduces false reliability concerns.
  LCRA indicated there is no requirement for ERCOT to incorporate stakeholder comments in the development of the RTP case and for selecting generation in the cases. Believes should be some guidelines written in the PGRR.
  ERCOT does not want to be overly prescriptive but understands need for consistency.
  Brazos agreed with LCRA. Large Loads have added complexity to this generation inclusion or exclusion issue.
  ERCOT indicated PLWG may not be the appropriate venue for discussing methodology of what to include or not.
  PGRR remains tabled at PLWG till next meeting.

## Slide 7
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies
  Oncor reviewed comments outlining that the proposal would be overly burdensome and include delays. Concerns that ERCOT and TSP have to justify not using grid enhancing technologies and TSP are already exploring these technologies in project submissions.
  Suggestion to provide more specific comments about the application of these technologies. TSPs mentioned technologies like dynamic line ratings and advanced conductors already being used.
  Agreed to table the PGRR and if no further comments received to advance to ROS without consensus.

## Slide 8
Open discussion to move PLWG to a separate day
  There is a consideration to move the Planning Working Group (PLWG) to its own day for convenience and timing consistency.
  There were difficulties scheduling PLWG at a definite start time due to variability in RPG meeting end times.
  Suggestions were made to start the PLWG at a defined time after RPG, for instance from 12:30 or 1 PM. Other suggestions included starting RPG earlier.
  There are worries that separating the meetings could reduce attendance as the same people attend both.
  Participants value in-person meetings for effective interaction. Concerns raised about potential loss of engagement if shifted to virtual only.
  Several participants expressed preferences for maintaining current meeting format and discussed issues with current scheduling practices.
  PLWG will remain on the same day as RPG but with efforts to establish a more predictable start time. The idea of possibly shifting meetings to another day if RPG runs too long was considered.
  Conclusion: The group agreed to keep PLWG on the same day as RPG and work on setting a clear start time.

## Slide 9
SSR mitigation timeline
  Southern Power discussed that the SSR study process due to challenges in timing when developing new projects.
  ROS sponsor has not made progress on coordinating with appropriate parties to review. Not an urgent/high priority item, so the plan is to start collecting feedback on current SSR timeline and if there are any potential improvements to the process later this fall.
  Advised if there are interested stakeholders, please reach out to Kristin Cook or Chase Smith with Southern Power.

## Slide 10: Questions ?