## Slide 1: DWG Report to ROS
Fahad Qureshi – DWG Chair
September 11th, 2025

## Slide 2: DWG Update, continued
DWG Webex meeting held on 8/21/2025
Large Load stability study guideline/screening technique
  ERCOT presented the final whitepaper requesting WG consensus
  Whitepaper provides a general recommendation for stability study portion of large load interconnection study
  TSPs requested additional clarification on some components
  Consensus reached; whitepaper is posted to DWG landing page under Key Documents. https://www.ercot.com/committees/ros/dwg

## Slide 3: DWG Update
Large Power Electronics Load Ride Through
  ERCOT presented European large load ride through requirements currently implemented [RTE (France), Energinet (Denmark)] and proposed [EirGrid (Ireland)]
  Presented ERCOTs proposal for LEL voltage ride through concept
  ERCOT is working on a NOGRR and expects to have a draft ready by October
PSCAD modeling challenges for Large Load SSO Study
  Lonestar presented challenges they are facing performing a PSCAD study for an ongoing large load study
  Main concern is customer provided generic model may not be representative of their facility
  Asked for DWG feedback on how TSP’s have been dealing with similar issues

## Slide 4: DWG Update, continued
Flat Start Update 2025/2026 Tentative Schedule
  2025/2026 Flat start process initiated on July 21, 2025
  PSSE Version 35.6.4
  2028 & 2023 Summer Peak and 2029 High-Renewable/Minimum-Load
  Discussed comments/feedback received during Pass 0
  Pass 1 will be posted September 12th; TSP review by October 1
  Plan to finalize and approve cases by January 2026 and post stability book by March 2026

## Slide 5: Questions or Feedback?