## Slide 1: ERCOT IBRWG: Other Industry Updates
Julia Matevosyan
09/12/2025
Associate Director and Chief Engineer
ESIG

## Slide 2: First main-land U.S. transmission connected GFM BESS
Shallow Basket Energy 190 MW project comprising PV + GFM-BESS operational on 8/15/2025,
National Renewable Solutions (NRS), a US-based renewable energy developer
Located in Rio Arriba County, New Mexico,
Tesla is the OEM for the 50 MW GFM BESS.
This is also the first transmission connected GFM BESS project in the main-land United States
Source: https://natrs.com/nrss-shallow-basket-energy-project-brings-renewable-energy-to-jicarilla-apache-nation-building-on-legacy-of-environmental-stewardship/
For more information about operational and planned projects see: https://www.esig.energy/working-users-groups/reliability/grid-forming/gfm-landscape/projects/

## Slide 3: ESIG Webinar: Generic Modeling of Grid-Forming Inverters: Phasor-Domain and EMT Perspectives – September 23rd
Featured Speaker: Featured Speakers: Deepak Ramasubramanian, Senior Technical Leader, EPRI; Wei Du, Solar Subsector Engineer and Staff Research Engineer, PNNL
Abstract:
Recent progress in phasor-domain and EMT modeling of grid-forming inverters (GFMs)
Introduction of new WECC standard phasor-domain GFM models (REGFM_A1, REGFM_B1, REGFM_C1, REPCGFM_C1)
Developed with major OEMs and software vendors; integration into leading tools (PSS®E, PSLF, PowerWorld, TSAT, PowerFactory)
Key control functions represented in these models
Development of generic EMT models of GFM technologies (positive & negative sequence behavior)
Discussion of parameterization: aligning generic models with black-box OEM models
https://www.esig.energy/event/webinar-generic-gfm-inverter-modeling/

## Slide 4: DOE Forum for the Implementation of Reliability Standards for Transmission (i2X FIRST) – Season 2
May 27, 2025, 11 a.m. - 1 p.m. ET – Season 2 Kick-Off
June 24, 2025, 11 a.m.- 1 p.m. ET – NERC Milestone 3 Standards
July 22, 2025, 11 a.m.- 1 p.m. ET – IBR Plant Design Evaluation with Applicable Requirements I
August 26, 2025, 11 a.m.- 1 p.m. ET – IBR Plant Design Evaluation with Applicable Requirements II
September 23, 2025, 11 a.m.- 1 p.m. ET – IBR Plant Modeling Requirements and Best Practices
October 21, 2025, 11 a.m.- 1 p.m. ET – Challenges with IEEE2800-2022, Planned Revisions
November 25, 2025, 11 a.m.- 1 p.m. ET – Change of Management during IBR Plant Interconnection Process and Commissioning, How to Maintain Conformity
December 16, 2025, 11 a.m.- 1 p.m. ET – IBR Plant Commissioning Best Practices I
January 27, 2026, 11 a.m.- 1 p.m. ET – IBR Plant Commissioning Best Practices II
February 24, 2026, 11 a.m. - 1 p.m. ET – Grid Forming IBR Specifications and Testing Requirements I
March 16, 2026, hybrid event during ESIG Spring Workshop: Grid Forming IBR Specifications, Testing Requirements, Lessons Learned
Sign up for all future i2X FIRST Season 2 Meetings here
Follow ESIG i2X FIRST website https://www.esig.energy/i2x-first-forum/ for meeting materials & recordings and for future meeting details & agendas

## Slide 5: IBR Plant Design Evaluation with Applicable Requirements II – August 26, 2025
Agenda:
Meeting Introduction: Julia Matevosyan, ESIG
IBR Plant Design Evaluation – ISO Perspective: Alan Urban, MISO
IBR Plant Design Evaluation Leaning on Documentation Review: Jens Boemer, EPRI
IBR Plant Design Evaluation – Utility Perspective: Anthony Williams, Duke Energy
Putting IEEE P2800.2 Concepts to Action: IBR Performance and Modeling Requirements: Ryan Quint, Elevate Energy Consulting
Recording, presentations and meeting synopsis are available here: https://www.esig.energy/i2x-first-forum/

## Slide 6: IBR Plant Design Evaluation with Applicable Requirements II – August 26, 2025
Key Takeaways:
Balanced, risk-informed modeling: MISO requires four model types (PSS®E Std Lib, PSCAD, TSAT UDM, PSS®E UDM) with tests mapped to IEEE 2800-2022/P2800.2. Draft requirements expected Q4 2025; effective 2026. Focus on automation, benchmarking, and cross-model consistency at POI.
Conformity assessment: Mix of simulation + documentation (e.g., VRT, TOV via docs). Verification must cover full plant with traceability.
Interconnection studies: Delayed model submittals complicate transmission studies. Benchmarking UDMs early preserves fidelity, avoids late-stage errors.
Execution risks: Tooling, processes, and staffing need scaling to support IEEE P2800.2 conformity assessments.
Post-COD change management: Use change-control matrix, delta reports, and scoped re-tests to reduce burden while ensuring confidence.
Operationalization: Utilities adopting staged design evaluation and clearer artifacts. Standardized repositories + automation enable “trust-but-verify” and align with international best practice ahead of 2026 rollout.

## Slide 7: IBR Plant Modeling Requirements and Best Practices – September 23, 2025
Agenda:
Meeting Introduction: Julia Matevosyan, ESIG
IBR Plant Modeling Requirements – NYISO Perspective: Bruno Leonardi, NYISO
IBR Plant Modeling Requirements – Developer/Consultant Perspective: Mariana Kamel, EnerNex
IBR Modeling: Where Do We Go From Here?: Andrew Isaacs and Lukas Unruh, Electranix
Sign up for all future i2X FIRST Season 2 Meetings here https://www.esig.energy/i2x-first-forum/

## Slide 8: Two ESIG Trainings – Nov and Dec 2025
ESIG Interconnection Studies Short Course WHEN: November 17-19, 2025 WHERE: Manatee Lagoon, 6000 N Flagler Dr, West Palm Beach, FL 33407 MORE DETAILS: This 3-day in-person training is intended to enhance the knowledge and ability of the current workforce through coursework focused on best practices for performing the study work necessary to interconnect inverter-based resources to the bulk power system reliably. Training participants will learn practical methods and best practices that can be leveraged into enhanced study practices across the industry. These training modules will focus on the expected day-to-day needs of engineers performing interconnection studies, model quality tests, or inverter-based resource model and simulation work as well as managing study practices within their organization.
ESIG Electromagnetic Transient Training WHEN: December 16 - 19, 2025 WHERE: Texas RE's Rio Grande Room, Austin, Texas MORE DETAILS: This 3-day in-person training is intended to enhance the knowledge and ability of the current workforce through coursework focused on performing EMT simulations in the current interconnection and planning paradigm. Training participants will learn practical methods and best practices that can be leveraged into enhanced study practices across the industry. These training modules will focus on the expected day-to-day needs of engineers performing EMT analysis as well as managing EMT study practices within their organization.
MORE INFO- INTERCONNECTION STUDIES SHORT COURSE
MORE INFO- EMT TRAINING
Thanks to NextEra and Texas RE for hosting at their facilities!

## Slide 9
Julia Matevosyan
julia@esig.energy