## Slide 1: September PLWG Update
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
October 2nd, 2025

## Slide 2
NPRR 1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
  ERCOT reviewed comments and agreed with the Oncor comments from 8/20.
  ERCOT disagreed with the Texas Energy Buyers Alliance to add additional language.
  PLWG achieved consensus and the NPRR is moved to ROS for a vote with the Oncor version.
PGRR 126, - Related to NPRR1284, Guaranteed Reliability Load Process – waiting on NOGRR submission
  Clayton Greer received feedback from ERCOT on using SCED for CLR.
  ERCOT is supportive of SCED approach as long it aligns with the necessary constraints.
  SCED approach is generally a good approach and has an easier implementation.
  ERCOT is not in favor of the 100 hr limit on operations.
  Clayton to create a presentation for discussion at PLWG, LLWG and OWG.
  PGRR was tabled to give time for presentation and for ERCOT to contribute to the discussion.

## Slide 3
PGRR 127, Addition of Proposed Generation to the Planning Models
  Discussions ongoing between ERCOT and LCRA.
  PGRR tabled another month for further discussion.
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies
  WATT Coalition went over their presentation on dynamic line ratings, advanced power flow control and topology optimization. Highlighted that grid enhancing technologies are beneficial for congestion mitigation and interim solutions during larger transmission projects.
  Smart Wires presented analysis that showed benefits from Smart Valves to reduce congestion and cut costs with emphasis on efficient generation dispatch, renewable integration, and project deferral.
  ERCOT's Prabhu Gnanam expressed opposition to incorporating the technology proposal into the RTP, suggesting the RPG process as a more suitable alternative and expressing concerns about the RTP's inability to extensively evaluate solutions.

## Slide 4
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies - continued
  Lot of good discussion at PLWG focusing on advocacy of early-stage adoption of new technologies and consideration in economic project evaluation.
  Oncor agreed with ERCOT’s stance and that technology considerations can occur within the exiting RPG processes.
  AEP asked to table the PGRR so that additional comments can be filed.
  TEBA also supportive of tabling the PGRR for additional comments and potential revisions for the next meeting
  Agreed to table the PGRR to allow for further comments and potential revisions.
PGRR 130, Related to NPRR 1295, GTC Exit Solutions
  Presenters had a scheduling conflict and could not present the PGRR.
  Agreed to table the PGRR to next month.

## Slide 5
PGRR 131, Requirements for Interconnection Cost Reporting for Transmission -Connected Generators
  ERCOT introduced the PGRR which involves the implementation of an existing PUC Rule 25.195(i) requiring ERCOT to collect and publish transmission cost interconnection information monthly and annually.
  Oncor expressed overall support for the approach but raised concerns seeking clarity on energization dates.
  Discussion around whether to support just initial energization costs or to also include training costs.
  Jenifer Fernandes from ERCOT mentioned the preference for these changes to be included in RIOO, targeting an implementation by January.
  The group discussed the feasibility of reporting costs once initially and once after the project becomes operational instead of ongoing monthly reporting.
  Oncor and LCRA shared a preference for a 90-day cost reporting cutoff or a two-time reporting approach to avoid burdensome ongoing reporting.
  Doug suggested keeping PUC staff informed due to the rule's requirements and discussed the upcoming timeline and approvals needed for the implementation.
  PGRR tabled to October PLWG, November ROS with TAC in November with urgency and December Board.

## Slide 6
Tabled Items
PGRR 122 -Reliability Performance Criteria for Loss of Load
PGRR 124 - ESR Maintenance Exception to Modifications
NPRR 1286 - Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation

## Slide 7: Questions ?