|  |  |  |  |
| --- | --- | --- | --- |
| NPRR Number | [1280](https://www.ercot.com/mktrules/issues/NPRR1280) | NPRR Title | Establish Process for Permanent Bypass of Series Capacitor |
| Date of Decision | October 8, 2025 |
| Action | Recommended Approval |
| Timeline  | Normal |
| Estimated Impacts | Cost/Budgetary: NoneProject Duration: No project required |
| Proposed Effective Date | The first of the month following Public Utility Commission of Texas (PUCT) approval |
| Priority and Rank Assigned | Not applicable |
| Nodal Protocol Sections Requiring Revision  | 3.11.4.3, Categorization of Proposed Transmission Projects |
| Related Documents Requiring Revision/Related Revision Requests | None |
| Revision Description | This Nodal Protocol Revision Request (NPRR) establishes a Regional Planning Group (RPG) review process for proposals to permanently bypass an existing series capacitor or un-bypass a series capacitor previously designated as permanently bypassed. |
| Reason for Revision |  [Strategic Plan](https://www.ercot.com/files/docs/2023/08/25/ERCOT-Strategic-Plan-2024-2028.pdf) Objective 1 – Be an industry leader for grid reliability and resilience [Strategic Plan](https://www.ercot.com/files/docs/2023/08/25/ERCOT-Strategic-Plan-2024-2028.pdf) Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers [Strategic Plan](https://www.ercot.com/files/docs/2023/08/25/ERCOT-Strategic-Plan-2024-2028.pdf) Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive*(please select ONLY ONE – if more than one apply, please select the ONE that is most relevant)* |
| Justification of Reason for Revision and Market Impacts | The ERCOT System currently has 18 series capacitors installed in the 345 kV transmission network, to primarily enhance power transfer capability and provide voltage support by reducing impedance of the transmission lines between generation and major load centers. While series capacitors improve power transfer efficiency, they also introduce the risk of Subsynchronous Oscillation (SSO)—an abnormal energy interaction at frequencies below the normal operating frequency of 60 Hz. SSO can cause severe damage to generator shafts, series capacitors, and other system components, potentially leading to equipment failures and cascading outages. The risk of SSO increases as more generation or Large Load are located near existing series capacitors. In many cases, major transmission upgrades—such as new 345 kV transmission lines already approved or under construction—can effectively replace the original purpose of series capacitors. As a result, certain series capacitors may become redundant, less critical, or unnecessary following such major transmission upgrades. The current RPG process does not include a formal review process for proposals to permanently bypass or un-bypass existing series capacitor(s). This NPRR requires that these projects be initially classified and reviewed as Tier 3 projects, with reclassification as Tier 4 neutral projects once any concerns are resolved, ensuring they become subject to RPG Project Review. This clear and structured approach will ensure there are robust studies to support a proposal, while still enhancing transparency and coordination by providing RPG stakeholders the opportunity to review and provide comments. Also, efficiencies will be gained in the SSO study process as permanently bypassed series capacitors would no longer be considered capable of becoming radial to Generation Resources or Large Loads. |
| PRS Decision | On 5/14/25, PRS voted unanimously to table NPRR1280 and refer the issue to ROS. All Market Segments participated in the vote.On 9/17/25, PRS voted unanimously to recommend approval of NPRR1280 as amended by the 8/19/25 ERCOT comments. All Market Segments participated in the vote.On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 4/16/25 Impact Analysis for NPRR1280. All Market Segments participated in the vote. |
| Summary of PRS Discussion | On 5/14/25, participants requested NPRR1280 be referred to ROS for further discussion.On 9/17/25, participants reviewed the 8/19/25 ERCOT comments.On 10/8/25, participants reviewed the 4/16/25 Impact Analysis. |
|  |  |
| **Opinions** |
| Credit Review | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1280 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | To be determined |
| ERCOT Market Impact Statement | To be determined |

|  |
| --- |
| Sponsor |
| Name | Sun Wook Kang |
| E-mail Address | SunWook.Kang@ercot.com  |
| Company | ERCOT |
| Phone Number | 512-248-4159 |
| Cell Number |  |
| Market Segment | Not applicable |

|  |
| --- |
| **Market Rules Staff Contact** |
| **Name** | Brittney Albracht |
| **E-Mail Address** | Brittney,Albracht@ercot.com  |
| **Phone Number** | 512-225-7027 |
|  |  |
| **Comments Received** |
| **Comment Author** | **Comment Summary** |
| ROS 060625 | Requested PRS continue to table NPRR1280 for further review by the Planning Working Group (PLWG) |
| TIEC 070825 | Clarified that projects to bypass or un-bypass series capacitors should be reviewed as Tier 2 projects instead of Tier 3 projects and asserted that without the change, stakeholders may not holistically consider the impact projects could have on consumers and the stability or congestion of the system |
| LST and AEP 072825 | Proposed additional specificity regarding economic analysis of projects and offered additional language concerning the justification for the capacitor bank bypassing process  |
| ERCOT 081925 | Provided responses and revisions pursuant to the 7/8/25 TIEC comments and the 7/28/25 LST and AEP comments |
| ROS 091125 | Endorsed NPRR1280 as amended by the 8/19/25 ERCOT comments |
|  |  |
| **Market Rules Notes** |

Please note administrative revisions have been made and authored as “ERCOT Market Rules.”

Please note that the following NPRR(s) also propose revisions to the following section(s):

* NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
	+ Section 3.11.4.3

|  |
| --- |
| Proposed Protocol Language Revision |

3.11.4.3 Categorization of Proposed Transmission Projects

(1) ERCOT classifies all proposed transmission projects into one of four categories (or Tiers). Each Tier is defined so that projects with a similar cost and impact on reliability and the ERCOT market are grouped into the same Tier. For Tier classification, the total estimated cost of the project shall be used which includes costs borne by another party.

(a) A project shall be classified as Tier 1 if the estimated capital cost is greater than or equal to $100,000,000, unless the project is considered to be a neutral project pursuant to paragraph (f) below.

(b) A project shall be classified as Tier 2 if the estimated capital cost is less than $100,000,000 and a Certificate of Convenience and Necessity (CCN) is required, unless the project is considered to be a neutral project pursuant to paragraph (f) below.

(c) A project shall be classified as Tier 3 if any of the following are true:

(i) The estimated capital cost is less than $100,000,000 and greater than or equal to $25,000,000 and a CCN is not required, unless the project is considered to be a neutral project pursuant to paragraph (f) below; or

(ii) The estimated capital cost is less than $25,000,000, a CCN is not required, and the project includes 345 kV circuit reconductor of more than one mile, additional 345/138 kV autotransformer capacity, or a new 345 kV substation, unless the project is considered to be a neutral project pursuant to paragraph (gf) below.

(d) A project shall be initially classified as Tier 3 if it meets any of the following conditions and shall subsequently be reclassified as a Tier 4 neutral project once the comment process is complete:(i) The estimated capital cost is greater than or equal to $25,000,000, and it is proposed for the purpose of replacing aged infrastructure or for storm hardening; or

(ii) The estimated capital cost is less than $25,000,000, and it involves the permanent bypass of an existing series capacitor or un-bypassing of a series capacitor that was previously designated as permanently bypassed. The relevant TSP shall coordinate with ERCOT prior to submission of the project for RPG Project Review, and ERCOT shall perform an economic analysis of the project for inclusion in the RPG project submission.

(e) A project shall be classified as Tier 4 if it does not meet the requirements to be classified as Tier 1, 2, or 3 or if it is considered a neutral project pursuant to paragraph (f) below.

(f) A project shall be considered a neutral project if it consists entirely of:

(i) The addition of or upgrades to radial transmission circuits;

(ii) The addition of equipment that does not affect the transfer capability of a circuit;

(iii) Repair and replacement-in-kind projects;

(iv) Transmission Facilities needed to connect a new Generation Resource, Energy Storage Resource (ESR), or Settlement Only Generator (SOG) to a new or existing substation on the existing ERCOT Transmission Grid, including the substation;

(v) The addition of static reactive devices;

(vi) A project to serve a new Load, unless such project would create a new transmission circuit connection between two stations (other than looping an existing circuit into the new Load-serving station);

(vii) Replacement of failed equipment, even if it results in a ratings and/or impedance change; or

(viii) Equipment upgrades resulting in only ratings changes.

(2) ERCOT may use its reasonable judgment to increase the level of review of a proposed project (e.g., from Tier 3 to Tier 2) from that which would be strictly indicated by these criteria, based on stakeholder comments, ERCOT analysis or the system impacts of the project.

(a) A project with an estimated capital cost greater than or equal to $50,000,000 that requires a CCN shall be reclassified and processed as a Tier 1 project upon request by a Market Participant during the comment period per Planning Guide Section 3.1.5, Regional Planning Group Comment Process.

(3) Any project that would be built by an Entity that is exempt (e.g., a Municipally Owned Utility (MOU)) from getting a CCN for transmission projects but would require a CCN if it were to be built by a regulated Entity will be treated as if the project would require a CCN for the purpose of defining the Tier of the project.

(4) If during the course of ERCOT’s independent review of a project, the project scope changes, ERCOT may reclassify the project into the appropriate Tier.