## Slide 1
Review and Discuss Potential
RMR, MRA and C4C
Improvements
ERCOT Staff
ERCOT Workshop October 17, 2025

## Slide 2: Agenda
  Purpose
    Following recent experiences with Reliability Must-Run (RMR), Must-Run Alternative (MRA) and Contract for Capacity (C4C), ERCOT has reviewed Lessons Learned and identified possible improvements.
  Background
    Definitions and Related Rules
    Procurement History
  Review scope of potential improvements related to:
    Reliability Must-Run (RMR),
    Must-Run Alternative (MRA) and
    Contract for Capacity (C4C).
  Gather stakeholder input regarding proposed improvements and recommendations.
  List and prioritize improvement efforts.

## Slide 3: Reliability Must-Run (RMR) and Must-Run Alternative (MRA)
Protocol Section 3.14.1 Reliability Must Run
RMR Unit: A Generation Resource operated under the terms of an Agreement with ERCOT that would not otherwise be operated except that it is necessary to provide voltage support, stability or management of localized transmission constraints under applicable reliability criteria, where market solutions do not exist.
Protocol Section 3.14.4.1 Must-Run Alternative Service
ERCOT may procure Must-Run Alternative (MRA) Service as an alternative to contracting with an RMR Unit if ERCOT determines that the MRA Agreement(s) will, in whole or in part, address the reliability need identified in the RMR study in a more cost-effective manner.
MRA Resource: A resource operated under the terms of an Agreement with ERCOT as an alternative to an RMR Unit. MRAs may be a Generation Resource, Energy Storage Resource, Other Generation, Demand Response or a combination of any of these alternatives.
Protocols require ERCOT to seek Must-Run Alternatives when a Generation Resource is identified as Reliability Must-Run.

## Slide 4: Contract for Capacity (C4C)
The Public Utility Regulatory Act (PURA) §39.151 (a) (2) requires that ERCOT must …Ensure the reliability and adequacy of the regional electrical network.
  Protocol Section 6.5.1.1 ERCOT Control Area Authority:
  (1) (e) Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.
  (4) Consistent with paragraph (1)(e) above, if ERCOT seeks to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load in the current or next Season by procuring existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Nodal Operating Guides, ERCOT shall take the following actions: …….
ERCOT calls this a Contract for Capacity (C4C) and follows an open, RFP process for procurement.

## Slide 5: Recent Capacity Procurement Background
Resource | Contract Type | Rated Capacity | MRA Awarded | Service Period | Number of Deployments | Actual Termination Month | Budget | Final Actual Costs
Greens Bayou 5A | RMR | 371MW | None | June 1, 2016, through June 30, 2018 | None | May 2017 | Approx. $58M | Approx. $22M
Braunig 3B | RMR | 400 MW | None | March 2, 2025, through March 1, 2027 | TBD | TBD | Approx. $46M | Pending
Lifecycle Mobile GenerationC | Emergency Generation Service | 450 MW | N/A | June 4, 2025, through March 31, 2027 | TBD | TBD | Approx. $54M | Pending
ANote: An MRA RFP was issued for GBY5. 8 offers from 4 QSEs. No MRA awards.
BNote: An MRA RFP was issued for the three Braunig Units. One offer from one QSE. No MRA awards.
CNote: An RFP was issued seeking alternative(s) to Lifecycle Power Mobile Generation and Braunig Units 1 & 2. Three offers, including one valid offer, were received. No awards.

## Slide 6: “C4C-Like” and C4C Background
ID | RFP Posting and Responses | Service Period | Max. Quantity Requested | Responses Received | Number of Deployments | Notes
1 | No RFP posted. ERCOT negotiated with 2 entities and contracted for 4 Resources | ~08/15/2011 - 10/31/2011 | Initially 310 MW were under contract. One Resource (118 MW) was cancelled one month after the contract was signed | N/A | None | Mothballed Resources returned to service to help with the potential of ERCOT-Wide Insufficiency. This procurement was conducted before NPRR 432 was effective which added specific C4C protocol language
2 | RFP posted 10/02/2023 Responses due 11/06/2023 | 12/01/2023 -02/29/2024 | 3,000 MW | 11.1 MW | N/A | The RFP was seeking generation or Demand response capacity to help with potential ERCOT-Wide Insufficiency RFP cancelled 11/17/2023
3 | RFP posted 05/08/2024 Responses due 06/13/2024 | ~07/01/2024 - 09/30/2024 | 500 MW | 21.5 MW Ultimately only 6.5 MW deemed eligible | N/A | The RFP was seeking Demand response capacity to help provide relief on relevant transmission facilities (South Texas IROLs) RFP cancelled 06/21/2023

## Slide 7: Reliability Must-Run (RMR) Must-Run Alternative (MRA) Potential Improvements

## Slide 8: Change Notice of Suspension of Operation (NSO) Deadline (1 of 4)
Objective: More efficient procurement of RMR/MRA when necessary
Item 1 Proposal:
Recommend increasing the number of days prior to the suspension date a generation entity must submit to ERCOT a Notice of Suspension of Operation (NSO). Other procurement milestones will be adjusted within the new timeline. The current requirement is that the NSO must be submitted to ERCOT at least 150 days prior to the suspension date. (Additional details on the next slide)
ERCOT proposes modifying the timeline for Resources to submit an NSO with one of the following options:
  Option A: Two deadlines per year (e.g., January and July of each year) with an NSO notice of at least 15-21 months in advance. (Example on next slide)
  Option B: Anytime throughout the year but with an NSO notice of at least 18 months (547 calendar days) in advance.
  Note 1: ERCOT’s preference is Option A
  Note 2: The 150-day period is currently mandated by PUCT Rule.
  Note 3: ERCOT plans to evaluate Seasonal Mothball timelines which may require PUCT Rule change.

## Slide 9: Change Notice of Suspension of Operation (NSO) Deadline (2 of 4)
More on Option A:
Two deadlines for NSO submissions each year -- January and July.
January deadline covers retirements planned for April 1 – September 30 of the following year providing ERCOT with 15 – 21 months’ notice.
July deadline covers retirements planned for October 1 – March 31 of the following year(s) providing ERCOT with 15 – 21 months’ notice.

## Slide 10: Change Notice of Suspension of Operation (NSO) Deadline (3 of 4)
Item 1 Benefits:
General Benefits (with both options) for having more lead time:
    Possible acceleration of GINR projects
        There may be a 2 year out Resource that can accelerate to 15-21 months with an expenditure
    Possible acceleration or re-prioritization of upcoming Transmission Improvements that negate the need for RMR contracts
        Example is acceleration of San Miguel line to alleviate constraints earlier than planned
    Spending more to energize transmission improvements that negate RMR contracts more quickly
        Reconductoring of line using contractors which results in a shorter timeline
    Additional time will allow MRA procurements to be more successful with better alternatives
    A 15-21 month notice period will allow the RMR analysis to coincide with existing RTP work and RTP cases
      Currently, the RMR work is dependent on building cases that exist between the current Operations and Planning windows
    The Resource Entity that submits the NSO will have more time to give a reasonable estimate for cost and time needed to refurbish the Resource if it is determined to be an RMR Resource
    An earlier signal for the need for new generation to replace the planned retirements

## Slide 11: Change Notice of Suspension of Operation (NSO) Deadline (4 of 4)
Item 1 Benefits:
Option A Benefits: Two deadlines per year (e.g., January and July of each year).
Moving away from a rolling timeline:
  Eliminates the possibility of multiple NSOs that overlap and that could present an issue in the future
  Allows multiple NSOs to be evaluated as a group with the optimal solution selected
  Allows each deadline to have a different focus – winter for one and summer for the other
  Aligns deadlines to coincide with bi-annual CDR reporting
  Note 1: ERCOT’s preference is Option A

## Slide 12: Create RFI Process for Older Resources
Objective: Obtain more and earlier information on resources likely to retire
Item 2 Proposal:
Recommend obtaining potential retirement plans annually for units over a certain age
ERCOT to develop the RFI questions.
  Item 2 Benefits:
  Provides earlier information on resources likely to retire.
  Establish a framework for Generation Resource owners to provide early confidential information to ERCOT.

## Slide 13: Better Align Standby Price for RMR Resources
Objective: Better aligns budget with actual costs
Item 3 Proposal:
Consider Protocol language that better aligns budget with actual costs as Standby Price is currently a flat average over the entire contract period when costs are typically front-loaded due to maintenance and/or set-up.
Item 3 Benefits:
  RMR owners will receive Standby Payments that better align with actual expenditures and cash flows.
  Load Serving Entities(LSEs) will be able to better estimate the monthly impact of the RMR costs.

## Slide 14: Additional Potential Protocol Changes for RMR and MRA
Item 4:
Consider a few other Protocol changes for RMR and MRA.
  Modify availability calculation for RMR Resources during the contracted period so that it is not skewed by one or more months of outage time due to maintenance.
  Remove Protocol requirement for MRA Generation Resources and MRA Energy Storage Resources to submit an Availability plan and instead rely only on the COP and telemetry so MRAs are not providing information that is not used by ERCOT.

## Slide 15: Contract for Capacity (C4C) Potential Improvements

## Slide 16: Change Time Horizon and Capacity Types for Contract for Capacity (1 of 2)
Objective: Successful procurement of capacity to maintain reliability
Item 5 Proposal:
Extend the study horizon beyond the current or next season and modify "by procuring existing capacity" to allow for proposals of “existing or new” resources.
  ERCOT proposes the following:
  Allow for a C4C analysis over a 2-year study horizon instead of analysis limited to the current or next season.
  Lengthen the C4C timeline between RFP issuance and offering entity responses to allow more time for entities to submit offers.
  Allow for a contract period longer than one season, if studies support the need.
Note: This does not require a PUCT Rule change.

## Slide 17: Change Time Horizon and Capacity Types for Contract for Capacity (2 of 2)
Item 5 Benefits:
ERCOT will have more time to:
  Assess the necessity of a C4C and to identify any potential grid reliability risks associated with the identified capacity shortfall.
  Develop the Request for Proposal (RFP) for C4C services.
  Evaluate C4C Offers.
There will be more time for Market Participants to develop suitable resource proposals and submit C4C Offers that meet specifications identified in the RFP.
There will be more time for awarded resources to get ready to meet their C4C contractual obligations.

## Slide 18: Additional Potential Protocol Changes for C4C
Item 6:
Possible Protocol changes for C4C.
  Clarify rules on DR eligibility and performance criteria for C4C.
  Create a variable incentive factor (IF) construct for C4C.

## Slide 19: Potential Improvements for Future Discussion

## Slide 20: Potential Improvements for Future Discussion
Compensation of Lost Opportunity Cost for RMR Owners
Determine whether an RMR Resource should be eligible for Lost Opportunity Cost compensation when required to shutdown for inspections and repairs prior to the anticipated retirement date.
  Lost Opportunity Cost may be based on:
    A specific approved price and quantity.
    Potential MW sales through the Intercontinental Exchange (ICE) or trades.
    Other criteria not yet defined.
Are there other topics that should be addressed?
No discussion is expected on these items today.

## Slide 21: Proposed Improvements – ERCOT Priority
Priority (1-5) | Improvement | Proposed Development
1 | Increase the number of days prior to the suspension date a generation entity must submit to ERCOT a Notice of Suspension of Operation (NSO). (See slides in the appendix.) Adjust the other procurement milestones in the longer window of time. (Item 1) | TBD
2 | Recommend obtaining potential retirement plans annually for units over a certain age (Item 2) | 2025-2026
3 | Extend the study horizon beyond the current or next season to give C4C RFP responders ample time to develop suitable resources. Clarify "by procuring existing capacity" to allow for proposals of other resources. (Item 5) | 2025-2026
 | Allow for a C4C contract period longer than one season, if studies support the need. (Item 5) | 
4 | Add Protocol that better aligns RMR budget with actual costs as Standby Price is currently a flat average over the entire contract period when costs are typically front-loaded due to maintenance and/or set-up. (Item 3) | 
5 | Possible additional Protocol clarifications (Items 4 and 6) | 2025-2026
Maybe Later | Other topics such as: Compensation of Lost Opportunity Cost for RMR Owners | TBD

## Slide 22: Next Steps
ERCOT Staff plans to develop one or more NPRRs to address/implement the improvements discussed today.
Please send any comments or suggestions to Janice.Ayson@ERCOT.com by October 31, 2025.

## Slide 23: Appendix
  Appendix Below

## Slide 24: 150 Calendar Days Prior Notice Language

## Slide 25: Current RMR and MRA Timeline
Timeline | Activity
Day 0 | Resource Entity gives ERCOT 150 days notice of suspension
Day 0 | ERCOT posts NSO on website
Day 0 + 21 | Market Participants submit comments on NSO
Day 0 + 30 | ERCOT posts status of reliability analysis
Day 0 + 60 | ERCOT completes reliability analysis
Day 0 +70 | ERCOT issues RFP
Day 0 + 150 | Deadline for ERCOT to either: 1) notify the Resource Entity that the continued operation of the Generation Resource is required, or 2) to obtain ERCOT Board approval to enter into an RMR or MRA Agreement

## Slide 26: Timeline Option A: Two Deadlines for Notification per year (For example, Jan 3 and July 1)

## Slide 27: Timeline Option B: Notification must be sent 18 months prior to suspension date
A Resource Entity must submit to ERCOT in writing a notice of suspension of operation no later than 18 months (547 calendar days) prior to the suspension date.

## Slide 28: Protocol Language [Section 6.5.1.1 ERCOT Control Area Authority paragraph (4)]
(4) Consistent with paragraph (1)(e) above, if ERCOT seeks to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load in the current or next Season by procuring existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Nodal Operating Guides, ERCOT shall take the following actions:
(a) Upon determination by ERCOT that additional capacity is needed to prevent an Emergency Condition and prior to any procurement activity associated with such additional capacity, ERCOT shall issue a Notice as soon as practicable with the following information:
(i) A detailed description of the reliability condition and need for additional capacity as determined by ERCOT and the timing of the proposed procurement;
(ii) Justification for the quantity of additional capacity to be requested;
(iii) Identification of potential Generation Resources or Load providing capacity considered by ERCOT to be acceptable for providing the additional capacity. Load capacity may be provided by Entities who, at ERCOT’s direction, would interrupt consumption of electric power and remain interrupted until released by ERCOT; and ……..

## Slide 29
  Questions?