DRAFT

Minutes of the Technical Advisory Committee (TAC) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Wednesday, August 27, 2025 – 9:30 a.m.

| TAC Representatives: |  |  |
| --- | --- | --- |
| Barnes, Bill | Reliant Energy Retail Services (Reliant) |  |
| Bevill, Rob | Texas-New Mexico Power Company (TNMP) | Alt. Rep. for Keith Nix |
| Bonskowski, Ned | Vistra Operations Company (Vistra) |  |
| Carpenter, Jeremy | Tenaska Power Services (Tenaska) | Via Teleconference |
| Cochran, Seth | Vitol, Inc. (Vitol) |  |
| Coleman, Diana | CPS Energy | Alt. Rep. for David Kee |
| Dreyfus, Mark | City of Eastland | Via Teleconference |
| Fehrenbach, Nick | City of Dallas |  |
| Franklin, Russell | Garland Power and Light (GP&L) |  |
| Garza, Beth | TAC Residential Consumer |  |
| Haley, Ian | Morgan Stanley |  |
| Harpole, Jay | APG&E | Via Teleconference |
| Helton, Bob | Engie North America (Engie) |  |
| Hendrix, Chris | Demand Control 2 | Via Teleconference |
| Henson, Martha | Oncor Electric Delivery (Oncor) |  |
| Holt, Blake | Lower Colorado River Authority (LCRA) |  |
| John, Ebby | CenterPoint Energy (CNP) | Alt. Rep. for David Mercado |
| Kee, David | CPS Energy |  |
| Keefer, Andrew | Denton Municipal Electric (DME) | Alt. Rep. for Jose Gaytan |
| Kent, Garret | CMC Steel Texas (CMC Steel) |  |
| Loving, Alicia | Austin Energy |  |
| Minix, Kyle | Brazos Electric Power Cooperative (Brazos) |  |
| Packard, John | South Texas Electric Cooperative (STEC) |  |
| Pokharel, Nabaraj | Office of Public Utility Counsel (OPUC) |  |
| Reid, Mike | Air Liquide | Via Teleconference |
| Ross, Richard | AEP Service Corporation (AEPSC) |  |
| Safko, Trevor | Lower Colorado River Authority (LCRA) | Alt. Rep. for Blake Holt |
| Sams, Bryan | Calpine Corporation (Calpine) |  |
| Schmitt, Jennifer | Rhythm Ops | Via Teleconference |
| Smith, Caitlin | Jupiter Power |  |
| Surendran, Resmi | Shell Energy North America (SENA) | Via Teleconference |
| Wise, Mike | Golden Spread Electric Cooperative (GSEC) |  |

The following proxy was assigned:

- Mike Wise to Kyle Minnix

- Chris Hendrix to Bill Barnes

Guests:

| Anderson, Connor | AB Power Advisors | Via Teleconference |
| --- | --- | --- |
| Anderson, Kevin | Customized Energy Solutions (CES) | Via Teleconference |
| Ashley, Kristy | CES | Via Teleconference |
| Atique, Taufique |  | Via Teleconference |
| Barati, Camron | Potomac Economics |  |
| Basaran, Harika | Public Utility Commission of Texas (PUCT) |  |
| Bell, Brad |  | Via Teleconference |
| Beckman, Kara | NextEra Energy | Via Teleconference |
| Blakenship, David | CNP | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative (PEC) |  |
| Briggs, Lindsay |  | Via Teleconference |
| Brown, Chris | PUCT | Via Teleconference |
| Bunyan, M. |  | Via Teleconference |
| Cardiel, Jonathan | PUCT | Via Teleconference |
| Catoe, Ethan | BTU | Via Teleconference |
| Cockrell, Justin |  | Via Teleconference |
| Cox, Jason |  | Via Teleconference |
| Crist, Kelly | Total Energies | Via Teleconference |
| Davis, Derrick | Texas Reliability Entity, Inc. (Texas RE) | Via Teleconference |
| Dowling, Chase | Base Power | Via Teleconference |
| Frazier, Amanda | Treaty Oaks Clean Energy |  |
| Gauldin, Julie | PUCT |  |
| Gianni, Juliana | Goff Policy |  |
| Goff, Eric | Goff Policy |  |
| Graham, Jordan | Tesla | Via Teleconference |
| Greer, Clayton | Cholla, Inc. | Via Teleconference |
| Hanson, Kevin | Invenergy |  |
| Hanson, Pamela | WETT, LLC | Via Teleconference |
| Hart, Patrick | Mortenson | Via Teleconference |
| Hieth, Mattie | Calpine Corporation | Via Teleconference |
| Hemmeline, Charlie | American Clean Power Association (ACPA) |  |
| Hering, David | BTU | Via Teleconference |
| Horn, Jessie | PUCT | Via Teleconference |
| Huang, Mandy | GridBeyond | Via Teleconference |
| Hundley, Nick |  | Via Teleconference |
| Jones, Monica | CNP | Via Teleconference |
| Keller, Jenna | PUCT | Via Teleconference |
| Kilroy, Taylor | Texas Public Power Association (TPPA) | Via Teleconference |
| King, Blake | Galaxy Digital | Via Teleconference |
| Koz, Brian | Wolframium Power | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lasher, Warren | Lasher Energy | Via Teleconference |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT, LLC | Via Teleconference |
| Levine, Jon | Baker Botts | Via Teleconference |
| Lewis, Deb |  | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Macias, Jesse | AEP Texas | Via Teleconference |
| Majidi, Mohammad |  | Via Teleconference |
| Martin, Loretto | Reliant | Via Teleconference |
| Matharani, Kinnari |  | Via Teleconference |
| Matos, Chris | Google | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McDonald, Jeff | Potomac Economics |  |
| McDonell, Glenn |  | Via Teleconference |
| McElroy, Randall | OPUC | Via Teleconference |
| McGraw, Dan | Mercuria Energy | Via Teleconference |
| McKeever, Debbie | Oncor |  |
| Meadors, Mandy | Plus Power | Via Teleconference |
| Miller, Alex | EDF Power Solutions | Via Teleconference |
| Navarro Catalan, Manuel | Splight | Via Teleconference |
| Nazemi, Mostafa |  | Via Teleconference |
| Neel, Evan | Lancium, LLC |  |
| Nguyen, Andy | Constellation | Via Teleconference |
| Orr, Robert | Lonestar Transmission | Via Teleconference |
| Papa, Katie |  | Via Teleconference |
| Parekh, Vaibhav | New Project Media | Via Teleconference |
| Pearson, Arthur | BP | Via Teleconference |
| Pearson, Kelsey | Longhorn Power |  |
| Pepe, Diego | Onward Energy | Via Teleconference |
| Pilot, Henry |  | Via Teleconference |
| Pueblos, Jameel | Oxy | Via Teleconference |
| Ratliff, Shannon |  | Via Teleconference |
| Reedy, Nick | CIM View Consulting | Via Teleconference |
| Reedy, Steve | CIM View Consulting | Via Teleconference |
| Reimers, Andrew | Potomac Economics | Via Teleconference |
| Rich, Katie | Vistra Operations Company |  |
| Richmond, Michele | Texas Competitive Power Advocates (TCPA) |  |
| Ritch, John | Trafigura | Via Teleconference |
| Rochelle, Jennifer | CES | Via Teleconference |
| Saeed, Hasan |  | Via Teleconference |
| Scott, Kathy | CNP |  |
| Sersen, Juliana | Baker Botts | Via Teleconference |
| Sharma, Anita | Tesla | Via Teleconference |
| Sharma, Sandip | NextEra Energy |  |
| Silva, Patricio | Enel |  |
| Singh, Vikas |  | Via Teleconference |
| Smith, Mark | CMC Steel | Via Teleconference |
| Snyder, Bill | AEP Texas |  |
| Stephenson, Zach | STEM | Via Teleconference |
| Teng, Shuye | Constellation Energy Generation | Via Teleconference |
| Thomas, Shane | SENA | Via Teleconference |
| Townsend, Paul | TCPA | Via Teleconference |
| Trimble, Randy | BTU | Via Teleconference |
| True, Roy | ACES | Via Teleconference |
| Van Winkle, Kim | PUCT | Via Teleconference |
| Wagner, Julia | PUCT | Via Teleconference |
| Walker, Floyd | PUCT | Via Teleconference |
| Willard, Daniel | Austin Energy | Via Teleconference |
| Wilson, Joe Dan | GSEC | Via Teleconference |
| Withrow, Kent | CES | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Woitt, Wes | CNP | Via Teleconference |
| Zhang, Bryan |  | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Arth, Matt |  | Via Teleconference |
| Badri, Sreenivas |  | Via Teleconference |
| Blevins, Bill |  |  |
| Boren, Ann |  |  |
| Butler, Luke |  | Via Teleconference |
| Callender, Wayne |  | Via Teleconference |
| Castillo, Leo |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Collins, Keith |  |  |
| Devadhas Mohanadhas, Thinesh |  | Via Teleconference |
| Dinopol, Ohlen |  | Via Teleconference |
| Drake, Gordon |  |  |
| Du, Pengwei |  | Via Teleconference |
| El-Madhoun, Mohamed |  | Via Teleconference |
| Fabricant, Samuel |  | Via Teleconference |
| Flores, Jose |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  | Via Teleconference |
| Gonzales, Nathan |  |  |
| González, Ino |  |  |
| Gravois, Patrick |  | Via Teleconference |
| Gross, Katherine |  | Via Teleconference |
| Hariharan, Julia |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Hinojosa, Luis |  |  |
| Hobbs, Kristy |  | Via Teleconference |
| Huang, Fred |  |  |
| Johnson, Blane |  |  |
| Kansal, Prashant |  |  |
| King, Ryan |  |  |
| Magarinos, Marcelo |  | Via Teleconference |
| Maggio, Dave |  | Via Teleconference |
| Mago, Nitika |  |  |
| Masanna Gari, Abhilash |  | Via Teleconference |
| Maul, Donald |  | Via Teleconference |
| McGuire, Josh |  | Via Teleconference |
| Mereness, Matt |  |  |
| Morales, Elizabeth |  |  |
| Morales, Melissa |  |  |
| Moreno, Alfredo |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Pagano, Elizabeth |  | Via Teleconference |
| Parakkuth, JP |  | Via Teleconference |
| Phillips, Cory |  |  |
| Price, Curry |  | Via Teleconference |
| Ramasubbu, Priya |  | Via Teleconference |
| Rosel, Austin |  | Via Teleconference |
| Shanks, Magie |  | Via Teleconference |
| Sills, Alex |  | Via Teleconference |
| Snitman, Julie |  | Via Teleconference |
| Thatte, Anupam |  | Via Teleconference |
| Tirupati, Venkata |  |  |
| Troublefield, Jordan |  |  |
| Woodfin, Dan |  |  |
| Zerwas, Rebecca |  |  |
| Zha, Jimmy |  | Via Teleconference |
| Zhang, Lin |  | Via Teleconference |
| Zho, David |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

# Caitlin Smith called the August 27, 2025 meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Smith directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

July 30, 2025

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Meeting Updates

Ms. Smith reviewed the disposition of items considered at the July 31, 2025 Public Utility Commission of Texas (PUCT) Open Meeting.

Biennial TAC/TAC Subcommittee Structural and Procedural Review (See Key Documents)

Ms. Smith highlighted discussion at the August 12, 2025 Biennial TAC/TAC Subcommittee Structural and Procedural Review and noted that all the materials were posted on the TAC meeting page.

Changes/Consolidation of Working Groups

Ms. Smith presented the Retail Market Subcommittee (RMS) recommended changes to consolidate the Profiling Working Group (PWG) and Texas Standard Electronic Transaction (Texas SET) Working Group.

Ms. Smith presented the Wholesale Market Subcommittee (WMS) recommended changes to include:

- Sunset the Market Settlements Working Group (MSWG) and Resource Cost Working Group (RCWG) moving these issues to the Wholesale Market Working Group (WMWG)

- Move the Metering Working Group (MWG) from the WMS to the Reliability and Operations Subcommittee (ROS)

Ann Boren reviewed the process to effectuate these recommendations with changes to the Protocols, Market Guides, Subcommittee, and Working Group Procedures.  There were no objections to the recommendations.

Late Comments and Materials

Ms. Boren summarized concerns expressed at the Biennial Review on the issues of late posting of comments and materials for TAC and subcommittee meetings and the proposed potential solution necessitating changes to the TAC Procedures.  Ms. Boren stated that in review of the issues, ERCOT Staff identified potential changes required to the Protocols and Market Guides and concerns for unintended consequences of codifying the proposed solution.  Katie Rich provided an overview of the concepts in the proposed Revision Request to provide Subcommittee leadership discretion to consider late posted comments.

Prioritization Workshop Update (See Key Documents)

Amanda Frazier summarized discussion at the August 25, 2025 Initiative Prioritization workshop and requested TAC direction on next steps.  In response to participant concerns about ERCOT's resource constraints for long-term project implementation, Keith Collins stated that ERCOT is considering efficiencies from a holistic perspective.  Participants debated the utility of re-prioritization or re-classification and the appropriate forum to review the issues.  Troy Anderson offered to develop a Release Plan for the backlog of items, noting it would be in parallel with projects for 2026 and beyond, and stated that he could present the plan at future Protocol Revision Subcommittee (PRS) meetings along with the current project update.  Participants expressed support to review the issues on an ongoing basis at PRS.

Review of Revision Request Summary/ERCOT Market Impact Statement/Opinions (See Key Documents)

Ms. Boren presented a Revision Request Summary, including the ERCOT Market Impact Statements,

ERCOT Opinions, Credit Finance Sub Group (CFSG) Review, budgetary impacts, and reasons for revisions for Revision Requests to be considered by TAC.  Ms. Boren noted that the Independent Market Monitor (IMM) has no opinion on Revision Requests to be considered by TAC except for Nodal Protocol Revision Request (NPRR) 1279, Reinstate Enhancements to the Exceptional Fuel Cost Process, which it supports.

Protocol Revision Subcommittee (PRS) Report (see Key Documents)

Diana Coleman reviewed PRS activities and presented Revision Requests for TAC consideration.

NPRR1265, Unregistered Distributed Generator

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1266, Opt-Out Status Held by a Transmission-Voltage Customer Cannot be Transferred

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1279

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1283, Modification of SSR Mitigation Timeline

Participants reviewed clarifications to carry down NPRR1283’s revisions into a grey-box for NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1290, Gap Resolutions and Clarifications for the Implementation of RTC+B

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1291, Modify Annual Demand Response Report Posting Date and Include Language to Address PUCT SUBST. R. 25.186

ERCOT Staff contextualized the request for dual effective dates, referencing the presence of both unboxed and grey-boxed language.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

System Change Control (SCR) 832, Discontinue Report that makes COPs available to TSPs

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Revision Requests Tabled at TAC (See Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 264, Related to NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service

TAC took no action on this item.

RMS Report (See Key Documents)

Debbie McKeever reviewed RMS activities and highlighted the process and timeline for RMS structural changes.

ROS Report (see Key Documents)

Ms. Rich reviewed ROS activities, including the ROS recommendation for the 2026 ERCOT Methodologies for Determining Minimum Ancillary Service Requirements (2026 AS Methodology) and presented Revision Requests for TAC consideration.

NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs – URGENT

Planning Guide Revision Request (PGRR) 121, Related to NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs – URGENT

Ms. Smith yielded the chair to Martha Henson.  Fred Huang provided an overview of NOGRR272 and PGRR121 and reviewed the 8/20/25 ERCOT comments to NOGRR272 and 8/22/25 ERCOT comments to PGRR121.  Anita Sharma reviewed the 8/22/25 Tesla comments to PGRR121.  Some participants expressed preference for a market-facing approach and voiced lingering concerns regarding capability requirements, compliance obligations, and unrealized new technology issues.  Mr. Huang reiterated ERCOT’s willingness to consider a market-facing approach as conversation evolves.

Richard Ross moved to:

- Recommend approval of NOGRR272 as recommended by ROS in the 8/7/25 ROS Report as amended by the 8/20/25 ERCOT comments; and the 10/31/24 Impact Analysis

- Recommend approval of PGRR121 as recommended by ROS in the 8/7/25 ROS Report as amended by the 8/22/25 ERCOT comments; and the 10/31/24 Impact Analysis

Beth Garza seconded the motion.  The motion carried with three abstentions from the Independent Generator (2) (Jupiter Power, Vistra) and Independent Power Marketer (IPM) (SENA) Market Segments.  (Please see ballot posted with Key Documents.)

NOGRR278, Related to NPRR1290, Gap Resolutions and Clarifications for the Implementation of RTC+B

PGRR129, Establish Grid Reliability and Resiliency Assessment (GRRA) Posting Requirements

Ms. Smith noted there were no objections to including these items on the Combined Ballot.

WMS Report (see Key Documents)

Jim Lee reviewed WMS activities, including the WMS recommendation for the 2026 AS Methodology

CFSG (See Key Documents)

Approval of CFSG Membership

Loretto Martin presented the following designated CFSG member for TAC consideration:

- Brian Prendergast, Austin Energy, Municipal Segment

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Large Load Working Group (LLWG) Report (See Key Documents)

Bob Wittmeyer reviewed LLWG activities, including large electronic load voltage riding through momentary low voltage events.  Mr. Wittmeyer highlighted proposed vendor solutions and ERCOT study updates discussed at the August 14, 2025 LLWG meeting.  Mr. Wittmeyer reviewed LLWG next steps.

Large Load Interconnection Status Update

Julie Snitman presented the Large Load interconnection report update.  In response to participant questions on the desired threshold to define large load customers under PUCT Project No. 58480, Rulemaking to Establish Large Load Forecasting Criteria, Harika Basaran encouraged participants to attend the Large Load Workshop on September 2, 2025.

Real-Time Co-optimization plus Batteries Task Force (RTCBTF)  Report (see Key Documents)

Matt Mereness reviewed RTCBTF activities, including the issues list and Final 2025 Refinements for go-live.  Mr. Mereness noted that ERCOT filed a Request for Good Cause Exception Regarding RTC+B Closed-Loop Test with the PUCT, specifying the exception was for ERCOT to not charge for Base Point Deviation Charges during the test.  Mr. Mereness reminded participants of the deadline of August 27, 2025 for Qualified Scheduling Entities (QSEs) with Resources to submit Resource attestations of readiness.  Mr. Mereness reviewed highlights of the market trials and scorecards, presented the transition for September 2025, and summarized next steps.

Proposed Changes to 2026 AS Methodology (See Key Documents)

ERCOT Presentation

Luis Hinojosa reviewed the ongoing Ancillary Services initiatives, including appropriate criterion for Ancillary Services procurement quantities and using probabilistic modeling to determine calculating hourly ERCOT Contingency Reserve Service (ECRS) and Non-Spinning Reserve Service (Non-Spin) quantities; highlighted the timeline and stakeholder review of the 2026 AS Methodology at various working groups and subcommittees; presented benefits and parameters of the probabilistic framework and analyses on the Ancillary Services quantities and cost of requirements; and summarized the ERCOT recommendation for the 2026 AS Methodology.  Mr. Hinojosa responded to participants questions and concerns on the proposed changes to the 2026 AS Methodology and potential impacts after implementation of the Real-Time Co-optimization plus Batteries (RTC+B) project in December 2025.

IMM Presentation

Jeff McDonald highlighted the IMM concerns with the 2026 AS Methodology, including that the proposed methodology is not aligned with reliability outcomes, resulting in excessive Ancillary Service procurements which may undermine the performance of ERCOT’s energy-only market.  Mr. McDonald presented analysis to support the IMM recommended compromise proposal and noted that the IMM supports a more general reconsideration of conservative operations with the goal of cost-effectively achieving objective reliability targets.

Mark Dreyfus stated that conservative operations undermines efficiency and summarized the Consumer Market Segment comments on the 2026 AS Methodology.  Some participants opined that the PUCT has directed conservative operations and the ERCOT Stakeholder process is not the appropriate forum for changes.

Bryan Sams moved to endorse the 2026 AS Methodology as presented by ERCOT.  Resmi Surendran seconded the motion.  The motion carried with seven objections from the Consumer (6) (City of Eastland, City of Dallas, CMC Steel, Air Liquide, Residential Consumer, OPUC) and Independent Retail Electric Provider (IREP) (APG&E) Market Segments and three abstentions from the Independent Generator (Vistra) and Municipal (2) (CPS Energy, DME) Market Segments.  (Please see ballot posted with Key Documents.)

ERCOT Reports (see Key Documents)

Regional Planning Group (RPG) Project – Bryan Texas Utilities (BTU) - Texas A&M University System RELLIS Campus Reliability Project

Prabhu Gnanam presented the ERCOT independent review of the Tier 1 RPG project and recommendation of Option 1 to address the reliability needs in Brazos County in the East Weather Zone.  In response to participant questions on cost differences in proposed options, Mr. Gnanam stated that Option 1 provides more load serving capability and can be expanded more efficiently to serve additional future load requests.  Mr. Dreyfus noted his need to abstain due to a conflict of interest.

Mr. Ross moved to endorse the BTU - Texas A&M University System RELLIS Campus Reliability Project – Option 1 as presented.  Ms. Smith seconded the motion.  The motion carried with one abstention from the Consumer (City of Eastland) Market Segment.  (Please see ballot posted with Key Documents.)

RPG Project - CenterPoint Energy (CNP) Baytown Area Load Addition Project

Ms. Garza moved to waive notice for the CNP Baytown Area Load Addition RPG Project.  Mr. Ross seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Mr. Gnanam presented the ERCOT independent review of the Tier 1 RPG project and recommendation of Option 2A to address the reliability needs in Harris County in the Coast West Weather Zone.  In response to participant concerns with the proposed options and submission estimates Mr. Gnanam reviewed the  initial proposal and upgrades to the project.  Wes Woitt noted that ERCOT identified additional Maintenance Outage violations and reviewed the reasons for the project scope increase.  Some participants opined that the driver of the project is a new large load coming to Harris County and consumers are being expected to pay half a million dollars to accommodate this.

Bob Helton moved to endorse the CNP Baytown Area Load Addition RPG Project – Option 2A as presented.  Ebby John seconded the motion.  The motion carried with three objections from the Consumer (2) (Residential, OPUC) and IREP (Rhythm Ops) Market Segments and one abstention from the Cooperative (GSEC) Market Segment.  (Please see ballot posted with Key Documents.)

Grid Research, Innovation and Transformation (GRIT) Update

Prashant Kansal presented an update on the effort for developing GRIT initiatives and presented the process flow for stakeholder feedback on anticipated surveys, white papers, and proof of concepts using the GRIT webpage and discussion at future TAC meetings.  Mr. Kansal noted alignment with ERCOT’s strategic objectives, highlighted the changing grid and unprecedented drivers necessitating this effort, and reviewed the GRIT purpose, vision and mission.  Mr. Kansal reviewed the GRIT budget and resource needs;  summarized the roadmap and next steps; and responded to participant questions.  Some participants expressed concern for expanding ERCOT initiatives with the issue of current limited resources.  Mr. Collins noted ongoing efforts to manage resources.

Day-Ahead Market (DAM) Price Correction - Incorrect Generic Transmission Constraint Limit (GTC)  used in the DAM

David Zhou stated that on July 9, 2025 ERCOT identified a software malfunction that affected a GTC Limit, impacting DAM prices for Operating Day (OD) June 27, 2025 and ERCOT issued two Market Notices on the issues.  Mr. Zhou presented the analysis of price and Settlement impacts and stated that potential price corrections will be considered at the September 22, 2025 ERCOT Board of Directors (ERCOT Board) meeting.

Other Business (See Key Documents)

ERCOT Board and Stakeholder Engagement Update

Rebecca Zerwas stated that the Segment presenters and policy discussion prompts have been finalized for the RTC+B discussion at the September engagement sessions.

Annual Meeting of ERCOT Members - TAC Representative

In response to Ms. Smith’s request to Consumer and Municipal Segment TAC Representatives, Garret Kent offered to provide the stakeholder perspective with regard to ERCOT Strategic Objectives at the December 8, 2025 Annual Meeting of ERCOT members

PUCT Staff update on Ancillary Service cost allocation study

Julie Gauldin reviewed the Public Utility Regulatory Act (PURA) provisions and background information for allocating costs, noted that threshold scope issues are being identified now, presented the scope draft questions for stakeholder responses, and highlighted the study milestones and tentative target dates for PUCT Project No. 58555, ERCOT Ancillary and Reliability Services Cost Allocation Study Pursuant to PURA §39.1593.

TAC Action Items List Review

Participants reviewed the TAC Action Items list and in consideration of Calvin Opheim noting that 4-Coincident Peak (4-CP) issues would be discussed at the September 12, 2025 Demand Side Working Group (DSWG) meeting and Ms. Smith confirming the resolution of issues related to NPRR1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring, participants removed the following items from the list:

- #5.  Follow up issues related to NPRR1186 including values of Y, compliance and duration requirements, and deployment

- #7.  Bring back 4CP Update in September

Andy Nguyen confirmed resolution of the issues in #9. Address the ability to recognize fuel, transportation, and contractual costs and their impacts on mitigation and verifiable costs, however, Ned Bonskowski asked for it to remain on the list and offered to work offline with TAC leadership to identify specific concerns for discussion at the October 22, 2025 TAC meeting.

TAC Procedures

Ms. Boren noted that ERCOT Staff anticipates presenting proposed revisions to the TAC Procedures to codify the process for stakeholder responses for objections on voting items.  Ms. Boren stated this item is anticipated for consideration at the October 22, 2025 TAC meeting.

Combined Ballot

Mr. Bonskowski moved to approve the Combined Ballot as follows:

- To approve the July 30, 2025 TAC meeting minutes as submitted

- To recommend approval of NPRR1265 as recommended by PRS in the 8/13/25 PRS Report

- To recommend approval of NPRR1266 as recommended by PRS in the 8/13/25 PRS Report

- To recommend approval of NPRR1279 as recommended by PRS in the 8/13/25 PRS Report

- To recommend approval of NPRR1283 as recommended by PRS in the 8/13/25 PRS Report as revised by TAC

- To recommend approval of NPRR1290 as recommended by PRS in the 8/13/25 PRS Report

- To recommend approval of NPRR1291 as recommended by PRS in the 8/13/25 PRS Report with a recommended effective date of upon system implementation for the grey-boxed language, and the first of the month following PUCT approval for all remaining language

- To recommend approval of SCR832 as recommended by PRS in the 8/13/25 PRS Report

- To recommend approval of NOGRR278 as recommended by ROS in the 8/7/25 ROS Report

- To recommend approval of PGRR129 as recommended by ROS in the 8/7/25 ROS Report

- To approve the CFSG membership addition as presented (Brian Prendergast, Austin Energy, Municipal)

Bob Helton seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Ms. Smith adjourned the August 27, 2025 TAC meeting at 3:56 p.m.

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# https://www.ercot.com/calendar/08272025-TAC-Meeting