| NOGRR Number | 279 | NOGRR Title | Deadline Extensions for Recording Equipment Installation |
| --- | --- | --- | --- |
| Date of Decision |  | October 2, 2025 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Estimated Impacts |  | Cost/Budgetary: None Project Duration: No project required |  |
| Proposed Effective Date |  | The first of the month following Public Utility Commission of Texas (PUCT) approval |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Operating Guide Sections Requiring Revision |  | 6.1.4, Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Requirements for Inverter-Based Resources (IBRs) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) modifies the disturbance monitoring equipment installation deadlines established by NOGRR255, High Resolution Data Requirements, by removing the timeline for Inverter-Based Resource (IBR) facilities to achieve 50% installation and configuration. This language also clarifies that IBR facilities with Standard Generation Interconnection Agreements (SGIAs) executed prior to July 25, 2024 (the date on which the PUCT approved NOGRR255) have 12 months beyond their Resource Commissioning Date to comply with the new disturbance monitoring equipment requirements, and IBR facilities with an SGIA executed after July 25, 2024 must comply no later than the Resource Commissioning Date. |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board and/or PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | On July 25, 2024, the PUCT approved NOGRR255, establishing deadlines in which facility owners are required to install various amounts of recording equipment. When NOGRR255 was approved, the PRC-028-1, Disturbance Monitoring and Reporting Requirements for Inverter-Based Resources, requirements and timeline for implementation were not yet finalized. Since then, the Federal Energy Regulatory Commission (FERC) has approved federal implementation standards which require resources to make changes that comply with NOGRR255 requirements and the federal requirements simultaneously. By modifying NOGRR255’s completion dates in recognition of the new federal standards, this NOGRR allows facilities to implement a single equipment change that will be consistent with, both, the ERCOT equipment requirements and the PRC-028-01 requirement required by the Texas Reliability Entity (TRE). |  |
| ROS Decision |  | On 8/7/25, ROS voted unanimously to table NOGRR279. All Market Segments participated in the vote. On 9/11/25, ROS voted unanimously to recommend approval of NOGRR279 as amended by the 8/28/25 ERCOT comments. All Market Segments participated in the vote. On 10/2/25, ROS voted unanimously to endorse and forward to TAC the 9/11/25 ROS Report and 9/24/25 Impact Analysis for NOGRR279. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 8/7/25, ROS reviewed NOGRR279. ERCOT requested additional time to consider the effects of NOGRR279’s proposed changes. On 9/11/25, ROS reviewed the 8/28/25 ERCOT comments. On 10/2/25, ROS reviewed the 9/24/25 Impact Analysis. |  |

| Opinions |  |
| --- | --- |
| Credit Review | Not applicable |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | ERCOT supports approval of NOGRR279. |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NOGRR279 and believes that it provides a positive market impact by providing extensions to Market Participants regarding equipment installation and configuration deadlines in order to avoid potential compliance violations without negatively affecting grid reliability and resilience. |

| Sponsor |  |
| --- | --- |
| Name | Kevin Hanson |
| E-mail Address | khanson@invenergy.com |
| Company | Invenergy |
| Phone Number | 713-884-9202 |
| Cell Number | 713-884-9202 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 082825 | Provided additional clarification edits including effective dates in which IBRs must meet the requirements of Section 6.1.4 |

Market Rules Notes

None

Proposed Guide Language Revision

- 6.1.4	Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Requirements for Inverter-Based Resources (IBRs)

(1)	All transmission-connected IBR facilities operating at 60 kV with gross aggregated nameplate capacity of 20 MVA at a single site must meet all requirements in this section.

(2)	Resource Entities for IBRs identified in paragraph (1) shall install and configure fault recording, sequence of events recording, and phasor measurement unit equipment as follows:

(a)	IBRs with a Resource Commissioning Date prior to July 25, 2024 shall install and configure fault recording, sequence of events recording, and phasor measurement unit equipment no later than August 1, 2028;

(b)	IBRs with an original Standard Generation Interconnection Agreement (SGIA) executed on or before July 25, 2024 and a Resource Commissioning Date after July 25, 2024 shall install and configure fault recording, sequence of events recording, and phasor measurement unit equipment within 365 days of the IBR’s Resource Commissioning Date;

(c)	IBRs with an original SGIA executed after July 25, 2024 shall install and configure fault recording, sequence of events recording, and phasor measurement unit equipment no later than the IBR’s Resource Commissioning Date.

:]