## 2Day_3Day Disclosure Reports
For protocol traceability on these reports, please see the ERCOT Market Information List (EMIL) available at https://www.ercot.com/mp/data-products For Definitions and Acronyms, please see Section 2 of the ERCOT Nodal Protocols at http://www.ercot.com/mktrules/nprotocols/current
Report Name:
2-Day DAM Ancillary Services Reports | EMIL ID: | Report Type ID:
| NP3-911-ER | 13057
| Product Description: | This report contains all 2 day disclosure data related to DAM for each hourly Settlement Interval related to Ancillary Services.
| Files included in this report: | File Name: 2_Day_DAM_AS_Disclosure.zip | Description | Column Name
|  | 2d_Agg_DAM_AS_Offers_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate Ancillary Service Offers (prices and quantities) in the DAM, for each type of Ancillary Service (NSPIN: non-spin, NSPNM: non-spin manual (non SCED dispatchable), REGDN: Regulation Down, REGUP: Regulation Up, RRSPFR: RRS Primary Frequency Response, RRSUFR: RRS Under Frequency Relays , RRSFFR: RRS Fast Frequency Response, ECRSS, ECRSM regardless of a Resources On-Line or Off-Line status. For Responsive Reserve service (RRS), ERCOT shall separately post aggregated offers from Generation Resources, Controllable Load Resources, and non-Controllable Load Resources. Linked Ancillary Service Offers will be included as non-linked Ancillary Service Offers. | Delivery Date
Hour Ending
MW Offered
"AS Type" Offer Price: Price for delivery date and hour based on the "AS Type" which is indicated in file name
|  | 2d_Self_Arranged_AS_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate Self-Arranged Ancillary Service Quantity, for each type of service (NSPIN: non-spin, NSPNM: non-spin manual (non SCED dispatchable), REGDN: Regulation Down, REGUP: Regulation Up, RRSPFR: RRS Primary Frequency Response, RRSUFR: RRS Under Frequency Relays , RRSFFR: RRS Fast Frequency Response, ECRSS, ECRSM), by hour. | Delivery Date
Hour Ending
Total Self-Arranged AS
|  | 2d_Cleared_DAM_AS_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate amount of cleared Ancillary Service Offers (NSPIN: non-spin, non-spin, NSPNM: non-spin manual (non SCED dispatchable) REGDN: Regulation Down, REGUP: Regulation Up, RRSPFR: RRS Primary Frequency Response, RRSUFR: RRS Under Frequency Relays , RRSFFR: RRS Fast Frequency Response, ECRSS, ECRSM). | Delivery Date
Hour Ending
Total Cleared AS - "AS Type": The aggregate quantity for delivery date and hour based on the "AS Type" which is indicated in file name
2-Day SCED Energy Curves Reports | EMIL ID: | Report Type ID:
| NP3-908-ER | 13054
| Product Description: | This report contains 2-Day aggregate energy demand and supply curve disclosure data for SCED. The following file types are included in this report: Energy Demand Curves for CLRs, Supply Curve for ESR, Photovoltaic, Wind, and Non-Intermittent Renewable Resources, including by Disclosure Area.
| Files included in this report: | File Name: 2_Day_SCED_Energy_Curves.zip | Description | Column Name
|  | 2d_Aggr_Energy_Demand_Curves_CLR_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Aggr_Energy_Demand_Curves_CLR-<DD-MON-YY> | An aggregate energy Demand curve based on the Real-Time Market (RTM) Energy Bid curves available to SCED. The energy Demand curve will be calculated beginning at the sum of the Low Power Consumptions (LPCs) and ending at the sum of the Maximum Power Consumptions (MPCs) for Controllable Load Resources with RTM Energy Bids, with the dispatch for each Controllable Load Resource constrained between the Controllable Load Resource’s LPC and MPC. The result will represent the ERCOT System Demand response capability available to SCED of the Controllable Load Resources with RTM Energy Bids at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp
Repeated Hour Flag
Price
MW
|  | 2d_Agg_Supply_Curves_ESR_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Supply_Curves_ESR-<DD-MON-YY> | An aggregated energy supply and demand curve based on Energy Bid/Offer Curves that are available to SCED. The curves will be calculated beginning at the sum of the LSLs and ending at the sum of the HSLs for the Energy Bid/Offer Curves, with the dispatch for each Resource constrained between the Resource’s LSL and HSL. The result will represent the ERCOT System energy supply and demand curve economic dispatch of the ESRs with Energy Bid/Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System; | SCED Time Stamp
Repeated Hour Flag
Price
MW
|  | 2d_Agg_Supply_Curves_PVGR_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Supply_Curves_PVGR-<DD-MON-YY> | An aggregate energy supply curve based on PhotoVoltaic Generation Resources (PVGRs) with Energy Offer Curves that are available to SCED. | SCED Time Stamp
Repeated Hour Flag
Price
MW
|  | 2d_Agg_Supply_Curves_Wind_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Supply_Curves_Wind-<DD-MON-YY> (combined Disclosure Areas) | An aggregate energy supply curve based on Wind-powered Generation Resources (WGRs) with Energy Offer Curves that are available to SCED. The energy supply curves will be calculated beginning at the sum of the LSLs and ending at the sum of the HSLs for WGRs with Energy Offer Curves, with the dispatch for each WGR constrained between the WGR’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the WGRs with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp
Repeated Hour Flag
Price
MW
|  | 2d_Agg_Supply_Curves_Non_IRR_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Supply_Curves_Non_IRR-<DD-MON-YY> (combined Disclosure Areas) | An aggregate energy supply curve based on non-IRR Generation Resources with Energy Offer Curves that are available to SCED. The energy supply curves will be calculated beginning at the sum of the Low Sustained Limits (LSLs) and ending at the sum of the HSLs for non-wind Generation Resources with Energy Offer Curves, with the dispatch for each Generation Resource constrained between the Generation Resource’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the non-IRR Generation Resources with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp
Repeated Hour Flag
Price
MW
2-Day DAM Energy Curves Reports | EMIL ID: | Report Type ID:
| NP3-907-ER | 25813
| Product Description: | This report contains 2-Day aggregate energy demand and supply curve disclosure data for DAM. The following file types are included in this report: Energy Supply, Energy Demand, and Minimum Energy Supply and the Disclosure are reports for each.
| Files included in this report: | File Name: 2_Day_DAM_Energy_Curves.zip | Description | Column Name
|  | 2d_Agg_Min_Energy_Supply_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Min_Energy_Supply_Curves-<DD-MON-YY> | Aggregate minimum energy supply curves based on all Minimum-Energy Offers that are available to the DAM. | Delivery Date
Hour Ending
Price
MW
|  | 2d_Agg_Energy_Demand_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Energy_Demand_Curves-<DD-MON-YY> (combined Disclosure Areas) | An aggregate energy Demand curve based on the DAM Energy Bid curves available to the DAM, not taking into consideration any physical limitations of the ERCOT System. | Delivery Date
Hour Ending
Price
MW
|  | 2d_Agg_Energy_Supply_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Energy_Supply_Curves-<DD-MON-YY> (combined Disclosure Areas) | An aggregate energy supply curve based on all energy offers that are available to the DAM, not taking into consideration Resource Startup Offer or Minimum-Energy Offer or any physical limitations of the ERCOT System. The result will represent the energy supply curve at various pricing points for energy offers available in the DAM. | Delivery Date
Hour Ending
Price
MW
2-Day DAM Bids and Offers Reports | EMIL ID: | Report Type ID:
| NP3-909-ER | 13055
| Product Description: | This report will contain all 2 day disclosure data related to DAM for each hourly Settlement Interval related to Bids and Offers.
| Files included in this report: | File Name: 2_Day_DAM_Bids_and_Offers.zip | Description | Column Name
|  | 2d_PTP_Obligation_Bids_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_PTP_Obligation_Bids-<DD-MON-YY> (combined Disclosure Areas) | The aggregate Point-to-Point (PTP) Obligation bids (not-to-exceed price and quantities) for the ERCOT System and the aggregate PTP Obligation bids that sink in the Disclosure Area for each Disclosure Area. | Delivery Date
Hour Ending
Settlement Point Source location for PtP Bid
Settlement Point Sink location for PtP Bid
PtP Bid Price
PtP Bid MW
|  | 2d_Tot_Cleared_Energy_Bids_Offers_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Tot_Cleared_Energy_Bids_Offers-<DD-MON-YY> (combined Disclosure Areas) | The aggregate amount of cleared energy bids and offers including cleared Minimum-Energy Offer quantities. | Delivery Date
Hour Ending
Sum DAM EN Only Bids cleared: Sum of DAM Bids cleared for each hour
Sum 3PO cleared: Sum of 3PO Offers cleared
Sum DAM EN Only Offers cleareds: Sum of DAM Energy Only Offers cleared
Sum ESR Bids cleared: Sum of ESR bids cleared for each hour
Sum ESR Offers cleared: Sum of ESR offers cleared for each hour
2-Day Real Time Gen and Load Data Reports | EMIL ID: | Report Type ID:
| NP3-910-ER | 13056
| Product Description: | Contains all 2 day disclosure data related to DAM.
| Files included in this report: | File Name: 2_Day_Real_Time_Generation_and_Load_Data.zip | Description | Column Name
|  | 2d_Agg_Gen_Summary_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Gen_Summary-<DD-MON-YY> (combined Disclosure Areas) | The sum of the Base Points, sum of the Base Points, of WGRs with Energy Offer Curves, and the sum of the Base Points, of all remaining Generation Resources dispatched in SCED, of ESRs with EBOCs, Charging and Discharging. | SCED Time Stamp
Repeated Hour Flag
SUM_BASE_POINT_NON_IRR: Summation of Base Points for non-Intermittent Renewable Resources with Energy Offer Curves
SUM BASE POINT WGR: Sum of ERCOT System wide base point for wind generation with energy offer curves
SUM BASE POINT PVGR: Summation of Base Points for PV with Energy Offer Curves. This is only provided in the combined Disclosure Area report.
SUM BASE POINT REMAINING RES: Sum of ERCOT System wide base point for generation with no energy offer curves
SUM GEN TELEM MW : Sum all remaining Resources dispatched in SCED
SUM BASE POINT ESR: Sum of the Base Points of ESRs with EBOCs
SUM BASE POINT ESR CHARGING: Sum of Basepoints of ESRs in Charging Mode
SUM BASE POINT ESR DISCHARGING: Sum of Basepoints of ESRs in Discharging Mode
|  | 2d_Agg_Load_Summary_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Load_Summary-<DD-MON-YY> (combined Disclosure Areas) | The actual ERCOT Load as determined by subtracting the Direct Current Tie (DC Tie) Resource actual telemetry from the sum of the telemetered Generation Resource net output as used in SCED | SCED Time Stamp
Repeated Hour Flag
SUM TELEM GEN MW: Sum of the Telemetered Generation Resource net output used in SCED
SUM TELEM DCTIE MW: Direct Current Tie resource actual telemetry
AGG LOAD SUMMARY: ERCOT load
|  | 2d_Agg_Output_Sched_xxxx-<DD-MON-YY> where xxxx = Disclosure Area 2d_Agg_Output_Sched-<DD-MON-YY> (combined Disclosure Areas) | The sum of LSLs, sum of Output Schedules, and sum of HSLs for Generation Resources without Energy Offer Curves. | SCED Time Stamp
Repeated Hour Flag
SUM LSL OUTPUT SCHEDULE: Sum of Low Sustainable Limits without Energy Offer Curves
SUM HSL OUTPUT SCHEDULE: Sum of High Sustainable Limits without Energy Offer Curves
SUM OUTPUTSCHEDULE: Sum of Output Schedules without Energy Offer Curves
2-Day SCED Ancillary Services Report | EMIL ID: | Report Type ID:
| NP3-906-EX | 25814
| Product Description: | This report contains all 2 day disclosure data related to SCED for each SCED Interval related to Ancillary Services.
| Files included in this report: | File Name: 2_Day_SCED_AS_Disclosure.zip | Description | Column Name
|  | 2day_Agg_SCED_AS_Offers_XXXXX-<DD-MON-YY> where XXXXX is the Ancillary Service Type: ECRSM,ECRSS,NSPIN,NSPNM, RRSFFR, RRSPFR,RRSUFR,REGDN,REGUP | The aggregate Ancillary Service Offers (prices and quantities) in the RTM, for each type of Ancillary Service. For Responsive Reserve (RRS) and ERCOT Contingency Reserve Service (ECRS), ERCOT shall separately post aggregated offers from Generation Resources, Energy Storage Resources (ESRs), Controllable Load Resources, and Load Resources other than Controllable Load Resources. Linked Ancillary Service Offers will be included as non-linked Ancillary Service Offers; | SCED Timestamp
Repeated Hour Flag
MW Offered
XXXXX Offer Price: where XXXXX is the AS type
3-Day DAM Highest Price AS Offer Selected | EMIL ID: | Report Type ID:
| NP3-915-EX | 13018
| Product Description: | The offer price and name of the entity for the highest-priced offer selected or dispatched by ERCOT for each interval.
| Files included in this report: | File Name: 3_Day_DAM_Highest_Price_AS_Offer_Selected.zip | Description | Column Name
|  | 3d_DAM_Highest_Price_AS_Offer_Selected-<DD-MON-YY> | Offer curves (prices and quantities) for each type of ancillary service and for energy at each settlement point - ERCOT shall post the offer price and the name of the entity submitting the offer 48 hours after the day for which the information is accumulated. | Delivery Date
Hour Ending
QSE
DME
Resource Name with Highest-Priced Offer Selected in DAM
AS Type: Five AS Types include REGUP, REGDN, RRS(the highest Price of RRSFF, RRSPF, RRSUF will be in RRS output), NSPIN, and ECRS (the highest price of ECRSS, ECRSM, or OFFEC will be in ECRS output.
Block Indicator
Offered Quantity
Offered Price
3-Day Highest Price Offered in SCED | EMIL ID: | Report Type ID:
| NP3-916-EX | 13029
| Product Description: | The offer price and the name of the Entity submitting the offer for the highest-priced offer selected or Dispatched by SCED two days after the applicable Operating Day.
| Files included in this report: | File Name: 3_Day_Highest_Price_Offered_SCED.zip | Description | Column Name
|  | 3d_Highest_Price_Offered_SCED-<DD-MON-YY> | The offer price and the name of the Entity submitting the offer for the highest-priced offer selected or Dispatched by SCED two days after the applicable Operating Day. If multiple Entities submitted the highest-priced offers selected, all Entities shall be identified. | SCED Time Stamp
Repeated Hour Flag
LMP
QSE
DME
Generation Resource
Proxy Extension: 'No' if 1) SCED SYSTEM LAMBDA from database >= System Wide CAP-0.022999.98 OR 2) for a resource , its maximum price is not NULL and its SCED BASEPOINT LMP in database is >= minimum price and <= maximum price 'Y' otherwise
Power Balance Penalty Flag: 'Yes' if SYSTEM LAMDA in database >= (System Wide CAP-0.02) 'No' otherwise
3-Day Highest Priced Bids Selected or Dispatched in SCED | EMIL ID: | Report Type ID:
| NP3-257-EX | 13230
| Product Description: | The bid price and the name of the Entity submitting the bid for the highest-priced bid selected or Dispatched by SCED two days after the applicable Operating Day. If multiple Entities submitted the highest-priced bids selected, all Entities shall be identified.
| Files included in this report: | File Name: 3d_Highest_Price_Bids_Selected_Dispatched_in_SCED.zip | Description | Column Name
|  | 3d_Highest_Price_Bids_Selected_Dispatched_in_SCED-<DD-MON-YY> | see Product Description | SCED Time Stamp
Batch ID
Repeated Hour Flag
QSE
DME
Load Resource
Highest Price Dispatched by SCED
Proxy Extension
3-Day SCED Highest Price AS Offer Selected | EMIL ID: | Report Type ID:
| NP3-914-EX | 25812
| Product Description: | ERCOT shall post the offer price and the name of the Entity submitting the offer for the SCED highest-priced AS Offer. If multiple Entities submitted the highest-priced offers selected, all Entities shall be identified on the MIS Public Area.
| Files included in this report: | File Name: 3_Day_SCED_Highest_Price_AS_Offer_Selected.zip | Description | Column Name
|  | 3d_SCED_Highest_Price_AS_Offer_Selected-<DD-MON-YY> | Offer curves (prices and quantities) for each type of ancillary service and for energy at each settlement point - ERCOT shall post the offer price and the name of the entity submitting the offer 48 hours after the day for which the information is accumulated. | SCED Timestamp
QSE
DME
Resource Name with Highest-Priced Offer Selected in SCED
AS Type: Five AS Types include REGUP, REGDN, RRS(the highest Price of RRSFF, RRSPF, RRSUF will be in RRS output), NSPIN, and ECRS (the highest price of ECRSS, ECRSM will be in ECRS output.
Offered Quantity
Offered Price

## 7Day Disclosure Reports
For protocol traceability on these reports, please see the ERCOT Market Information List (EMIL) available at https://www.ercot.com/mp/data-products For Definitions and Acronyms, please see Section 2 of the ERCOT Nodal Protocols at http://www.ercot.com/mktrules/nprotocols/current
Report Name:
7-Day Event Trigger Posting Reports | EMIL ID: | Report Type ID:
| NP3-987-EX | 10047
| Product Description: | This report contains all 7 day disclosure data related toLMPs and MCPCs Resource Energy Offer Curves that have exceeded 50xFIP.
| Files included in this report: | File Name: 7day_Event_Trigger.zip | Description | Column Name
|  | 7day_Event_Trigger_LMP_Exceeds_50XFIP-<DD-MON-YY>.csv | If any Real-Time Locational Marginal Price (LMP) exceeds 50 times the Fuel Index Price (FIP) during any 15-minute Settlement Interval for the applicable Operating Day, ERCOT shall post the portion of any Resources Energy Offer Curve that is at or above 50xFIP for each SCED Interval seven days after the applicable Operating Day | SCED Time Stamp
Repeated Hour Flag
Resource Name
LMP
50xFIP
SCED2 Curve-MW1
SCED2 Curve-Price1
SCED2 Curve-MW2
SCED2 Curve-Price2
SCED2 Curve-MW3
SCED2 Curve-Price3
SCED2 Curve-MW4
SCED2 Curve-Price4
SCED2 Curve-MW5
SCED2 Curve-Price5
SCED2 Curve-MW6
SCED2 Curve-Price6
SCED2 Curve-MW7
SCED2 Curve-Price7
SCED2 Curve-MW8
SCED2 Curve-Price8
SCED2 Curve-MW9
SCED2 Curve-Price9
SCED2 Curve-MW10
SCED2 Curve-Price10
SCED2 Curve-MW11
SCED2 Curve-Price11
SCED2 Curve-MW12
SCED2 Curve-Price12
SCED2 Curve-MW13
SCED2 Curve-Price13
SCED2 Curve-MW14
SCED2 Curve-Price14
SCED2 Curve-MW15
SCED2 Curve-Price15
SCED2 Curve-MW16
SCED2 Curve-Price16
SCED2 Curve-MW17
SCED2 Curve-Price17
SCED2 Curve-MW18
SCED2 Curve-Price18
SCED2 Curve-MW19
SCED2 Curve-Price19
SCED2 Curve-MW20
SCED2 Curve-Price20
SCED2 Curve-MW21
SCED2 Curve-Price21
SCED2 Curve-MW22
SCED2 Curve-Price22
SCED2 Curve-MW23
SCED2 Curve-Price23
SCED2 Curve-MW24
SCED2 Curve-Price24
SCED2 Curve-MW25
SCED2 Curve-Price25
SCED2 Curve-MW26
SCED2 Curve-Price26
SCED2 Curve-MW27
SCED2 Curve-Price27
SCED2 Curve-MW28
SCED2 Curve-Price28
SCED2 Curve-MW29
SCED2 Curve-Price29
SCED2 Curve-MW30
SCED2 Curve-Price30
SCED2 Curve-MW31
SCED2 Curve-Price31
SCED2 Curve-MW32
SCED2 Curve-Price32
SCED2 Curve-MW33
SCED2 Curve-Price33
SCED2 Curve-MW34
SCED2 Curve-Price34
SCED2 Curve-MW35
SCED2 Curve-Price35
Bid Type
Submitted TPO-MW1
Submitted TPO-Price1
Submitted TPO-MW2
Submitted TPO-Price2
Submitted TPO-MW3
Submitted TPO-Price3
Submitted TPO-MW4
Submitted TPO-Price4
Submitted TPO-MW5
Submitted TPO-Price5
Submitted TPO-MW6
Submitted TPO-Price6
Submitted TPO-MW7
Submitted TPO-Price7
Submitted TPO-MW8
Submitted TPO-Price8
Submitted TPO-MW9
Submitted TPO-Price9
Submitted TPO-MW10
Submitted TPO-Price10
Proxy Extension
|  | 7day_Event_Trigger_DAM_MCPC_Exceeds_50XFIP-<DD-MON-YY>.csv | If any Market Clearing Price for Capacity (MCPC) for an Ancillary Service exceeds 50 times the FIP during for any Operating Hour in a DAM for the applicable Operating Day, ERCOT shall post on the MIS Public Area the portion on any Resource’s Ancillary Service Offer that is at or above 50 times the FIP for that Ancillary Service for each Operating Hour seven days after the applicable Operating Day. | Delivery Date
Hour Ending
QSE
DME
Resource Name
50xFIP
MCPC
Multi-Hour Block Flag
BLOCK INDICATOR1
PRICE1 RRSPFR
PRICE1 RRSFFR
PRICE1 RRSUFR
PRICE1 ECRS
PRICE1 OFFEC
PRICE1 ONLINE NONSPIN
PRICE1 REGUP
PRICE1 REGDOWN
PRICE1 OFFLINE NONSPIN
QUANTITY MW1
BLOCK INDICATOR2
PRICE2 RRSPFR
PRICE2 RRSFFR
PRICE2 RRSUFR
PRICE2 ECRS
PRICE2 OFFEC
PRICE2 ONLINE NONSPIN
PRICE2 REGUP
PRICE2 REGDOWN
PRICE2 OFFLINE NONSPIN
QUANTITY MW2
BLOCK INDICATOR3
PRICE3 RRSPFR
PRICE3 RRSFFR
PRICE3 RRSUFR
PRICE3 ECRS
PRICE3 OFFEC
PRICE3 ONLINE NONSPIN
PRICE3 REGUP
PRICE3 REGDOWN
PRICE3 OFFLINE NONSPIN
QUANTITY MW3
BLOCK INDICATOR4
PRICE4 RRSPFR
PRICE4 RRSFFR
PRICE4 RRSUFR
PRICE4 ECRS
PRICE4 OFFEC
PRICE4 ONLINE NONSPIN
PRICE4 REGUP
PRICE4 REGDOWN
PRICE4 OFFLINE NONSPIN
QUANTITY MW4
BLOCK INDICATOR5
PRICE5 RRSPFR
PRICE5 RRSFFR
PRICE5 RRSUFR
PRICE5 ECRS
PRICE5 OFFEC
PRICE5 ONLINE NONSPIN
PRICE5 REGUP
PRICE5 REGDOWN
PRICE5 OFFLINE NONSPIN
QUANTITY MW5
|  | 7day_Event_Trigger_RTM_MCPC_Exceeds_50XFIP-<DD-MMM-YY>.csv | If any Market Clearing Price for Capacity (MCPC) for an Ancillary Service exceeds 50 times the FIP for any Operating Hour in a DAM or any SCED interval in the RTM for the applicable Operating Day, ERCOT shall post on the ERCOT website the portion on any Resource’s Ancillary Service Offer that is at or above 50 times the FIP for that Ancillary Service for that Operating Hour for the DAM or SCED interval for the RTM seven days after the applicable Operating Day. | SCED Time Stamp
Repeated Hour Flag
Resource Name
50xFIP
RTMCPC
PRICE1 REGUP
PRICE1 REGDOWN
PRICE1 RRSPFR
PRICE1 RRSUFR
PRICE1 RRSFFR
PRICE1 NONSPIN
PRICE1 ECRS
QUANTITY MW1
PRICE2 REGUP
PRICE2 REGDOWN
PRICE2 RRSPFR
PRICE2 RRSUFR
PRICE2 RRSFFR
PRICE2 NONSPIN
PRICE2 ECRS
QUANTITY MW2
PRICE3 REGUP
PRICE3 REGDOWN
PRICE3 RRSPFR
PRICE3 RRSUFR
PRICE3 RRSFFR
PRICE3 NONSPIN
PRICE3 ECRS
QUANTITY MW3
PRICE4 REGUP
PRICE4 REGDOWN
PRICE4 RRSPFR
PRICE4 RRSUFR
PRICE4 RRSFFR
PRICE4 NONSPIN
PRICE4 ECRS
QUANTITY MW4
PRICE5 REGUP
PRICE5 REGDOWN
PRICE5 RRSPFR
PRICE5 RRSUFR
PRICE5 RRSFFR
PRICE5 NONSPIN
PRICE5 ECRS
QUANTITY MW5

## 60Day Disclosure Reports
For protocol traceability on these reports, please see the ERCOT Market Information List (EMIL) available at https://www.ercot.com/mp/data-products For Definitions and Acronyms, please see Section 2 of the ERCOT Nodal Protocols at http://www.ercot.com/mktrules/nprotocols/current
60 Day DAM Disclosure Reports | EMIL ID: | Report Type ID:
| NP3-966-ER | 13051
| Product Description: | This report will contain all 60 day disclosure data related to DAM.
| Files included in this report: | File Name: 60_Day_DAM_Disclosure.zip | Description | Column Name
|  | 60d_DAM_EnergyBidAwards-<DD-MON-YY> | For each Settlement Point, the award of each DAM Energy Bid from the DAM and the name of the QSE receiving the award | Delivery Date
Hour Ending
Settlement Point
QSE Name
Energy Only Bid Award in MW
Settlement Point Price
Bid ID
|  | 60d_DAM_EnergyBids-<DD-MON-YY> | For each Settlement Point, individual DAM Energy Bids available for the DAM and the name of the QSE submitting the bid | Delivery Date
Hour Ending
Settlement Point
QSE Name
Energy Only Bid MW1
Energy Only Bid Price1
Energy Only Bid MW2
Energy Only Bid Price2
Energy Only Bid MW3
Energy Only Bid Price3
Energy Only Bid MW4
Energy Only Bid Price4
Energy Only Bid MW5
Energy Only Bid Price5
Energy Only Bid MW6
Energy Only Bid Price6
Energy Only Bid MW7
Energy Only Bid Price7
Energy Only Bid MW8
Energy Only Bid Price8
Energy Only Bid MW9
Energy Only Bid Price9
Energy Only Bid MW10
Energy Only Bid Price10
Energy Only Bid ID
Multi-Hour Block Indicator
Block/Curve indicator: "F" = fixed quantity block,"V" = variable quantity block, "C" = curve.
|  | 60d_DAM_EnergyOnlyOfferAwards-<DD-MON-YY> | For each Settlement Point, the award of each DAM Energy-Only Offer from the DAM and the name of the QSE receiving the award | Delivery Date
Hour Ending
Settlement Point
QSE Name
Energy Only Offer Award in MW
Settlement Point Price
Offer ID
|  | 60d_DAM_EnergyOnlyOffers-<DD-MON-YY> | For each Settlement Point, individual DAM Energy-Only Offer Curves available for the DAM and the name of the QSE submitting the offer | Delivery Date
Hour Ending
Settlement Point
QSE Name
Energy Only Offer MW1
Energy Only Offer Price1
Energy Only Offer MW2
Energy Only Offer Price2
Energy Only Offer MW3
Energy Only Offer Price3
Energy Only Offer MW4
Energy Only Offer Price4
Energy Only Offer MW5
Energy Only Offer Price5
Energy Only Offer MW6
Energy Only Offer Price6
Energy Only Offer MW7
Energy Only Offer Price7
Energy Only Offer MW8
Energy Only Offer Price8
Energy Only Offer MW9
Energy Only Offer Price9
Energy Only Offer MW10
Energy Only Offer Price10
Energy Only Offer ID
Multi-Hour Block Indicator
Block/Curve indicator: "F" means fixed quantity block,"V" means variable quantity block, "C" means curve.
|  | 60d_DAM_Gen_Resource_Data-<DD-MON-YY> | The Generation Resource name and the Generation Resource’s Three-Part Supply Offer (prices and quantities), including Startup Offer and Minimum-Energy Offer, available for the DAM; The award of each Three-Part Supply Offer from the DAM and the name of the QSE receiving the award; The awards for each Ancillary Service from DAM for each Generation Resource; | Delivery Date
Hour Ending
QSE
DME
Resource Name
Resource Type
QSE submitted Curve-MW1
QSE submitted Curve-Price1
QSE submitted Curve-MW2
QSE submitted Curve-Price2
QSE submitted Curve-MW3
QSE submitted Curve-Price3
QSE submitted Curve-MW4
QSE submitted Curve-Price4
QSE submitted Curve-MW5
QSE submitted Curve-Price5
QSE submitted Curve-MW6
QSE submitted Curve-Price6
QSE submitted Curve-MW7
QSE submitted Curve-Price7
QSE submitted Curve-MW8
QSE submitted Curve-Price8
QSE submitted Curve-MW9
QSE submitted Curve-Price9
QSE submitted Curve-MW10
QSE submitted Curve-Price10
Start Up Hot
Start Up Inter
Start Up Cold
Min Gen Cost
HSL
LSL
Resource Status
Awarded Quantity
Settlement Point Name
Energy Settlement Point Price
RegUp Awarded
RegUp MCPC
RegDown Awarded
RegDown MCPC
RRSPFR Awarded
RRSFFR Awarded
RRSUFR Awarded
RRS MCPC
ECRSSD Awarded
ECRS MCPC
NonSpin Awarded
NonSpin MCPC
|  | 60d_DAM_Generation_Resource_ASOffers-<DD-MON-YY> | The Resource name and the Resource’s Ancillary Service Offers available for the DAM | Delivery Date
Hour Ending
QSE
DME
Generation Resource Name
Multi-Hour Block Flag
BLOCK INDICATOR1
PRICE1 RRSPFR
PRICE1 RRSFFR
PRICE1 RRSUFR
PRICE1 ECRS
PRICE1 OFFEC
PRICE1 ONLINE NONSPIN
PRICE1 REGUP
PRICE1 REGDOWN
PRICE1 OFFLINE NONSPIN
QUANTITY MW1
BLOCK INDICATOR2
PRICE2 RRSPFR
PRICE2 RRSFFR
PRICE2 RRSUFR
PRICE2 ECRS
PRICE2 OFFEC
PRICE2 ONLINE NONSPIN
PRICE2 REGUP
PRICE2 REGDOWN
PRICE2 OFFLINE NONSPIN
QUANTITY MW2
BLOCK INDICATOR3
PRICE3 RRSPFR
PRICE3 RRSFFR
PRICE3 RRSUFR
PRICE3 ECRS
PRICE3 OFFEC
PRICE3 ONLINE NONSPIN
PRICE3 REGUP
PRICE3 REGDOWN
PRICE3 OFFLINE NONSPIN
QUANTITY MW3
BLOCK INDICATOR4
PRICE4 RRSPFR
PRICE4 RRSFFR
PRICE4 RRSUFR
PRICE4 ECRS
PRICE4 OFFEC
PRICE4 ONLINE NONSPIN
PRICE4 REGUP
PRICE4 REGDOWN
PRICE4 OFFLINE NONSPIN
QUANTITY MW4
BLOCK INDICATOR5
PRICE5 RRSPFR
PRICE5 RRSFFR
PRICE5 RRSUFR
PRICE5 ECRS
PRICE5 OFFEC
PRICE5 ONLINE NONSPIN
PRICE5 REGUP
PRICE5 REGDOWN
PRICE5 OFFLINE NONSPIN
QUANTITY MW5
|  | 60d_DAM_Load_Resource_ASOffers-<DD-MON-YY> | The Resource name and the Resource’s Ancillary Service Offers available for the DAM | Delivery Date
Hour Ending
QSE
DME
Load Resource Name
Multi-Hour Block Flag
BLOCK INDICATOR1
PRICE1 RRSPFR
PRICE1 RRSFFR
PRICE1 RRSUFR
PRICE1 ECRS
PRICE1 OFFEC
PRICE1 ONLINE NONSPIN
PRICE1 REGUP
PRICE1 REGDOWN
PRICE1 OFFLINE NONSPIN
QUANTITY MW1
BLOCK INDICATOR2
PRICE2 RRSPFR
PRICE2 RRSFFR
PRICE2 RRSUFR
PRICE2 ECRS
PRICE2 OFFEC
PRICE2 ONLINE NONSPIN
PRICE2 REGUP
PRICE2 REGDOWN
PRICE2 OFFLINE NONSPIN
QUANTITY MW2
BLOCK INDICATOR3
PRICE3 RRSPFR
PRICE3 RRSFFR
PRICE3 RRSUFR
PRICE3 ECRS
PRICE3 OFFEC
PRICE3 ONLINE NONSPIN
PRICE3 REGUP
PRICE3 REGDOWN
PRICE3 OFFLINE NONSPIN
QUANTITY MW3
BLOCK INDICATOR4
PRICE4 RRSPFR
PRICE4 RRSFFR
PRICE4 RRSUFR
PRICE4 ECRS
PRICE4 OFFEC
PRICE4 ONLINE NONSPIN
PRICE4 REGUP
PRICE4 REGDOWN
PRICE4 OFFLINE NONSPIN
QUANTITY MW4
BLOCK INDICATOR5
PRICE5 RRSPFR
PRICE5 RRSFFR
PRICE5 RRSUFR
PRICE5 ECRS
PRICE5 OFFEC
PRICE5 ONLINE NONSPIN
PRICE5 REGUP
PRICE5 REGDOWN
PRICE5 OFFLINE NONSPIN
QUANTITY MW5
NCLR Flag
|  | 60d_DAM_Load_Resource_Data-<DD-MON-YY> | The awards for each Ancillary Service from DAM for each Load Resource | Delivery Date
Hour Ending
Load Resource Name
Max Power Consumption for Load Resource
Low Power Consumption for Load Resource
RegUp Awarded
RegUp MCPC
RegDown Awarded
RegDown MCPC
RRSPFR Awarded
RRSFFR Awarded
RRSUFR Awarded
RRS MCPC
ECRSSD Awarded
ECRSMD Awarded
ECRS MCPC
NonSpin Awarded
NonSpin MCPC
|  | 60d_DAM_PTP_Obligation_Option-<DD-MON-YY> | For each Settlement Point, individual Congestion Revenue Rights (CRR) Offers available to the DAM that sink at the Settlement Point and the QSE submitting the offer; | Delivery Date
Hour Ending
QSE Name
Settlement Point Source
Settlement Point Sink
MW
Price
Offer ID
Multi-Hour Block Indicator
CRR ID
|  | 60d_DAM_PTP_Obligation_OptionAwards-<DD-MON-YY> | For each Settlement Point, the award of each CRR Offer from the DAM that sink at the Settlement Point and the QSE submitting the offer | Delivery Date
Hour Ending
QSE Name
Settlement Point Source
Settlement Point Sink
MW
Price
Offer ID
CRR ID
|  | 60d_DAM_PTPObligationBidAwards-<DD-MON-YY> | For each Settlement Point, the award of each PTP Obligation bid from the DAM that sinks at the Settlement Point, including whether or not the PTP Obligation bid was Linked to an Option, and the QSE submitting the bid | Delivery Date
Hour Ending
QSE Name
Settlement Point Source
Settlement Point Sink
PtP Bid Award - MW
PtP Bid - Price
Bid ID
|  | 60d_DAM_PTPObligationBids-<DD-MON-YY> | For each Settlement Point, individual PTP Obligation bids available to the DAM that sink at the Settlement Point and the QSE submitting the bid | Delivery Date
Hour Ending
QSE Name
Settlement Point Source
Settlement Point Sink
PtP Bid - MW
PtP Bid - Price
Bid ID
Multi-Hour Block Indicator
|  | 60d_DAM_QSE_Self_Arranged_AS-<DD-MON-YY> | The self-arranged Ancillary Service by service for each QSE | Delivery Date
Hour Ending
QSE
Total Self-Arranged AS RegUp
Total Self-Arranged AS RegDown
Total Self-Arranged AS NonSpin
Total Self-Arranged AS NSPNM
Total Self-Arranged AS RRSPFR
Total Self-Arranged AS RRSFFR
Total Self-Arranged AS RRSUFR
Total Self-Arranged AS ECRSSD
Total Self-Arranged AS ECRSMD
|  | 60d_DAM_AS_Only_Offers-DD-MMM-YY.csv | The Ancillary Service Only Offer for each Ancillary Service and the name of the QSE submitting the offer | Delivery Date
Hour Ending
QSE Name
Offer ID
AS Type
AS Only Offer MW1
AS Only Offer PRICE1
AS Only Offer MW2
AS Only Offer PRICE2
AS Only Offer MW3
AS Only Offer PRICE3
AS Only Offer MW4
AS Only Offer PRICE4
AS Only Offer MW5
AS Only Offer PRICE5
|  | 60d_DAM_ESR_Data-DD-MMM-YY.csv | The ESR Resource name and the ESR Resource’s Three-Part Supply Offer (prices and quantities), including Startup Offer and Minimum-Energy Offer, available for the DAM; The award of each Three-Part Supply Offer from the DAM and the name of the QSE receiving the award. The awards for each Ancillary Service from DAM for each ESR Resource. | Delivery Date
Hour Ending
QSE
DME
Resource Name
Resource Type
QSE submitted Curve-MW1
QSE submitted Curve-Price1
QSE submitted Curve-MW2
QSE submitted Curve-Price2
QSE submitted Curve-MW3
QSE submitted Curve-Price3
QSE submitted Curve-MW4
QSE submitted Curve-Price4
QSE submitted Curve-MW5
QSE submitted Curve-Price5
QSE submitted Curve-MW6
QSE submitted Curve-Price6
QSE submitted Curve-MW7
QSE submitted Curve-Price7
QSE submitted Curve-MW8
QSE submitted Curve-Price8
QSE submitted Curve-MW9
QSE submitted Curve-Price9
QSE submitted Curve-MW10
QSE submitted Curve-Price10
Start Up Hot
Start Up Inter
Start Up Cold
Min Gen Cost
HSL
LSL
Resource Status
Awarded Quantity
Settlement Point Name
Energy Settlement Point Price
RegUp Awarded
RegUp MCPC
RegDown Awarded
RegDown MCPC
RRSPFR Awarded
RRSFFR Awarded
RRSUFR Awarded
RRS MCPC
ECRSSD Awarded
ECRS MCPC
NonSpin Awarded
NonSpin MCPC
|  | 60d_DAM_ESR_ASOffers-DD-MMM-YY.csv | The awards for each Ancillary Service from the DAM for each ESR. | Delivery Date
Hour Ending
QSE
DME
Resource Name
Multi-Hour Block Flag
BLOCK INDICATOR1
PRICE1 RRSPFR
PRICE1 RRSFFR
PRICE1 RRSUFR
PRICE1 ECRS
PRICE1 OFFEC
PRICE1 ONLINE NONSPIN
PRICE1 REGUP
PRICE1 REGDOWN
PRICE1 OFFLINE NONSPIN
QUANTITY MW1
BLOCK INDICATOR2
PRICE2 RRSPFR
PRICE2 RRSFFR
PRICE2 RRSUFR
PRICE2 ECRS
PRICE2 OFFEC
PRICE2 ONLINE NONSPIN
PRICE2 REGUP
PRICE2 REGDOWN
PRICE2 OFFLINE NONSPIN
QUANTITY MW2
BLOCK INDICATOR3
PRICE3 RRSPFR
PRICE3 RRSFFR
PRICE3 RRSUFR
PRICE3 ECRS
PRICE3 OFFEC
PRICE3 ONLINE NONSPIN
PRICE3 REGUP
PRICE3 REGDOWN
PRICE3 OFFLINE NONSPIN
QUANTITY MW3
BLOCK INDICATOR4
PRICE4 RRSPFR
PRICE4 RRSFFR
PRICE4 RRSUFR
PRICE4 ECRS
PRICE4 OFFEC
PRICE4 ONLINE NONSPIN
PRICE4 REGUP
PRICE4 REGDOWN
PRICE4 OFFLINE NONSPIN
QUANTITY MW4
BLOCK INDICATOR5
PRICE5 RRSPFR
PRICE5 RRSFFR
PRICE5 RRSUFR
PRICE5 ECRS
PRICE5 OFFEC
PRICE5 ONLINE NONSPIN
PRICE5 REGUP
PRICE5 REGDOWN
PRICE5 OFFLINE NONSPIN
QUANTITY MW5
60 Day SCED Disclosure Reports | EMIL ID: | Report Type ID:
| NP3-965-ER | 13052
| Product Description: | This report will contain all 60 day disclosure data related to SCED.
| Files included in this report: | File Name: 60_Day_SCED_Disclosure.zip | Description | Column Name
|  | 60d_HDL_LDL_ManOverride-<DD-MON-YY> | The summary LDL and HDL report for any Generation Resource, instances of manual overrides of HDL or LDL, including the name of the Generation Resource and the type of override | SCED Timestamp
Repeated Hour Flag
Participant Name
Resource Name
HDL Original
HDL Manual
HDL Final
LDL Original
LDL Manual
LDL Final
Reason Code
|  | 60d_Load Resource_Data_in_SCED-<DD-MON-YY> | The following Load Resource data using a single snapshot during the first SCED execution in each Settlement Interval: (i) The Load Resource name; (ii) The Load Resource status; (iii) The Maximum Power Consumption (MPC for a Load Resource); (iv) The Low Power Consumption (LPC for a Load Resource); (v) The telemetered real power consumption; and (vi) The Ancillary Service Resource Responsibility for each Ancillary Service | SCED Time Stamp
Repeated Hour Flag
QSE
DME
Resource Name
Telemetered Resource Status
Max Power Consumption
Low Power Consumption
Real Power Consumption
AS Awards NSPIN
AS Awards RRSFFR
AS Awards RRSPFR
AS Awards RRSUFR
AS Awards ECRS
AS Awards REGUP
AS Awards REGDN
SCED Bid to Buy Curve-MW1
SCED Bid to Buy Curve-Price1
SCED Bid to Buy Curve-MW2
SCED Bid to Buy Curve-Price2
SCED Bid to Buy Curve-MW3
SCED Bid to Buy Curve-Price3
SCED Bid to Buy Curve-MW4
SCED Bid to Buy Curve-Price4
SCED Bid to Buy Curve-MW5
SCED Bid to Buy Curve-Price5
SCED Bid to Buy Curve-MW6
SCED Bid to Buy Curve-Price6
SCED Bid to Buy Curve-MW7
SCED Bid to Buy Curve-Price7
SCED Bid to Buy Curve-MW8
SCED Bid to Buy Curve-Price8
SCED Bid to Buy Curve-MW9
SCED Bid to Buy Curve-Price9
SCED Bid to Buy Curve-MW10
SCED Bid to Buy Curve-Price10
Self Provided RRSFFR
Self Provided RRSUFR
Self Provided ECRS
Ramp Rate Up
Ramp Rate Down
AS Capability NSPIN
AS Capability ECRS
AS Capability REGUP
AS Capability REGDN
HDL
LDL
Base Point
|  | 60d_SCED_EOC_Updates_in_OpHour-<DD-MON-YY> | For each Resource for each Operating Hour 60 days prior to the current Operating Day, a count of the number of times a Resource’s Energy Offer quantity or price was updated within the Operating Hour, including any reason accompanying the update. | Delivery Date
Delivery Hour
Resource Name
Reason
Count of Updates During Operating Hour
|  | 60d_SCED_Gen_Resource_Data-<DD-MON-YY> | The Generation Resource name and the Generation Resource’s Energy Offer Curve (prices and quantities): (i) As submitted; (ii) As submitted and extended (or truncated) with proxy Energy Offer Curve logic by ERCOT to fit to the operational HSL and LSL values that are available for dispatch by SCED; and (iii) As mitigated and extended for use in SCED, including the Incremental and Decremental Energy Offer Curves for DSRs; | SCED Time Stamp
Repeated Hour Flag
QSE
DME
Resource Name
Resource Type
SCED1 Curve-MW1
SCED1 Curve-Price1
SCED1 Curve-MW2
SCED1 Curve-Price2
SCED1 Curve-MW3
SCED1 Curve-Price3
SCED1 Curve-MW4
SCED1 Curve-Price4
SCED1 Curve-MW5
SCED1 Curve-Price5
SCED1 Curve-MW6
SCED1 Curve-Price6
SCED1 Curve-MW7
SCED1 Curve-Price7
SCED1 Curve-MW8
SCED1 Curve-Price8
SCED1 Curve-MW9
SCED1 Curve-Price9
SCED1 Curve-MW10
SCED1 Curve-Price10
SCED1 Curve-MW11
SCED1 Curve-Price11
SCED1 Curve-MW12
SCED1 Curve-Price12
SCED1 Curve-MW13
SCED1 Curve-Price13
SCED1 Curve-MW14
SCED1 Curve-Price14
SCED1 Curve-MW15
SCED1 Curve-Price15
SCED1 Curve-MW16
SCED1 Curve-Price16
SCED1 Curve-MW17
SCED1 Curve-Price17
SCED1 Curve-MW18
SCED1 Curve-Price18
SCED1 Curve-MW19
SCED1 Curve-Price19
SCED1 Curve-MW20
SCED1 Curve-Price20
SCED1 Curve-MW21
SCED1 Curve-Price21
SCED1 Curve-MW22
SCED1 Curve-Price22
SCED1 Curve-MW23
SCED1 Curve-Price23
SCED1 Curve-MW24
SCED1 Curve-Price24
SCED1 Curve-MW25
SCED1 Curve-Price25
SCED1 Curve-MW26
SCED1 Curve-Price26
SCED1 Curve-MW27
SCED1 Curve-Price27
SCED1 Curve-MW28
SCED1 Curve-Price28
SCED1 Curve-MW29
SCED1 Curve-Price29
SCED1 Curve-MW30
SCED1 Curve-Price30
SCED1 Curve-MW31
SCED1 Curve-Price31
SCED1 Curve-MW32
SCED1 Curve-Price32
SCED1 Curve-MW33
SCED1 Curve-Price33
SCED1 Curve-MW34
SCED1 Curve-Price34
SCED1 Curve-MW35
SCED1 Curve-Price35
SCED2 Curve-MW1
SCED2 Curve-Price1
SCED2 Curve-MW2
SCED2 Curve-Price2
SCED2 Curve-MW3
SCED2 Curve-Price3
SCED2 Curve-MW4
SCED2 Curve-Price4
SCED2 Curve-MW5
SCED2 Curve-Price5
SCED2 Curve-MW6
SCED2 Curve-Price6
SCED2 Curve-MW7
SCED2 Curve-Price7
SCED2 Curve-MW8
SCED2 Curve-Price8
SCED2 Curve-MW9
SCED2 Curve-Price9
SCED2 Curve-MW10
SCED2 Curve-Price10
SCED2 Curve-MW11
SCED2 Curve-Price11
SCED2 Curve-MW12
SCED2 Curve-Price12
SCED2 Curve-MW13
SCED2 Curve-Price13
SCED2 Curve-MW14
SCED2 Curve-Price14
SCED2 Curve-MW15
SCED2 Curve-Price15
SCED2 Curve-MW16
SCED2 Curve-Price16
SCED2 Curve-MW17
SCED2 Curve-Price17
SCED2 Curve-MW18
SCED2 Curve-Price18
SCED2 Curve-MW19
SCED2 Curve-Price19
SCED2 Curve-MW20
SCED2 Curve-Price20
SCED2 Curve-MW21
SCED2 Curve-Price21
SCED2 Curve-MW22
SCED2 Curve-Price22
SCED2 Curve-MW23
SCED2 Curve-Price23
SCED2 Curve-MW24
SCED2 Curve-Price24
SCED2 Curve-MW25
SCED2 Curve-Price25
SCED2 Curve-MW26
SCED2 Curve-Price26
SCED2 Curve-MW27
SCED2 Curve-Price27
SCED2 Curve-MW28
SCED2 Curve-Price28
SCED2 Curve-MW29
SCED2 Curve-Price29
SCED2 Curve-MW30
SCED2 Curve-Price30
SCED2 Curve-MW31
SCED2 Curve-Price31
SCED2 Curve-MW32
SCED2 Curve-Price32
SCED2 Curve-MW33
SCED2 Curve-Price33
SCED2 Curve-MW34
SCED2 Curve-Price34
SCED2 Curve-MW35
SCED2 Curve-Price35
Output Schedule
HSL
HDL
LSL
LDL
Telemetered Resource Status
Base Point
Telemetered Net Output
Ramp Rate Up
Ramp Rate Down
AS Capability REGUP
AS Capability REGDN
AS Capability ECRS
AS Capability NSPIN
AS Awards NSPIN
AS Awards RRSFFR
AS Awards RRSPFR
AS Awards RRSUFR
AS Awards ECRS
AS Awards REGUP
AS Awards REGDN
Bid_Type
Start Up Cold Offer
Start Up Hot Offer
Start Up Inter Offer
Min Gen Cost
Submitted TPO-MW1
Submitted TPO-Price1
Submitted TPO-MW2
Submitted TPO-Price2
Submitted TPO-MW3
Submitted TPO-Price3
Submitted TPO-MW4
Submitted TPO-Price4
Submitted TPO-MW5
Submitted TPO-Price5
Submitted TPO-MW6
Submitted TPO-Price6
Submitted TPO-MW7
Submitted TPO-Price7
Submitted TPO-MW8
Submitted TPO-Price8
Submitted TPO-MW9
Submitted TPO-Price9
Submitted TPO-MW10
Submitted TPO-Price10
Proxy Extension
|  | 60d_SCED_QSE_Self_Arranged_AS-<DD-MON-YY> | The self-arranged Ancillary Service by service for each QSE | SCED Time Stamp
Repeated Hour Flag
QSE
REGUP
REGDN
NSPIN
NSPNM
RRSPFR
RRSFFR
RRSUFR
ECRSS
ECRSM
|  | 60d_SCED_SMNE_GEN_RES-<DD-MON-YY> | The Generation Resource name and actual metered Generation Resource net output | Interval Time
Interval Number
Resource Code
Interval Value
|  | 60d_AS_Capability_ManOverride-DD-MMM-YY.csv | ERCOT Operator reduction of Ancillary Services capability, including the name of the Resource, the type and reduced MW by Ancillary Service, and the reason for the reduction | SCED Timestamp
Repeated Hour Flag
Start Timestamp
End Timestamp
Participant Name
Resource Name
AS Type
AS Capability Limit
Derated Qty
Reason Code
|  | 60d_ESR_Data_in_SCED-DD-MMM-YY.csv | The ESR Resource name and the ESR Resource’s Energy Offer Curve (prices and quantities): (i) As submitted; (ii) As submitted and extended (or truncated) with proxy Energy Offer Curve logic by ERCOT to fit to the operational HSL and LSL values that are available for dispatch by SCED; and (iii) As mitigated and extended for use in SCED, including the Incremental and Decremental Energy Offer Curves for DSRs; | SCED Time Stamp
Repeated Hour Flag
QSE
DME
Resource Name
Resource Type
SCED1 Curve-MW1
SCED1 Curve-Price1
SCED1 Curve-MW2
SCED1 Curve-Price2
SCED1 Curve-MW3
SCED1 Curve-Price3
SCED1 Curve-MW4
SCED1 Curve-Price4
SCED1 Curve-MW5
SCED1 Curve-Price5
SCED1 Curve-MW6
SCED1 Curve-Price6
SCED1 Curve-MW7
SCED1 Curve-Price7
SCED1 Curve-MW8
SCED1 Curve-Price8
SCED1 Curve-MW9
SCED1 Curve-Price9
SCED1 Curve-MW10
SCED1 Curve-Price10
SCED1 Curve-MW11
SCED1 Curve-Price11
SCED1 Curve-MW12
SCED1 Curve-Price12
SCED1 Curve-MW13
SCED1 Curve-Price13
SCED1 Curve-MW14
SCED1 Curve-Price14
SCED1 Curve-MW15
SCED1 Curve-Price15
SCED1 Curve-MW16
SCED1 Curve-Price16
SCED1 Curve-MW17
SCED1 Curve-Price17
SCED1 Curve-MW18
SCED1 Curve-Price18
SCED1 Curve-MW19
SCED1 Curve-Price19
SCED1 Curve-MW20
SCED1 Curve-Price20
SCED1 Curve-MW21
SCED1 Curve-Price21
SCED1 Curve-MW22
SCED1 Curve-Price22
SCED1 Curve-MW23
SCED1 Curve-Price23
SCED1 Curve-MW24
SCED1 Curve-Price24
SCED1 Curve-MW25
SCED1 Curve-Price25
SCED1 Curve-MW26
SCED1 Curve-Price26
SCED1 Curve-MW27
SCED1 Curve-Price27
SCED1 Curve-MW28
SCED1 Curve-Price28
SCED1 Curve-MW29
SCED1 Curve-Price29
SCED1 Curve-MW30
SCED1 Curve-Price30
SCED1 Curve-MW31
SCED1 Curve-Price31
SCED1 Curve-MW32
SCED1 Curve-Price32
SCED1 Curve-MW33
SCED1 Curve-Price33
SCED1 Curve-MW34
SCED1 Curve-Price34
SCED1 Curve-MW35
SCED1 Curve-Price35
SCED2 Curve-MW1
SCED2 Curve-Price1
SCED2 Curve-MW2
SCED2 Curve-Price2
SCED2 Curve-MW3
SCED2 Curve-Price3
SCED2 Curve-MW4
SCED2 Curve-Price4
SCED2 Curve-MW5
SCED2 Curve-Price5
SCED2 Curve-MW6
SCED2 Curve-Price6
SCED2 Curve-MW7
SCED2 Curve-Price7
SCED2 Curve-MW8
SCED2 Curve-Price8
SCED2 Curve-MW9
SCED2 Curve-Price9
SCED2 Curve-MW10
SCED2 Curve-Price10
SCED2 Curve-MW11
SCED2 Curve-Price11
SCED2 Curve-MW12
SCED2 Curve-Price12
SCED2 Curve-MW13
SCED2 Curve-Price13
SCED2 Curve-MW14
SCED2 Curve-Price14
SCED2 Curve-MW15
SCED2 Curve-Price15
SCED2 Curve-MW16
SCED2 Curve-Price16
SCED2 Curve-MW17
SCED2 Curve-Price17
SCED2 Curve-MW18
SCED2 Curve-Price18
SCED2 Curve-MW19
SCED2 Curve-Price19
SCED2 Curve-MW20
SCED2 Curve-Price20
SCED2 Curve-MW21
SCED2 Curve-Price21
SCED2 Curve-MW22
SCED2 Curve-Price22
SCED2 Curve-MW23
SCED2 Curve-Price23
SCED2 Curve-MW24
SCED2 Curve-Price24
SCED2 Curve-MW25
SCED2 Curve-Price25
SCED2 Curve-MW26
SCED2 Curve-Price26
SCED2 Curve-MW27
SCED2 Curve-Price27
SCED2 Curve-MW28
SCED2 Curve-Price28
SCED2 Curve-MW29
SCED2 Curve-Price29
SCED2 Curve-MW30
SCED2 Curve-Price30
SCED2 Curve-MW31
SCED2 Curve-Price31
SCED2 Curve-MW32
SCED2 Curve-Price32
SCED2 Curve-MW33
SCED2 Curve-Price33
SCED2 Curve-MW34
SCED2 Curve-Price34
SCED2 Curve-MW35
SCED2 Curve-Price35
Output Schedule
HSL
HDL
LSL
LDL
Telemetered Resource Status
Base Point
Telemetered Net Output
Ramp Rate Up
Ramp Rate Down
AS Capability REGUP
AS Capability REGDN
AS Capability ECRS
AS Capability NSPIN
AS Awards NSPIN
AS Awards RRSFFR
AS Awards RRSPFR
AS Awards RRSUFR
AS Awards ECRS
AS Awards REGUP
AS Awards REGDN
Bid_Type
Start Up Cold Offer
Start Up Hot Offer
Start Up Inter Offer
Min Gen Cost
Submitted TPO-MW1
Submitted TPO-Price1
Submitted TPO-MW2
Submitted TPO-Price2
Submitted TPO-MW3
Submitted TPO-Price3
Submitted TPO-MW4
Submitted TPO-Price4
Submitted TPO-MW5
Submitted TPO-Price5
Submitted TPO-MW6
Submitted TPO-Price6
Submitted TPO-MW7
Submitted TPO-Price7
Submitted TPO-MW8
Submitted TPO-Price8
Submitted TPO-MW9
Submitted TPO-Price9
Submitted TPO-MW10
Submitted TPO-Price10
Proxy Extension
|  | 60d_SCED_AS_Offer_Updates_in_OpHour-DD-MMM-YY.csv | Count of the number of times for each Ancillary Service that the Resource’s Ancillary Service Offer quantity or price was updated within the Operating Period. | Delivery Date
Delivery Hour
Resource Name
AS Type
Count of Updates During Operating Period
|  | 60d_SCED_Resource_AS_OFFERS-DD-MMM-YY.csv | The Resource name and the Resource’s Ancillary Service Offer Curve (prices and quantities) for each type of Ancillary Service | SCED Timestamp
Repeated Hour Flag
Resource Name
PRICE1_URS
PRICE1_DRS
PRICE1_RRSPF
PRICE1_RRSUF
PRICE1_RRSFF
PRICE1_NS
PRICE1_ECRS
QUANTITY MW1
PRICE2_URS
PRICE2_DRS
PRICE2_RRSPF
PRICE2_RRSUF
PRICE2_RRSFF
PRICE2_NS
PRICE2_ECRS
QUANTITY MW2
PRICE3_URS
PRICE3_DRS
PRICE3_RRSPF
PRICE3_RRSUF
PRICE3_RRSFF
PRICE3_NS
PRICE3_ECRS
QUANTITY MW3
PRICE4_URS
PRICE4_DRS
PRICE4_RRSPF
PRICE4_RRSUF
PRICE4_RRSFF
PRICE4_NS
PRICE4_ECRS
QUANTITY MW4
PRICE5_URS
PRICE5_DRS
PRICE5_RRSPF
PRICE5_RRSUF
PRICE5_RRSFF
PRICE5_NS
PRICE5_ECRS
QUANTITY MW5
PRICE6_URS
PRICE6_DRS
PRICE6_RRSPF
PRICE6_RRSUF
PRICE6_RRSFF
PRICE6_NS
PRICE6_ECRS
QUANTITY MW6
60 Day COP All Updates | EMIL ID: | Report Type ID:
(Prev. Current Operating Plan) | NP3-991-EX | 15943
| Product Description: | This report will contain all changes to COP submissions for an operating day 60 days after the operating day.
| Files included in this report: | File Name: 60_Day_COP_All_Updates_Disclosure.zip | Description | Column Name
|  | 60d_COP_All_Updates--<DD-MON-YY> | Output will contain records where there exist a change in one of the following 10 columns: STATUS, HIGH_SUSTAINED_LIMIT, LOW_SUSTAINED_LIMIT, HIGH_EMERGENCY_LIMIT, LOW_EMERGENCY_LIMIT, REG_UP, REG_DOWN, RRS, NSPIN and CANCEL_FLAG | Delivery Date
QSE Name
Resource Name
Hour Ending
Status
High Sustained Limit
Low Sustained Limit
High Emergency Limit
Low Emergency Limit
Reg Up
Reg Down
RRSPFR
RRSFFR
RRSUFR
NSPIN
ECRS
Minimum SOC
Maximum SOC
Hour Beginning Planned SOC
Cancel Flag
Update Time
Submit Time
60 Day COP Adjustment Period Snapshot | EMIL ID: | Report Type ID:
(Prev. Complete COP) | NP1-301-EX | 10038
| Product Description: | This report will contain the final update to COP submissions for an operating day 60 days after the operating day.
| Files included in this report: | File Name: 60_Day_COP_Adjustment_Period_Snapshot.zip | Description | Column Name
|  | 60d_COP_Adjustment_Period_Snapshot-<DD-MON-YY> | Output will contain the final update to the COP for a Delivery Date, for each QSE, Resource Name, & Delivery Hour | Delivery Date
QSE Name
Resource Name
Hour Ending
Status
High Sustained Limit
Low Sustained Limit
High Emergency Limit
Low Emergency Limit
Reg Up
Reg Down
RRSPFR
RRSFFR
RRSUFR
NSPIN
ECRS
Minimum SOC
Maximum SOC
Hour Beginning Planned SOC