Date:			October 22, 2025

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1263, Clarify Testing Requirements for CCVTs [WETT] - NPRR1280, Establish Process for Permanent Bypass of Series Capacitor [ERCOT] - NPRR1285, Improve Self-Commitment within RUC Opt Out Window [TCPA] - NPRR1293, Clarifications to the Modeling Timelines [ERCOT] - NPRR1294, Move OBD to Section 22 – Demand Response Data Definitions and Technical Specifications [ERCOT] - NPRR1299, Clarifications to Emergency Response Service (ERS) [ERCOT] - SCR831, Short Circuit Model Integration [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1263, Clarify Testing Requirements for CCVTs Sponsor: Wind Energy Transmission Texas (WETT) Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR clarifies the accuracy testing requirements for Coupling Capacitor Voltage Transformers (CCVTs). PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1263 as amended by the 9/9/25 MWG comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 9/25/25 Impact Analysis for NPRR1263. - NPRR1280, Establish Process for Permanent Bypass of Series Capacitor Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR establishes a Regional Planning Group (RPG) review process for proposals to permanently bypass an existing series capacitor or un-bypass a series capacitor previously designated as permanently bypassed. PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1280 as amended by the 8/19/25 ERCOT comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 4/16/25 Impact Analysis for NPRR1280. - NPRR1285, Improve Self-Commitment within RUC Opt Out Window Sponsor: Texas Competitive Power Advocates (TCPA) Proposed Effective Date: Upon system implementation Estimated Impacts: Less than $10K Operations & Maintenance (O&M) Revision Description: This NPRR expands the current Reliability Unit Commitment (RUC) opt out window to incentivize self-commitment to increase capacity available to the market at lower costs and reduce RUCs and associated costs. PRS Decision: On 8/13/25, PRS voted to recommend approval of NPRR1285 as submitted. There was one abstention from the Consumer (Occidental) Market Segment. On 9/17/25, PRS voted to endorse and forward to TAC the 8/13/25 PRS Report and 8/26/25 Impact Analysis for NPRR1285. There was one abstention from the Consumer (Occidental) Market Segment. - NPRR1293, Clarifications to the Modeling Timelines Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR clarifies the 'Update Network Operations Model Production Environment' milestone dates. PRS Decision: On 8/13/25, PRS voted unanimously to recommend approval of NPRR1293 as submitted. On 9/17/25, PRS voted unanimously to endorse and forward to TAC the 8/13/25 PRS Report and 7/29/25 Impact Analysis for NPRR1293. - NPRR1294, Move OBD to Section 22 – Demand Response Data Definitions and Technical Specifications Sponsor: ERCOT Proposed Effective Date: Upon system implementation Estimated Impacts: Less than $5K O&M Revision Description: This NPRR incorporates the Other Binding Document “Demand Response Data Definitions and Technical Specifications” into the Protocols to standardize the approval process. PRS Decision: On 917/25, PRS voted unanimously to recommend approval of NPRR1294 as submitted. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report as revised by PRS and 8/4/25 Impact Analysis for NPRR1294. - NPRR1299, Clarifications to Emergency Response Service (ERS) Sponsor: ERCOT Proposed Effective Date: Upon system implementation Estimated Impacts: Less than $5K O&M Revision Description: This NPRR addresses four independent issues related to Emergency Response Service (ERS): 1) Paragraph (5)(c) of Section 3.14.3.1 is incorrectly included as a subparagraph of paragraph (5) and instead should be paragraph (6) of Section 3.14.3.1. 2) In paragraph (3)(j) of Section 3.14.3.4 the ERS Preliminary Baseline Review Results document is being removed from the Market Information System (MIS) posting list because it is a legacy report that is no longer needed. The information previously provided by the posting of that document has been replaced by the mandatory ERS Resource Identification (ERID) process to get this information and is no longer applicable or being requested by Qualified Scheduling Entities (QSEs). 3) A timing change to paragraph (6) of Section 3.14.3.4 provides flexibility for the ERS offer posting requirement so that instead of posting exactly on the 60th day after the first day of the ERS Standard Contract Term (SCT) there will now be a window for posting no sooner than 60 days and no later than 65 days after the first day of the ERS SCT. 4) A change to paragraph (2) of Section 8.1.3.1.2 clarifies that for non-weather sensitive ERS Loads to be classified as co-located with an ERS Generator, both must be awarded in the same service type and for all the same ERS Time Periods. This has been an issue when both are offered into the same service type and/or Time Periods but for various reasons not awarded. PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1299 as amended by the 9/16/25 ERCOT comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 9/2/25 Impact Analysis for NPRR1299. - SCR831, Short Circuit Model Integration Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4810 Estimated Impacts: Between $100K and $200K Revision Description: This NPRR modifies the Network Model Management System (NMMS), ODMS, Topology Processor, and Modeling on Demand system to incorporate short circuit modeling data for maintaining short circuit models built by the System Protection Working Group (SPWG). PRS Decision: On 8/13/25, PRS voted unanimously to recommend approval of SCR831 as submitted. On 9/17/25, PRS voted unanimously to endorse and forward to TAC the 8/13/25 PRS Report and 1/15/25 Impact Analysis for SCR831 with a recommended priority of 2026 and rank of 4810. Revision Requests Rejected - NPRR1297, Limit the Price-Quantity Pair in CRR Auctions for Each Path Sponsor: SC Energy Partners LLC Proposed Effective Date: Not applicable Estimated Impacts: Not applicable Revision Description: This NPRR introduces a limit of two price-quantity pairs per firm for each unique combination of source, sink, Time Of Use (TOU), and period during Congestion Revenue Right (CRR) Auctions where a source-sink pair is uniquely defined based on Electrically Similar Settlement Points (“ESSPs”). PRS Decision: On 9/17/25, PRS voted to reject NPRR1297. There were five abstentions from the Consumer (2) (OPUC, Occidental) and Investor-Owned Utility (IOU) (3) (CNP, AEPSC, TNMP) Market Segments. - SCR833, Increase CRR Transaction Capability Sponsor: XCOM Generator Labs Proposed Effective Date: Not applicable Estimated Impacts: Not applicable Revision Description: This SCR increases the total Congestion Revenue Right (CRR) transaction limit to 600,000 market transactions for CRR Account Holders during CRR Auctions. This SCR requires improvements to the CRR software and enhancements to downstream systems to ensure that they can properly handle the increased transaction volume. PRS Decision: On 10/8/25, PRS voted unanimously to reject SCR833. Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects [ERCOT] - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 [ERCOT] - NPRR1287, Revisions to Outage Coordination [ERCOT] - NPRR1298, Timing Requirements for Comments to Subcommittee Reports [Vistra] - NPRR1300, Protected Information and ECEII to OPUC [ERCOT] - NPRR1303, Modernize Submission of Declarations of Natural Gas Pipeline Coordination [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - NPRR1255, Introduction of Mitigation of ESRs [ERCOT] - NPRR1264, Creation of a New Energy Attribute Certificate Program [TEBA] - NPRR1272, Voltage Support at Private Use Networks [Occidental] - NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service [Joint Sponsors] - NPRR1284, Guaranteed Reliability Load Process [Cholla Petroleum] - NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation [ERCOT] - NPRR1292, Granular Product Type for CRR TOU [Vistra] - NPRR1295, GTC Exit Solutions [Joint Sponsors] - NPRR1296, Residential Demand Response Program [ERCOT] - NPRR1301, Align Protocols to Constraint Activation Procedure [LCRA] - NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr