## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 22, 2025

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1263, Clarify Testing Requirements for CCVTs
NPRR1280, Establish Process for Permanent Bypass of Series Capacitor
NPRR1293, Clarifications to the Modeling Timelines
SCR832, Discontinue Report that makes COPs available to TSPs

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1285, Improve Self-Commitment within RUC Opt Out Window
  IA: Less than $10K O&M Priority N/A; Rank N/A
NPRR1294, Move OBD to Section 22 – Demand Response Data Definitions and Technical Specifications
  IA: Less than $5K O&M Priority N/A; Rank N/A
NPRR1299, Clarifications to Emergency Response Service (ERS)
  IA: Less than $5K O&M Priority N/A; Rank N/A
SCR831, Short Circuit Model Integration
  IA: Between $100K and $200K Priority 2026; Rank 4810

## Slide 4: Appendix

## Slide 5: NPRR1263, Clarify Testing Requirements for CCVTs
Sponsor: Wind Energy Transmission Texas (WETT)
Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval
Estimated Impacts: No impact
Revision Description: This NPRR clarifies the accuracy testing requirements for Coupling Capacitor Voltage Transformers (CCVTs).
PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1263 as amended by the 9/9/25 MWG comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 9/25/25 Impact Analysis for NPRR1263.

## Slide 6: NPRR1280, Establish Process for Permanent Bypass of Series Capacitor
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
Estimated Impacts: No impact
Revision Description: This NPRR establishes a Regional Planning Group (RPG) review process for proposals to permanently bypass an existing series capacitor or un-bypass a series capacitor previously designated as permanently bypassed.
PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1280 as amended by the 8/19/25 ERCOT comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 4/16/25 Impact Analysis for NPRR1280.

## Slide 7: NPRR1285, Improve Self-Commitment within RUC Opt Out Window
Sponsor: Texas Competitive Power Advocates (TCPA)
Proposed Effective Date: Upon system implementation
Estimated Impacts: Less than $10K Operations & Maintenance (O&M)
Revision Description: This NPRR expands the current Reliability Unit Commitment (RUC) opt out window to incentivize self-commitment to increase capacity available to the market at lower costs and reduce RUCs and associated costs.
PRS Decision: On 8/13/25, PRS voted to recommend approval of NPRR1285 as submitted. There was one abstention from the Consumer (Occidental) Market Segment. On 9/17/25, PRS voted to endorse and forward to TAC the 8/13/25 PRS Report and 8/26/25 Impact Analysis for NPRR1285. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 8: NPRR1293, Clarifications to the Modeling Timelines
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
Estimated Impacts: No impact
Revision Description: This NPRR clarifies the 'Update Network Operations Model Production Environment' milestone dates.
PRS Decision: On 8/13/25, PRS voted unanimously to recommend approval of NPRR1293 as submitted. On 9/17/25, PRS voted unanimously to endorse and forward to TAC the 8/13/25 PRS Report and 7/29/25 Impact Analysis for NPRR1293.

## Slide 9: NPRR1294, Move OBD to Section 22 – Demand Response Data Definitions and Technical Specifications
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation
Estimated Impacts: Less than $5K O&M
Revision Description: This NPRR incorporates the Other Binding Document “Demand Response Data Definitions and Technical Specifications” into the Protocols to standardize the approval process.
PRS Decision: On 917/25, PRS voted unanimously to recommend approval of NPRR1294 as submitted. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report as revised by PRS and 8/4/25 Impact Analysis for NPRR1294.

## Slide 10: NPRR1299, Clarifications to Emergency Response Service (ERS)
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation
Estimated Impacts: Less than $5K O&M
Revision Description: This NPRR addresses four independent issues related to Emergency Response Service (ERS): 1) Paragraph (5)(c) of Section 3.14.3.1 is incorrectly included as a subparagraph of paragraph (5) and instead should be paragraph (6) of Section 3.14.3.1. 2) In paragraph (3)(j) of Section 3.14.3.4 the ERS Preliminary Baseline Review Results document is being removed from the Market Information System (MIS) posting list because it is a legacy report that is no longer needed. The information previously provided by the posting of that document has been replaced by the mandatory ERS Resource Identification (ERID) process to get this information and is no longer applicable or being requested by Qualified Scheduling Entities (QSEs). 3) A timing change to paragraph (6) of Section 3.14.3.4 provides flexibility for the ERS offer posting requirement so that instead of posting exactly on the 60th day after the first day of the ERS Standard Contract Term (SCT) there will now be a window for posting no sooner than 60 days and no later than 65 days after the first day of the ERS SCT. 4) A change to paragraph (2) of Section 8.1.3.1.2 clarifies that for non-weather sensitive ERS Loads to be classified as co-located with an ERS Generator, both must be awarded in the same service type and for all the same ERS Time Periods. This has been an issue when both are offered into the same service type and/or Time Periods but for various reasons not awarded.
PRS Decision: On 9/17/25, PRS voted unanimously to recommend approval of NPRR1299 as amended by the 9/16/25 ERCOT comments. On 10/8/25, PRS voted unanimously to endorse and forward to TAC the 9/17/25 PRS Report and 9/2/25 Impact Analysis for NPRR1299.

## Slide 11: SCR831, Short Circuit Model Integration
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4810
Estimated Impacts: Between $100K and $200K
Revision Description: This NPRR modifies the Network Model Management System (NMMS), ODMS, Topology Processor, and Modeling on Demand system to incorporate short circuit modeling data for maintaining short circuit models built by the System Protection Working Group (SPWG).
PRS Decision: On 8/13/25, PRS voted unanimously to recommend approval of SCR831 as submitted. On 9/17/25, PRS voted unanimously to endorse and forward to TAC the 8/13/25 PRS Report and 1/15/25 Impact Analysis for SCR831 with a recommended priority of 2026 and rank of 4810.

## Slide 12: 2025 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/30 | February 2/27 | March 3/27 | April 4/24 | May 5/29 | June 6/26
NPRR945 NPRR1219 | NPRR1254 RTC+B Market Trials Sandbox Deployed | NPRR1145 | RTC+B Market Trials begin on 5/5/2025 | NPRR1253 | 
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
July 7/31 | August 8/28 | September 9/25 | October 10/23 |  | December 12/18
NPRR1234(a) |  |  | NOGRR245 |  | PGRR091 PGRR115 SCR828
R7
R8
R10
R11
R3
R9
NPRR1007-1013
RTC+B Market Trials
Closed-loop SCED/LFC
Day-Ahead Market
Open-loop RTC SCED
QSE Telemetry Tests
RTC QSE Submission Testing
RTC QSE Telemetry Check-out
RTC+B Stabilization
RTC+B
12/5
NPRR963(a)
NPRR965
NPRR1000
NPRR1014
NPRR1029(a)
NPRR1054
NPRR1058
NPRR1172
NPRR1204
NPRR1216(a)
NPRR1236
NPRR1245
NPRR1246
NPRR1268
NPRR1269
NPRR1270
NPRR1282
NOGRR211
NOGRR268
NOGRR277
OBDRR020
OBDRR052
PGRR118
E
NPRR963(a) – Portion of NPRR
NPRR1029(a) – Market suspension of ESRs portion
NPRR1216(a) – Invoice workaround
NPRR1234(a) – Section 3.10.7.2, paragraphs 14-19
NPRR1253 – ICCP/Public API
ü
ü
1/1
3/1
ü
3/7
ü
ü
ü
RTC+B Stabilization begins
E
E
E
E
7/21
ü