## Slide 1: Large Load Working Group Update
Bob Wittmeyer
Chair LLWG
bob@longhornpwr.com
512 762 8895

## Slide 2: September 19th - LLWG Meeting
In September, the LLWG continued its focus on large electronic loads (LEL) riding through momentary low voltage events
ERCOT provided an update on the studies they are undertaking:
  Effectiveness of Transmission in terms of Load Loss Reduction – Q4 2025
  Evaluation of Proposed LL VRT Requirements – Q4 2025
  Impacts of System Conditions on Loss of Load Frequency Stability Limit – Q4 2025
ERCOT provided details on the new Far West Texas IROL (previously presented at ROS)
Reviewed draft PGRR to accelerate interconnections for CLRs (requires Nodal CLR Pricing - NPRR 1188)

## Slide 3: Hot Topic LEL Interim VRT and Energization Review
Did ERCOT place a moratorium on Large Loads Energizing?
NO!
LELs which cannot ride through may be curtailed under some conditions.
Fair to note the wording on the slide (yellow box) could have been better.

## Slide 4: Next Steps
Next Meeting – This Friday - Oct 24 – Webex & In person
ERCOT Presentations
    Overview of existing interconnection process and interim VRT assessment
    Update on ERCOT studies
    2026 Large Load RFI and Single Source for Large Load Data
    Vulnerability of Synchronous Machines to LL Subsynchronous Active Power Variation (ERCOT and Electranix)
      Generator Owners/Operators encouraged to attend for this presentation!!!
    Recent ERCOT LL Ride-Through Events
Discussion of Cluster Studies
Vendor presentations
    AI Data Center Integration- Stability Risks & Mitigations – GE Vernova
    Grid Forming BESS for AI Loads – EPC Power