## Slide 1
RTC+B - TSP Impacts
Sreenivas Badri
October 23, 2025

## Slide 2: RTC+B TSP Impacts - Summary
Outage Scheduler API URL changes during RTC+B Go Live.
Full RTC+B CIM model containing Single Model ESRs is posted in the NMMS Citrix Postings in the ECEII_NMMS_RTC_Preview location. TSPs can import this model and test out their tools/real-time applications.
ESR Telemetry changes due to current ESR Combo Model to RTC+B Single Model transition.
  If TSPs are getting telemetry currently from ERCOT for ESR combo model (Gen and Load), telemetry should be switched to ESR single model telemetry in real-time applications (SCADA, State Estimator, CA etc.) with RTC+B Go-Live.
  The Single Model ESR names are posted on the RTCBTF homepage: Single Model ESR Names
RTC+B SOTE is available for TSPs to test power flow studies on RTC+B 60-day and 90-day outage study cases.
  RTC+B SOTE Testing period 10/6 – 10/07
  ERCOT will start approving 60 day/90 day ahead outages based on ESR single model starting from November 7th. These cases will be available in RTC+B SOTE.
  Current SOTE will still be available till end of December to support current real time cases for studies.

## Slide 3: RTC+B Outage Scheduler API URL changes during Go-Live
  During RTC+B Go-Live on the night of 12/04/2025, Outage Scheduler EWS API URLs for current Production will be changed to following. TSPs who submit outages to ERCOT using APIs should change their API URLs to following during RTC+B Go-Live on the night of 12/04/2025.
    Internet API URL: https://misapi.ercot.com/NodalAPI/EWS/ WAN API URL: https://api.wan.ercot.com/NodalAPI/EWS/
  Meanwhile ERCOT is requesting TSPs to test out their outage submissions APIs against RTC+B Market Trials environment to assess the impacts of this change by performing below steps by 10/31/2025. It is ERCOT’s understanding that TSPs will have to make configuration changes only and does not require their outage API submissions software change.
    TSPs to utilize their lower environment (MOTE or QA etc.) for this testing.
    Update this environment with current production digital certificate.
    Download RTC+B Market Trials Public Keys from https://www.ercot.com/services/mdt/webservices into this environment.
    Update the API URLs to following RTC+B Market Trials Environment.
      Internet API URL: https://markettrialsapi.ercot.com/NodalAPI/EWS/
      WAN API URL: https://markettrialsapi.wan.ercot.com/NodalAPI/EWS/
    Test the connectivity and submit one or two outages and query the outages as well to validate the API URLs changes are working as expected.
    Report status and any issues to ERCOT using this email thread.
    Once testing is completed, TSPs to revert the API URLs in this lower environment.

## Slide 4: RTC+B Outage Scheduler API URL changes during Go-Live
Please note that Actual API URL changes will occur in production during RTC+B Go Live the night of 12/4/2025.
ErcotOutagetypes.xsd file change – ERCOT updated this XSD to add “ESR” device type enumeration for RTC+B. LCRA team thinks this would not impact their Outage submissions API calls but will confirm using this email thread. RTC+B XSD changes can be found at https://www.ercot.com/services/mdt/xsds file name “External_Web_Services_XSD_RTC_Bv1.0.zip”
ERCOT will conduct TSPs Outage submissions API URLs specific workshops in November and go over the detailed go-live plan in those workshops.

## Slide 5: RTC+B – TSP Impacts
Questions?
Any concerns/questions, please contact us at rtcb@ercot.com