## Slide 1
Resource Integration Topics
Jenifer Fernandes
ERCOT
Resource Integration Working Group
October 29th, 2025

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5, Quarterly Stability Assessment
Issue’s seen in previous QSA’s
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic/PSCAD Model Review
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline
PSSE Model Quality Test Required
PSCAD Model Quality Test, Unit Model Validation and Template is required. PSCAD template is required starting August 1st QSA.
TSAT Model Required – If PSSE model is UDM, then TSAT model should be UDM and should include MQT

## Slide 4: QSA 45 day deadline
FIS studies finalized and posted in RIOO-IS 45 days prior to quarterly stability assessment deadline.
Dynamic models (PSEE, PSCAD, TSAT (UDM)) and MQT report submitted in RIOO-IS.
From Planning guide Section 5.3.5 (2): Last Day for an IE to meet prerequisites as listed in paragraph (4) below | 45 day deadline
Prior August 1 | June 17
Prior November 1 | September 17
Prior February 1 | December 18
Prior May 1 | March 17

## Slide 5: ERCOT New Generator Commissioning Checklist - Update
RE confirms that ESIID has been established prior to Part 1 approval in accordance with PG 5.5 (2).
The RE confirms that the EPS/WSL meters as described in the EPS Metering Design Proposal have been installed and are communicating to ERCOT in a state that allows energy to be settled post energization.
Prior to the implementation of NPRR1283 on January 1st, 2026, RE understands that if Sub-Synchronous Ferroresonance (SSFR) issues are identified in either the study or operational data after Initial Energization, ERCOT will rescind Part 1 approval until the SSFR issue has been resolved.
Phasor measurement requirements per Nodal Operating Guide Section 6.
Frequency and Voltage Ride Through Requirements per Nodal Operating Guide Section 2.

## Slide 6: Resource Integration Handbook - Updates
Resource Registration Application submitted at least 60 days in advance of 120 days – 8/20/25 RIWG
GRPP for IRRs at SLF – 8/20/2025 RIWG
ERCOT Good Cause Exception Request
ESIID requirements prior to Part 1 Approval
Voltage and Frequency Ride Through for IBRs per Nodal Operating Guide.

## Slide 7: Active RR’s
PGRR132: Update to Standard Generation Interconnection Agreement (SGIA) Requirement
NPRR1272: Voltage Support at Private Use Networks
PGRR120:SSO Risk Reduction for Generator Interconnection
NOGRR272: Advanced Grid Support Requirements for Inverter-Based ESRs – PUC Approval
PGRR124: ESR Maintenance Exception to Modifications

## Slide 8: Generation Interconnection Requests
2,042 active generation interconnection requests totaling 432 GW as of September 30th, 2025 (Solar 160 GW, Wind 46 GW, Gas 44 GW, Battery 178 GW, and Other 4 GW) (Excludes capacity associated with projects designated as Inactive per Planning Guide Section 5.7.6)
Chart: Large Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-25 | Feb-25 | Mar-25 | Apr-25 | May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25
# Signed Interconnect Agreement | 435 | 440 | 449 | 447 | 445 | 460 | 491 | 507 | 511 | 510 | 517 | 535 | 532
# Completed Full Study | 158 | 159 | 156 | 147 | 133 | 121 | 112 | 105 | 106 | 114 | 119 | 111 | 117
# in Full Study | 1050 | 1039 | 1070 | 1103 | 1163 | 1200 | 1207 | 1212 | 1223 | 1237 | 1242 | 1201 | 1196
# Screening Study Complete | 140 | 127 | 126 | 120 | 119 | 113 | 113 | 102 | 89 | 88 | 86 | 82 | 94
# Initial Screening study | 21 | 28 | 21 | 22 | 16 | 19 | 19 | 29 | 21 | 27 | 27 | 33 | 20
GW Capacity | 370.9633 | 369.8282 | 377.0299 | 378.7444 | 388.6158 | 399.0073 | 404.457 | 410.8736 | 408.9081 | 419.6478 | 432.1004 | 427.4415 | 431.1647

## Slide 9: Generation Interconnection Requests
Small Gen- 29 projects Not Model Ready, 54 projects Model Ready
Chart: Small Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-25 | Feb-25 | Mar-25 | Apr-25 | May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25
# Not Model Ready | 29 | 35 | 33 | 32 | 30 | 24 | 26 | 32 | 31 | 28 | 23 | 23 | 29
# Model Ready | 48 | 44 | 48 | 46 | 46 | 50 | 50 | 50 | 50 | 50 | 52 | 56 | 54
MW Capacity | 725.62 | 745.8 | 755.62 | 726.03 | 701.78 | 682.08 | 706.9 | 767.07 | 762.84 | 733.06 | 703.44 | 741.48 | 770.99

## Slide 10: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department
Mailing List
  RESOURCE_INTEGRATION@LISTS.ERCOT.COM

## Slide 11: Questions?
Thank you!