## Slide 1: DWG Report to ROS
Fahad Qureshi – DWG Chair
November 6th, 2025

## Slide 2: DWG Update
DWG Webex meeting held on 10/16/2025
Flat Start Update 2025/2026 Tentative Schedule
  Ongoing: Pass 2 was posted November 3; TSP review by November 21
  Upcoming: Pass 3 to be posted December 11; TSP review by December 19
  Targeting approval in January 2026; Stability book in March 2026
  Facing some hurdles:
    Low voltage at several 138kV & 345kV buses in long-term 2032SP Case
    Discussed adding fictitious shunt capacitors to resolve; DWG agreed to proceed
    Significant number of large loads added to cases by TSPs
    ERCOT requests that TSP revaluate load additions and consider modeling offline
  Tuning workshop was scheduled to further resolve issues

## Slide 3: DWG Update, continued
Modeling Behind The Meter (BTM) Loads in DWG Case
  ERCOT discussed their plans and answered several questions they had received on how they planned to model BTM loads in the flatstart cases
  Plan is to include as many dynamic loads for BTM loads as possible
  ERCOT requested TSP provide available BTM dynamic load models by October 31
  ERCOT is looking into providing additional guidance on modeling BTM loads in the flatstart cases

## Slide 4: DWG Update, continued
Miscellaneous
  ERCOT demonstrated a new automation tool developed for modeling generation during the flat start build process
  Discussed WG leadership for 2026
    Current Vice Chair has agreed to serve as Chair
    Still seeking Vice Chair

## Slide 5: Questions or Feedback?