IBRWG Update

October 2025

Chair: Julia Matevosyan, Vice-Chair: Miguel Cova Acosta

IBRWG met on October 10th (Webex, Open Meeting).

The agenda and the presentation slides are available here

~100 people attended the meeting (at peak)

in red is additional information since October IBRWG.

IBRWG Main Meeting

NOGRR245 Update

Mario de la Garza, ERCOT

- ERCOT is currently reviewing requested NOGRR245 exemptions and contacting Authorized Representatives to ask for missing information.

- The December 31, 2025 deadline is for Resources that did not request an extension or intent for an exemption by the April 2025 deadline.

- 632 Resources are intending to maximize by 12/31/25 or by COD/Synchronization

- In order for a Resource to have a modification (Planning Guide 5.5(6)(a) done by 12/31/2025, dynamic models need to be submitted to ERCOT as soon as possible since ERCOT has up to 30 business days to review data.

  - A Market Notice was sent out on 9/30/2025

    - It requested that Resources send in updated dynamic models by 10/10/2025

    - OR the Resource needed to email that no modifications are necessary.

Interpretation of ERCOT NOG Section 2.9.1.1 (6)

Miguel Cova Acosta, Vestas

- The NOG language in 2.9.1.1(6) is nearly identical to IEEE 2800 9.3 AC voltage protection, but there are some differences that may require additional clarification.

- ERCOT clarified, the intention of the requirement is for protecting/preventing either of these. We don't want unnecessary trips for any portion of the plant.

- ERCOT asked for language revision suggestions, if needed.

- Vestas will work with IBRWG to gather a group of interested stakeholders to draft suggestions.

NERC Updates

Mark Henry, TRE

- FERC Order 901 and Milestone 2 update, FERC has approved PRC-029 on July 24, 2025, with effective date of October 1, 2026

- Milestone 3 updated

  - Project 2020-06 Verification of Models and Data for Generators – posted for third round of comments

    - MOD-026 Verification of Dynamic Models and Data – final ballot passed on October 24

  - Project 2021-01- System model validation with IBRs

    - MOD-033-3 Steady-State and Dynamic System Model Validation – no final ballot as approval was achieved in the prior one and comment been addressed.

  - Project 2022-02 – Uniform Modeling Framework for IBRs (MOD-0​32-2, IRO-010-6, TOP-003-8​) – final ballots passed October 3

- Milestone 4 – SARS posted for comments August 28 to October 10

  - Project 2025-03 Operational Studies

  - Project 2025-04 Planning Studies

- FERC Order 909, NERC is hosting a webinar on November 5, 2025

- NERC IRPS met on September 18, next meeting is October 16.

- IRPS posted an IBR Commissioning Guideline for public comment September 22 to November 6.

- NERC posted a Lesson Learned from NERC Event Analysis: LL20250901 IBR Controls Oscillation Events