DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting 
ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, October 2, 2025 – 9:30 a.m.
Attendance

ROS Representatives: 
	
	

	
	

	Bevill, Rob
	Texas-New Mexico Power (TNMP)
	Alt. Rep. for Chris Gerety

	Blankenship, David 
	CenterPoint Energy (CNP)
	

	Borkar, Sandeep


	Lower Colorado River Authority (LCRA)
	

	Burkhead, Brett
	Calpine Corporation (Calpine)
	Via Teleconference

	Carter, Matt
	Garland Power & Light (GP&L)
	Via Teleconference

	Cochran, Adam
	Tenaska Power Services (TNSK)
	Via Teleconference

	Cockrell, Justin
	DC Energy
	Via Teleconference

	Coleman, Diana
	CPS Energy
	Alt. Rep. for Kenneth Bowen

	Fun, Meng
	Chariot Energy
	Via Teleconference

	Garza, Beth


	The Office of Public Utility Counsel (OPUC)
	Alt. Rep. for Nabaraj Pokharel



	Hendrix, Chris
	Demand Control 2
	Via Teleconference

	Henson, Martha
	Oncor Electric Delivery (Oncor)
	Alt. Rep. for Eithar Nashawati

	Koenig, Chris


	Golden Spread Electric Cooperative (GSEC) 
	

	Kroskey, Tony


	Brazos Electric Power Cooperative         (Brazos)                                                   
	Via Teleconference


	Lutrick, Chris
	Denton Municipal Electric (DME)                
	Via Teleconference

	Matt, Kevin
	Reliant Energy Retail Services (Reliant)
	Via Teleconference

	Merta, Derek


	South Texas Electric Cooperative (STEC)
	Alt. Rep. for Paul Person

Via Teleconference

	Miller, Alex
	EDF Renewables (EDF)
	Via Teleconference

	Mrini, Imane
	Austin Energy
	Via Teleconference

	Ramachandran, Dinesh
	Geronimo Power
	Via Teleconference

	Reed, Cyrus
	Sierra Club
	

	Reid, Mike
	Air Liquide
	Via Teleconference

	Rich, Katie
	Vistra Operations Company (Vistra)
	

	Schmitt, Jennifer
	Rhythm Ops
	Via Teleconference

	Smith, Chase
	Southern Power Company
	Via Teleconference

	Spalek, Matthew
	AEP Service Corporation (AEPSC) 
	Via Teleconference

	Thomas, Shane
	Shell Energy North America (SENA)
	

	
	
	

	
	

	
	

	Guests:
	
	

	Al-Karawi, Mohammed
	
	Via Teleconference

	Aldridge, Ryan
	AB Power Advisors
	Via Teleconference

	Allen, Thresa
	Avangrid Power
	Via Teleconference

	Amaro, Andrew
	
	Via Teleconference

	Anderson, Connor
	AB Power Advisors
	

	Ashley, Kristy
	CES
	Via Teleconference

	Bernu, Noah
	
	Via Teleconference

	Cardiel, Jonathan

	Public Utility Commission of Texas (PUCT)
	Via Teleconference


	Carter, Cathey
	GridAxon
	Via Teleconference

	Chwialkowski, Todd
	
	Via Teleconference

	Cook, Kristin
	Southern Power Company
	Via Teleconference

	Crist, Kelly
	Total Energies
	Via Teleconference

	Davis, Tony
	
	Via Teleconference

	Deridder, Chris
	nFront
	Via Teleconference

	Dharme, Neeraja
	EDFT
	Via Teleconference

	Dillen, Adreanna
	
	Via Teleconference

	Donohoo, Ken
	OwlERC LLC
	Via Teleconference

	Downey, Marty
	Consultant Luminant
	Via Teleconference

	Fink, Regan
	
	Via Teleconference

	Flessner, Teddi
	
	Via Teleconference

	Garrett, Bob
	KCE
	Via Teleconference

	Garza, Christian
	
	Via Teleconference

	Gauldin, Julie
	PUCT
	Via Teleconference

	Ghoshal, Orijit
	Tract
	Via Teleconference

	Gianni, Juliana
	Goff Policy
	Via Teleconference

	Goff, Eric
	Goff Policy
	

	Graham, Grace
	CimView
	Via Teleconference

	Guo, Jiachun
	
	Via Teleconference

	Haley, Ian
	Morgan Stanley
	Via Teleconference

	Han, Minnie
	
	Via Teleconference

	Hanson, Kevin
	Invenergy
	

	Henson, Martha
	
	Via Teleconference

	Hart, Patrick
	Mortenson
	Via Teleconference

	Henry, Mark
	Texas Reliability Entity, Inc, (Texas RE)
	Via Teleconference

	Holt, Blake
	LCRA
	Via Teleconference

	Jablonski, Ward
	MEPPI
	Via Teleconference

	Jewell, Michael
	
	Via Teleconference

	Kara, Beckmann
	
	Via Teleconference

	Kaul, Zoey
	
	Via Teleconference

	Kremling, Barry
	
	Via Teleconference

	Lee, Jim
	CenterPoint Energy
	

	Leverett, Travis
	
	Via Teleconference

	Lu, Bo
	Engie
	Via Teleconference

	Majidi, Mohammad
	COP
	Via Teleconference

	Mathew, Shirley
	Texas RE
	Via Teleconference

	McChesney, Mark
	
	Via Teleconference

	McClellan, Suzi
	
	Via Teleconference

	McDonnell, Alan
	
	Via Teleconference

	Montoya, Inigo
	
	Via Teleconference

	Moser, Jesse
	
	Via Teleconference

	Mrini, Imane
	
	Via Teleconference

	Mulholland, Chad
	NRG
	Via Teleconference

	Newnam, Eric
	Texas RE
	Via Teleconference

	Orr, Matt
	
	Via Teleconference

	Pearson, Kelsey
	
	Via Teleconference

	Pedigo, Jake
	
	Via Teleconference

	Pena, Sabas
	
	Via Teleconference

	Pepe, Diego
	
	Via Teleconference

	Pietrucha, Doug

	Texas Advanced Energy Business Alliance (TAEBA)
	Via Teleconference


	Polusani, Jithender
	PEC
	Via Teleconference

	Preas, Dylan
	LCRA
	Via Teleconference

	Ramirez, Chris
	WETT
	Via Teleconference

	Randall, Nick
	
	Via Teleconference

	Rasmussen, Erin J
	
	

	Reedy, Nick
	CimView
	Via Teleconference

	Rickey, Floyd
	
	Via Teleconference

	Robertson, William
	
	Via Teleconference

	Safko, Trevor
	LCRA
	Via Teleconference

	Sanchez, Manuel
	
	Via Teleconference

	Sersen, Juliana
	
	Via Teleconference

	Shaikh, Walid
	New Project Media
	Via Teleconference

	Smith, Caitlin
	Jupiter Power
	Via Teleconference

	Smith, Chase
	
	Via Teleconference

	Springer, Tyler
	AEP
	Via Teleconference

	Stanfill, Susan
	PGR
	Via Teleconference

	Sweeney, Carolyn
	CPS Energy
	Via Teleconference

	Tay, Sing
	
	Via Teleconference

	Tayonekeo, Henry
	
	Via Teleconference

	Teng, Shuye
	Constellation
	Via Teleconference

	Thomas, Pinky
	
	Via Teleconference

	Wagner, Julia
	PUCT
	Via Teleconference

	Warren, John
	
	Via Teleconference

	Wasik-Gutierrez, Erin
	LCRA
	Via Teleconference

	Welch, Matt
	
	Via Teleconference

	Wilson, Joe Dan
	
	

	Wittmeyer, Bob
	
	Via Teleconference

	Woitt, Wes
	CNP
	Via Teleconference

	Woods, Brad
	Texas RE
	Via Teleconference

	Wu, Xuan
	PEC
	

	Zach, Walker
	
	Via Teleconference

	Turner, Mina
	
	Via Teleconference

	Zhang, Wanjing
	
	Via Teleconference

	
	
	

	ERCOT Staff:
	
	

	Albracht, Brittney
	
	

	Anderson, Troy
	
	Via Teleconference

	Azeredo, Chris
	
	Via Teleconference

	Billo, Jeff
	
	Via Teleconference

	Cheng, Yunzhi
	
	Via Teleconference

	Clifton, Suzy
	
	Via Teleconference

	De la Garza, Mario
	
	

	Du, Pengwei
	
	Via Teleconference

	Gallo, Andrew
	
	Via Teleconference

	Garcia, Freddy
	
	Via Teleconference

	Gonzales, Nathan
	
	

	Gravois, Patrick
	
	Via Teleconference

	Herrera, Shane
	
	Via Teleconference

	Hinojosa, Jose 
	
	Via Teleconference

	Kane, Madeline
	
	Via Teleconference

	Kang, Sun Wook
	
	Via Teleconference

	Klinglesmith, William
	
	Via Teleconference

	Lee, Alex
	
	Via Teleconference

	Madam, Vamsi
	
	Via Teleconference

	Matlock, Robert
	
	Via Teleconference

	Miller, Megan
	
	Via Teleconference

	Morales, Elizabeth
	
	

	Nguyen, Betty
	
	Via Teleconference

	Schmall, John
	
	Via Teleconference

	Troublefield, Jordan
	
	Via Teleconference

	Urbanek, Charles
	
	Via Teleconference

	Yan, Ping
	
	Via Teleconference

	Zhang, Yongzheng
	
	Via Teleconference


Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the October 2, 2025 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review 

Ms. Rich reviewed the agenda and listed the late filed comments.

Technical Advisory Committee (TAC) Update

Ms. Rich noted that TAC had not met since the October 2, 2025 ROS meeting.  
ERCOT Reports (see Key Documents) 

Operations Report
Alex Lee summarized the August 2025 ERCOT Monthly Operations Report.  Mr. Lee noted that net load ramps increased in August compared to previous months due to the increase in installed capacity of wind and solar energy.  Mr. Lee responded to a question from a Market Participant regarding Reliability Unit Commitment (RUC) activities by stating that ERCOT operators will choose the most effective and economical resources based on recommendations. 
System Planning Report

Ping Yan summarized the August 2025 ERCOT System Planning Monthly Status Report.  
New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)
Nodal Protocol Revision Request (NPRR) 1295, GTC Exit Solutions
Sandeep Borkar and noted that there were no objections to referring this item to the Planning Working Group (PLWG) and including it including it on the Combined Ballot.
ROS Revision Requests (see Key Documents)

Impact Analysis
Nodal Operating Guide Revision Request (NOGRR) 279, Deadline Extensions for Recording Equipment Installation 
Participants reviewed the 9/24/25 Impact Analysis for NOGRR279.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
Language Review 

NOGRR280, Consolidate Redundant Communication Requirements

Blake Holt provided an overview of NOGRR280.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
Revision Requests Tabled at ROS (see Key Documents) 
Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program 
PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
ROS took no action on these items.  
Nodal Protocol Revision Request (NPRR) 1264, Creation of a New Energy Attribute Certificate Program (see Key Documents) 
ROS took no action on this item. 
Operations Working Group (OWG) (see Key Documents) 

Tyler Springer reviewed OWG activities.
NPRR1070, Planning Criteria for GTC Exit Solutions
NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service
ROS took no action on these items.  .  

NPRR1287, Revisions to Outage Coordination 
Mr. Springer noted the 9/10/25 WMS comments to NPRR1287 and stated that OWG reached consensus to recommend ROS endorse NPRR1287 as amended by the 8/18/25 ERCOT comments.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
PLWG (see Key Documents)

Mina Turner reviewed PLWG activities.  

PGRR122, Reliability Performance Criteria for Loss of Load
PGRR124, ESR Maintenance Exception to Modifications
PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process
PGRR127, Addition of Proposed Generation to the Planning Models  

PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies
PGRR130, Related to NPRR1295, GTC Exit Solutions
PGRR131, Requirements for Interconnection Cost Reporting for Transmission-Connected Generators
NPRR1272, Voltage Support at Private Use Networks
NPRR1284, Guaranteed Reliability Load Process 

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation 

ROS took no action on these items.  
PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies
Eric Goff, speaking on behalf of the Texas Energy Buyer’s Association (TEBA), stated that TEBA anticipates filing clarifications to PGRR128, and noted an alternative being considered is  a separate or annual report specifically looking at the economic effects of grid enhancing technologies (GETs).  ROS took no action on this item.  
NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
Meter Working Group

MWG Procedures

MWG Leadership

Mr. Borkar noted that there were no objections to including these items on the Combined Ballot.


Combined Ballot 

Martha Henson moved to approve the Combined Ballot as follows: 

· To request PRS continue to table NPRR1295 for further review by PLWG

· To endorse and forward to TAC the 9/11/25 ROS Report and 9/24/25 Impact Analysis for NOGRR279

· To recommend approval of NOGRR280 as submitted

· To endorse NPRR1287 as amended by the 8/18/25 ERCOT comments

· To endorse NPRR1274 as amended by the 8/20/25 Oncor comments

· To approve the MWG Procedures as presented

· To endorse the MWG leadership as presented - Kyle Stuckly, Oncor and Tony Davis, WETT
Diana Coleman seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)
Inverter Based Resources Working Group (IBRWG) (See Key Documents)

Ms. Rich gave an update on behalf of IBRWG.

Operations Training Working Group (OTWG) (See Key Documents) 
Manuel Sanchez reviewed OTWG activities. 
Performance, Disturbance, Compliance Working Group (PDCWG) (See Key Documents)

Chad Mulholland reviewed PDCWG activities.  

Steady State Working Group (SSWG) (See Key Documents)

Zach Walker reviewed SSWG activities.
Other Business (see Key Documents)
Review Open Action Items List
No changes were made to the Open Action Items List.
Market Notice re NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements
Mario de la Garza gave a presentation on the new frequency ride through requirements, referenced the September 30, 2025 Market Notice,  M-B093025-01, and emphasized that Resources must meet the ride-through requirements by December 31, 2025 unless they have been granted an extension.  In response to a question from a Market Participant regarding the impact of the new requirements on Transmission Service Providers (TSPs), Mr. de la Garza noted he would check on sharing information with impacted TSPs.  

PGRR132, Update to Standard Generation Interconnection Agreement (SGIA) Requirement
Ms. Rich noted that PGRR132 would be considered at the November 6, 2025 ROS meeting.  Andrew Gallo provided an overview of PGRR132.  Mr. Gallo emphasized that this item is meant to address the issue of Resource Entities amending existing SGIAs to bring a new Resource online instead of entering a new SGIA, which means the new Resource would not be covered by revised requirements drafted to apply only to facilities with SGIAs signed after a specific date.  
2026 ERCOT Membership/Segment Representative Elections

Suzy Clifton highlighted the 2026 Membership Application available online through ERCOT’s public portal, referenced in the September 29, 2025 Membership Notice and ERCOT Market Notice.  Ms. Clifton stated that the Record Date for 2026 ERCOT Membership is Friday, November 7, 2025, and announced that the 2026 TAC and Subcommittee elections will commence on Tuesday, November 11, 2025.   
No Report

· Black Start Working Group (BSWG)
· Dynamics Working Group (DWG)\
· Network Data Support Working Group (NDSWG)

· System Protection Working Group (SPWG)
· Voltage Profile Working Group (VPWG)
Adjournment

Mr. Borkar adjourned the October 2, 2025 ROS meeting at 11:19 a.m.    
� Key Documents referenced in these minutes may be accessed on the ERCOT website at: �HYPERLINK "https://www.ercot.com/calendar/10022025-ROS-Meeting"�https://www.ercot.com/calendar/10022025-ROS-Meeting� 





DRAFT Minutes of the October 2, 2025 ROS Meeting – ERCOT Public

Page 7 of 7

