## Slide 1: October PLWG Update
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
November 6th, 2025

## Slide 2
PGRR 127, Addition of Proposed Generation to the Planning Models
  Review of comments submitted by Oncor. Oncor supported the planning guide revision with minor clarifications.
  ERCOT agreed with the Oncor redlines and added clarity that only planned projects with be on the prioritized list first.
  LCRA presented their draft comments. These were based on discussions with Oncor and ERCOT aiming to provide guardrails for studies to mitigate selection bias and give ERCOT necessary discretion.
  There was general agreement on moving forward with the LCRA comments once they are filed.
  PGRR tabled another month for the LCRA comments to be officially filed and provide another opportunity for discussion.

## Slide 3
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies
  Reviewed the Joint commentors comments. Three main points.
    Many TSPs believe that ERCOT is not suited to assess the applicability of Grid Enhancing Technology (GET) assets for every use case, as ERCOT doesn't own, operate, or maintain these assets.
    Many Transmission Service Providers (TSPs) already integrate advanced technologies in their planning process.
    The RPG stakeholder process is viewed as the best platform to evaluate guest technologies on a case-by-case basis.
  Google reviewed their comments. Concern regarding necessary consistency and highlighted an education gap.
  Google suggested follow-up conversations with TDSPs and ERCOT to find a middle ground for integrating guest considerations.
  TSP’s willing to meet with Google to find middle ground.
  WATT Coalition indicated they would file additional comments in response.
  Remains tabled at PLWG, awaiting further comments and possible discussions with TEBA.

## Slide 4
PGRR 130, - Related to NPRR 1295, GTC Exit Solutions
  Sponsors presented a detailed presentation on the GTC proliferation.
  Financial data suggests GTC related costs totaling $2.6 billion since inception.
  Stakeholders seek more transparency in GTC exit solutions. Have concerns over operational impacts and dynamic stability.
  ERCOT role with benchmarking and congestion cost analysis was discussed.
  PGRR tabled another month for further analysis and discussion.
PGRR 131, Requirements for Interconnection Cost Reporting for Transmission -Connected Generators
  Oncor submitted comments on top of ERCOT comments. Mainly to clarify the reporting requirements for interconnection costs for transmission connected generators and focusing on initial energization date as a trigger for reporting. Also, a second reporting milestone was added to provide final costs.
  PLWG agreed to move PGRR 131 with Oncor comments to ROS with urgency for a vote.

## Slide 5
NPRR 1286 – Establish Multi-Value Criteria for Resiliency- Related Transmission Project Evaluation
  NPRR was initially moved to ROS for a vote but since has been returned to PLWG to review TIEC comments.
  ERCOT has concerns regarding the TIEC comments.
  ERCOT expressed openness to developing alternative methodologies to quantify resiliency benefits and discussed the complexity in quantifying the resiliency benefits across the full duration of events and the limitations in data and methodologies for certain extreme weather events.
  TIEC acknowledged ERCOT's response but expressed concerns over the economic alignment of the resiliency factor and its disparity in different scenarios.
  Both ERCOT and TIEC, along with PLWG, are open to further discussions on resolving the fundamental concerns and exploring alternative options.
  The NPRR discussion has been tabled for another month to allow more time for conversations among stakeholders.

## Slide 6
Tabled Items
PGRR 122 -Reliability Performance Criteria for Loss of Load
PGRR 124 - ESR Maintenance Exception to Modifications
PGRR 126- Related to NPRR 1284, Guaranteed Reliability Load Process

## Slide 7: Questions ?