## Slide 1: Congestion Management Working Group - 10/20/2025 Meeting Update
November 5, 2025
chENYAN guO, chair

## Slide 2: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff presented an update on the CRR system performance
      The most recent sequence 6 auction took 126 hours for the peak weekday TOU;
      240,000 transactions submitted for sequence 6 auction, which is well below the posted limit of 315,000, no transaction limit adjustment;
      Sequence 1 auction will have heavier activity than sequence 6, so it will serve as a better indicator of whether transaction limits will need to decrease to preserve solution times
NPRR 1288 (Remove Multiple Month Transactions in CRR Auctions)
      ERCOT Board voted approval on 09/22/2025
      ERCOT is working on a new NPRR to address Budge Constraint Change
      Change the collateral check to occur before bid submission instead of including the collateral constraint in the optimization

## Slide 3: Granular Product Type for CRR TOU
Vistra representative guided discussion of NPRR 1292: Granular Product Type for CRR TOU
  Vistra filed additional comments on this NPRR on October 2, 2025:
    Preserving the existing non-Solar Peak TOUs while implementing the new TOUs
    Proposing to simplify the monthly variation in solar TOU lengths (only changes twice per year: summer hours and winter hours, instead of changing monthly)
ERCOT’s vendor stated it was workable to preserve the three existing TOUs while adding in the two new TOUs reflecting solar hours, considering there is enough time to test optimization
Discussions were dominated on implementation plans, interactions with other NPRRs in works, effects on transaction counts and performance
This NPRR will remain at next CMWG meeting for further discussion

## Slide 4: Reliability Unit Commitments (RUC) Affecting Pawnee to Spruce Constraint
Vistra representative presented their analysis of RUC instructions affecting the Pawnee to Spruce (PSAP) GTC
    PSAP GTC has been the cause of RUC instructions for 997 hours in 2025 (52% of the RUC reasons)
    Vistra stated the resources dispatched by RUC had very little effect on the constraint and the GTC still have capacity if none of RUC instructions were issued on certain days they analyzed
    Vistra has concerns that RUC instructions cause wear and tear on their generation fleet
ERCOT staff responded that EROCT will analyze some of the days and bring back results of analysis at next month CMWG meeting
This issue has been discussed at Wholesale Market Working Group (WMWG), market participants could do more research on if shift factors used in RUC process could be published by ERCOT