## Slide 1: Supply Analysis Working Group (SAWG) Update to WMS
Nov 5, 2025
Kevin Hanson (Invenergy) Chair
Pete Warnken (ERCOT) Co-Vice Chair
Greg Lackey (CPS Energy) Co-Vice Chair

## Slide 2: SAWG Agenda – Oct 2025
NERC Gas-Electric Risk Mitigation Initiative
Follow-up NERC Probabilistic Assessment Data Request
2026 Reliability Assessment Activity Update
ERCOT Risk Analysis for NERC 2025-26 Winter Reliability Assessment

## Slide 3: NERC Gas-Electric Risk Mitigation Initiative
Mark Henry presented on the gas-electric risk mitigation initiatives of NERC to include:
  NERC-driven initiatives
  Study-driven initiatives
  Engagement-driven initiatives

## Slide 4: NERC Gas-Electric Risk Mitigation Initiative
High Priority Items
  Complete the Reliability Standards Project
  Identify the potential enhancements to NERC reliability standards
  Develop guidelines for natural gas pipeline and production wellhead winterization
  Improvements to the NERC Long-Term Reliability Assessment to capture the natural gas fuel availability risk
  Assess the adequacy of natural gas infrastructure to meet the demand needs
  Improve operation data sharing and coordination between gas and electric system operators

## Slide 5: NERC Probabilistic Assessment Data Request
At the September SAWG meeting, ERCOT presented the results of probabilistic modeling for NERC’s Probabilistic Assessment. A request was made to provide additional data from the simulation results for study year 2029: specifically, combustion turbine (CT) average capacity factors and Large Load call hours
The capacity-weighted average capacity factor for the CT units is 52%
The large flexible loads with three-tier strike prices, along with Contracts and Office Letters large loads, are expected to have call hours as shown in the table below

## Slide 6: Reliability assessment preparation update
Only change from last month has been to move the start of the thermal ELCC methodology development from October to November. Additional details located on the ERCOT SAWG: SAWG Event Details

## Slide 7: Reliability assessment assumption status
  Updates since the last SAWG meeting indicated in red

## Slide 8: Proposed weather-yr weighting method
Currently, each weather year has the same probability of occurrence; the method proposed by PowerGem applies larger weights for weather years with higher-than-normal summer temperatures
A SAWG participant suggested applying a similar approach for weather years with lower-than-normal winter low temperatures; ERCOT will consider this

## Slide 9: MORa-Risk assessment
  NERC requests the results of a probability-based risk analysis for each Winter and Summer Reliability Assessment
  For the WRA and SRA, ERCOT prepares a MORA assessment using its Probabilistic Reserve Risk Model (PRRM)
  The January 2026 MORA hourly Energy Emergency Alert probability table, at right, was provided for the 2025-26 WRA risk analysis submission
  Note that this January 2026 risk assessment should be considered as preliminary; the official January MORA will reflect updated modeling assumptions