## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-07 | 2 | 14.576 | 8.6 | 8.6
2024-08 | 3 | 15.076 | 8.6 | 8.733
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.4
2025-08 | 5 | 60.644 | 8.6 | 32.4
2025-09 | 5 | 60.644 | 8.6 | 32.4

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
07/2024 | AR_ALD1 | 9032 | 5652 | 687 |  | 3927 | 29 | 3 | 1998.731 | 1970.078 | 1887.208 | 755.914
07/2024 | BOERNE_ALD1 | 5834 | [6 empty] | 1.632
07/2024 | WEBBS_ALD1 | 9032 | 5652 | 626 |  | 3939 | 36 | 3 | 1596.341 | 1791.431 | 1247.164 | 755.914
08/2024 | AR_ALD1 | 9042 | 5490 | 2388 |  | 1475 |  | 32 | 1481.791 | 986.985 | 1030.641 | 2293.51
08/2024 | BOERNE_ALD1 | 9042 | 247 | [5 empty] | 5.292
08/2024 | WEBBS_ALD1 | 9042 | 5480 | 507 |  | 1487 |  | 34 | 1321.848 | 547.387 | 754.341 | 2132.336
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 | 0 |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 | 0 |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 | 0 |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 8864 | 8862 | 6155 | 6155 | 12 |  | 11 | 800.605 | 818.36 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 8864 | 6743 |  |  | 4934 | 10 | 2311 | 56.202 |  | 10.36 | 45.029
07/2025 | WEBBS_ALD1 | 8864 | 8862 | 6130 | 6130 | 12 |  | 10 | 762.562 | 808.333 | 370.159 | 819.87

## Hourly Participation (07_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 312.983
HE_1 | BOERNE_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 300
HE_2 | AR_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 338.95
HE_2 | BOERNE_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | WEBBS_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 325.967
HE_3 | AR_ALD1 | 363 | 363 | 0 | 0 | 0 | 0 | 0 | 300
HE_3 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 363 | 363 | 0 | 0 | 0 | 0 | 0 | 325.895
HE_4 | AR_ALD1 | 363 | 363 | 0 | 0 | 0 | 0 | 0 | 300
HE_4 | BOERNE_ALD1 | 363 | 322 | 0 | 0 | 322 | 0 | 77 | 8.764 |  | 10 | 23.275
HE_4 | WEBBS_ALD1 | 363 | 363 | 0 | 0 | 0 | 0 | 0 | 338.843
HE_5 | AR_ALD1 | 370 | 370 | 0 | 0 | 0 | 0 | 0 | 910.179
HE_5 | BOERNE_ALD1 | 370 | 358 | 0 | 0 | 358 | 0 | 84 | 8.75 |  | 10 | 24.306
HE_5 | WEBBS_ALD1 | 370 | 370 | 0 | 0 | 0 | 0 | 0 | 742.373
HE_6 | AR_ALD1 | 367 | 367 | 0 | 0 | 0 | 0 | 0 | 2962.652
HE_6 | BOERNE_ALD1 | 367 | 355 | 0 | 0 | 355 | 0 | 84 | 8.763 |  | 10 | 25.866
HE_6 | WEBBS_ALD1 | 367 | 367 | 0 | 0 | 0 | 0 | 0 | 2440.95
HE_7 | AR_ALD1 | 361 | 361 | 337 | 337 | 0 | 0 | 0 | 2602.06 | 2766.005
HE_7 | BOERNE_ALD1 | 361 | 348 | 0 | 0 | 348 | 0 | 84 | 8.66 |  | 10 | 27.015
HE_7 | WEBBS_ALD1 | 361 | 361 | 337 | 337 | 0 | 0 | 0 | 2570.336 | 2732.021
HE_8 | AR_ALD1 | 367 | 367 | 343 | 343 | 0 | 0 | 0 | 2594.955 | 2741.833
HE_8 | BOERNE_ALD1 | 367 | 355 | 0 | 0 | 355 | 0 | 86 | 8.788 |  | 10 | 24.911
HE_8 | WEBBS_ALD1 | 367 | 367 | 343 | 343 | 0 | 0 | 0 | 2572.082 | 2731.062
HE_9 | AR_ALD1 | 367 | 367 | 342 | 342 | 0 | 0 | 0 | 2197.731 | 2308.969
HE_9 | BOERNE_ALD1 | 367 | 354 | 0 | 0 | 354 | 0 | 93 | 8.785 |  | 10 | 24.067
HE_9 | WEBBS_ALD1 | 367 | 367 | 342 | 342 | 0 | 0 | 0 | 2462.556 | 2620.638
HE_10 | AR_ALD1 | 361 | 361 | 337 | 337 | 0 | 0 | 0 | 1944.23 | 2061.326
HE_10 | BOERNE_ALD1 | 361 | 349 | 0 | 0 | 349 | 0 | 77 | 8.667 |  | 10 | 24.76
HE_10 | WEBBS_ALD1 | 361 | 361 | 337 | 337 | 0 | 0 | 0 | 1948.123 | 2065.497
HE_11 | AR_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 0 | 799.186 | 806.798
HE_11 | BOERNE_ALD1 | 363 | 351 | 0 | 0 | 351 | 0 | 72 | 8.571 |  | 10 | 25.682
HE_11 | WEBBS_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 0 | 437.24 | 446.956
HE_12 | AR_ALD1 | 369 | 369 | 345 | 345 | 0 | 0 | 0 | 377.448 | 382.836
HE_12 | BOERNE_ALD1 | 369 | 357 | 0 | 0 | 357 | 0 | 71 | 8.554 |  | 10 | 26.129
HE_12 | WEBBS_ALD1 | 369 | 369 | 345 | 345 | 0 | 0 | 0 | 300 | 300
HE_13 | AR_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 316.81 | 317.966
HE_13 | BOERNE_ALD1 | 373 | 357 | 0 | 0 | 357 | 0 | 73 | 8.222 |  | 10 | 25.673
HE_13 | WEBBS_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 300 | 300
HE_14 | AR_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 300.967 | 301.034
HE_14 | BOERNE_ALD1 | 373 | 360 | 0 | 0 | 360 | 10 | 73 | 13.333 |  | 14.762 | 26.862
HE_14 | WEBBS_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 300.241 | 300.258
HE_15 | AR_ALD1 | 368 | 368 | 344 | 344 | 0 | 0 | 0 | 300.522 | 300.559
HE_15 | BOERNE_ALD1 | 368 | 356 | 0 | 0 | 356 | 0 | 71 | 9.595 |  | 10 | 29.467
HE_15 | WEBBS_ALD1 | 368 | 368 | 344 | 344 | 0 | 0 | 0 | 301.546 | 301.654
HE_16 | AR_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 302.782 | 302.973
HE_16 | BOERNE_ALD1 | 373 | 360 | 0 | 0 | 360 | 0 | 74 | 10 |  | 10 | 31.911
HE_16 | WEBBS_ALD1 | 373 | 373 | 349 | 349 | 0 | 0 | 0 | 300 | 300
HE_17 | AR_ALD1 | 365 | 365 | 341 | 341 | 0 | 0 | 0 | 303.48 | 303.725
HE_17 | BOERNE_ALD1 | 365 | 352 | 0 | 0 | 352 | 0 | 76 | 10 |  | 10 | 40.413
HE_17 | WEBBS_ALD1 | 365 | 365 | 341 | 341 | 0 | 0 | 0 | 300.115 | 300.123
HE_18 | AR_ALD1 | 368 | 367 | 343 | 343 | 0 | 0 | 0 | 300.27 | 300.289
HE_18 | BOERNE_ALD1 | 368 | 295 | 0 | 0 | 0 | 0 | 122 | 105.07 |  |  | 61.772
HE_18 | WEBBS_ALD1 | 368 | 367 | 343 | 343 | 0 | 0 | 0 | 300 | 300
HE_19 | AR_ALD1 | 390 | 390 | 366 | 366 | 0 | 0 | 1 | 300.393 | 300.418 |  | 334.532
HE_19 | BOERNE_ALD1 | 390 | 300 | 0 | 0 | 0 | 0 | 156 | 30.507 |  |  | 64.503
HE_19 | WEBBS_ALD1 | 390 | 390 | 366 | 366 | 0 | 0 | 1 | 301.268 | 301.352 |  | 373.166
HE_20 | AR_ALD1 | 378 | 378 | 354 | 354 | 0 | 0 | 4 | 300.251 | 300.268 |  | 331.573
HE_20 | BOERNE_ALD1 | 378 | 296 | 0 | 0 | 0 | 0 | 228 | 25.22 |  |  | 62.16
HE_20 | WEBBS_ALD1 | 378 | 378 | 354 | 354 | 0 | 0 | 4 | 300.592 | 300.633 |  | 374.512
HE_21 | AR_ALD1 | 384 | 384 | 348 | 348 | 12 | 0 | 1 | 301.542 | 300 | 349.33 | 326.084
HE_21 | BOERNE_ALD1 | 384 | 299 | 0 | 0 | 0 | 0 | 238 | 23 |  |  | 60.707
HE_21 | WEBBS_ALD1 | 384 | 384 | 348 | 348 | 12 | 0 | 0 | 302.203 | 300.012 | 370.159
HE_22 | AR_ALD1 | 375 | 375 | 312 | 312 | 0 | 0 | 3 | 381.617 | 398.098 |  | 1907.759
HE_22 | BOERNE_ALD1 | 375 | 296 | 0 | 0 | 0 | 0 | 235 | 19.337 |  |  | 75.673
HE_22 | WEBBS_ALD1 | 375 | 375 | 311 | 311 | 0 | 0 | 3 | 360.697 | 373.188 |  | 1908.758
HE_23 | AR_ALD1 | 380 | 380 | 344 | 344 | 0 | 0 | 2 | 300 | 300 |  | 307.271
HE_23 | BOERNE_ALD1 | 380 | 299 | 0 | 0 | 0 | 0 | 237 | 18.986 |  |  | 44.018
HE_23 | WEBBS_ALD1 | 380 | 380 | 344 | 344 | 0 | 0 | 2 | 300 | 300 |  | 300.608
HE_24 | AR_ALD1 | 362 | 361 | 313 | 313 | 0 | 0 | 0 | 302.252 | 302.597
HE_24 | BOERNE_ALD1 | 362 | 24 | 0 | 0 | 0 | 0 | 0 | 1121.495
HE_24 | WEBBS_ALD1 | 362 | 361 | 289 | 289 | 0 | 0 | 0 | 300 | 300