APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting (Webex Only)
Thursday, September 11, 2025 – 9:30 a.m.
Attendance

ROS Representatives: 
	
	

	
	

	Bevill, Rob
	Texas-New Mexico Power (TNMP)
	Alt. Rep. for Chris Gerety

	Blankenship, David 
	CenterPoint Energy (CNP)
	

	Borkar, Sandeep
	Lower Colorado River Authority (LCRA)
	

	Bowen, Kenneth
	CPS Energy                                                            
	

	Burkhead, Brett
	Calpine Corporation (Calpine)
	

	Carter, Matt
	Garland Power & Light (GP&L)
	

	Cockrell, Justin
	DC Energy
	

	Fun, Meng
	Chariot Energy
	

	Garza, Beth


	The Office of Public Utility Counsel (OPUC)
	Alt. Rep. for Nabaraj Pokharel



	Koenig, Chris


	Golden Spread Electric Cooperative (GSEC) 
	

	Kroskey, Tony


	Brazos Electric Power Cooperative         (Brazos)                                                   
	

	Levine, Norman
	Reliant Energy Retail Services (Reliant)
	Alt. Rep. for Kevin Matt

	Lutrick, Chris
	Denton Municipal Electric (DME)                
	

	Merta, Derek


	South Texas Electric Cooperative (STEC)
	Alt. Rep. for Paul Person



	Miller, Alex
	EDF Renewables (EDF)
	

	Mrini, Imane
	Austin Energy
	

	Nashawati, Eithar
	Oncor Electric Delivery (Oncor)
	

	Ramachandran, Dinesh
	Geronimo Power
	

	Reed, Cyrus
	Sierra Club
	

	Reid, Mike
	Air Liquide
	

	Rich, Katie
	Vistra Operations Company (Vistra)
	

	Schmitt, Jennifer
	Rhythm Ops
	

	Spalek, Matthew
	AEP Service Corporation (AEPSC) 
	

	Thomas, Shane
	Shell Energy North America (SENA)
	

	Varnell, John
	Tenaska Power Services (TNSK)
	Alt. Rep. for Adam Cochran

	
	
	

	The following proxies were assigned:
	

	· Chris Hendrix to Jennifer Schmitt
	

	· Chase Smith to Alex Miller
	

	
	

	
	

	Guests:
	

	Albaaj, Ali
	

	Aliati, Valdir
	

	Anderson, Connor
	AB Power Advisors

	Asher, Eli
	

	Ashley, Kristy
	Customized Energy Solutions (CES)

	Barkley, Benjamin
	

	Bhuiyan, Faruque
	

	Bloch, Ted
	Smart Wires

	Bracy, Phil
	

	Bunyan, M
	

	Butler, Luke
	

	Cardiel, Jonathan


	Public Utility Commission of Texas (PUCT) 

	Carter, Cathey
	Grid Axon

	Cheng, Yunzhi
	

	Chittyreddy, Jyothirmai
	

	Dharme, Neeraja
	EDFT

	Donohoo, Ken
	OwlERC LLC

	Downey, Marty
	Luminant Corporation

	Dunn, Kerri
	

	Evans, Doug
	

	Ferreira, Heverton
	

	Fink, Regan
	

	Flores, Jorge
	

	Floyd, Rickey
	 Oncor

	Fohn, Douglas
	

	Frosch, Colleen
	

	Ghoshal, Orijit
	

	Gianni, Juliana
	Goff Policy

	Gomez, Ricardo
	

	Greer, Clayton
	

	Grey, Bruce
	

	Hanson, Kevin
	Invenergy

	Helton, Bob
	Engie North America

	Henson, Martha
	Oncor 

	Herbert, Sebastian
	

	Hoffer, Phil
	AEP

	Holt, Blake
	LCRA

	Hu, WeiWei
	Austin Energy

	Hubbard, John Russ
	

	Hundley, Nick
	

	Jewell, Michael 
	Plus Power

	Jianpanah, Zahra
	

	Kaul, Zoey
	

	Khayat, Maribel
	CNP

	Killoran, Anthony
	

	King, Blake
	

	Koz, Brian
	Wolframium

	Kremling, Barry
	

	Lasher, Warren
	

	Lee, Jim
	CNP

	Levy, Tal
	

	Lewis, Matt
	

	Majidi, Mohammad
	

	Martin, Collin
	

	Matevosyan, Julia
	ESIG

	Mathew, Biju
	

	McClellan, Suzi
	

	Merta, Derek
	South Texas Electric Cooperative

	Miller, Daniel
	

	Modarresi, Sadegh
	

	Myers, Madison
	

	Neel, Evan
	

	Newnam, Eric
	

	Nguyen, Andy
	Constellation

	Ordonez, Camilo
	

	Orr, Matt
	

	Palani, Ananth
	GP&L

	Pearson, Kelsey
	Longhorn Power

	Pearson, Arthur
	

	Pedigo, Jake
	

	Penney, David
	

	Pepe, Diego
	

	Polusani, Jithender
	PEC

	Pueblos, Jameel
	Occidental Chemical 

	Pullela, Suma
	

	Pyka, Greg
	

	Qureshi, Fahad
	CNP

	Ramirez, Chris
	WETT

	Rasmussen, Erin
	AEP

	Reed, Ronald
	

	Reedy, Nick
	CimView

	Ritch, John
	

	Robertson, William
	

	Rochelle, Jenni
	CES

	Saeed, Hasan
	

	Salih, Diyar
	

	Schmall, John
	

	Selker, Julia
	WATT Coalition

	Sersen, Juliana
	

	Shaikh, Walid
	

	Siddiqi, Shams
	

	Snyder, Bill
	AEP Texas

	Springer, Tyler
	AEP

	Stem, Tad
	

	Teng, Shuye
	Constellation Energy

	Thomas, Pinky
	

	Turner, Mina
	AEP

	Turney, Clay
	Clay

	Van Ness, Zach
	Matrix Renewables 

	Varnell, John
	

	Velasquez, Ivan
	

	Wagner, Julia
	PUCT

	Walke, Pranil
	Calpine

	Walker, Zach
	Oncor

	Warren, John
	

	Wasserman, Mason
	

	Way, Appian
	

	Way, Sourabh 
	Appian

	Wittmeyer, Bob
	Longhorn Power

	Wolf, Craig
	

	Yu, Li
	

	
	

	ERCOT Staff:
	

	Albracht, Brittney
	

	Anderson, Troy
	

	Arth, Matthew
	

	Boren, Ann
	

	Cheng, Yong
	

	Clifton, Suzy
	

	Fernandes, Jenifer
	

	Garcia, Freddy
	

	Gonzales, Nathan
	

	Gravois, Patrick
	

	Herrera, Shane
	

	Kang, Sun Wook
	

	Klinglesmith, William
	

	Lee, Alex
	

	Mago, Nitika
	

	Matlock, Robert
	

	Miller, Megan
	

	Mohanadhas, Thinesh Devadhas
	

	Morales, Elizabeth
	

	Phillips, Cory
	

	Thatte, Anupam
	

	Yan, Ping
	


Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the September 11, 2025 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review 

Ms. Rich reviewed the agenda.

Approval of Meeting Minutes (see Key Documents)

August 7, 2025
Ms. Rich noted that there were no objections to including this item on the Combined Ballot.

 
Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the August 27, 2025 TAC meeting.

ERCOT Reports (see Key Documents)
Operations Report
Alex Lee summarized the July 2025 ERCOT Monthly Operations Report.  

System Planning Report

Ping Yan summarized the July 2025 ERCOT System Planning Monthly Status Report.  
2025 Under-Frequency Load Shedding (UFLS) Survey Results Presentation
Jake Pedigo presented the 2025 UFLS Survey Results.

Far West Interconnection Reliability Operating Limits (IROLs)
Freddy Garcia presented the Far West Texas IROLs.  Market Participants expressed concerns about the potential cost to customers and reliability impacts.  Market Participants also identified several key issues regarding the Far West IROL, including concerns about its implementation, the impact on load levels, and the need for targeted load shedding. They also discussed the challenges of predicting load growth and the importance of accurate data reporting and dynamic ratings.  Mr. Garcia noted the need for the additional General Transmission Constraints (GTCs) due to the likelihood that load growth in the region will outpace transmission construction. In response to participants’ requests, Mr. Garcia offered to review the issues at the 9/15/25 OWG and 9/19/25 Large Load Working Group (LLWG) meetings.
Energy Information Administration (EIA) Date Request for Information (RFI) Related to Form EIA-930A
Shane Herrera gave a presentation on the EIA RFI related to Form EIA-930A and announced the timeline for data collection. 
ROS Revision Requests (see Key Documents)

Language Review
Planning Guide Revision Request (PGRR)130, GTC Exit Solutions
Alex Miller provided an overview of PGRR130. Ping Yan explained that this type of analysis would require more engineering time and may delay reliability and congestion analyses for new load growth.  Matt Arth added that ERCOT is concerned there may not be permissibility of Public Utility Commission of Texas (PUCT) rule for cost benefit criteria.  Ms. Rich noted that there were no objections to referring the item to the Planning Working Group (PLWG) and including it on the Combined Ballot.



PGRR131, Requirements for Interconnection Cost Reporting for Transmission-Connected Generators

Doug Fohn provided an overview of PGRR131.  Ms. Rich noted that there were no objections to referring the item to PLWG and including it on the Combined Ballot.



Revision Requests Tabled at ROS (see Key Documents) 
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program 
NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
ROS took no action on these items.  
NOGRR279, Deadline Extensions for Recording Equipment Installation 
Participants reviewed the 8/28/25 ERCOT comments.  Ms. Rich noted that there were no objections to including this item on the Combined Ballot.


Nodal Protocol Revision Request (NPRR) 1264, Creation of a New Energy Attribute Certificate Program (see Key Documents) 
ROS took no action on this item. 
Operations Working Group (OWG) (see Key Documents) 

Tyler Springer reviewed OWG activities.
NPRR1070, Planning Criteria for GTC Exit Solutions
NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service
NPRR1287, Revisions to Outage Coordination 
ROS took no action on these items.  

Major Transmission Elements (MTE) List

Ms. Rich noted that there were no objections to including this item on the Combined Ballot.


Voltage Profile Working Group (VPWG) (see Key Documents) 
Weiwei Hu reviewed VPWG activities.
NPRR1272, Voltage Support at Private Use Networks
ROS took no action on this item. 
PLWG (see Key Documents)

Mina Turner reviewed PLWG activities.  

PGRR122, Reliability Performance Criteria for Loss of Load
PGRR124, ESR Maintenance Exception to Modifications
PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process
PGRR127, Addition of Proposed Generation to the Planning Models  

PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies
NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
NPRR1284, Guaranteed Reliability Load Process 

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation 

ROS took no action on these items. 
NPRR1280, Establish Process for Permanent Bypass of Series Capacitor

Ms. Turner summarized PLWG discussion on NPRR1280 and the 8/19/25 ERCOT comments and stated that PLWG was in consensus to recommend ROS endorse NPRR1280 as amended by the by the 8/19/25 ERCOT comments.  Ms. Rich noted that there were no objections to including this item in the Combined Ballot.


ROS Procedures (See Key Documents)
ROS reviewed the draft ROS Procedures and offered revisions.  Ms. Rich noted that there were no objections to including this item in the Combined Ballot.


Metering Working Group

MWG Procedures

MWG Leadership

Ms. Rich noted these items will be considered at the October 2, 2025 ROS meeting.  
Steady State Working Group (SSWG) (See Key Documents)

Zach Walker reviewed SSWG activities.  

SSWG Procedures Update
Ms. Rich noted that there were no objections to including this item in the Combined Ballot.


Combined Ballot 

Beth Garza moved to approve the Combined Ballot as follows: 

· To approve the August 7, 2025 ROS meeting minutes as submitted

· To table PGRR130 for further review by PLWG

· To table PGRR131 for further review by PLWG
· To recommend approval of NOGRR279 as amended by the 8/28/25 ERCOT comments
· To approve the MTE List as submitted
· To endorse NPRR1280 as amended by the 8/19/25 ERCOT comments
· To recommend approval of the ROS Procedures as revised by ROS
· To approve the SSWG Procedures as submitted
Jennifer Schmitt seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)
Dynamics Working Group (DWG) (See Key Documents)
Fahad Qureshi reviewed DWG activities.
Inverter Based Resources Working Group (IBRWG) (See Key Documents)
 Ms. Rich noted that the IBRWG report was posted to the meeting page.  
Network Data Support Working Group (NDSWG) 

Phil Hoffer reviewed NDSWG activities.    

Operations Training Working Group (OTWG)
There was no update for OTWG activities. 
Other Business 

Review Open Action Items List
No changes were made to the Open Action Items List.
No Report

· Black Start Working Group (BSWG)
· Performance, Disturbance, Compliance Working Group (PDCWG)
· System Protection Working Group (SPWG)

Adjournment

Ms. Rich adjourned the September 11, 2025 ROS meeting at 11:57 a.m.    
� Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/09112025-ROS-Meeting-_-Webex 


 





APPROVED Minutes of the September 11, 2025 ROS Meeting – ERCOT Public

Page 7 of 7

