## Load Zone Info from D & E
Demand and Energy by Load Settlement Zone for 2022
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2134.2739 | 2388.6458 | 1837.308 | 2219.3318 | 2525.9073 | 2741.4143 | 2849.0462 | 2781.2131 | 2592.0829
LZ_CPS | 3928.7048 | 4736.4178 | 3597.4494 | 4091.2348 | 4870.3036 | 5031.5446 | 5239.0979 | 5232.6799 | 4771.7029
LZ_HOUSTON | 14144.0057 | 16132.1352 | 12797.9832 | 15613.0232 | 19193.3631 | 19967.4948 | 20031.7067 | 19920.2044 | 18508.9956
LZ_LCRA | 2859.7407 | 3495.0364 | 2591.3968 | 2245.3803 | 2699.9767 | 3091.6815 | 3213.2599 | 3094.0791 | 2626.1362
LZ_NORTH | 23347.6236 | 24209.0122 | 20225.8022 | 18803.1694 | 24111.2937 | 27500.7866 | 29760.9775 | 28206.699 | 25131.62
LZ_RAYBN | 1161.2915 | 1261.9595 | 1045.5627 | 654.1465 | 929.8327 | 1166.1613 | 1278.5077 | 1220.2817 | 1023.6016
LZ_SOUTH | 8992.2538 | 10479.6226 | 7902.9809 | 8327.4014 | 9634.1438 | 9577.7107 | 9888.2348 | 10158.0303 | 8869.9597
LZ_WEST | 7086.8763 | 6388.6603 | 6742.3291 | 6534.9606 | 7812.4653 | 7726.6647 | 7972.3985 | 8014.0164 | 7587.0992
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.
This is from the D & E dated October 7, 2022

## Summary
ADER Limits and Tracking Summary Table (as of 10-24-25)
|  | LZ_AEN | LZ_CPS | LZ_HOUSTON | LZ_LCRA | LZ_NORTH | LZ_RAYBN | LZ_SOUTH | LZ_WEST | ERCOT-WIDE
Energy | Limit (MW) | 7 | 13.3 | 50.9 | 7.8 | 71.9 | 3.1 | 25.8 | 20.5 | 200
| Approved (MW) | 0 | 0 | 33.6 | 1.6 | 30.8 | 0 | 14.8 | 0 | 80.8
| Unused (MW) | 7 | 13.3 | 17.3 | 6.2 | 41.1 | 3.1 | 11 | 20.5 | 119.2
| % Full | 0% | 0% | 66.01% | 20.51% | 42.84% | 0% | 57.36% | 0% | 40.4%
Non-Spin | Limit (MW) | 3.5 | 6.8 | 25.3 | 4 | 35.8 | 1.5 | 13 | 10.3 | 100
| Approved (MW) | 0 | 0 | 11.7 | 0 | 23 | 0 | 11.2 | 0 | 45.9
| Unused (MW) | 3.5 | 6.8 | 13.6 | 4 | 12.8 | 1.5 | 1.8 | 10.3 | 54.1
| % Full | 0% | 0% | 46.25% | 0% | 64.25% | 0% | 86.15% | 0% | 45.9%
ECRS | Limit (MW) | 3.5 | 6.8 | 25.3 | 4 | 35.8 | 1.5 | 13 | 10.3 | 100
| Approved (MW) | 0 | 0 | 9.9 | 0.7865 | 23 | 0 | 11.6 | 0 | 45.2865
| Unused (MW) | 3.5 | 6.8 | 15.4 | 3.2135 | 12.8 | 1.5 | 1.4 | 10.3 | 54.7135
| % Full | 0% | 0% | 39.13% | 19.66% | 64.25% | 0% | 89.23% | 0% | 45.29%
No QSE will be allowed to register more than 50% of these system-wide limits.
May not foot due to Rounding.

## Limits & Participation Tracking
Limits as of 10-24-25
|  | Settlement Zone | 200 MW Capacity Limit | 100 MW Non-Spin Limit | 100 MW ECRS Limit
|  | LZ_AEN | 7 | 3.5 | 3.5
|  | LZ_CPS | 13.3 | 6.8 | 6.8
|  | LZ_HOUSTON | 50.9 | 25.3 | 25.3
|  | LZ_LCRA | 7.8 | 4 | 4
|  | LZ_NORTH | 71.9 | 35.8 | 35.8
|  | LZ_RAYBN | 3.1 | 1.5 | 1.5
|  | LZ_SOUTH | 25.8 | 13 | 13
|  | LZ_WEST | 20.5 | 10.3 | 10.3
No QSE will be allowed to register more than 50% of these system-wide limits.
Energy and AS Participation as of 10-24-25
|  |  | Total | 80.8 | 45.9 | 45.2865 | 0 | 0 | 0 | 0 | 0 | 0 | 33.6 | 11.7 | 9.9 | 1.6 | 0 | 0.7865 | 30.8 | 23 | 23 | 0 | 0 | 0 | 14.8 | 11.2 | 11.6 | 0 | 0 | 0
[7 empty] | LZ_AEN |  |  | LZ_CPS |  |  | LZ_HOUSTON |  |  | LZ_LCRA |  |  | LZ_NORTH |  |  | LZ_RAYBN |  |  | LZ_SOUTH |  |  | LZ_WEST
Resource ID # | Settlement Zone | DSP (Name is Masked) | QSE (Name is Masked) | ERCOT Approved Energy MW Quantity | ERCOT Approved Non-Spin MW Quantity | ERCOT Approved ECRS MW Quantity | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW | Energy MW | Non-Spin MW | ECRS MW
1 | LZ_HOUSTON |  |  | 0.2 | 0.2 | 0 | [6 empty] | 0.2 | 0.2
2 | LZ_HOUSTON |  |  | 0.5 | 0.2 | 0.2 | [6 empty] | 0.5 | 0.2 | 0.2
3 | LZ_HOUSTON |  |  | 22.6 | 8.5 | 8.5 | [6 empty] | 22.6 | 8.5 | 8.5
4 | LZ_NORTH |  |  | 22.2 | 8 | 8 | [12 empty] | 22.2 | 8 | 8
5 | LZ_SOUTH |  |  | 6.7 | 2.8 | 2.8 | [18 empty] | 6.7 | 2.8 | 2.8
6 | LZ_SOUTH |  |  | 0.2 | 0 | 0 | [18 empty] | 0.2 | 0
7 | LZ_HOUSTON |  |  | 0.2 | 0.1 | 0 | [6 empty] | 0.2 | 0.1
8 | LZ_HOUSTON |  |  | 5.8 | 1.5 | 0 | [6 empty] | 5.8 | 1.5
9 | LZ_HOUSTON |  |  | 0.3 | 0 | 0 | [6 empty] | 0.3
10 | LZ_LCRA |  |  | 1.6 | 0 | 0.7865 | [9 empty] | 1.6 |  | 0.7865
11 | LZ_SOUTH |  |  | 5.7 | 8 | 8 | [18 empty] | 5.7 | 8 | 8
12 | LZ_NORTH |  |  | 8.6 | 15 | 15 | [12 empty] | 8.6 | 15 | 15
13 | LZ_SOUTH |  |  | 2.2 | 0.4 | 0.8 | [18 empty] | 2.2 | 0.4 | 0.8
14 | LZ_HOUSTON |  |  | 4 | 1.2 | 1.2 | [6 empty] | 4 | 1.2 | 1.2

## Calculation of % & MW
As of 11-3-22, Information for August 2022 has NOT been updated based on final settlements.
Demand and Energy by Load Settlement Zone for 2022
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | [7 empty] | 2781.2131 |  |  |  |  | 2781.2131
LZ_CPS | [7 empty] | 5232.6799 |  |  |  |  | 5232.6799
LZ_HOUSTON | [7 empty] | 19920.2044 |  |  |  |  | 19920.2044
LZ_LCRA | [7 empty] | 3094.0791 |  |  |  |  | 3094.0791
LZ_NORTH | [7 empty] | 28206.699 |  |  |  |  | 28206.699
LZ_RAYBN | [7 empty] | 1220.2817 |  |  |  |  | 1220.2817
LZ_SOUTH | [7 empty] | 10158.0303 |  |  |  |  | 10158.0303
LZ_WEST | [7 empty] | 8014.0164 |  |  |  |  | 8014.0164
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78627.2039 | 0 | 0 | 0 | 0 | 78627.2039
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | [7 empty] | 3.537% |  |  |  |  | 3.537%
LZ_CPS | [7 empty] | 6.655% |  |  |  |  | 6.655%
LZ_HOUSTON | [7 empty] | 25.34% |  |  |  |  | 25.34%
LZ_LCRA | [7 empty] | 3.935% |  |  |  |  | 3.935%
LZ_NORTH | [7 empty] | 35.87% |  |  |  |  | 35.87%
LZ_RAYBN | [7 empty] | 1.552% |  |  |  |  | 1.552%
LZ_SOUTH | [7 empty] | 12.92% |  |  |  |  | 12.92%
LZ_WEST | [7 empty] | 10.19% |  |  |  |  | 10.19%
[8 empty] | 100% |  |  |  |  | 100%
ERCOT-WIDE ENERGY MW LIMIT | 80
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | [7 empty] | 2.8298 |  |  |  |  | 2.8298
LZ_CPS | [7 empty] | 5.324 |  |  |  |  | 5.324
LZ_HOUSTON | [7 empty] | 20.268 |  |  |  |  | 20.268
LZ_LCRA | [7 empty] | 3.1481 |  |  |  |  | 3.1481
LZ_NORTH | [7 empty] | 28.6992 |  |  |  |  | 28.6992
LZ_RAYBN | [7 empty] | 1.2416 |  |  |  |  | 1.2416
LZ_SOUTH | [7 empty] | 10.3354 |  |  |  |  | 10.3354
LZ_WEST | [7 empty] | 8.1539 |  |  |  |  | 8.1539
May not "Foot" due to Rounding | [7 empty] | 80 |  |  |  |  | 80
ERCOT-WIDE AS MW LIMIT | 40
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | [7 empty] | 1.4149 |  |  |  |  | 1.4149
LZ_CPS | [7 empty] | 2.662 |  |  |  |  | 2.662
LZ_HOUSTON | [7 empty] | 10.134 |  |  |  |  | 10.134
LZ_LCRA | [7 empty] | 1.5741 |  |  |  |  | 1.5741
LZ_NORTH | [7 empty] | 14.3496 |  |  |  |  | 14.3496
LZ_RAYBN | [7 empty] | 0.62079 |  |  |  |  | 0.62079
LZ_SOUTH | [7 empty] | 5.1677 |  |  |  |  | 5.1677
LZ_WEST | [7 empty] | 4.077 |  |  |  |  | 4.077
May not "Foot" due to Rounding | [7 empty] | 40 |  |  |  |  | 40
ERCOT-WIDE ECRS MW LIMIT | 40
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | [7 empty] | 1.4149 |  |  |  |  | 1.4149
LZ_CPS | [7 empty] | 2.662 |  |  |  |  | 2.662
LZ_HOUSTON | [7 empty] | 10.134 |  |  |  |  | 10.134
LZ_LCRA | [7 empty] | 1.5741 |  |  |  |  | 1.5741
LZ_NORTH | [7 empty] | 14.3496 |  |  |  |  | 14.3496
LZ_RAYBN | [7 empty] | 0.62079 |  |  |  |  | 0.62079
LZ_SOUTH | [7 empty] | 5.1677 |  |  |  |  | 5.1677
LZ_WEST | [7 empty] | 4.077 |  |  |  |  | 4.077
May not "Foot" due to Rounding | [7 empty] | 40 |  |  |  |  | 40

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3803 | 6564 | 8434 | 1368 | 13 | 60 | 29 | 11760 | 1364
Feb* | 3437 | 6000 | 8245 | 1460 | 13 | 59 | 31 | 10576 | 1409
Mar* | 3778 | 5171 | 10986 | 1821 | 24 | 17 | 36 | 7386 | 1199
Apr* | 3042 | 5096 | 11720 | 1861 | 35 | 22 | 43 | 7567 | 1401
May* | 3237 | 5117 | 12454 | 2391 | 50 | 64 | 55 | 12389 | 2632
Jun* | 3593 | 6670 | 9667 | 2729 | 67 | 69 | 50 | 15530 | 3405
Jul | 3692 | 7089 | 8755 | 2993 | 57 | 65 | 52 | 17866 | 5100
Aug | 3697 | 6829 | 6275 | 2422 | 26 | 65 | 49 | 18879 | 4466
Sep
Oct
Nov
Dec

## data_Energy Comparisons_1 (hidden)
| 2021 Actual | 2022 Actual
Jan* | 30822 | 33400
Feb* | 29096 | 31279
Mar* | 27328 | 30457
Apr* | 28090 | 30790
May* | 31785 | 38535
Jun* | 37346 | 42039
Jul | 39577 | 45971
Aug | 41396 | 42990
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2022 Forecast | 2022 Actual
Jan* | 33434 | 33400
Feb* | 29318 | 31279
Mar* | 30811 | 30457
Apr* | 30795 | 30790
May* | 35460 | 38535
Jun* | 39832 | 42039
Jul | 42871 | 45971
Aug | 43830 | 42990
Sep
Oct
Nov
Dec

## data_Demand Comparisons_1 (hidden)
| 2021 Actual | 2022 Actual
Jan* | 58606 | 63541
Feb* | 69812 | 68968
Mar* | 45380 | 56463
Apr* | 52814 | 58419
May* | 62832 | 71645
Jun* | 70257 | 76718
Jul | 73145 | 80038
Aug | 73687 | 78465
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2022 Forecast | 2022 Actual
Jan* | 59218 | 63541
Feb* | 59429 | 68968
Mar* | 53275 | 56463
Apr* | 57493 | 58419
May* | 65858 | 71645
Jun* | 72356 | 76718
Jul | 74984 | 80038
Aug | 77579 | 78465
Sep
Oct
Nov
Dec