Date:			November 19, 2025

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects [ERCOT] - NPRR1287, Revisions to Outage Coordination [ERCOT] - NPRR1298, Timing Requirements for Comments to Subcommittee Reports [Vistra] - NPRR1300, Protected Information and ECEII to OPUC [ERCOT] - NPRR1303, Modernize Submission of Declarations of Natural Gas Pipeline Coordination [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects Sponsor: ERCOT Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR updates the estimated capital cost for the tier classification rules used for the Regional Planning Group (RPG) process. PRS Decision: On 10/8/25, PRS voted unanimously to recommend approval of NPRR1274 as amended by the 8/20/25 Oncor comments. On 11/12/25, PRS voted unanimously to endorse and forward to TAC the 10/8/25 PRS Report and 2/25/25 Impact Analysis for NPRR1274. - NPRR1287, Revisions to Outage Coordination Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR replaces the defined term Maximum Daily Resource Planned Outage Capacity (MDRPOC) with Resource Planned Outage Limit (RPOL) to align with the actual calculated RPOL as described in Section 3.1.6.13, Maximum Daily Resource Planned Outage Capacity; adds the maximum duration of a proposed Transmission Facility Outage that may be approved with a described lead time to align with current Outage Coordination practices; defines the conditions that ERCOT may accept the Resource Planned Outage request if it could cause the exceedance of Resource Planned Outage Limit; and clarifies that, like any other Resource, Energy Storage Resources (ESRs) submit Outages pursuant to Sections 3.1.4.1, Single Point of Contact, and 3.1.4.7, Reporting of Forced Derates. PRS Decision: On 10/8/25, PRS voted unanimously to recommend approval of NPRR1287 as amended by the 8/18/25 ERCOT comments. On 11/12/25, PRS voted unanimously to endorse and forward to TAC the 10/8/25 PRS Report and 5/27/25 Impact Analysis for NPRR1287. - NPRR1298, Timing Requirements for Comments to Subcommittee Reports Sponsor: Vistra Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR extends discretion to review comments to the PRS Report that are posted less than six days in advance of the "next regularly scheduled" PRS meeting. Paragraph (2) of Section 21.4.4, Protocol Revision Subcommittee Review and Action, allows PRS the discretion to consider comments on a new NPRR if they are posted after the 14-day comment period. PRS Decision: On 10/8/25, PRS voted to recommend approval of NPRR1298 as revised by the 9/29/25 Vistra comments. There were five opposing votes from the Consumer (Occidental), Independent Power Marketer (IPM) (Tenaska), and Investor Owned Utility (IOU) (3) (CNP, AEPSC, TNMP) Market Segments, and two abstentions from the Cooperative (PEC) and IOU (Oncor) Market Segments. On 11/12/25, PRS voted to endorse and forward to TAC the 10/8/25 PRS Report and 10/27/25 Impact Analysis for NPRR1298. There were two opposing votes from the Consumer (Occidental) and IOU (CNP) Market Segments, and two abstentions from the Cooperative (PEC) and IOU (TNMP) Market Segments. - NPRR1300, Protected Information and ECEII to OPUC Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR implements Senate Bill 1877 (SB 1877) by including the Office of Public Utility Counsel (OPUC) as an entity that is permitted to receive Protected Information or ERCOT Critical Energy Infrastructure Information (ECEII) without violating Section 1.3, Confidentiality. PRS Decision: On 10/8/25, PRS voted unanimously to recommend approval of NPRR1300 as submitted. On 11/12/25, PRS voted unanimously to endorse and forward to TAC the 10/8/25 PRS Report and the 9/11/25 Impact Analysis for NPRR1300. - NPRR1303, Modernize Submission of Declarations of Natural Gas Pipeline Coordination Sponsor: ERCOT Proposed Effective Date: Upon implementation of PR461, Customer Service Management (CSM) Phase 2 Estimated Impacts: No impact (There are no additional impacts to this NPRR beyond what was captured in PR461, Customer Service Management (CSM) Phase 2.) Revision Description: This NPRR revises language to change the method of submitting and receiving the Declaration of Natural Gas Pipeline Coordination from a physical form to an electronic format. The information required in the declaration will not change. PRS Decision: On 10/8/25, PRS voted unanimously to recommend approval of NPRR1303 as amended by the 10/7/25 ERCOT comments. On 11/12/25, PRS voted unanimously to endorse and forward to TAC the 10/8/25 PRS Report and 10/21/25 Revised Impact Analysis for NPRR1303. Revision Requests Rejected None Revision Requests Withdrawn - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 [ERCOT] - NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes [ERCOT] - NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form[ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - NPRR1255, Introduction of Mitigation of ESRs [ERCOT] - NPRR1264, Creation of a New Energy Attribute Certificate Program [TEBA] - NPRR1272, Voltage Support at Private Use Networks [Occidental] - NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service [Joint Sponsors] - NPRR1284, Guaranteed Reliability Load Process [Cholla Petroleum] - NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation [ERCOT] - NPRR1292, Granular Product Type for CRR TOU [Vistra] - NPRR1295, GTC Exit Solutions [Joint Sponsors] - NPRR1296, Residential Demand Response Program [ERCOT] - NPRR1301, Align Protocols to Constraint Activation Procedure [LCRA] - NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms [ERCOT] - NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] New Revision Requests Scheduled for Consideration at PRS - NPRR1307, Revised Definition of Mitigation Plan [ERCOT] - NPRR1308, Related to NOGRR282, Large Electronic Load Ride-Through Requirements [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr