## Slide 1
NDSWG Meeting
November 2025

## Slide 2: Antitrust Admonition

## Slide 3: Topics
RTC Update
  Go Live Update
  RTC Models available
  SOTE Future cases
CIM 16 update
Election for 2026 Chair/Vice Chair

## Slide 4: Topics
RTC Update
  Go Live Update
  RTC Models available
  SOTE Future cases
CIM 16 update
Election for 2026 Chair/Vice Chair

## Slide 5: RTC Go Live
RTC+B Go Live date is December 5, 2025
  December ML1 non RTC+B model will be loaded on December 3, 2025
  December ML1 RTC+B will be loaded on December 5, 2025

## Slide 6: Full and Redacted Representations of RTC+B Model Posted
ERCOT has posted full and redacted RTC models
Redacted RTC models are posted to the MIS:
  Redacted Network Operations Test Model and Difference Report
Full models for TDSPs are posted in the NMMS Citrix Postings location:
  Located in the ECEII_NMMS_45_DAY_POSTINGS folder
For the December ML1 models, the “RTC” string will be used to identify the RTC model.

## Slide 7: SOTE Future Case
RTC+B SOTE available starting October 6 2025
  February ML1 2026 model available
  ESRs transition from “combo” to “single” model representation
  https://www.ercot.com/services/comm/mkt_notices/M-A092624-04

## Slide 8: TSPs Must Adjust to New ESR Names in Telemetry “Echo Points”
Telemetry available to TDSPs will change due to new ESR names and transition to single-model representation
Pre-RTC
RTC
TSPs incorporating ESR telemetry in their real-time applications must account for changes due to RTC battery modeling
Mapping Document Between Combo and Single-Model Names

## Slide 9: Echo Points – Locating Single-Model Telemetry in NMMS
Single-model telemetry is temporarily located underneath a GenericEquipment instance with the same name as the future ESR.
TDSPs can access single-model ESR telemetry via NMMS
The mapping between combo and single model names can be found here
The ICCP string of the echo points are identifiable by the “E” prefix

## Slide 10: Topics
RTC Update
  Go Live Update
  RTC Models available
  SOTE Future cases
CIM 16 update
Election for 2026 Chair/Vice Chair

## Slide 11: CIM 16 Update
Siemens have released the first CIM 16 version of NMMS
Modeling found issues with the build and expecting another release
Market Release for testing is by the end of the year

## Slide 12: Topics
RTC Update
  Go Live Update
  RTC Models available
  SOTE Future cases
CIM 16 update
Election for 2026 Chair/Vice Chair

## Slide 13: Other Topics
Open Discussion…