| NPRR Number | 1311 | NPRR Title | Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B |
| --- | --- | --- | --- |
| Impact Analysis Date |  | November 25, 2025 |  |
| Estimated Cost/Budgetary Impact |  | None. |  |
| Estimated Time Requirements |  | No project required. This Nodal Protocol Revision Request (NPRR) can take effect following Public Utility Commission of Texas (PUCT) approval. See Comments. |  |
| ERCOT Staffing Impacts (across all areas) |  | Ongoing Requirements: No impacts to ERCOT staffing. |  |
| ERCOT Computer System Impacts |  | No impacts to ERCOT computer systems. |  |
| ERCOT Business Function Impacts |  | No impacts to ERCOT business functions. |  |
| Grid Operations & Practices Impacts |  | No impacts to ERCOT grid operations and practices. |  |

Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation

None offered.

Comments

There are no additional impacts to this NPRR beyond what was captured in PR447, Real-Time Co-optimization (RTC).