## Slide 1: November PLWG Update
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
December 4th, 2025

## Slide 2
PGRR 127, Addition of Proposed Generation to the Planning Models
  Discussion on addition of proposed generation projects to the planning models.
  CenterPoint Energy expressed concerns with adding projects that have not completed the FIS before signing an SGIA.
  Current protocols do not require FIS to be complete – just SGIA and Financial commitment.
  ERCOT would like to maintain the current flexibility.
  LCRA presented slides on how paragraph 7 logic would work to address transparency and removing bias concerns.
  Consensus reached to move forward with LCRA comments PGRR 127 to ROS for a vote

## Slide 3
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies
  Discussion of comments filed by different stakeholders.
  Main concept is to remove the GETS review from the RTP to the RPG which is supported by some parties.
  Conversations ongoing between the sponsors and ERCOT and the sponsors appreciated the candid feedback by all and aim to gain consensus.
  Further discussion are planned for the December PLWG with a recommendation being targeted for the January ROS meeting.

## Slide 4
PGRR 130, - Related to NPRR 1295, GTC Exit Solutions
  Discussion at PLWG regarding focusing on GTC exit solutions.
  Further discussions are scheduled for SAWG meeting.
  ERCOT staff to consider merits of improving GTC limits over full exit solutions.
  Continuation of discussions needed on unlocking generation and coordination with supply analysis working group.
  PGRR tabled another month for further discussion.

## Slide 5
NPRR 1286 – Establish Multi-Value Criteria for Resiliency- Related Transmission Project Evaluation
  NPRR was initially moved to ROS for a vote but since has been returned to PLWG to review TIEC comments.
  The matter is tabled for one more month, with a promise to provide detailed comments at the next PLWG meeting.
  ERCOT staff and other stakeholders like TIEC and TXOGA are involved in the discussion and working towards meeting PUC requirements.
  Acknowledgment from stakeholders on the need to move forward expeditiously while appreciating ongoing discussions and collaboration.

## Slide 6
PGRR 134 – Interconnection Studies Reform for Dispatchable Loads
  Review of the presentation from the sponsors. Need more comments and possible workshops to facilitate understanding.
  Sponsors have requested urgency in aligning planning process.
  Discussion from various stakeholders and agreed on next steps:
    Organize separate meeting or workshop to address issues and concerns.
    ERCOT will work on redline version considering the discussion points brought up in the meeting. ERCOT will submit comments before the next PLWG meeting.
  PGRR remains tabled at PLWG.

## Slide 7
PGRR 135 – Large Load Interconnection Queue Process Revision
  Review of the presentation from the sponsor. Movement of loads between the different study buckets creates restudy loops and affecting project timelines.
  Concern that ERCOT’s method being potentially discriminatory towards certain customers.
  Suggestions for alternatives include signing interconnection agreements at the same time or creating a financial requirement at the onset of study.
  Robust discussion at the meeting with solutions ranging from financial security to standardization procedures.
  ERCOT suggested cluster studies approach as a longer-term solution.
  PGRR was tabled at PLWG for further discussion.
  11/20/2025 PGRR was withdrawn by the sponsor.

## Slide 8
PGRR 132 – Update to Standard Generation Interconnection Agreement SGIA Requirement
  Stakeholders' discussion regarding needing more time to review the proposal from ERCOT.
  The proposal was tabled until the December PLWG meeting with the agreement that it will not be delayed further.
  The agreed path was to have the proposal move forward in January ROS with urgent status and target February board meeting.
  Vistra committed to providing any additional comments before the next meeting.

## Slide 9
Tabled Items
PGRR 122 -Reliability Performance Criteria for Loss of Load
PGRR 124 - ESR Maintenance Exception to Modifications
Other business
PLWG leadership nominations

## Slide 10: Questions ?