| ERS Reinstatement Schedule for Resources seeking Reinstatement into the Dec25Mar26 Standard Contract Term |  |
| --- | --- |
| Date | Action |
| October 1-3, 2025 | Reinstatement ERIDs submitted for Resources seeking reinstatement |
| October 6, 2025 | Reinstatement Offers submitted indicating a MW capacity offer, Maximum Base Load (MBL), and baseline selection (if a choice is available), but not price. Resource is subject to a full load-shed test as soon as the Reinstatement Offer is submitted; test procedures will be the same as an annual test. |
| Reinstatement Process merges with the Dec25Mar26 Procurement Schedule |  |
| October 31, 2025 | Last day to submit ERIDs. If reinstatement test results are not available, QSE should not submit an ERID. |
| November 7, 2025 | Deadline for resolving ERID errors (for ERIDS received prior to deadline) |
| November 10, 2025 | Offers Due (midnight): only if resource was tested and notified it passed. Reinstatement Offer must be in the same configuration, with the same baseline type, and limited to some or all the Time Periods selected in the Reinstatement Offer. (can drop TP but not add) |

*Meter data is due 35 days after a test or event