| NPRR Number | 1285 | NPRR Title | Improve Self-Commitment within RUC Opt Out Window |
| --- | --- | --- | --- |
| Date of Decision |  | December 8, 2025 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Estimated Impacts |  | Cost/Budgetary: Less than $10k (Operations & Maintenance (O&M)) Project Duration: 1 to 2 months |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) expands the current Reliability Unit Commitment (RUC) opt out window to incentivize self-commitment to increase capacity available to the market at lower costs and reduce RUCs and associated costs. |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | The current RUC opt out window, as defined by the Opt Out Snapshot as proposed in NPRR1092, Reduce RUC Offer Floor and Limit RUC Opt-Out Provision, was approved with the intent for a Resource to make self-commitment decision sooner and still allow those that receive a sufficiently early RUC to opt out of RUC Settlement. However, the Monthly Review of RUC Market Impacts reports published by ERCOT show that opt out counts were either zero or just a handful in each month. The issue is the current RUC opt out window does not consider the fact that a Generation Resource requires time to make economic self-commitment decisions in the current dynamic market. The net Load in the system can change drastically as the penetration rate of renewable energy in electricity production continues to increase. That, combined with dynamic gas costs and contractual transport costs such as imbalance penalties, adds uncertainty to market price forecast and production cost forecast. A Generation Resource benefits from the additional clarity as it gets closer to Real-Time to make a self-commitment decision. In addition, ERCOT operators have historically waited until the startup deadline to issue the first RUC instruction. While we appreciate ERCOT operators taking their time to make the best decision for the market and system reliability, it does not give Generation Resources an opportunity to meet the requirement of the current RUC Opt Out Snapshot to opt out the RUC Settlement as shown in the Monthly RUC Report. The deadline for RUC opt out should be aligned with the timing for a Generation Resource to self-commit. This ensures ERCOT’s market process accurately reflects actual market activities. More importantly, to allow a Generation Resource opt out a RUC instruction frees up the whole capacity High Sustained Limit (HSL) for Security-Constrained Economic Dispatch (SCED) to deploy at lower production costs instead of Low Sustained Limit (LSL) at the RUC offer floor price of $250/MWh and reduces the pricing impact due to Reliability Deployment Price Adder (RDPA) adjustments. As such, this NPRR proposes that the current RUC opt out window be expanded to incentivize self-commitment to increase capacity available to the market at lower costs and reduce RUCs and associated costs. More specifically, it proposes to remove the extra two hours of requirement in the definition which is counterproductive in today’s market. |  |
| PRS Decision |  | On 6/11/25, PRS voted unanimously to table NPRR1285 and refer the issue to WMS. All Market Segments participated in the vote. On 8/13/25, PRS voted to recommend approval of NPRR1285 as submitted. There was one abstention from the Consumer (Occidental) Market Segment. All Market Segments participated in the vote. On 9/17/25, PRS voted to endorse and forward to TAC the 8/13/25 PRS Report and 8/26/25 Impact Analysis for NPRR1285. There was one abstention from the Consumer (Occidental) Market Segment. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 6/11/25, the sponsor provided an overview of NPRR1285. Participants and the Independent Market Monitor (IMM) requested additional review at WMS. On 8/13/25, participants reviewed the 7/11/25 and 8/6/25 WMS comments. On 9/17/25, participants reviewed the 8/26/25 Impact Analysis. |  |
| TAC Decision |  | On 10/22/25, TAC voted to recommend approval of NPRR1285 as recommended by PRS in the 9/17/25 PRS Report. There were two abstentions from the Consumer (CMC Steel, Air Liquide) Market Segment. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 10/22/25, the IMM expressed a concern in principle that NPRR1285 does not improve self-commitment but rather by increasing Settlement options decreases the incentive to self-commit for Resources which might be identified as needed for Reliability Unit Commitment (RUC). Participants countered that NPRR1285 allows a reasonable window for Resources to opt out of RUC Settlement and will incentivize self-commitment, increase capacity available to the market, and reduce RUCs. |  |
| TAC Review/Justification of Recommendation |  | Revision Request ties to Reason for Revision as explained in Justification Impact Analysis reviewed and impacts are justified as explained in Justification Opinions were reviewed and discussed Comments were reviewed and discussed (if applicable) Other: (explain) |  |
| ERCOT Board Decision |  | On 12/8/25, the ERCOT Board voted unanimously to recommend approval of NPRR1285 as recommended by TAC in the 10/22/25 TAC Report. |  |

| Opinions |  |
| --- | --- |
| Credit Review | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1285 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |
| Independent Market Monitor Opinion | IMM opposes NPRR1285. |
| ERCOT Opinion | ERCOT supports approval of NPRR1285. |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1285 and believes it incrementally expands the ability of QSEs to opt out of RUCs while generally retaining the compromised outcome of the NPRR1092 debate. |

| Sponsor |  |
| --- | --- |
| Name | Michele Richmond |
| E-mail Address | michele@competitivepower.org |
| Company | Texas Competitive Power Advocates (TCPA) |
| Phone Number |  |
| Cell Number | 512-653-7447 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 071125 | Requested PRS continue to table NPRR1285 |
| WMS 080625 | Endorsed NPRR1285 as submitted |

Market Rules Notes

None

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

Opt Out Snapshot

A record of a Resource’s Current Operating Plan (COP) used to determine whether the Resource will opt out of Reliability Unit Commitment (RUC) Settlement for a block of RUC-Committed Hours.  The Opt Out Snapshot is taken at the earlier of:

(a)	The end of the Adjustment Period for the first hour of a contiguous block of RUC-Committed Hours; or

(b)	The beginning of the hour that is at least N hours prior to the first hour of the contiguous block of the RUC-Committed hours, where N is the start time contained in the ERCOT computer system at the time of the RUC execution associated with the RUC instruction corresponding to the Resource’s warmth state.  If the RUC-Committed Hours are an extension of a Qualified Scheduling Entity (QSE)-Committed Interval either before or after, N will be set to zero.  For a Combined Cycle Generation Resource within a Combined Cycle Train, including a RUC to a different configuration with additional capacity, the start time is the start time corresponding to the specific configuration of the RUC-committed Combined Cycle Generation Resource.