Planning Working Group (PLWG) Meeting Minutes

November 18, 2025 (WebEx Only)

| 1. | Antitrust Admonition Meeting started at 9:30 am. Antitrust admonition was given. | Chair |
| --- | --- | --- |
| 2. | Agenda Review Agenda was reviewed. | Chair |
| 3. | Review of PLWG Meeting Minutes (October 28th) Meeting minutes have not yet been posted. Will review October and November meeting minutes at the December PLWG meeting. | Chair |
| 4. | PGRR 127 – Addition of Proposed Generation to the Planning Models | Chair |
|  | LCRA comments filed 10-29 memorialized the discussion at last month’s PLWG. Expect to reach consensus and report to ROS. Raja Kakarla (CenterPoint) – A comment and suggested desktop edit to (5)(a) “have a signed SGIA and completed the FIS”. Raja’s concerns were addressed through discussion with ERCOT and no longer requests the desktop edit originally proposed. Trevor Safko (LCRA) provided a presentation of modeling examples (posted to meeting materials). |  |
|  | Action Taken: Consensus reached on PGRR127 and will forward LCRA comments to ROS. |  |
| 5. | PGRR 128 - Regional Transmission Plan Review of Grid Enhancing Technologies | PLWG |
|  | No new comments. Julia Selker (WATT coalition) had noted last meeting that their group planned to file additional comments. Bryn Baker shared - Working to revise the proposal, file, and discuss at December PLWG. High-level plan is to move the process from RTP to the RPG. Action Taken: Tabled awaiting further comments and encourage TEBA to consider offline conversation with TSPs. |  |
| 6. | PGRR 130 – Related to NPRR1295, GTC Exit Solutions No new comments posted after the sponsors’ introduction last month. Alex Miller (EDF) – Sponsors plan to have a conversation at upcoming SAWG meeting and hope to have more to discuss at the December PLWG meeting. A key goal is to look for system upgrades that would help raise the limits so that a GTC is less likely to bind. Also noted the sponsors are open to reducing frequency of the evaluation to every 3 years. | PLWG |
|  | Action Taken: Tabled to next PLWG meeting. |  |
| 7. | NPRR 1286 – Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation No new comments since ERCOT’s 10/20 comments that were discussed at the previous PLWG meeting. Warren Lasher (TXOGA) – Request the group to consider tabling one more month. TXOGA supports LCRA / John Russ Hubbard’s comments on this item. Concerns that the original ERCOT proposal led to arbitrary assignment costs from these resilience projects. Action taken: Tabled NPRR1286 one more month. | PLWG |
| 8. | PGRR126 – Related to NPRR1284, Guaranteed Reliability Load Process Clayton Greer stated there was no need to review his presentation, as discussion occurred with Item #9 and not discussed separately. No action taken. | Clayton Greer |
| 9. | PGRR134 – Interconnection Studies Reform for Dispatchable Loads | Luminary Strategies |
|  | - Agentic Infrastructure comments (11/3) and presentation - Schaper Energy Consulting comments (11/3) - ERCOT comments (11/5) - Cypress Creek Renewable comments (11/5) - impactECI comments (11/5) - Joint Commenters comments (11/14) - Agentic Infrastructure & Luminary Strategies - Remove the originally proposed separate “CLR Election Study” construct - Emerald AI comments (11/17) - Luminary Strategies comments (11/17) - Response to ERCOT’s presentation at ROS meeting Arushi Sharma Frank (Luminary Strategies) introduced this language with an update on current status. Latest language is Nov 14 redline. ERCOT has a slide deck to facilitate the conversation. PGRR134 tries to make de minimis changes to link CLRs to participate in nodal pricing. Martha Henson (Oncor) – Would like to better understand rationale for the timeline laid out in the slide and comments posted last night. Broadly understand that the PGRR is tied to implementation of NPRR1188 which should be late 2026. A February 2026 BOD approval may be overly optimistic? Better use of time than a workshop would be to provide stakeholders with opportunity to provide formal written comments prior to the Dec PLWG. Sam Brandin (Agentic) – While NPRR1188 goes into effect by Q4 2026, then there is a significant amount of load under study now that could be leveraging that paradigm. Active projects want to see an official policy in place. Agee Springer (ERCOT) introduced a presentation (posted to the meeting materials). The presentation responds to the 11/14 comments. Supports the concept in principle and agrees on the need for a fast implementation. However, ERCOT disagrees that this is a “simple” change. ERCOT has major concerns regarding the structure of proposed language, unclear points, etc. in the 11/14 version of the PGRR. A companion NPRR would likely be required. Recommends discussion at the WMS or the WMWG once the PGRR is closer to finalization. Sam Brandin (Agentic Infrastructure) provided a presentation. Discussed the current LLIS process and an overview of what CLRs are and current treatment. Significant discussions and Q&A. Agee Springer (ERCOT) – ERCOT open to offline discussion or conducting a workshop, but not on the timeline requested by Luminary. Prefers any associated NOGRR or NPRR move concurrently with this PGRR. PLWG group determined to take up PGRR again at the December PLWG (no workshop planned at this time). Chair emphasized importance for materials to be provided with advance time for stakeholders to review ahead of the meeting. Action Taken: PGRR134 tabled until December PLWG. |  |
| 10. | PGRR135 – Large Load Interconnection Queue Process Revision | Clayton Greer |
|  | Clayton Greer (Cholla Petroleum) provided presentation (posted to meeting materials) to introduce the language. Key concern is the potential for discriminatory treatment of various Large Load interconnections due to differing practices among TSPs (especially when the interconnection agreement is signed). After discussion, Clayton Greer ultimately stated he plans to withdraw the PGRR. Action Taken: This item has not yet been formally referred from ROS. No action taken. Sponsor verbalized intent to withdraw PGRR135. |  |
| 11. | PGRR132 – Update to Standard Generation Interconnection Agreement (SGIA) Requirement | ERCOT |
|  | - Pattern comments - Southern Power comments - ERCOT comments - Commenters Alliance comments Mark Bruce stated that the Pattern Energy comments had been fully considered at ROS and addressed the question of urgency. Deferred to subsequent Comments that have advanced the issue. Chase Smith (Southern Power) can similarly skip the earlier Southern Power comments which are outdated. Can speak to the Commenters Alliance comments posted on 11/17. Following the November ROS meeting, the group continued to engage in conversations with ERCOT. Will highlight key changes made in this redline comments and are written on top of ERCOT’s most recent comments. Trying to tailor appropriately to situations such as adding a new co-located resource while preserving the status quo for unaltered, underlying existing resource. Rather than trying to make an exhaustive list of all technical requirements across the Protocols, make a general reference to one pertaining to operational requirements. Monica (Vistra) – request to table for one month to give stakeholders time to digest changes. Does appear to address concerns with IAs and repowering. Jenifer Fernandes (ERCOT) – ERCOT is in agreement with Commenters Alliance’s proposed redlined language. ERCOT does plan to provide edits to the justification portion. Would request not tabling for longer than one more month. Commitment from PLWG stakeholders to file appropriate comments ahead of December meeting to plan to forward report to ROS with Urgent status in order to make ERCOT’s desired timeline of presenting at the February Board meeting. Action Taken: Tabled until December PLWG meeting. |  |
| 12. | Tabled Items |  |
|  | The following items were not taken up for discussion. - PGRR 122 – Reliability Performance Criteria for Loss of Load |  |
|  | - PGRR 124 – ESR Maintenance Exception to Modifications |  |
| 13. | Other Business PLWG Leadership 2026 Mina advised the group that accepting nominations for PLWG Chair and Vice-Chair positions. Will review nominations at December PLWG meeting. | Chair |
| 14. | Adjourn Meeting adjourned at 2:45 pm. The next PLWG meeting will be on December 16. | Chair |