# Section 4 (Errata):

NPRR1213 – Allow DGRs and DESRs on Circuits Subject to Load Shed to Provide ECRS and Clarify Language Regarding DGRs and DESRs Providing Non-Spin

This Nodal Protocol Revision Request (NPRR) amends requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) that are seeking qualification to provide ERCOT Contingency Reserve Service (ECRS), as follows: Paragraph (1)(c) of Section 3.8.6 allows for DGRs and DESRs on circuits subject to disconnection during Load shed events to provide ECRS; and Section 3.16 recognizes that ERCOT will establish limits on ECRS, which may be provided by DGRs and DESRs on circuits subject to disconnection during Load shed events. This NPRR also modifies requirements for Ancillary Service self-arrangement and Ancillary Service Trades for DGRs and DESRs on circuits subject to Load shed that provide Non-Spinning Reserve (Non-Spin).

Revised Subsections:  4.4.7.1 [Correction to language implemented in the December 5, 2025 Protocols]

# Section 6 (Errata):

NPRR963 – Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model)

This Nodal Protocol Revision Request (NPRR) allows for the two components of an Energy Storage Resource (ESR) to be considered in aggregate for the purposes of Generation Resource Energy Deployment Performance (GREDP) scoring, Controllable Load Resource Energy Deployment Performance (CLREDP) scoring, and Settlement of Base Point Deviation Charges.

Revised Subsection:  6.6.5.5 [Correction to language implemented in the December 5, 2025 Protocols]

NPRR1014 – BESTF-4 Energy Storage Resource Single Model

This Nodal Protocol Revision Request (NPRR) enables the integration of Energy Storage Resources (ESRs) into the ERCOT core systems as a single-model Resource, replacing the existing “combination model” paradigm in which ESRs are treated as two Resources: a Generation Resource and a Controllable Load Resource (CLR).

Revised Subsections:  6.5.7.5, 6.6.5.5, and 6.6.5.5.1 [Correction to language implemented in the December 5, 2025 Protocols]

NPRR1029 – BESTF-6 DC-Coupled Resources

This Nodal Protocol Revision Request (NPRR) enables the integration of Direct Current (DC)-Coupled Resources into ERCOT’s core systems.

Revised Subsection:  6.5.7.5 [Correction to language implemented in the December 5, 2025 Protocols]

# Section 8 (Errata):

NPRR963 – Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model)

See Section 6 above.

Revised Subsections:  8.1.1.1, 8.1.1.2.1.1, 8.1.1.4.1, and 8.5.2.1 [Correction to language implemented in the December 5, 2025 Protocols]