# Section 3:

NPRR1182 – Inclusion of Controllable Load Resources and Energy Storage Resources in the Constraint Competitiveness Test Process

This Nodal Protocol Revision Request (NPRR) incorporates Controllable Load Resources and Energy Storage Resources (ESRs) into both the Long-Term and Security-Constrained Economic Dispatch (SCED) versions of the Constraint Competitiveness Test (CCT).

Revised Subsection:  3.19.1 [partially unboxed due to system implementation]

NPRR1283 – Modification of SSR Mitigation Timeline

This Nodal Protocol Revision Request (NPRR) changes the current requirement that any required Subsynchronous Resonance (SSR) studies be complete and mitigation be in place prior to Initial Synchronization of a new Generation Resource, Energy Storage Resource (ESR), or Settlement Only Generator (SOG).  Based on recognition that Subsynchronous Ferroresonance (SSFR) can be a risk upon energization, this NPRR requires that these steps now be completed prior to Initial Energization to ensure that SSFR risk has been evaluated and mitigated.

Revised Subsections:  3.22.1.2, 3.22.1.3, and 3.22.1.5 [unboxed due to effective date]

# Section 16:

NPRR1283 – Modification of SSR Mitigation Timeline

See Section 3 above.

Revised Subsection:  16.5 [unboxed due to effective date]