## Slide 1: DWG Report to ROS
Fahad Qureshi – DWG Chair
January 8th, 2026

## Slide 2: DWG Update
DWG Webex meeting held on 12/11/2026
Flat Start Update 2025/2026 Tentative Schedule
  Ongoing: Final pass to be posted January 23
  Upcoming: Case Tuning Workshop January 15
  On track targeting approval January 30, 2026; Stability book in March 2026
NOGRR282 Large Electronic Load Ride-Through Requirements
  ERCOT reviewed NOGRR 282 language and provided specifics on frequency/voltage ride through requirements
  Requirements are applicable primarily to data center and crypto loads with specific requirements for other load types coming later
  DWG was asked to review proposed maximum electric current threshold
  Overall DWG agrees with the requirements; TSPs have submitted comments and would like to further discuss at upcoming DWG meeting in February

## Slide 3: DWG Update, continued
LEL Modeling Approach and DWG Large Load Survey Document
  ERCOT discussed the importance of quality/accuracy of modeling LEL loads and proposed a modeling approach for DWG consideration
  Proposal is to use a combined model representation for new LELs and in the interim split the load into power electronic and cooling components and model separately
  ERCOT also presented some language improvements to the DWG Large Load Survey document and update it to make it easier to extract model parameters from survey responses
  DWG was asked to provide feedback by December 18 after which the LEL Modeling Approach and DWG Large Load Survey Documents were posted to the DWG landing page

## Slide 4: DWG Update, continued
New NERC Load Modeling WG PSSE data center model
  AEP gave a presentation on the PERC1 model to be used for data center modeling covering the model: block diagram, parameters, and behavior/performance
  Model has been benchmarked for accuracy and is intended to be used on an interim basis while better models are developed
  Ongoing conversations with data center developers, owners, operators, along with data center OEMs on how to more accurately model data centers

## Slide 5: DWG Update, continued
Miscellaneous
  Finalized WG leadership for 2026:
    Chair: Aditi Upadhyay (Lonestar)
    Vice Chair: Xuan Wu (PEC)
  Reviewed proposed 2026 DWG Meeting Schedule
    Posted to DWG Landing Page

## Slide 6: Questions or Feedback?