IBRWG Update

December 2025

Chair: Julia Matevosyan, Vice-Chair: Miguel Cova Acosta

IBRWG met on December 19th (Webex, Open Meeting).

The agenda and the presentation slides are available here

~100 people attended the meeting (at peak)

[in red are updates, since the meeting].

IBRWG Main Meeting

System Strength and Grid-Forming ESR Study – Hill County GTC

Yunzhi Cheng, ERCOT

- ERCOT presented results from a system strength and stability assessment for the Hill County area, where a SAMSW GTC was established on March 5, 2025.

- PSCAD studies identified sustained oscillations under N-1-1 contingencies.

- Replacing grid-following ESRs with a grid-forming ESR using WECC generic models (with generic parameters) showed significant stability margin improvement, increasing limits from ~20% to ~60% in the test case.

NERC Updates

Mark Henry, TRE

- Updates were provided on:

  - FERC Order 901 milestones,

  - PRC-029 implementation considerations,

  - EMT modeling training and NERC EMTWG publications

  - NERC Standard Project 2023-01 EOP-004 IBR Event Reporting

  - Expanded NERC registration thresholds (as a part of FERC Order 901).

  - NERC is revising Standards Process and Procedures

ERCOT Reactive Study Updates – Zero MW Reactive Capability

Jenifer Fernandez, ERCOT

- ERCOT outlined changes to reactive study requirements for IRRs, including new zero-MW reactive capability requirements for resources with SGIAs signed after August 1, 2024, and provided clarifications on testing scope.

- An NPRR to move reactive capability at 0 MW requirement from Section 2.9 of the Nodal Operating Guide to Section 3.15 of Nodal Protocols is coming up.

Other Industry and Standards Updates

Julia Matevosyan, ESIG

- Updates covered:

  - ESIG Fall Technical Workshop, relevant sessions to ERCOT IBRWG

  - DOE i2X FIRST meetings October-December

  - WECC Disturbance Events, four IBR tripping/active power reduction events in 2024

  - New IEEE 2800-series standards development efforts

  - WECC EMT initiatives

  - LBNL Qued-Up Report for 2024, generation interconnection queue trends

Administrative Items

- The group agreed to continue Friday 9:30 AM meetings in 2026, schedule is already posted on ERCOT IBRWG page and ERCOT meetings calendar

- Julia and Miguel agreed to serve another year on ERCOT IBRWG leadership team but also opened nominations for new leadership, if there are volunteers.