## Slide 1: ERS Revision Proposal for Consideration at 1/7 WMS
Monica Batra-Shrader (Enchanted Rock) and Maya Kelty (Generate Capital)

## Slide 2: Background/Justification
The ERS program has suffered from decreasing prices, resulting in diminishing incentives to the traditional ERS resources that have provided incremental capacity during emergencies.
The result is that the resources that can bring needed capabilities to the ERCOT market – demand response and backup generators – are increasingly no longer finding the market attractive for new investments.
Key considerations for ERS proposals:
  Speed of implementation- Until NPRRs 1171 and 1213 broaden access to ancillary services, ERS remains the only mechanism for many load with BTM gen resources to provide reliability value
  Opportunity costs of traditional ERS resources- Traditional ERS resources incur meaningful opportunity costs when they participate:
    foregone production/output during curtailment
    fuel costs and operational wear when using onsite/BTM gen

## Slide 3: ERS Disaggregation Proposal
Concept
  Under the current ERS framework, create a distinct “ERS-Gen” product category for dispatchable, co-located generation paired with load
  Allows ERCOT to prioritize resources capable of providing incremental MW during scarcity, not only curtailment
Minimal NPRR revisions required:
  Replace “ERS-10” with or add an "ERS-Gen" within 2.1 Definitions:
    ERS-Gen: ERS that is reserved exclusively for ERS Generators with a 30-minute ramp period
  Replace ERS-10 with or add a 5th category of ERS-Gen within 3.14.3.1(2)

## Slide 4: Benefits of ERS Disaggregation Proposal
Allows/incentivizes critical facilities and industrial sites that cannot fully curtail to invest in new dispatchable backup generation
Preserves competition while reducing reliance on self deploying resources
Supports timely reform without waiting for full market redesigns
Enables additional differentiation within ERS as new DR products (e.g., RDR and the SB6 24-hour product) are developed, allowing ERCOT to manage programs in a complementary manner while recognizing differing resource value.