DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, December 4, 2025 – 9:30 a.m.

Attendance

ROS Representatives:

| Anklam, Robert |  | Geronimo Power |  |  | Alt. Rep. for Dinesh Ramachandran |  |
| --- | --- | --- | --- | --- | --- | --- |
| Barnes, Bill |  | Reliant Energy Retail Services (Reliant) |  |  | Alt. Rep. for Kevin Matt |  |
| Bevill, Rob |  | Texas-New Mexico Power (TNMP) |  |  | Alt. Rep. for Chris Gerety |  |
| Blankenship, David |  | CenterPoint Energy (CNP) |  |  |  |  |
| Borkar, Sandeep |  | Lower Colorado River Authority (LCRA) |  |  |  |  |
| Bowen, Kenneth |  | CPS Energy |  |  |  |  |
| Burkhead, Brett |  | Calpine Corporation (Calpine) |  |  |  |  |
| Carter, Matt |  | Garland Power & Light (GP&L) |  |  |  |  |
| Cockrell, Justin |  | DC Energy |  |  |  |  |
| Fun, Meng |  | Chariot Energy |  |  |  |  |
| Hendrix, Chris |  | Demand Control 2 |  |  |  |  |
| Koenig, Chris |  | Golden Spread Electric Cooperative (GSEC) |  |  |  |  |
| Kroskey, Tony |  | Brazos Electric Power Cooperative (Brazos) |  |  |  |  |
| Lutrick, Chris |  | Denton Municipal Electric (DME) |  |  |  |  |
| Miller, Alex |  | EDF Renewables (EDF) |  |  |  |  |
| Nashawati, Eithar |  | Oncor Electric Delivery (Oncor) |  |  |  |  |
| Person, Paul |  | South Texas Electric Cooperative (STEC) |  |  |  |  |
| Pokharel, Nabaraj |  | The Office of Public Utility Counsel (OPUC) |  |  |  |  |
| Randall, Nick |  | Austin Energy |  |  | Alt. Rep. for Imane Mrini |  |
| Reed, Cyrus |  | Sierra Club |  |  |  |  |
| Reid, Mike |  | Air Liquide |  |  |  |  |
| Rich, Katie |  | Vistra Operations Company (Vistra) |  |  |  |  |
| Schmitt, Jennifer |  | Rhythm Ops |  |  |  |  |
| Smith, Chase |  | Southern Power Company |  |  |  |  |
| Spalek, Matthew |  | AEP Service Corporation (AEPSC) |  |  |  |  |
| Thomas, Shane |  | Shell Energy North America (SENA) |  |  |  |  |
| Varnell, John |  | Tenaska Power Services (TNSK) |  |  | Alt. Rep. for Adam Cochran |  |
|  | Guests: |  |  |  |  |  |
|  | Amjed, Kandah |  |  |  |  |  |
|  | Anderson, Connor |  |  | AB Power Advisors |  |  |
|  | Andrade, Heverton |  |  | Gridmonitor |  |  |
|  | Ashley, Kristy |  |  | CES |  |  |
|  | Beckmann, Kara |  |  |  |  |  |
|  | Bertin, Suzanne |  |  |  |  |  |
|  | Blakey, Eric |  |  | Pedernales Electric Cooperative |  |  |
|  | Blankenship, David |  |  |  |  |  |
|  | Brandin, Sam |  |  | Agentic Infrastructure |  |  |
|  | Bruce, Mark |  |  |  |  |  |
|  | Cardiel, Jonathan |  |  | PUCT |  |  |
|  | Carter, Cathey |  |  | GridAxon |  |  |
|  | Cook, Kristin |  |  | Southern Power Company |  |  |
|  | Cox, Jason |  |  |  |  |  |
|  | Crusoe, Bharath Ravulapati |  |  |  |  |  |
|  | Davis, Tony |  |  |  |  |  |
|  | Dharme, Neeraja |  |  | EDFT |  |  |
|  | Donohoo, Ken |  |  | OwlERC LLC |  |  |
|  | Downey, Marty |  |  | Consultant Luminant |  |  |
|  | Dreyfus, Mark |  |  |  |  |  |
|  | Du, Pengwei |  |  |  |  |  |
|  | Ebby, John |  |  | CenterPoint Energy |  |  |
|  | Floyd, Rickey |  |  | Oncor |  |  |
|  | Garza, Beth |  |  | Residential Consumer |  |  |
|  | Garza, Christian |  |  |  |  |  |
|  | Giffen, Nick |  |  | Elevate Energy |  |  |
|  | Guo, Jiachun |  |  |  |  |  |
|  | Haley, Ian |  |  | Morgan Stanley |  |  |
|  | Han, Minnie |  |  |  |  |  |
|  | Hanson, Kevin |  |  | Invenergy |  |  |
|  | Hendrix, Chris |  |  |  |  |  |
|  | Henry, Mark |  |  | Texas RE |  |  |
|  | Henson, Martha |  |  | Oncor |  |  |
|  | Hoffer, Phil |  |  | AEP |  |  |
|  | Holt, Blake |  |  | LCRA |  |  |
|  | Hu, Weiwei |  |  | Austin Energy |  |  |
|  | Jablonski, Ward |  |  | MEPPI |  |  |
|  | Jewell, Michael |  |  |  |  |  |
|  | Keefer, Andrew |  |  |  |  |  |
|  | Khayat, Maribel |  |  |  |  |  |
|  | Kinser, Glenn |  |  |  |  |  |
|  | Klug, Jack |  |  |  |  |  |
|  | Kozlowski, Brian |  |  |  |  |  |
|  | Kremling, Barry |  |  |  |  |  |
|  | Lee, Jim |  |  | CenterPoint Energy |  |  |
|  | Lewis, Lauren |  |  | TIEC |  |  |
|  | Liu, Lei |  |  |  |  |  |
|  | Mathew, Biju |  |  | LCRA |  |  |
|  | McChesney, Mark |  |  |  |  |  |
|  | McClellan, Suzi |  |  |  |  |  |
|  | McDonnell, Alan |  |  |  |  |  |
|  | McElroy, Randall |  |  | OPUC |  |  |
|  | Meadors, Mandy |  |  | Plus Power |  |  |
|  | Merta, Derek |  |  | South Texas Electric Cooperative |  |  |
|  | Moser, Jesse |  |  |  |  |  |
|  | Mote, Mitch |  |  |  |  |  |
|  | Mulholland, Chad |  |  | NRG |  |  |
|  | Neel, Evan |  |  | Lancium |  |  |
|  | Newnam, Eric |  |  | Texas RE |  |  |
|  | Orr, Rob |  |  | LST |  |  |
|  | Pearson, Arthur |  |  |  |  |  |
|  | Pearson, Kelsey |  |  |  |  |  |
|  | Penney, David |  |  | Texas RE |  |  |
|  | Pepe, Diego |  |  |  |  |  |
|  | Pokharel, Nabaraj |  |  |  |  |  |
|  | Poursoltan, Cameron |  |  | Data Center Coalition |  |  |
|  | Preas, Dylan |  |  | LCRA |  |  |
|  | Pueblos, Jameel |  |  | Oxy |  |  |
|  | Pullela, Suma |  |  |  |  |  |
|  | Pyka, Greg |  |  | SENERGY |  |  |
|  | Qureshi, Fahad |  |  |  |  |  |
|  | Randall, Nicholas |  |  |  |  |  |
|  | Rasmussen, Erin J |  |  |  |  |  |
|  | Ravulapati, Bharath |  |  | Crusoe |  |  |
|  | Reedy, Nick |  |  | CimView |  |  |
|  | Rewcastle, Kyle |  |  |  |  |  |
|  | Rochelle, Jenni |  |  | CES |  |  |
|  | Safko, Trevor |  |  | LCRA |  |  |
|  | Seibel, Alexander |  |  | OCI Energy |  |  |
|  | Sersen, Juliana |  |  |  |  |  |
|  | Shaikh, Walid |  |  | New Project Media |  |  |
|  | Smith, Caitlin |  |  | Jupiter Power |  |  |
|  | Springer, Tyler |  |  | AEP |  |  |
|  | Stanfill, Susan |  |  | PGR |  |  |
|  | Stephens, Caleb |  |  | OCI Energy |  |  |
|  | Stuckly, Kyle |  |  | Oncor |  |  |
|  | Taylor, Tim |  |  |  |  |  |
|  | Teng, Shuye |  |  | Constellation |  |  |
|  | Townsend, Paul |  |  | TCPA |  |  |
|  | Turner, Mina |  |  | AEP |  |  |
|  | Twining, Erika |  |  |  |  |  |
|  | Varnell, John |  |  |  |  |  |
|  | Velasquez, Ivan |  |  | Oncor |  |  |
|  | Wagner, Julia |  |  | PUCT |  |  |
|  | Warren, John |  |  |  |  |  |
|  | Wasik-Gutierrez, Erin |  |  | LCRA |  |  |
|  | White, Kate |  |  |  |  |  |
|  | Wittmeyer, Bob |  |  |  |  |  |
|  | Woods, Brad |  |  | Texas RE |  |  |
|  | Zhang, Linda |  |  |  |  |  |
|  | Zito, David |  |  |  |  |  |
|  | ERCOT Staff: |  |  |  |  |  |
|  | Albracht, Brittney |  |  |  |  |  |
|  | Arth, Matthew |  |  |  |  |  |
|  | Billo, Jeff |  |  |  |  |  |
|  | Boren, Ann |  |  |  |  |  |
|  | Cheng, Yong |  |  |  |  |  |
|  | Cheng, Yunzhi |  |  |  |  |  |
|  | Clifton, Susan |  |  |  |  |  |
|  | El-Madhoun, Mohamed |  |  |  |  |  |
|  | Fernandes, Jenifer |  |  |  |  |  |
|  | Garcia, Freddy |  |  |  |  |  |
|  | Garza, Mario de la |  |  |  |  |  |
|  | Gnanam, Prabhu |  |  |  |  |  |
|  | Golen, Robert |  |  |  |  |  |
|  | Gonzales, Nathan |  |  |  |  |  |
|  | Gravois, Patrick |  |  |  |  |  |
|  | Huang, Shun-Hsien |  |  |  |  |  |
|  | Kang, Sun Wook |  |  |  |  |  |
|  | Klinglesmith, William |  |  |  |  |  |
|  | Lee, Alex |  |  |  |  |  |
|  | Miller, Megan |  |  |  |  |  |
|  | Phillips, Cory |  |  |  |  |  |
|  | Quedan, Amro |  |  |  |  |  |
|  | Springer, Agee |  |  |  |  |  |
|  | Thuerwaechter, Kashia |  |  |  |  |  |
|  | Troublefield, Jordan |  |  |  |  |  |
|  | Troy, Anderson |  |  |  |  |  |
|  | Yan, Ping |  |  |  |  |  |
|  | Zhang, Yongzheng |  |  |  |  |  |
|  | Zuniga, Mariela |  |  |  |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Sandeep Borkar called the December 4, 2025 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Borkar directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Borkar reviewed the agenda.

- Approval of ROS Meeting Minutes (see Key Documents)

- November 6, 2025

- Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Mr. Borkar reviewed the disposition of items considered at the November 19, 2025 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the October 2025 ERCOT Monthly Operations Report.

- System Planning Report

Ping Yan summarized the October 2025 ERCOT System Planning Monthly Status Report.

Urgency Vote(s)

Planning Guide Revision Request (PGRR) 134, Interconnection Studies Reform for Dispatchable Loads

Katie Rich noted that the sponsor of PGRR134 expressed a desire for ROS to consider the Revision Request at the January 8, 2026 ROS meeting.  Market Participants agreed to table and refer the item to the Planning Working Group (PLWG).  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

ROS Revision Requests (see Key Documents)

Language Review

PGRR134, Interconnection Studies Reform for Dispatchable Loads

This item was tabled and referred to PLWG under the Urgency Votes section of the agenda.

Nodal Operating Guide Revision Request (NOGRR) 281, NPRR1307, Revised Definition of Mitigation Plan 111325

Freddy Garcia provided an overview of NOGRR281 and the related Nodal Protocol Revision Request (NPRR) 1307.  Market Participants agreed to table NOGRR281 for one month and refer the item to the Operations Working Group (OWG).  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

NOGRR282, Large Electronic Load Ride-Through Requirements

Patrick Gravois gave an overview of NOGRR282 and recommended ROS refer the item to the Dynamics Working Group (DWG).  Mr. Gravois requested that future comments filed by data centers be submitted as joint comments and noted that NOGRR282 would be presented at the December 8-9, 2025 ERCOT Board of Directors meeting.  In response to a question from Market Participants, Mr. Gravois noted that the proposed system operation limit is region-specific.  Mr. Garcia clarified that the proposed system operating limit would be a summation of loads that can ride-through and not a Generic Transmission Constraint (GTC).  Mr. Garcia also noted that the regions beyond the system operating limit would be constrained by the Transmission Service Providers (TSPs).  Market Participants agreed to table the item and refer the issue to DWG and the System Protection Working Group (SPWG).  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to Nodal Protocol Revision Request (NPRR) 956, Designation of Providers of Transmission Additions

NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

NPRR1272, Voltage Support at Private Use Networks

NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service

PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation

ROS took no action on these items.

NPRR1264, Creation of a New Energy Attribute Certificate Program (see Key Documents)

ROS took no action on this item.

NPRR1307, Revised Definition of Mitigation Plan (see Key Documents)

Market Participants agreed to request that PRS continue to table NPRR1307 for further review by OWG.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

OWG (see Key Documents)

Tyler Springer reviewed OWG activities.

PLWG (see Key Documents)

Mina Turner reviewed PLWG activities.

PGRR122, Reliability Performance Criteria for Loss of Load

PGRR124, ESR Maintenance Exception to Modifications

PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process

PGRR127, Addition of Proposed Generation to the Planning Models

PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies

PGRR130, Related to NPRR1295, GTC Exit Solutions

NPRR1284, Guaranteed Reliability Load Process

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation

NPRR1295, GTC Exit Solutions

WMS took no action on these items.

PGRR132, Update to Standard Generation Interconnection Agreement (SGIA) Requirement

Chase Smith moved to recommend approval of PGRR132 as amended by the 11/25/25 ERCOT comments.  Bill Barnes seconded the motion.  The motion carried with one abstention from the Independent Generator Market Segment (Calpine).

Combined Ballot

Paul Person moved to approve the Combined Ballot as follows:

- To approve the November 6, 2025 ROS meeting minutes as submitted

- To table PGRR134 and refer the issue to PLWG

- To table NOGRR281 and refer the issue to OWG

- To request PRS table NPRR1307 for further review by OWG

- To table NOGRR282 and refer the issue to DWG and SPWG

- To recommend approval of PGRR127 as amended by the 10/29/25 LCRA Comments

Mr. Barnes seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Operations Training Working Group (OTWG)

OTWG did not provide an update.

Network Data Support Working Group (NDSWG) (see Key Documents)

NDSWG did not provide an update.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Chad Mullholland reviewed PDCWG activities.  Ms. Rich notified Market Participants of the upcoming Chair vacancy at PDCWG and requested interested Market Participants reach out to ROS leadership.

Steady State Working Group (SSWG) (see Key Documents)

SSWG did not provide an update.

System Protection Working Group (SPWG) (see Key Documents)

Mark McChesney reviewed SPWG activities and announced 2026 SPWG leadership nominees.

Voltage Profile Working Group (VPWG) (see Key Documents)

Weiwei Hu reviewed VPWG activities.

Other Business (see Key Documents)

Review Open Action Items List

Ms. Rich noted that the parking lot item “TAC Assignment: Remaining KTCs from Battery Energy Storage Task Force (BESTF)” could be removed from the Open Action Items List following the removal from the TAC Open Action List at the November 19, 2025 TAC meeting.

Withdrawn: PGRR135, Large Load Interconnection Queue Process Revision

Mr. Borkar noted that PGRR135 had been formally withdrawn.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Inverter Based Resources Working Group (IBRWG)

- Meter Working Group (MWG)

Adjournment

Ms. Borkar adjourned the December 4, 2025 ROS meeting at 10:51 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/12042025-ROS-Meeting-_-Webex