## Slide 1: Operations Working Group Meeting Notes
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
12/15/2025

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
November Peak Demand – 64,698 MW 11/17 at 1600
  All new November peak
  4500 MW more than November 2024 demand

## Slide 3: Texas Reliability Entity Report
No TRE update.

## Slide 4: NPRR 1307 – Revised definition of Mitigation Plan
Filed on 11/14/25. Formally send to OWG for discussion. Formalize how pre-contingency load shed plans are documented.
Discussion on Vistra comments, mostly on market side. ERCOT plans to discuss with market operations internally and at WMS.
OWG has reached consensus to endorse original ERCOT comments. Looking for ROS to determine path on Vistra comments.

## Slide 5: NOGRR281 Revised definition of Mitigation Plan
Filed on 11/13/25. Formally sent to OWG for discussion.
OWG has reached consensus to endorse ERCOT comments.

## Slide 6: OWG Leadership
Leadership selection will occur at Jan 26 meeting.

## Slide 7: Other Business
None.