## Slide 1: Congestion Management Working Group - 12/15/2025 Meeting Update
January 7, 2026
chENYAN guO, chair

## Slide 2: PGRR 134: Interconnection Studies Reform for Dispatchable Loads
This PGRR creates a pathway to faster interconnection for loads by allowing them to register a portion of themselves as a Controllable Load Resource (CLR) until any required transmission build outs are completed to allow firm connection of load
    The intent of PGRR 134 is to create a predictable behavior for load curtailment that ERCOT can count on for modeling and planning, not to reduce load to manage congestion, respond to pricing events, or respond to system wide constraints
    The CLR capabilities would be enabled upon the coming implementation of the recently approved NPRR1188, Implement Nodal Dispatch and energy Settlement for Controllable Load Resources
    PGRR 134 is intended to be a one-way bridge until the studied level of transmission is built out, any delays of the transmission build-out will be the risks on the loads who register with the program
A separate Mitigated Offer Caps (MOCs) was proposed for CLRs under the PGRR134 regime, distinct from the MOCs for traditional Resources
Discussion concluded that no action was taken by CMWG

## Slide 3: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff presented an update on the CRR system performance
      The most recent sequence 2 auction took 173 hours for the peak weekday TOU, which is over targeted 100 hours
      ERCOT is not proposing any updates to the CRR transaction limits
      ERCOT is working on a new NPRR to address Budge Constraint Change
      ERCOT is targeting to bring some draft language to CMWG early in 2026
      Change the collateral check to occur before bid submission instead of including the collateral constraint in the optimization
      It is expected significantly improve CRR auction solution times and would also open door to moving the CRR bidding process to bid curves instead of separate price-quantity pairs in the future

## Slide 4: NPRR 1292: Granular Product Type for CRR TOU
Vigorus debate continued on NPRR 1292: Granular Product Type for CRR TOU
    The discussion was away from the central topic of the NPRR 1292 itself, but focused on concerns of CRR auction performance issues after implementation of NPRR 1292
    NPRR 1292 does not have an implementation date yet, still moving through the stakeholder process
One Stakeholder put a list of concerns with NPRR1292: starting from its potential to increase CRR transaction counts to its lack of alignment with existing trading products on the Intercontinental Exchange(ICE), these concerns were echoed by other stakeholders
This NPRR will remain at CMWG meeting for further discussion

## Slide 5: NPRR 1301: Align Protocols to Constraint Activation Procedure
This NPRR addresses the situation in which multiple contingencies are causing the same element in the system to be overloaded
    In that situation, the Shadow Price impact on Locational Marginal Prices (LMPs) is counted multiple times, resulting in potentially very high LMPs that cannot be resolved with additional generation dispatch
    The protocol language change directs that only the most limiting constraint/contingency pair to be activated
LCRA filed comments to reduce the threshold of what is considered a “nearly identical” shift factor to be considered redundant from 10% to 5%, while ERCOT had proposed a threshold of 2%, which LCRA considered it as too restrictive according to their analysis
LCRA will continue offline discussions with ERCOT to reach agreement on the threshold and other concerns with this NPRR