## Slide 1
Overview of RMR, MRA and C4C
ERCOT NPRRs
ERCOT Staff
PRS
January 14, 2026

## Slide 2: Recent History Prompting NPRRs related to Reliability Must-Run (RMR), Must-Run Alternative (MRA) and Contract for Capacity Provisions:

## Slide 3: Recent Capacity Procurement Background
Resource | Contract Type | Rated Capacity | MRA Awarded | Service Period | Number of Deployments | Actual Termination Month | Budget | Final Actual Costs
Greens Bayou 5A | RMR | 371MW | None | June 1, 2016, through June 30, 2018 | None | May 2017 | Approx. $58M | Approx. $22M
Braunig 3B | RMR | 400 MW | None | March 2, 2025, through March 1, 2027 | TBD | TBD | Approx. $46M | Pending
Lifecycle Mobile GenerationC | Emergency Generation Service | 450 MW | N/A | June 4, 2025, through March 31, 2027 | TBD | TBD | Approx. $54M | Pending
ANote: An MRA RFP was issued for GBY5. 8 offers from 4 QSEs. No MRA awards.
BNote: An MRA RFP was issued for the three Braunig Units. One offer from one QSE. No MRA awards.
CNote: An RFP was issued seeking alternative(s) to Lifecycle Power Mobile Generation and Braunig Units 1 & 2. Three offers, including one valid offer, were received. No awards.

## Slide 4: “C4C-Like” and C4C Background
ID | RFP Posting and Responses | Service Period | Max. Quantity Requested | Responses Received | Number of Deployments | Notes
1 | No RFP posted. ERCOT negotiated with 2 entities and contracted for 4 Resources | ~08/15/2011 - 10/31/2011 | Initially 310 MW were under contract. One Resource (118 MW) was cancelled one month after the contract was signed | N/A | None | Mothballed Resources returned to service to help with the potential of ERCOT-Wide Insufficiency. This procurement was conducted before NPRR 432 was effective which added specific C4C protocol language
2 | RFP posted 10/02/2023 Responses due 11/06/2023 | 12/01/2023 -02/29/2024 | 3,000 MW | 11.1 MW | N/A | The RFP was seeking generation or Demand response capacity to help with potential ERCOT-Wide Insufficiency RFP cancelled 11/17/2023
3 | RFP posted 05/08/2024 Responses due 06/13/2024 | ~07/01/2024 - 09/30/2024 | 500 MW | 21.5 MW Ultimately only 6.5 MW deemed eligible | N/A | The RFP was seeking Demand response capacity to help provide relief on relevant transmission facilities (South Texas IROLs) RFP cancelled 06/21/2023

## Slide 5: Additional Background
    Following recent RMR, MRA, and Contract for Capacity experiences, ERCOT reviewed Lessons Learned and identified possible improvements.
    ERCOT conducted a Workshop on October 17, 2025, and requested feedback by October 31, 2025.
    ERCOT discussed feedback received with Stakeholders who submitted comments to ensure the feedback was understood and incorporated feedback where applicable.

## Slide 6: Overview of Protocol Revisions
Summary of NPRRs:
  NPRR 1315 - Changes to Process of Evaluating the Potential Needs for Additional Capacity:
    Extend the Study Horizon Beyond the Current or Next Season when evaluating the potential needs for capacity based on ERCOT’s requirement per PURA 39.151(a),
    Expand the Set of Eligible Resources to Include New Resources,
    Add notification requirements for ERCOT to PUCT,
    Allow Incentive Factors Other Than 10% for Resources Contracted Under Section 6.5.1.1
  NPRR 1316 - Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources
  NPRR 1319 -Modifications to Seasonal Mothball Periods and Clarification to Evaluation Process
  NPRR 1313 - Adjustment to the Calculation of the Initial Standby Cost for RMR Resources
  NPRR 1318 - Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs

## Slide 7: Impact Analysis Info and Potential PRS Assignments
NPRR | Title | Likely PRS Assignment to Subcommittees | Impact Analysis Date | Estimated Cost/Budget Impact | Estimated Time Requirements | ERCOT Staffing Impacts (across all areas) | ERCOT Computer System Impacts | ERCOT Business Function Impacts | Grid Operations & Practices Impacts
1313 | Adjustment to the Calculation of the Initial Standby Cost for RMR Resources | WMS | 12/16/2025 | None | No Project | None | None | ERCOT will update its business processes | None
1315 | Changes to the Process of Evaluating the Need for Additional Capacity | WMS and ROS | 12/19/2025 | None | No Project | None | None | None | None
1316 | Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources | WMS | 12/19/2025 | Less than $10k | O&M, less than four hours | None | None | None | None
1318 | Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs | WMS | 12/23/2025 | None | No Project | None | None | ERCOT will update its business processes | None
1319 | Modifications to Seasonal Mothball Periods and Clarification to Evaluation Process | WMS and ROS | 12/29/2025 | None | No Project | None | None | ERCOT will update its business processes | None

## Slide 8: Next Steps
    ERCOT SMEs will explain each NPRR in more detail as needed
    NPRRs are not dependent on each other and can be approved on varying timelines; and
    ERCOT may propose additional NPRRs later in the year to address other Lessons Learned from recent MRAs/RMRs/Contracts for Capacity
    At the Workshop there was discussion on the idea of changing the Notice of Suspension of Operation (NSO) deadline to allow for more than the current 150-day notice. However, the 150-day notice is mandated by PUCT Rule. Therefore, no NPRR has been written to address this issue as any change would have to be made to the PUCT rule first.

## Slide 9
  Questions?