# PROJECT NO. 54248

| # SELECTION OF THE RELIABILITY MONITOR FOR THE ERCOT POWER REGION | # § # § # § | # PUBLIC UTILITY COMMISSION # OF TEXAS |
| --- | --- | --- |

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.’S

QUARTERLY ACTIVITY REPORT

Pursuant to the order of the Public Utility Commission of Texas (PUC/Commission) Directing ERCOT to Serve as Reliability Monitor, Electric Reliability Council of Texas, Inc. (ERCOT) in its function as the ERCOT Reliability Monitor (ERM) hereby submits its Quarterly Activity Report for the fourth quarter of 2025.

# BACKGROUND

On November 3, 2022, the Commission issued an order directing ERCOT to assume the duties and responsibilities of the reliability monitor for the ERCOT power region in accordance with 16 Tex. Admin. Code § 25.503(j).

As more particularly detailed in the Scope of Work filed in this Project on January 2, 2023, in its ERM function, ERCOT monitors, investigates, audits, and reports to the PUC on matters related to the compliance of ERCOT, Inc. and ERCOT Market Participants with reliability-related provisions of the Public Utility Regulatory Act (PURA), the PUC’s Substantive Rules, and ERCOT Protocols and Other Binding Documents. The ERM also provides subject matter advice, expertise, and assistance with the PUC’s reliability-related compliance and enforcement activities. 		The PUC order directing ERCOT to assume the duties and responsibilities of the ERM directs ERCOT to file a quarterly report summarizing its previous quarter activities as the ERM.

# QUARTERLY ACTIVITY REPORT

## A.	Executive Summary

During the quarter, the ERM opened 24 new Incident Reviews:

| Priority | No. of Cases |  |
| --- | --- | --- |
| Critical | 0 |  |
| High | 4 |  |
| Medium | 1 |  |
| Low | 3 |  |
| Streamlined | 16 |  |
| Total | 24 |  |

The ERM referred forty-three Incident Reviews to the Commission’s Division of Compliance and Enforcement (DICE) involving potential violations of the following requirements:

- Primary Frequency Response (PFR)

- Controllable Load Resource Energy Deployment Performance

- Emergency Response Service testing

- Generation Resource Energy Deployment Performance

## B.	Changes to Reliability Requirements to Promote Improved Reliability

The ERM is tracking the following revision requests that could impact ERCOT System reliability:

| NPRR1307 | Revised Definition of Mitigation Plan |
| --- | --- |
| NPRR1308 | Large Electronic Load Ride-Through Requirements |
| NPRR1309 | Dispatchable Reliability Reserve Service Ancillary Service |
| NPRR1310 | Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor |
| NPRR1315 | Changes to Process of Evaluating the Potential Needs for Additional Capacity |
| NPRR1317 | Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation |
| NPRR1319 | Modifications to Seasonal Mothball Periods and Clarifications to Evaluation Process |
| NOGRR281 | Revised Definition of Mitigation Plan |
| NOGRR282 | Large Electronic Load Ride-Through Requirements |
| NOGRR283 | Dispatchable Reliability Reserve Service Ancillary Service |
| NOGRR284 | Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor |
| PGRR136 | Large Load Interconnection Study Scope Documentation |
| PGRR138 | Large Load Interconnection Study Review and Approval Process |
| PGRR140 | Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation |
| PGRR141 | Large Load Interconnection Study Reform for Substantiated Load |

In addition to the foregoing, the ERM continues working with Subject Matter Experts on the following issues to improve ERCOT System reliability:

- Self-Limiting Facilities

- Generic Transmission Constraints

- Voltage ride-through and support

- Operational issues with IRRs when curtailed

- Telemetry accuracy

## C.	Routine Compliance Monitoring

In addition to investigating individual potential violations, the ERM performed routine monitoring activities of Market Participant and ERCOT compliance with Reliability Requirements. Specifically, ERM analysts monitor compliance with the following Reliability Requirements each month:

- Resource Ancillary Service Qualification Compliance – § 8.1.1.1(1)

- Quick Start Resource Performance – § 8.1.1.2(17)(a)

- QSE Ancillary Service Capacity Compliance – § 8.1.1.3(3)

- Generation Resource Energy Deployment Performance (GREDP) for Non-Intermittent Renewable Resources – § 8.1.1.4.1(7)

- GREDP for IRRs – § 8.1.1.4.1(8)

- Controllable Load Resource (CLR) Energy Deployment Performance – § 8.1.1.4.1(9)

- Energy Storage Resource Energy Deployment Performance – § 8.1.1.4.1(9)

- Responsive Reserve Service (RRS) Deployment Performance – § 8.1.1.4.2

  - RRS from Generation Resources and Controllable Load Resources (CLRs) – § 8.1.1.4.2(1)(a)

  - Resources with Insufficient Frequency Responsive Capacity – § 8.1.1.4.2(1)(b)

- RRS from Non-CLRs (NCLRs) – § 8.1.1.4.2(1)(a), (4), (6)

  - Non-Spin Reserve Service (NSRS) Deployment Performance – § 8.1.1.4.3

  - NSRS from Generation Resources – § 8.1.1.4.3(3)(a) & (b)

  - NSRS from CLRs – § 8.1.1.4.3(3)(a), (d)

  - NSRS from NCLRs – § 8.1.1.4.3(3)(e), (4)

- ERCOT Contingency Reserve Service (ECRS) Deployment Performance – § 8.1.1.4.4

  - ECRS from Generation Resources and CLRs – § 8.1.1.4.4(1)(a)

  - ECRS from NCLRs – § 8.1.1.4.4(1)(a), (4), (6)

- Emergency Response Service (ERS) Performance – § 8.1.3

  - Testing – § 8.1.3.2(1)(a)(ii)

  - Availability – § 8.1.3.3.3(1)(a)

- Event Performance – § 8.1.3.3.4

- PFR Performance – § 8.5.1.1(1), 8.5.2.1(1)

      - 12-Month Rolling Average – NOG § 2.2.8(1)

- Current Operating Plans – § 3.9.1, 8.1.2

- Distribution Service Provider Transmission Operator Representation – § 16.19(1)

For each category, ERM analysts download data from the ERCOT Market Information System or other sources to validate failures before analyzing performance and comparing performance data to performance metrics to determine incidents to include in a quarterly report to DICE. The ERM initiates new Incident Reviews following these analyses.

## D.	Overall State of ERCOT System Reliability

The overall state of ERCOT System reliability is good. The ERM continues to identify the following areas of concern:

- Generic Transmission Constraints affecting dispatch patterns

- Energy Storage Resource (ESR) performance/State-of-Charge monitoring

- High Sustained Limit (HSL) issues for IRRs when curtailed

- Voltage ride-through by Inverter-based Resources

## E.	Compliance Audits

The ERM also completed two audits during the year. One audit involved Qualified Scheduling Entity (QSE) compliance with Nodal Operating Guide (NOG) §§ 3.2.1(2) and (3) and Transmission Operator compliance with NOG §§ 3.7(3) and (4). The ERM issued a Market Notice regarding the audit on January 30, 2025 and sent Requests for Information (RFIs) to more than 380 Market Participants. The ERM received all RFI responses, compiled them into a database and drafted a report. The second audit involved ERCOT compliance with NOG § 2.2.4.3(2), which requires ERCOT to conduct unannounced tests to verify QSEs’ capability to operate in Constant Frequency Control mode to support grid reliability. ERCOT responded to the ERM’s RFIs and ERM personnel reviewed the responses and drafted a report. The ERM submitted both reports to DICE in the fourth quarter of 2025.

The ERM stands ready to provide any additional information requested by the Commission.

Dated: January 15, 2026				Respectfully submitted,

/s/ A. Andrew Gallo

Chad V. Seely

Sr. VP Regulatory Policy, General Counsel, and Chief Compliance Officer

Texas Bar No. 24037466

(512) 225-7035 (Phone)

chad.seely@ercot.com

Brandon Gleason

Vice President, Legal and Compliance

Texas Bar No. 24038679

(512) 275-7442 (Phone)

brandon.gleason@ercot.com

A. Andrew Gallo

Assistant General Counsel – Regulatory

Texas Bar No. 07592500

(512) 225-7010 (Phone)

andrew.gallo@ercot.com

Holly A. Bohart

Corporate Counsel Sr. – Regulatory

Texas Bar No. 24027871

(512) 225-7063

holly.bohart@ercot.com

Marnie A. McCormick

Corporate Counsel Sr. – Regulatory

Texas Bar No. 00794264

(512) 225-7169

marnie.mccormick@ercot.com

ERCOT

8000 Metropolis Drive, Bldg. E, Suite 100

Austin, Texas 78744

(512) 225-7079 (Fax)

ATTORNEYS FOR ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

The ERM staff assess an event’s impact on ERCOT System reliability and categorize events such as the loss of generation, frequency, or voltage excursions, etc. as “Critical.” The ERM categorizes other events as “High,” “Medium,” or “Low” depending on such factors as: number and size of the facilities involved, if the event is local versus widespread, whether an issue relates to only an administrative matter, etc. In collaboration with DICE staff, the ERM began using a streamlined incident review process for non-compliance events posing a minimal risk to ERCOT System reliability.

References are to Protocols unless otherwise noted.