Date:			January 21, 2026

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes [ERCOT] - NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form [ERCOT] - NPRR1311, Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes Sponsor: ERCOT Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR incorporates the Other Binding Document “Procedure for Identifying Resource Nodes” into the Protocols to standardize the approval process. PRS Decision: On 11/12/25, PRS voted unanimously to recommend approval of NPRR1304 as submitted. On 12/10/25, PRS voted unanimously to endorse and forward to TAC the 11/12/25 PRS Report and 10/28/25 Impact Analysis for NPRR1304. - NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR incorporates the Other Binding Document “Counter-Party Credit Application Form” into the Protocols to standardize the approval process. PRS Decision: On 11/12/25, PRS voted unanimously to recommend approval of NPRR1305 as amended by the 11/7/25 ERCOT comments. On 12/10/25, PRS voted unanimously to endorse and forward to TAC the 11/12/25 PRS Report and 10/28/25 Impact Analysis for NPRR1305. - NPRR1311, Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: No impact Revision Description: This NPRR corrects an error in the calculation of Real-Time Reliability Deployment Price Adders for Ancillary Services when ERCOT is directing firm Load shed during Energy Emergency Alert (EEA) Level 3 under the Real-Time Co-optimization plus Batteries (RTC+B) Protocol language. These proposed changes replace the “maximum value on the Ancillary Service Demand Curve (ASDC) for the Ancillary Service” in paragraph (2)(p) of Section 6.5.7.3.1, Determination of Real-Time Reliability Deployment Price Adder, with the effective Value of Lost Load (VOLL) for determining the price adders for Ancillary Services, ensuring that final Ancillary Service prices cannot exceed $5,000 per MWh. PRS Decision: On 12/10/25, PRS voted unanimously to grant NPRR1311 Urgent status; to recommend approval of NPRR1311 as submitted; and to forward to TAC NPRR1311 and the 11/25/25 Impact Analysis. Revision Requests Rejected None Revision Requests Withdrawn - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1255, Introduction of Mitigation of ESRs [ERCOT] - NPRR1264, Creation of a New Energy Attribute Certificate Program [TEBA] - NPRR1272, Voltage Support at Private Use Networks [Occidental] - NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service [Joint Sponsors] - NPRR1284, Guaranteed Reliability Load Process [Cholla Petroleum] - NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation [ERCOT] - NPRR1292, Granular Product Type for CRR TOU [Vistra] - NPRR1295, GTC Exit Solutions [Joint Sponsors] - NPRR1296, Residential Demand Response Program [ERCOT] - NPRR1301, Align Protocols to Constraint Activation Procedure [LCRA] - NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms [ERCOT] - NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access [ERCOT] - NPRR1307, Revised Definition of Mitigation Plan [ERCOT] - NPRR1308, Related to NOGRR282, Large Electronic Load Ride-Through Requirements [ERCOT] - NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service – URGENT [ERCOT] - NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor – URGENT [ERCOT] - NPRR1312, Revisions to the Standard Form Agreement (SFA) [ERCOT] - NPRR1313, Adjustment to the Calculation of the Initial Standby Cost for RMR Resources [ERCOT] - NPRR1314, Planning Guide Glossary Transition [ERCOT] - NPRR1315, Changes to Process of Evaluating the Potential Needs for Additional Capacity [ERCOT] - NPRR1316, Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources [ERCOT] - NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation [ERCOT] - NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs [ERCOT] - NPRR1319, Modifications to Seasonal Mothball Periods and Clarification to Evaluation Process [ERCOT] New Revision Requests Scheduled for Consideration at PRS None at this time These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr