## Slide 1: Large Load Working Group December Update
Bob Wittmeyer
Chair LLWG
bob@longhornpwr.com
512 762 8895

## Slide 2: Dec 11th - LLWG Meeting
Good News
  ERCOT updated studies show that we can support 3,200 MW in an area before voltage becomes an issue (up from 2,600 MW). Currently we do not have 3,200 MW online in any areas, (we have more than that approved but not currently consuming).
  ESR’s ability to absorb energy was missing in previous analysis.
Dynamic Models still need work
  ERCOT doing outreach to request improved models.
  Market Participants response to ERCOT RFI (through TSP) has been slow.
    Few vendors capable of this work, delaying responses.
    ERCOT using ITIC curve if no updated model is available.

## Slide 3: Since the December 11th - LLWG Meeting
PGRR 115 unboxed, requires Large Loads to go through the QSA
Batch Study process presented at the January 15, open meeting.

## Slide 4: Next Steps
Next Meeting – Tomorrow all day - Jan 22 – Webex & In person
  Nominations for Chair and Vice Chair
  Batch Study Process and PGRR 134
  Status update: Evaluation of VRT Requirement (ERCOT)
  LEL SSO
  NOGRR 282
  PGRR 141
  Developer/Market Participant thoughts and ideas regarding process improvements