## Slide 1: Large Load Batch Study Process
LLWG
January 22, 2026

## Slide 2: Disclaimer
All information included in this presentation is preliminary and subject to change

## Slide 3: Batch Study Process Background
At the December 18, 2025 PUCT Open Meeting, ERCOT explained the need to replace the individualized Large Load Interconnection (LLI) study approach in PGRR115:
  Currently, LLI requests are studied individually
  This approach has resulted in the need to restudy some LLI requests one or more times due to outdated study assumptions as other requests in the area meet milestones to be considered “must study” loads. Restudies have created uncertainty and risk for developers and have slowed the process to interconnect
ERCOT is engaging with stakeholders on the development of a new Batch Study process before presenting the framework to the PUCT at its February 20, 2026, Open Meeting
Meeting | Discussion Purpose
January 22 LLWG | Overview
January 29 PUC Open Meeting | Update
February 3 Workshop | Draft Framework
February 6 PUCT Open Meeting | Update
February 9-10 Board of Directors | Overview
February 12 Workshop (tentative) | Final Draft Framework
February 20 PUCT Open Meeting | Proposed Batch Study Framework

## Slide 4: Hypothetical Batch Study Process*
Planning Forecast 1
ERCOT Case building 1
RPG 1
Batch 1
Developers Meet 58481** “Intermediate Agreement” Requirements and Obtains POI from TSP
Limits & Allocations and Required Transmission Projects
6 months
Developers Meet 58481 “Interconnection Agreement” Requirements
6 months
Planning Forecast 2
ERCOT Case building 2
Batch 2
Developers Meet 58481 “Intermediate Agreement” Requirements and Obtains POI from TSP
Limits & Allocations and Required Transmission Projects
Developers Meet 58481 “Interconnection Agreement” Requirements
6 months
Planning Forecast 3
ERCOT Case building 3
Batch 3
Developers Meet 58481 “Intermediate Agreement” Requirements and Obtains POI from TSP
Limits & Allocations and Required Transmission Projects
Developers Meet 58481 “Interconnection Agreement” Requirements
RTP X
RTP Y
RPG 2
RPG 3
RPG 4
RPG 5
RPG 6
RPG 7
RPG 8
RPG 9
** https://interchange.puc.texas.gov/search/filings/?UtilityType=A&ControlNumber=58481&ItemMatch=Equal&DocumentType=ALL&SortOrder=Ascending
* This chart assumes a 6-month process, but this timeline may be extended

## Slide 5: Transitional Batch Zero
Purpose of Batch Zero: Perform comprehensive transmission system evaluation for LLI requests currently in the interconnection process
ERCOT is considering the need to conduct Batch Zero in two phases because:
  To meet their proposed energization date, some LLI requests will need to enter QSA before full Batch Zero study can be completed
  PUC rules regarding Batch Study-entry criteria are not expected to be finalized until summer 2026
Batch Zero_A Study
2027 Q1 QSA
Batch Zero_B Study
2027 Q2 QSA
Spring 2026
Summer 2026
Fall
2026
Winter
2027
August 1
November 1
Note: per Planning Guide Section 5.3.5, ERCOT Quarterly Stability Assessment, Large Loads must be studied in the applicable QSA before Initial Energization

## Slide 6: Design Parameters to be Discussed at the February 3 Workshop
Criteria for existing LLI request inclusion in Batch Zero
Deadline and requirements for LLI request to be included in a Batch Study
Batch Study scope and process steps
Batch Study timeline
Methodology for addition of generation to study cases, if required
Methodology used to allocate load (MWs) if there are transmission constraints
Rules for LLI request that commits to being CLR
Rules for LLI request that has existing or new co-located generation
Batch Study outcomes and communication
Batch Study alignment with RTP and RPG processes

## Slide 7: Additional Considerations
What will be the role of TSPs/TDSPs in the Batch Study Process?
  TSPs/TDSPs will need to determine the Point of Interconnection in ERCOT planning models and communicate this POI to ERCOT before an LLI request can be included in a Batch Study
  TSPs/TDSPs will continue to perform short circuit, subsynchronous oscillation, and facility studies
Will there be an online portal for LLI developers to track their status?
  ERCOT is pursuing the development of a LLI portal in a separate but related effort
Will the Batch Study cover resource adequacy constraints?
  No, the Batch Study is primarily a transmission security analysis
Will ERCOT seek a good cause exception from the PUCT for the Batch Study?
  For the Batch Zero Study, ERCOT would anticipate requesting from the PUCT a good cause exception from PGRR115 in order to conduct the studies
Will ERCOT codify the Batch Study process in the Protocols and Planning Guide?
  Yes. For the ongoing Batch Study process, ERCOT will work with PUCT Staff to determine whether any enabling language is necessary as part of PUCT Project No. 58481, Large Load Interconnection Standards under PURA 37.0561. Further, after gathering any feedback from PUCT, ERCOT would expect to file revisions requests to codify the Batch Study process

## Slide 8
Questions?