## Slide 1
ERCOT Frequency Events
January 2026
ERCOT
Operations Planning
PDCWG | Feb 18, 2024

## Slide 2: 1/17/2025 12:56:54 (Non-FME)
Notes: The unit experienced runback while carrying ~686 MW and tripped offline
Starting Frequency: 60.004 Hz
Minimum Frequency: 59.933 Hz
A-C Time : 4 seconds
Recovery Time(back to deadband): 3 minutes 49 seconds
ECRS Released: 0 MW
Trip Reason: Unknown at this time
Contextual Information: A total of 452 MW of regulation Up was deployed during the event.
Reason for no selection: C point is 59.933

## Slide 3: Questions?
Thank you!