## Slide 1
2026 CDR Activity Update
Supply Analysis Working Group
Pete Warnken
Resource Adequacy Department
January 23, 2026

## Slide 2: New CDR-related NPRR
  Protocol changes:
    Formalizes reporting of alternative Planning Reserve Margin forecasts in the CDR.
    In Section 1.3.1.2, Items Not Considered Protected Information, adds a new paragraph indicating that Facility capacity ratings from the online Resource Integration and Ongoing Operations system are not considered Protected Information.
    In paragraph (4) of Section 3.2.6.2(4) the term “marginal” is added to acknowledge that Effective Load Carrying Capability (ELCC) studies include both average and marginal ELCC estimates. Also, “marginal” has been added to some of the variable definitions in Section 3.2.6.4 to clarify that the definitions use marginal ELCC or average ELCC estimates.
    In Section 3.2.6.4, several capacity variable subscripts have been updated to improve consistency across all the variables.
    In Section 3.2.6.4, a new planned generation capacity variable, REPOWCAPUNC, has been added to report “Unconfirmed Planned Repower Project” capacity associated with announced unit retirements. This new variable codifies an accounting practice introduced for the May 2025 CDR.

## Slide 3: New CDR-related NPRR
    In Section 3.2.6.4, for the variable named “New Energy Storage Resource Capacity,” corrected language that was inadvertently referring to the “Available Energy Storage Resource Capacity” variable, ESRCAP.
    In paragraph (3)(b) of Section 3.14.1.1 updated the Protocol reference number to reflect implementation of NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR), and added language to indicate that Notification of Suspension of Operations (NSO) information may be provided in other resource adequacy reports, such as the Monthly Outlook for Resource Adequacy (MORA).
  The NPRR is undergoing legal review and is planned to be posted during the last week of January.

## Slide 4: Effective Load Carrying Capability (ELCC)
  ERCOT and PowerGem (SERVM vendor) will be exploring a streamlined ELCC estimation approach whereby ERCOT will run SERVM simulations for the five CDR forecasted resource portfolios to directly calculate portfolio-specific ELCCs
    Replaces complex and expansive ELCC study that captures many resource penetration level combinations and uses an external battery energy storage ELCC calculation tool
    ELCCs will still be reported for technologies by region and season
    Retain concept of different ELCCs for reserve risk periods
    Will account for the impact of the hourly load forecast profiles, which the current ELCC methodology does not address
    Issue another NPRR for incorporating thermal ELCCs once test simulations have been completed
    SERVM simulations would be conducted for preliminary resource portfolios developed approx. a month before CDR finalization