## Slide 1: Congestion Management Working Group - 1/20/2025 Meeting Update
February 4, 2026
chENYAN guO, chair

## Slide 2: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff presented an update on the CRR system performance
      The most recent sequence 3 auction took 135 hours for the peak weekday TOU, which is over targeted 100 hours
      ERCOT is not proposing any updates to the CRR transaction limits
      ERCOT shared a draft CRR Calendar for feedback
      ERCOT will seek final approval of the CRR calendar from WMS on Feb.4, 2026
      ERCOT is working on a new NPRR to address Budge Constraint Change
      ERCOT is targeting to bring some draft language to CMWG early in 2026
      Change the collateral check to occur before bid submission instead of including the collateral constraint in the optimization
      It is expected significantly improve CRR auction solution times and would also open door to moving the CRR bidding process to bid curves instead of separate price-quantity pairs in the future

## Slide 3: NPRR 1301: Align Protocols to Constraint Activation Procedure
This NPRR addresses the situation in which multiple contingencies are causing the same element in the system to be overloaded
    In that situation, the Shadow Price impact on Locational Marginal Prices (LMPs) is counted multiple times, resulting in potentially very high LMPs that cannot be resolved with additional generation dispatch
    The protocol language change directs that only the most limiting constraint/contingency pair to be activated
LCRA had offline discussion with ERCOT and felt comfortable with the NPRR language as it stands. LCRA mentioned ERCOT agreed with threshold of 5% but will require some updates to the tool
ERCOT elaborated one remaining concern on the protocol language should state the most limiting constraint “ should be activated” versus “ will be activated”
    ERCOT and LCRA will continue discussions on find middle ground between “ will” and “may” that includes a strong incentive to follow the rule but preserves flexibility for the operators
    NPRR 1301 will remain at CMWG for further discussions

## Slide 4: Reliability Unit Commitment (RUC )Analysis
ERCOT staff presented an analysis of recent trends around RUC instructions
    ERCOT found several factors influence RUC recommendations, but no single category dominated
    RUC commitments have decreased due to successful launch of Real-Time Co-optimization (RTC) on December 5, 2025, however, errors in COPs, CRRs and load forecasting still contribute to RUC recommendations
    ERCOT believes treating short start resources as online would not substantially change RUC outcomes
    ERCOT will continue to observe the RUC engine outputs and enhance information that can be presented to the operators
Stakeholders suggested ERCOT try to bring more information about startup costs, versus the potential benefits of bringing on resources with RUC
There is a standing item at WMS to review RUC commitments, ERCOT will continue to monitor the new RUC environment and provide updates back to future CMWG meetings

## Slide 5: Other business
NPRR 1292: Granular Product Type for CRR TOU
    No further pushback on the NPRR 1292 language itself, NPRR 1292 was sent back to WMS
ERCOT staff provided a quick verbal update on the upcoming proposal on point to point bid fees to improve system performance and solution times, the proposed language will be presented to the next CMWG meeting
Stakeholders asked ERCOT to provide updates on the hardware improvement and various proposals ( approved and the ones under drafting) related to CRR system performance improvement to future CMWG meeting