Summary of Nodal Operating Guide Revisions

Effective:  February 1, 2026
Section 1:
NOGRR285 – Administrative Change for Nodal Operating Guides –  NPRR1298
This Administrative Nodal Operating Guides Revision Request (NOGRR) aligns the Nodal Operating Guides with language in Nodal Protocol Revision Request (NPRR) 1298, Timing Requirements for Comments to Subcommittee Reports, which extends discretion to review comments to the Subcommittee Report that are posted less than six days in advance of the “next regularly scheduled” subcommittee meeting.

Revised Subsections:  1.3.3.3 and 1.3.3.4
Section 6:
NOGRR279 – Deadline Extensions for Recording Equipment Installation
This Nodal Operating Guide Revision Request (NOGRR) modifies the disturbance monitoring equipment installation deadlines established by NOGRR255, High Resolution Data Requirements, by removing the timeline for Inverter-Based Resource (IBR) facilities to achieve 50% installation and configuration.  This language also clarifies that IBR facilities with Standard Generation Interconnection Agreements (SGIAs) executed prior to July 25, 2024 (the date on which the Public Utility Commission of Texas (PUCT) approved NOGRR255) have 12 months beyond their Resource Commissioning Date to comply with the new disturbance monitoring equipment requirements, and IBR facilities with an SGIA executed after July 25, 2024 must comply no later than the Resource Commissioning Date.

Revised Subsection:  6.1.4
Section 7:
NOGRR280 – Consolidate Redundant Communications Requirements
This Nodal Operating Guide Revision Request (NOGRR) removes unnecessary language governing communication path requirements for Competitive Renewable Energy Zone (CREZ) circuits and stations as these requirements are already required by the relay requirements defined in Section 6.2.2, Design and Operating Requirements for ERCOT System Facilities, and the communications channels requirements defined by Section 6.2.6.2.6, Communications Channels. The requirements of Section 6, Disturbance Monitoring and System Protection, meet or exceed the requirements defined for CREZ facilities in Section 7.5, Competitive Renewable Energy Zone Circuits and Stations.
Revised Subsection:  7.5 (delete)
PAGE  

