## Slide 1: Large Load Batch Study Workshop Stakeholder Feedback Summary ERCOT and McKinsey
February 3rd, 2026

## Slide 2: Guiding principles for stakeholder feedback
10
Stakeholder categories providing a broad range of perspectives
250+
Individual stakeholders that have attended interviews
60
Stakeholder interviews completed in 3 weeks
Feedback synthesized across stakeholder categories to identify recurring themes, rather than reflecting the position of any single participant
Insights reflect repeated patterns, areas of convergence, and points of tension observed across interviews rather than exhaustive or word-for-word summaries of individual conversations
Stakeholder input was used to inform the process redesign, with the objective of addressing recurring pain points and improving outcomes across stakeholder groups

## Slide 3: Topics with alignment from stakeholder interviews
Area of alignment
Source: Stakeholder interviews
Details
Coupling between load studies and transmission planning
Need for load studies to directly inform RTP/RPG decisions, with clear upgrade paths and timing: separating large-load approvals from transmission planning increases restudies and financing risk
7
Screening and commitment to filter speculative load
Current absence of clear screening and financial commitment allows speculative projects to occupy planning space indefinitely; upfront readiness checks and financial signals needed before studies begin
4
Shifting from sequential LLIs to ERCOT-led batch studies
Sequential LLIs no longer scale under current volume of large loads: ERCOT-led batch studies is broadly seen as necessary to reduce restudies and provide system-level planning signals
3
Transparency and visibility across the process
Need for standardized milestones and clear, system-wide transparency (e.g., visibility into project status, timelines) to reduce uncertainty, restudy risk and speed up decision-making
1
Acceptance of partial, ramped, or conditional load
Full immediate firm service is not always required for project viability: willingness to accept partial MW allocations, ramp profiles, or conditional service as a bridge to full delivery if terms are explicit and predictable
5
Appetite for BYOG1 and CLR2, if treated appropriately
Co-located generation or controllability (e.g., CLR) offer benefits to the overall system, yet current processes largely treat them the same as standalone firm load, limiting recognized value
6
Predictability and timing of the process
Uncertainty around timing is more damaging than constrained outcomes: need for clear decision windows and explicit go/no-go points to enable financing and capital planning
2
Fragmented ownership, particularly in early stages
Early stages of the LLI process are fragmented across TDSPs, TSPs, and ERCOT, with unclear ownership and handoffs, raising questions about how much execution should be standardized versus left to local judgment
8
1. Bring Your Own Generation: large load that brings co-located or dedicated generation to supply part/all of demand, reducing net reliance on the transmission system | 2. Controllable Load Resource: large load capable of reducing or modulating consumption in response to system conditions or instructions, providing operational flexibility during constraints

## Slide 4: Topics with lack of alignment from stakeholder interviews
Area of disagreement
Source: Stakeholder interviews
Details
Calibration of financial commitment requirements2
While financial commitment is viewed as necessary to crowd out speculative load, there is divergence on appropriate size, timing, escalation path, and refundability, balancing filtering against risk of excluding viable projects
2
Treatment of already-approved, contracted, and in-service loads
While protection of already-approved, contracted, and in-service loads in Batch 0 is supported, there is lack of alignment over what constitutes “approved” load from the absence of a clear, consistently applied definition
3
Fairness anchor: chronology vs. readiness and commitment
No consensus on how fairness should be defined: views are split between FIFO1 as the only defensible anchor vs. readiness criteria, commitment, and likelihood of delivery
1
Minimum viable MW thresholds vs. pro-rata allocation
Partial MW allocations are viewed by some as a workable bridge and by others as rendering projects infeasible without explicit minimum thresholds and clear forward paths
4
Batch cadence speed vs. stability
No consensus on optimal batch frequency: some stakeholders favor faster (e.g., semi-annual/quarterly) cycles to reduce delay and uncertainty, while others see a slower cadence to limit restudies as preferred
5
1. First In First Out (ensuring chronological order of entry in the process is respected) | 2. Note that this is the objective of Public Utility Commission of Texas, Project No. 58481 (Rulemaking to Implement Large Load Interconnection Standards under PURA §37.0561)
Use of good cause exception for transition to batch studies​
Differing views on if and how a good cause exception should be used and how to prevent it from becoming a precedent amid overlapping and evolving rule changes​
6
Decision windows following batch results
Divergent views on study acceptance decision timelines: some stakeholders view short windows (e.g., 30 days) as sufficient, others argue for longer windows (e.g., 60–90 days) to secure internal approvals, financing, and commitments
7
Waiting period before Batch 0 launch
Differing views on whether to delay Batch 0 to allow a curing period for stakeholders to meet eligibility criteria vs. launching immediately to avoid prolonging uncertainty and backlog
8

## Slide 5: Stakeholder engagement master list (1/2)
#
Stakeholder group
Organization
Type
AS OF 1/30/2026
1
Hyperscalers
2
Developers
3
Developers
4
IOUs
5
IOUs
6
Colocators
7
Hyperscalers
15
Hyperscalers
14
Co-ops
13
IOUs
12
Independent generators
11
Munis
10
Developers
9
Colocators
8
Colocators
Google
Lancium Energy
Black Mountain
Texas-New Mexico Power
AEP Texas
Skybox Datacenters
Meta
Amazon
Multiple2
CenterPoint Energy
Vistra/Luminant
Multiple1
Crusoe Energy Systems
Compass Datacenters
Core Scientific
Individual
Individual
Individual
Group3
Group3
1. Austin Energy, CPS Energy, Denton Municipal Electric, and Garland Power & Light System | 2. Golden Spread Electric Cooperative, Brazos Electric Power Cooperative, Texas Electric Co-op Association, South Texas Electric Cooperative Inc | 3. Single session with multiple organizations from the same stakeholder group(s) | 4. City of Dallas, City of Eastland, OPUC, and Beth Garza (Residential Consumer Rep) | 5. TCPA, Constellation, Hull Street Energy, Liberty Power Innovations
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
#
Stakeholder group
Organization
Type
16
IOUs
17
Hyperscalers
18
Industrial consumers
19
Independent generators
20
Independent generators
21
Independent generators
22
Developers
30
Colocators
29
Hyperscalers
28
Co-ops
27
Independent generators
26
Independent generators
25
Resi/Comm. Consumers
24
Co-ops
23
Consumer / Advocacy
Oncor Electric Delivery
OpenAI
Texas Association of Manufacturers
Calpine Corporation
Jupiter Power
ENGIE North America
Intersect
Digital Realty
Microsoft
Rayburn Country Electric Cooperative
NRG
Multiple5
Multiple4
Lower Colorado River Authority
DCC (Data Center Coalition)
Group3
Group3
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual

## Slide 6: Stakeholder engagement master list (2/2)
#
Stakeholder group
Organization
Type
AS OF 1/30/2026
31
Developers
32
Developers
33
Developers
34
Developers
35
Developers
36
Munis
37
Co-ops
45
Colocators
44
Colocators
43
Consumer / Advocacy
42
IOUs
41
Developers
40
Industrial consumers
39
Industrial consumers
38
Industrial consumers
Agentic
Juvo
Rowan Digital Infrastructure
MSP Solar
Marquez Public Affairs
CPS Energy
Pedernales Electric Coop
Iren
DataBank
Blockchain Council
Sharyland
Rose City & Schaper Intl
Infinium
West Texas Digital
Satoshi
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
#
Stakeholder group
Organization
Type
46
Developers
47
IOUs
48
Developers
49
Hyperscalers
50
Independent generators
51
Developers
52
Developers
60
Developers
59
Developers
58
Developers
57
Independent generators
56
Independent generators
55
Co-ops
54
Munis
53
Developers
Tract
WETT1
Multiple3
Oracle
NextEra
LincolnProperties
Cholla
Thor Equities
Trammell Crow Company
Cypress Creek
SB Energy
Eolian
Bluebonnet
Austin Energy
CTT
Group2
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
Individual
1. Wholesale Energy Trade Association of Texas | 2. Single session with multiple organizations from the same stakeholder group(s) | 3. Stream Data Center, Serena Energy, Cocanougher Asset Management