| Date: | February 2, 2026 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: February 9-10, 2026 Item No.: 5.1

Issue: ##### Consideration of the following Revision Requests: Nodal Protocol Revision Requests (NPRRs) and Planning Guide Revision Requests (PGRRs) (with no opposing votes recorded): - NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes; - NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form; - NPRR1311, Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B – URGENT; - PGRR127, Addition of Proposed Generation to the Planning Models; and - PGRR132, Update to Standard Generation Interconnection Agreement (SGIA) Requirement.

Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) For NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Board Review is required of all TAC Reports and Impact Analyses (Protocol Section 21.3.10) - NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes Sponsor: ERCOT Revision Description: This NPRR incorporates the Other Binding Document “Procedure for Identifying Resource Nodes” into the Protocols to standardize the approval process. Impact Analysis: No impact Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval TAC Report/Decision: On 1/21/26, TAC voted unanimously to recommend approval of NPRR1304 as recommended by PRS in the 12/10/25 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1304. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1304 and believes it has a positive market impact by standardizing the approval process for binding language. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1304. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form Sponsor: ERCOT Revision Description: This NPRR incorporates the Other Binding Document “Counter-Party Credit Application Form” into the Protocols to standardize the approval process. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 1/21/26, TAC voted unanimously to recommend approval of NPRR1305 as recommended by PRS in the 12/10/25 PRS Report. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1305 and believes it has a positive market impact by standardizing the approval process for binding language. IMM Opinion: IMM has no opinion on NPRR1305. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1311, Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B – URGENT Sponsor: ERCOT Revision Description: This NPRR corrects an error in the calculation of Real-Time Reliability Deployment Price Adders for Ancillary Services when ERCOT is directing firm Load shed during Energy Emergency Alert (EEA) Level 3 under the Real-Time Co-optimization plus Batteries (RTC+B) Protocol language. These proposed changes replace the “maximum value on the Ancillary Service Demand Curve (ASDC) for the Ancillary Service” in paragraph (2)(p) of Section 6.5.7.3.1, Determination of Real-Time Reliability Deployment Price Adder, with the effective Value of Lost Load (VOLL) for determining the price adders for Ancillary Services, ensuring that final Ancillary Service prices cannot exceed $5,000 per MWh. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 1/21/26, TAC voted unanimously to recommend approval of NPRR1311 as recommended by PRS in the 12/10/25 PRS Report as revised by TAC. ERCOT Opinion: ERCOT supports approval of NPRR1311. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1311 and believes the market impact for NPRR1311 aligns the Protocols with the intended behavior (and as-built systems) for the determining Ancillary Service prices under this specific set of conditions. IMM Opinion: IMM has no opinion on NPRR1311. Key Documents (including comments, ballots, reports and impact analyses) - PGRR127, Addition of Proposed Generation to the Planning Models Sponsor: ERCOT Revision Description: This PGRR outlines the additional generators that may be included in the planning models to address the generation shortfall introduced by the implementation of the new requirement from House Bill (HB) 5066 (88th Legislature) and unprecedented load growth in Texas. This PGRR also adds a supplemental generation sensitivity analysis for Tier 1 Regional Planning Group (RPG) project evaluation to minimize the impacts of the additional generation on transmission project evaluation. Impact Analysis: $20K - $40K Proposed Effective Date: Upon system implementation – Priority 2026; Rank 430 TAC Report/Decision: On 1/21/26, TAC voted unanimously to recommend approval of PGRR127 as recommended by ROS in the 1/8/26 ROS Report. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR127 and believes that it provides a positive market impact by leading the industry in grid reliability by outlining the additional generators that may be included in the planning models to address the generation shortfall introduced by the implementation of the new requirement from HB 5066 (88th Legislature) and unprecedented load growth in Texas. IMM Opinion: IMM has no opinion on PGRR127. Key Documents (including comments, ballots, reports and impact analyses) - PGRR132, Update to Standard Generation Interconnection Agreement (SGIA) Requirement Sponsor: ERCOT Revision Description: This PGRR clarifies new Resources must interconnect to the ERCOT System via a new Standard Generation Interconnection Agreement (SGIA). Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 1/21/26, TAC voted unanimously to recommend approval of PGRR132 as recommended by ROS in the 1/8/26 ROS Report. ERCOT Opinion: ERCOT supports approval of PGRR132. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR132 and believes that if an SGIA is amended for the reasons set forth in PGRR132, the new or modified Resources must comply with all applicable operating and technical requirements in the Protocols or Operating Guides in effect when the amended SGIA is executed, enhancing ERCOT System reliability by ensuring compliance with updated requirements and eliminating the possibility for new or modified Resources to amend an existing agreement to avoid complying with new or modified reliability requirements. IMM Opinion: IMM has no opinion on PGRR132. Key Documents (including comments, ballots, reports and impact analyses) The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials. In addition, these Revision Requests and supporting materials are posted on the ERCOT website.

Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 1304, 1305, and 1311. The ROS met, discussed the issues, and submitted reports to TAC regarding PGRRs 127 and 132.

Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRRs 1304, 1305, and 1311; and PGRRs 127 and 132.

## ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

## BOARD OF DIRECTORS RESOLUTION

##### WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to recommend approval of the following Nodal Protocol Revision Requests (NPRRs) and Planning Guide Revision Requests (PGRRs):

- NPRR1304, Move OBD to Section 22 – Procedure for Identifying Resource Nodes;

- NPRR1305, Move OBD to Section 23 – Counter-Party Credit Application Form;

- NPRR1311, Correction to Real-Time Reliability Deployment Price Adders for Ancillary Services under Load Shed for RTC+B – URGENT;

- PGRR127, Addition of Proposed Generation to the Planning Models; and

- PGRR132, Update to Standard Generation Interconnection Agreement (SGIA) Requirement.

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby recommends approval of NPRRs 1304, 1305, and 1311; and PGRRs 127 and 132.

## CORPORATE SECRETARY’S CERTIFICATE

I, Brandon Gleason, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its ___________ meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of ______________, 2026.

______________________________

Brandon Gleason

Assistant Corporate Secretary